Prior to conducting the site-visit, it would be helpful to review the following section of 1200.06:

| 1. Security Plan | 5. Inventory records and review documentation; transfer documentation |
| --- | --- |
| 2. Training records | 6. Emergency Preparedness and Incident Response Plan |
| 3. Records of access to laboratories | 7. Incident reports |
| 4. Records of key card assignments | 8. Annual vulnerability assessment documentation |

# A list of acronyms is found in Appendix A.

# A list of Select Agents and Toxins is found in Appendix B.

# A list of Exempt Quantities of Toxins is found in Appendix C.

| ISSUES | 1-5** | Regulation/ Policy | Comments |
| --- | --- | --- | --- |
| I-1. Hazardous Agents Control Program is in place and meets the requirements of VHA Handbook, if applicable. |  | 1200.06 4.a. |  |
| I-2. Associate Chief of Staff (ACOS) for R/D is responsible for: Ensuring the Medical Center Director, or designee, remains informed of all activities involving hazardous agents and other sensitive materials in labs Completing the annual vulnerability assessment of research areas and assisting with the annual drills or exercises for safety, security, and incident response. The ACOS R/D, or designee, must review access records on a weekly basis and maintain records. |  | 1200.06 4.i.(3) & i.(6) 1200.06 7.d.(1)(c) |  |
| I-3. Training: Laboratory directors and PIs must ensure that those they supervise have received approval to access labs and receive required training prior to beginning work annually, and in response to incidents, as well as meet other requirements set forth in VHA Handbooks. Annual training records maintained |  | 1200.06 4.k.(2) 1200.06 7.i. 1200.06 7.h.(4)(j)4. 1200.06 7.j.(1)(e) |  |
| I-4. Security Plan is in place and implemented as required by VHA Handbook. Annual review is necessary. Note: Security for exempt quantities of toxins and for hazardous agents/chemicals must prevent unapproved use or theft. Toxins and hazardous agents/chemicals must be controlled when not in use or not in direct view of an approved individual. |  | 1200.06 7.b., 7.e.(4), & App. A.2.c. |  |
| I-5. Personnel: All individuals must obtain formal approval prior to beginning work in research labs and must be appointed as full-time, part-time, or intermittent, as compensated, uncompensated employee or fee basis. |  | 1200.06 7.c. |  |
| I-6. Citizenship and Visa Status: Prior to individual beginning work in laboratory and annually, HRMS is responsible for reviewing, verifying, and tracking citizenship and visa status, and the research office must verify that this has been done. |  | 1200.06 7.c.(2), 7.c.(4)(a) and (5) 1200.06 4.j.(3)(b)3. |  |
| I-7. VA police participated in the development of security policies |  | 1200.06 4.c. |  |
| I-8. Research laboratory areas must have state of art security system; access control must be on a 24-hour, 7-days per week schedule and an intrusion alarm system must be present and either connected to, or otherwise monitored by, the facility VA Police Service, and meets in accordance with VHA requirements |  | 1200.06 7.d. & e. |  |
| I-9. Physical Security: Keycard access or a system that is equal to, or exceeding, the security of a keycard system. Records of key card assignments Records of access which must be reviewed weekly Entry doors from non-research areas are self-closing Unobstructed views of exterior entry Intrusion alarms Suspicious package inspections on entry/exit |  | 1200.06 7.e.(1)&(2) |  |
| I-10. Inventory Controls: Up-to-date records Inventories reviewed and documented by the Safety Officer at least a semi-annual basis Inventory transfers documented, approved by SRS or R&D Committee, reported to ACOS before transfer R&D Committee approves use of exempt quantities of toxins Inventories include all exempt quantities of toxins, hazardous biological or chemical agents, hazardous gaseous materials, and radioactive materials/sources in VA research laboratories Exempt quantities of toxins not currently in use and for which there are no immediate plans for use must be transferred, destroyed, or disposed of by approved methods. |  | 1200.6 4.k.(2)(c) 1200.06 7.g. 1200.06 4.j.(3)(d) 1200.06 7.6.(5)&(6) |  |
| I-11. Emergency Preparedness and Incident Response Plan: Up-to-date plan is in place and reviewed annually Coordinated with facility’s overall emergency plan Includes fires, explosions chemical biological spills, release of chemicals, bomb threats, natural disasters, and so on Addresses procedures for appropriate notifications and other areas Conducted drills or exercises to test and evaluate the effectiveness of the plan annually |  | 1200.06 7.h.(3) |  |
| I-12. Annual vulnerability assessment of research laboratory(ies): To identify high-risk areas, sensitive materials, and physical security issues Results of the assessment provided to the SRS, the R&D Committee and the RO, if applicable. |  | 1200.06 7.h.(4)(j) |  |
| I-13. Strangers/personnel without badges are challenged |  | 1200.06 7.d.(1)(e)6. |  |
| Other deficiencies noted at the time of review |  |  |  |

The purpose of this supplemental checklist is to summarize the particular compliance requirements related to Select Agents and Toxins and the prevention and/or detection of terrorist events occurring in or originated from the VA research laboratories in accordance with VHA Handbook 1200.06.  These requirements are in addition to those in the basic ORO Security Checklist for BSL-1 and BSL-2 Laboratories, pages 1-6.

Source of Documentation/Evidence:  Prior to conducting the review of this section, it would be helpful to assemble the listed items with the regular BSL-1/BSL-2 checklist (page 1):

# A list of acronyms is found in Appendix A.

# A list of Select Agents and Toxins is found in Appendix B.

# A list of Exempt Quantities of Toxins is found in Appendix C.

| ISSUES | 1-5** | Regulation/ Policy | Comments |
| --- | --- | --- | --- |
| I-1. Medical Center Director is responsible for granting requests for authorization for access to research areas in which SATs are used/stored after review/recommendation of the R/D Committee |  | 1200.06 4.g.(1) |  |
| I-2. A VA Research Laboratory Hazardous Agents Control Program is in place: Safety, containment, security, and emergency response plans Only authorized individuals have access to SAT Proper maintenance, use, purchase, transfer, destruction of SAT Providing timely notice of loss or theft Maintaining detailed records of SAT for accounting Conducting annual inspections and after-incident inspections of laboratories with SAT Conducting and documenting drills or exercises at least annually to check plans Notifying CDC/APHIS when individual’s access to SAT is terminated or when responsible official is not serving |  | 1200.06 4.h.(2) 1200.06 7.d.(1)(c) |  |
| I-3. ACOS/R&D ensures that Medical Center Director is kept informed about SAT; assists responsible official in carrying out duties related to SAT |  | 1200.06 4.i. |  |
| I-4. R&D Committee: Reviews controls access to VA research laboratory housing SAT (other agents) Reviews status of personnel annually Reviews and approved requests for CDC or APHIS laboratory registration number Approves/disapproves requests to purchase, transfer, use, destroy SAT |  | 1200.06 4.j.(3)(b),(c), & (d) |  |
| I-5. A Security Risk Assessment by FBI must be completed by the FBI so that laboratory staff can work with SAT. |  | 1200.06 4.k.(2)(a) |  |
| I-6. SATs are included on the inventory of hazardous materials |  | 1200.06 4.k.(2)(c) |  |
| I-7. When theft, loss, or release of SAT occurs, appropriate notifications are made |  | 1200.06 6. |  |
| I-8. The security plan must account for SAT: Procedures must describe how SATs are stored and how others obtain access (e.g., Environmental Management Service, Engineering Service) to laboratories with SAT Procedures for control of access to laboratories with SAT are described Procedures for access to areas where SAT are used and stored Procedures for reporting loss/theft or release of SAT Procedures for acquisition, transfer, destruction of SAT |  | 1200.06 7.b. |  |
| I-9. Personnel: Individuals working in VA research laboratories with SAT have formal authorization before beginning work No individual enters laboratory with SAT without authorization or have proper escort |  | 1200.06 7.c. |  |
| I-10. Individuals working in VA laboratories with SAT: Have authorization for access based on a Security Risk Assessment (FBI/HHS/APHIS) and R&D Committee or SRS recommendation, and Medical Center Director approval |  | 1200.06 7.c.(3) |  |
| I-11. An individual’s access to a laboratory with SAT is evaluated every 6 months by appropriate organizational officials |  | 1200.06 7.g.(3)(d)&(f) |  |
| I-12. A change in VA appointment status of individuals must be reported to appropriate officials |  | 1200.06 7.c.(3)(g)&(h) |  |
| I-13. A record of access is kept for all visitors entering and existing with SATs with a state-of-the-art security system that generates permanent dated records |  | 1200.06 7.d.(i) |  |
| I-14. A record of access is kept for all escorted visitors entering laboratories with SATs (including name, affiliation, purpose of visit, times of arrival, name of escort) |  | 1200.06 7.d.(2)(d) |  |
| I-15. Deliveries are not made to areas in close proximity to laboratories with SAT |  | 1200.06 7.d.(2)(e) |  |
| I-16. Video surveillance systems are present for areas in which SAT are used or stored |  | 1200.06 7.e.(1)(f) |  |
| I-17. Access to laboratory areas with SATs: is equivalent to or offers greater security than a card key system can be made only by authorized staff has video surveillance to the entrance of the areas |  | 1200.06 7e.(2) (b),(c),(d)&(e) |  |
| I-18. Security for containers, refrigerators, freezers, cabinets, and other areas where select agents are stored is provided |  | 1200.06 7.e.(2)(g) |  |
| I-19. Laboratory with SAT: Is not in a public area of the facility Is marked restricted and has other appropriate signage Meets window security requirements Has no access into areas from overhead Meets or exceeds standards for doors, door jams, frames, and locking mechanisms Has audible alarms installed and monitored (or strobe light) or waiver Has a telephone in each area |  | 1200.06 7.e.(2)(h) 1200.06 7.e.(2)(i) 1200.06 7.e.(2)(j) 1200.06 7.e.(2)(k) 1200.06 7.e. (2)(l) 1200.06.7.3.(2)(m) 1200.06.7.3.(2)(n) |  |
| I-20. Registrations with CDC or APHIS Laboratory Research program: Are in place before SATs can be used or stored in VA research laboratories Notifications about ceasing use of SATs or terminations or certificates are made Amendments are made as required |  | 1200.06.7.f |  |
| I-21. Inventory controls provide for SATs including inventory lists, acquisition, transfers, delivery, storage, destruction |  | 1200.06 7.g |  |
| I-22. Emergency Preparedness and Incident Response is SAT-specific |  | 1200.06 7.h.(3) (e),(f),(j),&(r) |  |
| I-23. All individuals working with SAT have agent-specific security training |  | 1200.06 7.(i) |  |
| I-24. All unauthorized individuals requiring escort and monitoring to enter areas with SATs are provided training on security |  | 1200.06 7.i.(5) |  |
| I-25. Accurate records are kept of: Individuals authorized to enter or work in a laboratory using SATs Inventories of SATs including: Specific detailed information for SATs Information on access to areas where SATs are used or stored |  | 1200.06 9. |  |

ACOS		Associate Chief of Staff

BSL		Biosafety Level

ES		Equivalent Security

HRMS		Human Resource Management Services

IIP		Installation in Progress

ORD		Office of Research Development

ORO		Office of Research Oversight

PCA		Plans for Corrective Actions

PI		Principal Investigator

R&D		Research and Development

RO		Responsible Official

SRS		Subcommittee for Research Safety

VA		Veterans Affairs

VHA		Veterans Health Administration

VISN		Veterans Integrated Service Network