Prior to conducting the review, it would be helpful to assemble the following documents:

- Last copy of the Security Inspection (Internal and external conducted by OIG, CDC, VISN, etc.)

- A copy of security related training records

- Record of inventory (select agents and toxins, or hazardous agents)

- Agent specific training records

- Records of access to the BSL -3 research laboratory

- A copy of Certificate of Registration, if applicable (All Certificates of Registration must be maintained and renewed when applicable as required by CDC or APHIS.)

A list of acronyms is found in Appendix A.  A list of general references is found in Appendix B.

|  | ISSUES | 1-5* | COMMENTS |
| --- | --- | --- | --- |
| 1. | Facility is located away from public access points and common use areas |  |  |
| 2. | All views of exterior entry are unobstructed |  |  |
| 3. | Area is clearly marked as restricted |  |  |
| 4. | No windows present or windows meet specifications in VA requirements |  | See VHA Handbook 1200.06, 7.e.(2)(j) |
| 5. | Video surveillance systems are in place |  |  |
| 6. | Doors are self-closing |  |  |
| 7. | Doors are secured at all times |  |  |
| 8. | Access into areas from overhead is prevented |  |  |
| 9. | Access is only by keycard or a system that is equal to, or exceeds, the security of a keycard system |  |  |
| 10. | Audible security alarms are present and regularly tested |  | Note: With appropriate justification, silent alarms or strobe lights may be used. |
| 11. | Security devices are fully integrated with medical center security system |  |  |
| 12. | Security codes are changed quarterly |  | Unless changed electronically and automatically at frequent intervals and at least quarterly |
| 13. | Control of access on a 24 hour, 7 days a week schedule, including weekends and holidays |  |  |
| 14. | Entry and exit control rosters are maintained and reviewed weekly; findings documented |  |  |
| 15. | The number of people authorized access to the BSL-3 is kept to the minimum consistent with operational and security requirements, including routine cleaning, maintenance, and repairs |  |  |
| 16. | Strangers/personnel without badges are challenged |  |  |
| 17. | Security for all containers, refrigerators, freezers, cabinets, or other areas where hazardous agents are stored must be provided to ensure control at all times |  |  |
| 18. | Telephone is located inside the laboratory |  |  |
| 19. | Hazardous Agents Control Program is in place: Monitor and evaluate program Appointed Responsible Official (RO) ensures that the research security programs are in compliance with current regulatory requirements |  |  |
| 20. | Security plan is based on a site-specific risk assessment for agents that are present |  |  |
| 21. | Security plan includes all required elements of the VHA Handbook and has been signed by staff as designated by the Facility |  |  |
| 22. | VA police participated in the development of security policies |  |  |
| 23. | Facility security standards are reviewed annually |  |  |
| 24. | Emergency Preparedness and Incident Response Plan exists and Has been distributed to personnel Is reviewed annually Drill conducted annually Reassessment done after each incident |  |  |
| 25. | Vulnerability assessment is in place and conducted by multidisciplinary team annually |  |  |
| 26. | Human Resources has conducted a background check on all personnel authorized access to BSL-3 facilities, and personnel status is reviewed semiannually by R&D Committee |  |  |
| 27. | Access is not permitted for those individuals deemed in the USA Patriot Act to be restricted from shipping, receiving, transporting, or possessing biological select agents |  | If BSL-3 laboratory has non-exempt quantities of select agents or toxins. |
| 28. | Individuals who have access to select agents or toxins have undergone a security risk assessment by the Attorney General |  | Applies to laboratories with non-exempt quantities of select agents or toxins. |
| 29. | All security related training requirements are met in compliance with VHA Handbook 1200.06 |  |  |

ACRONYMS

APHIS		Animal and Plant Health Inspection Service

BMBL		Biological in Microbiological and Biomedical Laboratories

BSL		Biological Safety Level

CDC		Centers for Disease Control and Prevention

ESP		Equivalent Security Provided

IIP		Installation In Progress

OIG		Office of Inspection General

OSHA		Occupational Safety and Health Administration

PCA		Plans for Corrective Action

RO		Responsible Official

SAT		Select Agents or Toxins

USDA		United States Department of Agriculture

VISN		Veterans Integrated Service Network

References

- Title 42 CFR Part 73.11

- VA Directive  0730 – Security and Law Enforcement

- VA Directive and Handbook 0710, Personnel Suitability and Security Program

- VHA Handbook 1200.06, “Control of Hazardous Agents in VA Research Laboratories,”  October 21, 2005

- Biosafety in Microbiological and Biomedical Laboratories (BMBL), Section VI, 5th Edition, February 2007.