# ATTACHMENT B

Description of Biosafety Levels (BSL levels) and Biological Safety Cabinets

# Adapted from: “Biosafety in Biomedical and Microbiological Laboratories”; U.S. Department of Health and

# Human Services, National Institutes of Health, 5th Edition (2007).

# Summary of Recommended Biosafety Levels for Infectious Agents

| Bio-safety Level | Agents | Practices | SafeTy Equipment (Primary Barriers) | Facilities (Secondary Barriers) |
| --- | --- | --- | --- | --- |
| 1 | Not known to consistently cause disease in healthy adults. | Standard Microbiological Practices | None required | Laboratory bench and sink required. |
| 2 | Associated with human disease Routes of transmission include percutaneous injury, ingestion, mucous membrane exposure | BSL-1 practice plus: ( Limited access ( Biohazard warning signs ( "Sharps" precautions ( Biosafety manual defining any needed waste decontamination or medical surveillance policies. | Primary barriers = Class I or II BSCs or other physical Containment devices used for all manipulations of agents that cause splashes or aerosols of infectious materials; PPEs* Laboratory coats; gloves; face protection as needed. | BSL-1 plus: Autoclave available |
| 3 | Indigenous or exotic agents with potential for aerosol transmission Disease may have serious or lethal consequences. | BSL-2 practice plus: ( Controlled access ( Decontamination of all waste ( Decontamination of lab clothing before laundering ( Baseline serum | Primary barriers Class I or II BSCs or other physical containment devices used for all open manipulation of agents. PPEs Protective laboratory clothing; gloves; respiratory protection as needed. | BSL-2 plus: ( Physical separation from access corridors ( Self-closing, double- door access ( Exhaust air not recirculated ( Negative airflow into laboratory. |
| 4 | Dangerous/exotic agents that pose high risk of life- threatening disease Aerosol-transmitted laboratory infections have occurred; or related agents with unknown risk of transmission. | BSL-3 practices plus: ( Clothing change before entering; ( Shower on exit; ( All material decontaminated on exit from facility. | Primary barriers All procedures conducted in Class III BSCs or Class I or II BSCs in combination with full-body, air-supplied, positive pressure personnel suit. | BSL-3 plus: ( Separate building or isolated zone ( Dedicated supply and exhaust, vacuum, and decontamination systems ( Other requirements outlined in the text. |

*PPE- Personal Protective Equipment