November 2010

This distribution contains change pages for patch MD\*1.0\*20 of the Clinical Procedures 1.0 Implementation Guide.

The change pages for CP Patch 21, should be inserted before the change pages for CP Patch 20: File Name: Patch:

MD\_1\_P20\_IMPG.PDF MD\*1.0\*20

Patch MD\*1.0\*20 pages:

Replace Pages: With Pages:

Title page Title page

Revision History Revision History

Table of Contents Table of Contents

1-9 to 1-16 1-9 to 1-16

6-35 to 6-37 6-35 to 6-38

21-1 to 21-2 21-1 to 21-2



**CLINICAL PROCEDURES IMPLEMENTATION GUIDE**

# Version 1.0

April 2004

## Revised November 2010

Department of Veterans Affairs Office of Information & Technology Office of Enterprise Development

## Revision History

|  |  |  |
| --- | --- | --- |
| **Description** | **Date** | **Technical Writer** |
| Originally released. | April 2004 |  |
| 1Patch MD\*1.0\*4 released. | September 2006 | REDACTED |
| 2Patch MD\*1.0\*9 released November 2007. Update Setting up HL7 Parameter for port 5000 with CACHE. | February 2008 | REDACTED |
| 3 Patch MD\*1.0\*14 released. Updated Setting Up Consults for Clinical Procedures, Exported XPAR Kernel Parameters, add new section called Scheduled Options. Added information about launching CP Gateway under the section Working with CP Gateway. | March 2008 | REDACTED |
| 4Patch MD\*1.0\*6 released. Updated MD namespaceClinical Procedures file list and CP Class Upload Header output display, added TIU prompts for adding new TIU Note Titles, added instrument warning for automated instruments, added Processing Application field, changed wording for Count/Non-count clinics, added new Exported Kernel XPAR parameters and screen capture, revised “Setting Up HL7 Parameters chapter for clarity, updated list of Instrument Processing Routines, added Appendix D – Exported Values For Hemodialysis Options. | May 2008 | REDACTED |
| 5Patch MD\*1.0\*11 released. Updated Setting Up Procedures, Exported Kernel XPAR Parameters, and Scheduled Options. | June 2009 | REDACTED |
| 6Patch MD\*1.0\*21 released. Updated Chapter 1 - General CP Package Information and added assigning options. Updated Step 2 of Setting up TIU for Clinical Procedures in Chapter 4, updated Kernel XPAR Parameter in Chapter 6, Added Chapter 7, Application Proxy, and Appendix E, High Volume Procedure Checklist. Added Step 3 – Create Ad Hoc Health Summary Components For CP to Chapter 10. Updated Ch 21 Index. | June 2010 | REDACTED |

1 Patch MD\*1.0\*4 September 2006 Patch 4 release added.

2 Patch MD\*1.0\*9 November 2007 Patch 9 release added.

3 Patch MD\*1.0\*14 March 2008 Patch 14 release added.

4 Patch MD\*1.0\*6 May 2008 Patch 6 release added.

5 Patch MD\*1.0\*11 June 2009 Patch 11 release added.

6Patch MD\*1.0\*21 June 2010 Patch 21 release added.

|  |  |  |
| --- | --- | --- |
| 1Patch MD\*1.0\*20 release added. Added list of tasks that can be queued. Updated Exported Kernel XPAR Parameters. | November 2010 | REDACTED |

1 Patch MD\*1.0\*20 November 2010 Patch 20 release added.

**Table of Contents**

1. Introduction 1-1

About Clinical Procedures 1-1

About CP User 1-8

About CP Manager 1-8

About CP Gateway 1-8

Intended Audience 1-8

[Related Manuals 1-9](#_TOC_250005)

[General CP Package Information 1-10](#_TOC_250004)

[Resource Requirements 1-14](#_TOC_250003)

[Hospital Location File Requirement (Implementing Workload Reporting) 1-15](#_TOC_250002)

[VistA Imaging 1-15](#_TOC_250001)

1. Using CP Manager 2-1

CP Manager Toolbar 2-1

Finding a Parameter 2-2

Deleting an Automated Instrument or Procedure 2-3

Printing Reports 2-4

1. About Test Accounts and Imaging 3-1

Changing All Test Accounts 3-2

Changing the Current Namespace 3-2

Configuring the Imaging Display Station 3-5

Changing Test Accounts that Use a Background Processor 3-6

Connecting the Background Processor PC to VistA Servers 3-9

Refreshing Existing Test Accounts 3-10

1. Setting Up TIU for Clinical Procedures 4-1

Step 1 - Verify Clinical Procedures Class Upload Header 4-2

Step 2 - Create CP Class Document Definitions 4-3

Example of New TIU Prompts 4-8

Step 3 - Define Clinical Procedures Class Document Parameters 4-10

1. About ASU Business Rules and the Role of the Interpreter 5-1

How Business Rules Work 5-1

Role of the Interpreter 5-3

1. Setting Up Clinical Procedures 6-1

Step 1 - Populate the CP Definition (#702.01) file 6-1

Step 2 – Setting Up Instruments 6-2

Editing an Automated Instrument 6-3

Adding an Automated Instrument 6-8

Using the Instrument Analyzer 6-11

Step 3 – Setting Up Procedures 6-12

Editing a Procedure 6-12

Adding a Procedure 6-17

Step 4 – Setting Up System Parameters 6-20

Allow non-instrument attachments 6-21

Bypass CRC Checking 6-22

Clinical Procedures Home Page 6-22

Clinical Procedures On-Line 6-22

CP/BGP Transfer Directory 6-22

CRC Values 6-23

Calculating a File’s CRC Value 6-24

Days to keep instrument data 6-24

Imaging File Types 6-24

Offline Message 6-26

Version Compatibility 6-26

VistA Scratch HFS Directory 6-28

Step 5 – Exported Kernel XPAR Parameters 6-29

Exported Kernel XPAR Parameters for Patch MD\*1.0\*14. 6-29

Exported Kernel XPAR Parameters for Patch MD\*1.0\*6. 6-31

Exported Kernel XPAR Parameters for Patch MD\*1.0\*11. 6-32

Exported Kernel XPAR Parameter for Patch MD\*1.0\*21 6-33

Exported Kernel XPAR Parameters for Patch MD\*1.0\*20. 6-35

1. Application Proxy User 7-1
2. Scheduled Options 8-1
3. Setting Up Consults for Clinical Procedures 9-1

Step 1 – Setting Up Consult Services 9-1

Step 2 - Creating Consult Procedures 9-5

1. Setting Up CPRS for Clinical Procedures 10-1

Step 1 – Setting Up the Notification 10-1

Step 2 – Editing Parameters 10-2

Ask Encounter Update (ORWPCE ASK ENCOUNTER UPDATE) 10-3

Broadcast Messages to Other Apps (ORWOR BROADCAST MESSAGES) 10-4

Force PCE Entry (ORWPCE FORCE PCE ENTRY) 10-5

Add CP User to the CPRS Tools Menu (ORWT TOOLS MENU) 10-6

Step 3- Create Ad Hoc Health Summary Components for CP 10-8

1. Working with CP Gateway 11-1

Log File Options 11-4

1. Setting Up HL7 Parameters 12-1

Configuration Instructions Information 12-1

IP Addresses and Ports 12-1

Setting Up a New HL7 Single Listener for High-Volume Devices 12-2

Creating a Logical Link 12-3

Creating a Device Protocol Client 12-5

Activating the Logical Links 12-7

Adding a Device Client as a Server Subscriber 12-7

Using Port 5000 12-8

Table of Contents

Benefits of Using a Single Port Listener 12-8

Setting Up Port 5000 12-8

File Settings 12-9

Technical Issues 12-11

1. Configuring the Automated Instrument Share Folder 13-1
2. Troubleshooting 14-1
3. Glossary 15-1
4. Appendix A – CP Application Startup Options and Command Line Switches 16-1

Introduction 16-1

What is a Command Line Switch? 16-1

Shared Broker Environment 16-1

CPRS Tools Menu 16-2

All Command Line Switches 16-3

1. Appendix B – Exported Procedures List 17-1
2. Appendix C - Instrument Processing Routines 18-1
3. Appendix D – Exported Values For Hemodialysis Options 19-1

Custom Data List 19-1

Anticoagulants 19-1

Code Statuses 19-1

Dialyzer List 19-1

Education Codes 19-3

ESRD Diagnosis 19-3

Medication Routes 19-5

Medication Units 19-5

Modalities 19-6

TIU Note Titles 19-6

Transportation Methods 19-6

Preferences 19-7

System Preferences 19-7

Report List 19-8

Summary Report Template 19-8

1. Appendix E – High Volume Procedure Checklist 20-1
2. [Index 21-1](#_TOC_250000)

April 2004 Clinical Procedures V. 1.0 iii

iv Clinical Procedures V. 1.0 April 2004

### Related Manuals

Here is a list of related manuals that you may find helpful: Clinical Procedures Installation Guide

Clinical Procedures Technical Manual and Package Security Guide

Clinical Procedures User Manual Clinical Procedures Release Notes CPRS User Guide: GUI Version CPRS Setup Guide

Consult/Request Tracking User Manual Consult/Request Tracking Technical Manual

Text Integration Utilities (TIU) Implementation Guide Text Integration Utilities (TIU) User Manual

VistA Imaging System (Clinical) User Manual

These manuals can be found in the VistA Documentation Library (VDL), [http://www.va.gov./vdl.](http://www.va.gov./vdl) Select **Clinical** from the VDL web page, select the package you want, and then select the manuals. For example, you can select CPRS on the left side of the page. The list of CPRS manuals is displayed.

1 You may also want to read the CP Implementation Process (Webpage), which is available on the CP website. Go to [http://vista.med.va.gov/ClinicalSpecialties/clinproc/.](http://vista.med.va.gov/ClinicalSpecialties/clinproc/)

Point to **Clinical Procedures Project,** then click **Documentation.** When the Documentation page displays, click **Clinical Procedures Documents,** then click **The CP Implementation Process (Webpage).** This list includes a high-level step-by-step guide to the installation and the implementation process.

1 MD\*1.0\*6 May 2008 Changed document name from “Site Installation Checklist” to “The CP Implementation Process (Webpage).” Revised directions to access the document.

### General CP Package Information

1. Name spacing and file listing.

Clinical Procedures is found in the MD namespace. All routines, templates and options begin with MD. File numbers range from 702 to 704 and are stored in the ^MDD and ^MDS globals. The range of 704.201 to 704.209 is stored in the ^MDK global. Here is a list of the Clinical Procedures files:

#702 CP Transaction

#702.01 CP Definition

#702.09 CP Instrument #703.1 CP Result Report 1#703.9 CP Conversion File

#704.201 Hemodialysis Access Points File #704.202 Hemodialysis Study File #704.209 Hemodialysis Setting File

1. Queuing TaskMan jobs.

2Queued TaskMan jobs are associated with this application. Here is a list of options that can be scheduled:

**MD SCHEDULED STUDIES MD STUDY CHECK-IN**

**MD PROCESS NOSHOW/CANCEL MD PROCESS RESULTS**

1. Accessing modules.
	* Assign the option [MD GUI USER] to the clinical staff, who need access to CP User.
	* Assign the option [MD GUI MANAGER] to the Clinical Application Coordinator, CP package coordinator, and Information Resource Management Service (IRMS) staff for access to CP Manager.
	* Assign the MD MANAGER key to the Clinical Application Coordinator or the CP Package Coordinator. This key controls access to the Update Study Status menu option that allows clinicians to fix study errors. This key also controls access to the Delete Study option.
	* Assign the MAGCAP CP user security key to technicians, who will be using VistA Imaging to capture a consent form and link it to a CP study or TIU document.

1 Patch MD\*1.0\*6 May 2008 Files added.

2 Patch MD\*1.0\*20 November 2010 Update queued tasks information.

1. 1Assigning Options:
	* Assign the option [MD AUTO CHECK-IN SETUP] to the Clinical Application Coordinator, CP package coordinator, and Information Resource Management Service (IRMS) staff for access to the setup option for the auto study check-in.
	* Assign the option [MD HIGH VOLUME PROCEDURE SETUP] to the Clinical Application Coordinator, CP package coordinator, and Information Resource Management Service (IRMS) staff for access to the setup option for the high volume procedure.
	* Assign the option [MD PROC W/INCOMPLETE WORKLOAD] to the Clinical Application Coordinator, CP package coordinator, and Information Resource Management Service (IRMS) staff to print a list of procedure with incomplete workload.
	* Assign the option [MD STUDIES LIST] to the Clinical Application Coordinator, CP package coordinator, and Information Resource Management Service (IRMS) staff to print a list of studies list.

The screen captures below demonstrate how to assign an option to a user:

* Use the [XUSER] User Management menu option.

Select OPTION NAME: XUSER

1. XUSER User Management
2. XUSER DIV CHG Change my Division
3. XUSER FILE MGR Manage User File
4. XUSER KEY RE-INDEX Reindex the users key's
5. XUSER PC BUILD User PC build Print Press <RETURN> to see more, '^' to exit this list, OR CHOOSE 1-5: 1 XUSER User Management
* Select [XUSEREDIT] Edit An Existing User option.

Select User Management Option: ?

Add a New User to the System Grant Access by Profile

Edit an Existing User Deactivate a User Reactivate a User List users

User Inquiry Switch Identities

File Access Security ...

Clear Electronic signature code Electronic Signature Block Edit Manage User File ...

OAA Trainee Registration Menu ... Person Class Edit

Reprint Access agreement letter

Select User Management Option: EDit an Existing User

1 Patch MD\*1.0\*21 May 2010 – Updated General CP Package Information to add Assigning Options for options released with patch 21 and previous patches.

* Select the user.

Select User Management Option: EDit an Existing User Select NEW PERSON NAME: TEST

1. TEST,A TA
2. TEST,CARL TC PHYSICIAN
3. TEST,CAROLE CJT ISC COMPUTER SPECIALIST
4. TEST,FRANCE FT
5. TEST,KEN RADIOLOGIST

Press <RETURN> to see more, '^' to exit this list, OR CHOOSE 1-5: 1 TEST,A TA

* + Enter the option name, MD HIGH VOLUME PROCEDURE SETUP, to the Select

SECONDARY MENU OPTIONS: field.

Edit an Existing User

NAME: TEST,A Page 1 of 5

NAME... TEST,A INITIAL: TA

TITLE: NICK NAME:

SSN: 666435465 DOB:

DEGREE: MAIL CODE:

DISUSER: TERMINATION DATE:

Termination Reason:

PRIMARY MENU OPTION:

Select SECONDARY MENU OPTIONS: MD HIGH VOLUME PROCEDURE SETUP Want to edit ACCESS CODE (Y/N): FILE MANAGER ACCESS CODE:

Want to edit VERIFY CODE (Y/N):

Select DIVISION:

SERVICE/SECTION: IRM FIELD OFFICE

High Volume Procedure Setup

Are you adding 'MD HIGH VOLUME PROCEDURE SETUP' as

a new SECONDARY MENU OPTIONS (the 1ST for this NEW PERSON)? No// Y

* + Verify the SECONDARY MENU OPTIONS field has the option name MD HIGH VOLUME PROCEDURE SETUP and enter a four characters SYNONYM for the option name.

Edit an Existing User

NAME: TEST,A Page 1 of 5

NAME... TEST,A INITIAL: TA

TITLE: NICK NAME:

SSN: 666435465 DOB:

DEGREE: MAIL CODE:

DISUSER: TERMINATION DATE:

Termination Reason:

┌────────────────────────────────────────────────────────┐

Select │ SECONDARY MENU OPTIONS │

Want to │ │

Want to │ SECONDARY MENU OPTIONS: MD HIGH VOLUME PROCEDURE SETUP │

│ SYNONYM: HIGH │

│ │

└────────────────────────────────────────────────────────┘

COMMAND:

* Enter additional SECONDARY MENU OPTIONS.

Edit an Existing User

NAME: TEST,A Page 1 of 5

NAME... TEST,A INITIAL: TA

TITLE: NICK NAME:

SSN: 666435465 DOB:

DEGREE: MAIL CODE:

DISUSER: TERMINATION DATE:

Termination Reason:

PRIMARY MENU OPTION: Select SECONDARY MENU OPTIONS:

Want to edit ACCESS CODE (Y/N): FILE MANAGER ACCESS CODE:

Want to edit VERIFY CODE (Y/N):

Select DIVISION:

SERVICE/SECTION: IRM FIELD OFFICE

COMMAND: Press <PF1>H for help Insert

* + When you are finished, enter “SAVE” at the COMMAND field to save the data and enter “EXIT” to exit the editor.

COMMAND: SAVE Press <PF1>H for help Insert

COMMAND: EXIT Press <PF1>H for help Insert

* + Once the option(s) are added, the person can enter “??” at the primary menu option to get a listing of the secondary menu option and can see the new added option(s).

Select Core Applications Option: ??

You can also select a secondary option:

AUTO Auto Study Check-In Setup [MD AUTO CHECK-IN SETUP] GI GI Menu ... [MCARGIUSER]

HEVD CM Troubleshooter Clinician ... [ORRCMM TROUBLESHOOTER CLIN] HVOL High Volume Procedure Setup [MD HIGH VOLUME PROCEDURE SETUP] LIST Clinical Procedures Studies List [MD STUDIES LIST]

MAGS Imaging System Manager Menu ... [MAG SYS MENU]

\*\*> Locked with MAG SYSTEM PFT Pulmonary Menu ... [MCARPULMUSER]

RA Rad/Nuc Med Total System Menu ... [RA OVERALL]

TIU TIU Maintenance Menu ... [TIU IRM MAINTENANCE MENU]

WKLD Print list of Procedure with incomplete workload [MD PROC W/INCOMPLETE WORKLOAD]

1. Printer issues.

All reports are printed to Client (Windows) printers.

1. Online Help.

Online help is available when questions arise. Click Help or choose Help from the menu bar. You can also press F1 for help on a specific window.

1. Automatic Version Updates.

CP applications (client and server) do not contain automatic update capabilities. You must remove the previous version before you can install the new version.

1. Command line switches.

For alternate methods of running Clinical Procedures, refer to Appendix A - CP Application Startup Options and Command Line Switches, p. 10-6.

### Resource Requirements

* + Clinical Procedures can only run at sites that are running VistA Imaging V. 3.0.
	+ Workstations must run Windows 2000 or later. 12 MB of available disc space is required.

VistA Server resources:

Globals Type of Data Size

^MDS Static global 25 k

^MDD Patient data for the 25-75 k/patient Clinical Procedures

^MDK Hemodialysis Studies 25-75 k/patient

**NOTE: These globals must all be journaled.**

### Hospital Location File Requirement (Implementing Workload Reporting)

Be sure that the hospital location entry (Hospital Location #44 file) for each CP procedure contains the correct Institution field entry. The Hospital Location is used for workload reporting. (The Institution field tells VistA Imaging where to store the images on the server. If there is no Institution field, CP defaults to the institution of the user who logged on to CP Gateway.)

### VistA Imaging

Providers at a site must use the VistA Imaging Display client to view CP results and reports. Be sure that VistA Imaging V.3.0 or greater and Patch 7 of Imaging V.3.0 (MAG\*3.0\*7) are installed.

Auto

No Text

SPIROMETRY

Answer with CP DEFINITION NAME, or ID

Do you want the entire CP DEFINITION List?

You can remove an existing procedure that was setup as a high volume procedure. When you select a procedure that was already entered, the option will prompt you with a question, “ Delete current procedure setup? NO//” that has a default answer of “NO”. If “YES” is entered, the procedure will be deleted from the high volume procedure list.

High Volume Procedure Setup

Procedure: SPIROMETRY

Delete current procedure setup? NO// YES...Procedure deleted

Procedure:

High Volume Procedure Setup

Select OPTION NAME: MD HIGH VOLUME PROCEDURE SETUP

**1Exported Kernel XPAR Parameters for Patch MD\*1.0\*20**

There are two XPAR Parameters exported with patch MD\*1.0\*20. They are the following:

* MD DAYS TO RET COM MULT
* MD DEVICE SURVEY TRANSMISSION

MD DAYS TO RET COM MULT allows a user to define the numbers of days to display a study which has cumulative or multiple results after the study has been completed. This can be used to manage the display screen in CPUser executable.

Example parameter edit:

The number of days after check-in date/time to display the study that has been completed in the CPUser application. This only pertains to studies that have procedures with multiple studies.

Days:

Edit Parameter Values

--- Edit Parameter Values ---

Select PARAMETER DEFINITION NAME: MD DAYS TO RET COM MULT Days to Retain

Completed Multiple Study

-- Setting MD DAYS TO RET COM MULT for System: DEV.DEV.FO-HINES.MED.VA.GOV --

Days: ??

Edit Parameter Values

Select OPTION NAME: XPAR EDIT PARAMETER

1 Patch MD\*1.0\*20 November 2010 Exported Kernel XPAR Parameter and screen sample added.

The MD DEVICE SURVEY TRANSMISSION parameter acts as a flag for the site to indicate whether or not to send information to the Hines Field Office.

Example parameter edit:

Setting MD DEVICE SURVEY TRANSMISSION for System: SUP.DEV.FO- HINES.MED.VA.GOV

Yes/No: ??

Used to determine if the site wants to transmit the device survey to Hines. Enter 'Y' for 'YES' to send the survey or 'N' for 'NO' to suppress the transmission.

Yes/No: YES

Device

Select PARAMETER DEFINITION NAME: MD DEVICE SURVEY TRANSMISSION

Survey Transmission

Sample Medical Device Survey Collection:

During patch 20 installation, the IRM support will be asked, "Do you want to run the device survey transmission?" If "No" is entered, the MD DEVICE SURVEY TRANSMISSION" Parameter Definition will be set to "NO" and the survey transmission will be suppressed. If "YES" is entered, the MD DEVICE SURVEY TRANSMISSION" Parameter Definition will be set to "YES" and a snapshot of a list of device information will be collected in the post- installation run. This device list collection will be sent to Hines Mail Group MDDEVICE for processing. A sample screen capture of the device information is shown below:

Subj: Medical Device Name Report [#179939] 12 Dec 2008 11:49:50 -0500 (CDT)

23 lines

From: <POSTMASTER@REDACTED> In 'IN' basket. Page 1

499^OLYMPUS^C^0^ZZZNOTHING,NOTHING

499^SMC^C^0^ZZZNOTHING,NOTHING

499^BRAUN^C^0^ZZZNOTHING,NOTHING

499^Muse EKG^C^0^ZZZNOTHING,NOTHING

499^Muse Pacemaker EKG^C^0^ZZZNOTHING,NOTHING

499^Muse Exercise^C^0^ZZZNOTHING,NOTHING

499^Muse Holter^C^0^ZZZNOTHING,NOTHING

499^OLYMPUS EGD^C^0^ZZZNOTHING,NOTHING

499^OLYMPUS Colonoscopy^C^0^ZZZNOTHING,NOTHING

499^OLYMPUS Sigmoidoscopy^C^0^ZZZNOTHING,NOTHING

499^OLYMPUS ERCP^C^0^ZZZNOTHING,NOTHING

499^Muse^C^0^ZZZNOTHING,NOTHING

499^OLYMPUS Endo Ultrasound^C^0^ZZZNOTHING,NOTHING

499^OLYMPUS EGDPEG^C^0^ZZZNOTHING,NOTHING

499^OLYMPUS Liver Biopsy^C^0^ZZZNOTHING,NOTHING

499^OLYMPUS Paracentesis^C^0^ZZZNOTHING,NOTHING

499^OLYMPUS Enteroscopy^C^0^ZZZNOTHING,NOTHING

499^CLINIVISION^C^0^ZZZNOTHING,NOTHING

The device information collected is as follows:

* + Station number
	+ Device name
	+ Process Code: Medicine, CP, or CLIO ( Clinical Observation)
	+ Active
	+ Name of Person who ran the survey collection

**Note:** Once the Parameter Definition indicator is set to "YES," the device survey is collected each time the instrument record is edited. The data is collected automatically in the background.

## 21. Index

#### A

Ad Hoc Health Summary Components, 10-8 alerts

setting up, 10-1 analyzer

for instruments, 6-11

Anticoagulants, 19-1 Application Proxy User

Clinical, Device Proxy Service, 7-1 Ask Encounter Update, 10-3

#### B

background processor and test accounts, 3-6

configuring for test accounts, 3-7

Bi-Directional Interface Process Flow, 1-3 Broadcast Messages, 10-4

business rules adding, 5-1

understanding, 5-1

#### C

classes

creating, 4-3

Clinical Procedures, 1-1

flowcharts, 1-1

general information, 1-10

introduction, 1-1

populating definition file, 6-1 setting up, 6-1

troubleshooting, 14-1

Code Statuses, 19-1

Command Line Switches, 16-1 Definition, 16-1

List of, 16-3 configuring

HL7 messages, 12-1 Consult procedures

creating, 9-5 Consult Services

setting up, 9-1 Consults

setting up, 9-1

CP Gateway, 1-8

working with, 11-1

CP Manager, 1-8

CP User, 1-8

CPRS, 10-7

editing parameters. setting up, 10-1

CPRS Tools Menu, 16-2 Custom Data List, 19-1

**D**

definition file populating, 6-1

deleting an automated instrument or procedure, 2-3 Dialyzer List, 19-1

document parameters defining, 4-10

#### E

editing

instruments, 6-3

Education Codes, 19-3

ESRD Diagnosis, 19-3 Exported Procedures List, 17-1

Exported Values For Hemodialysis Options, 19-1

#### F

finding a parameter, 2-2 flowcharts

Clinical Procedures, 1-1 Force PCE Entry, 10-5

#### G

Glossary, 15-1

#### H

HL7

configuring, 12-1

fixing technical issues, 12-11 HL7 parameter

setting up, 12-1

hospital location file requirement, 1-15

#### I

images

and test accounts, 3-1 imaging, 3-1

Instrument Processing Routines, 18-1 instruments

adding, 6-8

deleting, 2-3

editing, 6-3

printing reports, 2-4

setting up, 6-2

using the instrument analyzer, 6-11 interpreter role

understanding, 5-1 introduction

Clinical Procedures, 1-1

#### M

manuals

related, 1-9

Medication Routes, 19-5

Medication Units, 19-5

Modalities, 19-6

#### N

notifications setting up, 10-1

#### P

parameters

finding, 2-2 populating

CP definition file, 6-1 Preferences, 19-7 printing

instrument reports, 2-4

procedure reports, 2-4 system parameter reports, 2-4

procedures

adding, 6-17

deleting, 2-3

editing, 6-12

printing reports, 2-4

setting up, 6-12 Processed Results

cumulative, 6-16

multiple, 6-16

#### R

related manuals, 1-9

Report List, 19-8 reports

printing, 2-4

resource requirements, 1-14

#### S

Scheduled Options

MD PROCESS NOSHOW/CANCEL, 8-2 MD PROCESS RESULTS, 8-3

MD SCHEDULED STUDIES, 1-10, 8-1

MD STUDY CHECK-IN, 1-10, 8-1

share folder

configuration for an automated instrument, 13-1 Shared Broker Environment, 16-1

Summary Report Template, 19-8 system parameter reports

printing, 2-4 system parameters

allow non-instrument attachments, 6-21 bypass CRC checking, 6-22

calculating a file’s CRC value, 6-24 Clinical Procedures home page, 6-22 Clinical Procedures on-line, 6-22 CP/BGP Transfer Directory, 6-22 CRC values, 6-23

days to keep instrument data, 6-24 imaging file types, 6-24

offline message, 6-26

setting up, 6-20

version compatibility, 6-26

V*IST*A scratch HFS directory, 6-28 System Preferences, 19-7

#### T

test accounts, 3-1

changing, 3-2

configuring background processor, 3-7 refreshing, 3-10

working with background processor, 3-6 titles

creating, 4-3 TIU

setting up, 4-1 toolbar, CP Manager, 2-1

Transportation Methods, 19-6

troubleshooting, 14-1

#### U

Uni-Directional Interface Process Flow, 1-5

#### W

workload

implementing, 1-15

reporting, 1-15

#### X

XPAR EDIT PARAMETER

MD APPOINT START DATE, 6-31 MD APPOINTMENT END DATE, 6-31 MD CLINIC ASSOCIATION, 6-32

MD COMPL PROC DISPLAY DAYS, 6-31 MD DAYS TO RETAIN COM STUDY, 6-31 MD OLYMPUS 7, 6-32

MD USE APPOINTMENT, 6-32

XPAR Parameter Option

MD AUTO CHECK-IN SETUP, 6-29

MD HIGH VOLUME PROCEDURE SETUP, 6-33