

VistA Blood Establishment Computer Software (VBECS) 2.3.2 Rev G

Release Notes Version 1.0

Department of Veterans Affairs

Enterprise Project Management Office

This page intentionally left blank.

# Revision History

| **Date** | **Revision** | **Description** | **Author** |
| --- | --- | --- | --- |
| 11/25/20 | 1.0 | VBECS 2.3.2 Rev G  Initial version(Task 71800) | BBM Team |

This page intentionally left blank.

Table of Contents

[Revision History i](#_Toc56759710)

[Introduction 1](#_Toc56759711)

[Changed Features and Functions 1](#_Toc56759712)

[Untestable System-Level Maintenance Changes 1](#_Toc56759713)

[VistA Software Dependencies 1](#_Toc56759714)

[VBECS User Documents 2](#_Toc56759715)

[Customer Support 4](#_Toc56759716)

[Problems? 4](#_Toc56759717)

[References 4](#_Toc56759718)

[VBECS SharePoint Site 4](#_Toc56759719)

[Installation Qualification (IQ) Documentation 5](#_Toc56759720)

[Validation Planning 6](#_Toc56759721)

[Table 1: Updates by Option 7](#_Toc56759722)

[Table 2: New Blood Products for COVID-19 Treatment 8](#_Toc56759723)

[Table 3: Other Blood Products not related to COVID-19 treatment 18](#_Toc56759724)

This page intentionally left blank.

# Introduction

*VistA Blood Establishment Computer Software (VBECS) 2.3.2 Rev G Release Notes* contains information for changes and corrections made to VBECS in the 2.3.2 Rev G patch.

Perform a local evaluation and risk assessment of the changes to determine the requirements for local validation of the changes, including documentation of the assessment activities. See Validation Planning.

# Changed Features and Functions

This revision letter patch release is centrally focused around providing additional blood product updates released from International Council for Commonality in Blood Banking Automation, Inc. (ICCBBA) for the treatment of COVID-19 and bacterial monitoring products. Blood products contained in ICCBBA releases 7.38.0 through 7.44.0 are included. In addition to that the VBECS 2.3.2 Rev G patch includes a fix to the issue with Thaw/Pool modification not working for certain product codes.

Table 1: Updates by Option provides a complete list of included changes.

For a full list of new product codes see Table 2: New Blood Products for COVID-19 Treatment and Table 3: Other Blood Products Not Related to COVID-19 Treatment.

## Untestable System-Level Maintenance Changes

* None

## VistA Software Dependencies

* No VistA patch is required for this blood product-only release.

## VBECS User Documents

The following is a list of all the VBECS user documents that apply to the VBECS 2.3.2 Rev G patch release. The **Updated** column identifies the documents that have been updated with this VBECS 2.3.2 Rev G revision letter patch release.

These user documents are available from the VA Software Document Library (VDL) at <https://www.va.gov/vdl/application.asp?appid=182>.

|  |  |  |
| --- | --- | --- |
| **User Document** | **Version** | **Updated** |
| *VistA Blood Establishment Computer Software (VBECS) 2.3.2 User Guide* | 6.0 | No |
| *VistA Blood Establishment Computer Software (VBECS) 2.3.2 Administrator User Guide* | 3.0 | No |
| *VistA Blood Establishment Computer Software (VBECS) 2.3.2 Known Defects and Anomalies* | 4.0 | No |
| *VistA Blood Establishment Computer Software (VBECS) 2.3.2 Technical Manual-Security Guide* | 2.0 | No |
| *VistA Blood Establishment Computer Software (VBECS) - Echo Interface Configuration and Setup Guide* | 5.0 | No |
| *VistA Blood Establishment Computer Software (VBECS) - Erytra Interface Configuration and Setup Guide* | 2.0 | No |
| *VistA Blood Establishment Computer Software (VBECS) - ProVue Interface Configuration and Setup Guide* | 5.0 | No |
| *VistA Blood Establishment Computer Software (VBECS) - Vision Interface Configuration and Setup Guide* | 4.0 | No |

The following is a list of all the VBECS FAQ documents that apply to the VBECS 2.3.2 Rev G patch release. The **Updated** column identifies the documents that have been updated with this VBECS 2.3.2 Rev G revision letter patch release.

These FAQ documents are available from the VA SharePoint site at REDACTED.

|  |  |  |
| --- | --- | --- |
| **FAQ Document** | **Version** | **Updated** |
| *FAQ ABO subgroup Interpretations* | 11/22/16 | No |
| *FAQ Ancillary VistA Validation* | 11/28/17 | No |
| *FAQ Antibodies with No Antigen Negative Requirement* | 10/15/14 | No |
| *FAQ Blood Product Table Processes* | 03/28/19 | No |
| *FAQ CAP Comprehensive Transfusions Medicine Crossmatch Survey* | 11/22/16 | No |
| *FAQ Compound Antibodies* | 02/27/13 | No |
| *FAQ CPRS VBECS Order Details* | 04/01/09 | No |
| *FAQ Database Conversion Oddballs* | 09/15/09 | No |
| *FAQ Documenting Unhandled Exceptions* | 05/21/07 | No |
| *FAQ Handling ABO Incompatible Transfusion Situations* | 09/23/14 | No |
| *FAQ How to File a New Service Request for Changes to VBECS* | 12/08/16 | No |
| *FAQ How to take faster screen shots from Remote Desktop Session* | 12/17/14 | No |
| *FAQ Identifying a Comparable Blood Product Code* | 03/28/19 | No |
| *FAQ Local Facilities* | 06/12/20 | No |
| *FAQ Modification Target Not Available* | 11/28/17 | No |
| *FAQ Multidivisional QC Rack Workaround* | 11/28/17 | No |
| *FAQ Order Status Clarification* | 11/15/17 | No |
| *FAQ Polyspecific AHG Not Used for Testing* | 01/29/10 | No |
| *FAQ Proper Use of PIV Card with VBECS* | 11/04/19 | No |
| *FAQ QC Setup* | 01/29/10 | No |
| *FAQ Retesting QC* | 11/01/11 | No |
| *FAQ Retrieving an Expired Order* | 12/07/17 | No |
| *FAQ The Difference Between Transfusion Only and Full Service Facility Types* | 02/08/10 | No |
| *FAQ VBECS Blood Product Hierarchy* | 03/28/19 | No |
| *FAQ VBECS Computer Crossmatch Decision Tree* | 02/08/12 | No |
| *FAQ Weak D Policy* | 01/11/10 | No |
| *FAQ Workload Assignments Single vs Batch Processing* | 07/01/20 | No |

# Customer Support

## Problems?

Contact your Local Office of Information Technology (OIT) or Laboratory Information Manager (LIM) if you encounter VistA or CPRS connection problems and for training support **before** contacting the Service Desk (SD).

|  |
| --- |
| * Ensure local contact information is available at all times. SD support will engage Enterprise Operations (EO) personnel as needed. * Problems with connectivity to VistA and CPRS may require personnel from EO with VBECS server administrator access and VistA IT support access. * If you experience a Food and Drug Administratin (FDA) reportable adverse event (patient death or serious injury) that VBECS may have caused or contributed to, contact the Service Desk directly to enter a ticket for Blood Bank software support. |

If the problem remains unresolved after local VistA triage, call the Service Desk (below) and specify the Enterprise Application be set as VistA Blood Establishment Computer Software. This will cause the Assignment group to default to NTL Alert Blood Bank & VBECS, which alerts the Clin2 team.

**Service Desk Contact**

REDACTED

## References

* *ISBT128 Standard Technical Specification v 5.10.0*

|  |
| --- |
| * *Blood Product Revisions ICCBBA Version 7.44.0, November 13th 2020* |

## VBECS SharePoint Site

The VBECS SharePoint site provides a location for additional information related to the VBECS application such as FAQs, installation status, and release history.

REDACTED.

# Installation Qualification (IQ) Documentation

The expedited patch installation process will continue with the installation of VBECS 2.3.2 Rev G.

|  |  |
| --- | --- |
| **Test Account Upgrade to VBECS 2.3.2 Revision G** | |
| Required Patch Installation | VistA Patch: None  Server Patch: VBECS 2.3.2 Revision G |
| Installation Process for VBECS 2.3.2 Rev G | Installed by the BBM team, all sites will be installed in one day. The date of installation will be communicated through a ListServ announcement. |
| Expected Downtime | None |
| Installation Communication for VBECS 2.3.2 Rev G | The planned completion time for all test installs will be provided on the VBECS SharePoint site. |
| Site Responsibility | * Join VBECS-L message board on ListServ, if needed. * Please communicate any changes to your site supervisor and Point of Contact (POC) since the last patch install to the BBM team to the email group “VA OIT BBM Team”. |
| Site Record of Patch Installation | Sites should take and save a screenshot of the VBECS Help, About window after the Test installation is performed. This displays the VBECS updated version information. |

|  |  |
| --- | --- |
| **Production Account Upgrade to VBECS 2.3.2 Revision G** | |
| Required Patch Installation | VistA Patch: None  Server Patch: VBECS 2.3.2 Revision G |
| Installation Process for VBECS 2.3.2 Rev G | Installed by the BBM team, all sites will be installed in one day. The date of installation will be communicated through a ListServ announcement. |
| Expected Downtime | You will be able to use VBECS during the patch installation. VBECS installation on your production account only lasts a few minutes and is invisible to users.  If you encounter any disruption or errors while viewing or printing reports during the installation, try again after a few minutes. |
| Installation Communication for VBECS 2.3.2 Rev G | The status of production installs will be provided on the VBECS SharePoint site. |
| Site Responsibility | * Perform local validation, training, and set-up requirements prior to Production installation. * Join VBECS-L message board on ListServ, if needed. * Please communicate any changes to your site supervisor and Point of Contact (POC) since the last patch install to the BBM team to the email group “VA OIT BBM Team”. |
| Site Record of Patch Installation | Sites should take and save a screenshot of the VBECS Help, About window after Production installation is performed. This displays the VBECS updated version information. |

# Validation Planning

The following is a flowchart to help assess changes for validation planning.



# Table 1: Updates by Option

| ID | Option | **Problem Summary** | **Change Summary** | **Validation Scenario** | **Change applies to my facility. (Y/N)** | **Local risk Assessment**  **(Low, Med, High)** | **SOP revision required. If yes, identify it.** | **Staff training needed.**  **(Y/N)** | **Scenarios or validation must be performed.**  **(Y/N)** |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Blood Products  71067 | Update blood product table with new ICCBBA blood product codes from version 7.38.0, 7.39.0, 7.40.0, 7.40.1, 7.41.0, 7.42.0, 7.43.0 and 7.44.0. | New blood products were added to VBECS.  For a full list of new product codes for COVID-19 treatment, see Table 2: New Blood Products for COVID-19 Treatment.  For all other blood products added by ICCBBA that are not related to COVID-19 treatment see Table 3: Other Blood Products Not Related to COVID-19 Treatment.  The list of all possible modifications for new blood products can be found on VBECS SharePoint Site. | Validate only blood products that you may receive from your supplier. Use Tools, Blood Products to associate the blood products with an active facility. |  |  |  |  |  |
| 2 | Blood Unit Modification – Thaw/Pool  71028 | Thaw/Pool modification does not work for certain product codes. | VBECS will now have valid target products for Thaw/Pool modification.  The list of all product codes affected by this change can be found on VBECS SharePoint Site. | Validate only if you were affected by this defect.  Perform Thaw/Pool modification on two units of product E3571. Verify that VBECS offers target product for modification and that it can be successfully completed. |  |  |  |  |  |

# Table 2: New Blood Products for COVID-19 Treatment

| **Component** | **Product Code** | **Modifiable** | **Product Type** | **Long Name** | **Short Name** | **Maximum Storage Hours** |
| --- | --- | --- | --- | --- | --- | --- |
| FRESH FROZEN PLASMA | E9887 | No | IMMUNE PLASMA | IMMUNE PLASMA|CPD/XX/<=-18C|For mnf:injectable|SARS-CoV-2 | PLASMA Imm CPD MNFI SARS-CoV-2 | 8760 |
| FRESH FROZEN PLASMA | E9888 | No | IMMUNE PLASMA | IMMUNE PLASMA|CPDA-1/XX/<=-18C|For mnf:injectable|SARS-CoV-2 | PLASMA Imm CPDA-1 MNFI SARS-CoV-2 | 8760 |
| FRESH FROZEN PLASMA | E9890 | Yes | Apheresis POOLED CONVALESCENT PLASMA | Apheresis POOLED CONVALESCENT PLASMA|ACD-A/XX/<=-25C|Psoralen-treated|From 2 donors|COVID-19 | PLASMA Conv AFR Pool ACD-A Psoraln 2DNR COVID-19 | 8760 |
| FRESH FROZEN PLASMA | E9891 | Yes | Apheresis POOLED CONVALESCENT PLASMA | Apheresis POOLED CONVALESCENT PLASMA|ACD-A/XX/<=-25C|Psoralen-treated|From 3 donors|COVID-19 | PLASMA Conv AFR Pool ACD-A Psoraln 3DNR COVID-19 | 8760 |
| FRESH FROZEN PLASMA | E9892 | Yes | Apheresis CONVALESCENT PLASMA | Apheresis CONVALESCENT PLASMA|CPD-50/XX/<=-25C|ResLeu:<1E6|COVID-19 | PLASMA AFR Conv CPD-50 LUKOPR COVID-19 | 8760 |
| FRESH FROZEN PLASMA | E9893 | Yes | Thawed Apheresis CONVALESCENT PLASMA | Thawed Apheresis CONVALESCENT PLASMA|CPD-50/XX/refg|ResLeu:<1E6|COVID-19 | PLASMA Conv AFR Thaw CPD-50 LUKOPR COVID-19 | 120 |
| FRESH FROZEN PLASMA | E9894 | Yes | Apheresis CONVALESCENT PLASMA | Apheresis CONVALESCENT PLASMA|CPD-50/XX/<=-25C|ResLeu:<1E6|Psoralen-treated|COVID-19 | PLASMA AFR Conv CPD-50 LUKOPR Psoraln COVID-19 | 8760 |
| FRESH FROZEN PLASMA | E9895 | Yes | Thawed Apheresis CONVALESCENT PLASMA | Thawed Apheresis CONVALESCENT PLASMA|CPD-50/XX/refg|ResLeu:<1E6|Psoralen-treated|COVID-19 | PLASMA Conv AFR Thaw CPD-50 LUKOPR Psoraln COVID-19 | 120 |
| FRESH FROZEN PLASMA | E9896 | Yes | CONVALESCENT PLASMA | CONVALESCENT PLASMA|CPD/XX/<=-25C|ResLeu:<1E6|COVID-19 | PLASMA Conv CPD LUKOPR COVID-19 | 8760 |
| FRESH FROZEN PLASMA | E9897 | Yes | Thawed CONVALESCENT PLASMA | Thawed CONVALESCENT PLASMA|CPD/XX/refg|ResLeu:<1E6|COVID-19 | PLASMA Conv Thaw CPD LUKOPR COVID-19 | 120 |
| FRESH FROZEN PLASMA | E9898 | Yes | Apheresis CONVALESCENT PLASMA | Apheresis CONVALESCENT PLASMA|NaCitrate/XX/<=-25C|ResLeu:<1E6|Psoralen-treated|COVID-19 | PLASMA AFR Conv NaCit LUKOPR Psoraln COVID-19 | 8760 |
| FRESH FROZEN PLASMA | E9899 | Yes | Thawed Apheresis CONVALESCENT PLASMA | Thawed Apheresis CONVALESCENT PLASMA|NaCitrate/XX/refg|ResLeu:<1E6|Psoralen-treated|COVID-19 | PLASMA Conv AFR Thaw NaCit LUKOPR Psoraln COVID-19 | 120 |
| FRESH FROZEN PLASMA | E9904 | Yes | Thawed Apheresis CONVALESCENT PLASMA | Thawed Apheresis CONVALESCENT PLASMA|NaCitrate/XX/refg|COVID-19 | PLASMA Conv AFR Thaw NaCit COVID-19 | 120 |
| FRESH FROZEN PLASMA | E9905 | No | Liquid CONVALESCENT PLASMA | Liquid CONVALESCENT PLASMA|NS/XX/refg|Not for tx or mnf|COVID-19 | PLASMA Conv Liq NS NMT COVID-19 | 624 |
| FRESH FROZEN PLASMA | E9906 | No | CONVALESCENT PLASMA | CONVALESCENT PLASMA|NS/XX/<=-18C|Not for tx or mnf|COVID-19 | PLASMA Conv NS NMT COVID-19 | 8760 |
| FRESH FROZEN PLASMA | E9934 | Yes | Apheresis CONVALESCENT PLASMA | Apheresis CONVALESCENT PLASMA|ACD-A/XX/<=-25C|1st container|COVID-19 | PLASMA AFR Conv ACD-A 1C COVID-19 | 8760 |
| FRESH FROZEN PLASMA | E9935 | Yes | Apheresis CONVALESCENT PLASMA | Apheresis CONVALESCENT PLASMA|ACD-A/XX/<=-25C|2nd container|COVID-19 | PLASMA AFR Conv ACD-A 2C COVID-19 | 8760 |
| FRESH FROZEN PLASMA | E9936 | Yes | Apheresis CONVALESCENT PLASMA | Apheresis CONVALESCENT PLASMA|ACD-A/XX/<=-25C|3rd container|COVID-19 | PLASMA AFR Conv ACD-A 3C COVID-19 | 8760 |
| FRESH FROZEN PLASMA | EA160 | Yes | Apheresis CONVALESCENT PLASMA | Apheresis CONVALESCENT PLASMA|ACD-A/XX/<=-18C|COVID-19 high titer | PLASMA AFR Conv ACD-A COVID-19 high titer | 8760 |
| FRESH FROZEN PLASMA | EA161 | Yes | Apheresis CONVALESCENT PLASMA | Apheresis CONVALESCENT PLASMA|ACD-A/XX/<=-18C|COVID-19 low titer | PLASMA AFR Conv ACD-A COVID-19 low titer | 8760 |
| FRESH FROZEN PLASMA | EA162 | Yes | Thawed Apheresis CONVALESCENT PLASMA | Thawed Apheresis CONVALESCENT PLASMA|ACD-A/XX/refg|COVID-19 high titer | PLASMA Conv AFR Thaw ACD-A COVID-19 high titer | 120 |
| FRESH FROZEN PLASMA | EA163 | Yes | Thawed Apheresis CONVALESCENT PLASMA | Thawed Apheresis CONVALESCENT PLASMA|ACD-A/XX/refg|COVID-19 low titer | PLASMA Conv AFR Thaw ACD-A COVID-19 low titer | 120 |
| FRESH FROZEN PLASMA | EA164 | Yes | Apheresis CONVALESCENT PLASMA | Apheresis CONVALESCENT PLASMA|ACD-A/XX/<=-18C|Irradiated|COVID-19 high titer | PLASMA AFR Conv ACD-A IRD COVID-19 high titer | 8760 |
| FRESH FROZEN PLASMA | EA165 | Yes | Apheresis CONVALESCENT PLASMA | Apheresis CONVALESCENT PLASMA|ACD-A/XX/<=-18C|Irradiated|COVID-19 low titer | PLASMA AFR Conv ACD-A IRD COVID-19 low titer | 8760 |
| FRESH FROZEN PLASMA | EA166 | Yes | Apheresis CONVALESCENT PLASMA | Apheresis CONVALESCENT PLASMA|ACD-A/XX/<=-18C|1st container|COVID-19 high titer | PLASMA AFR Conv ACD-A 1C COVID-19 high titer | 8760 |
| FRESH FROZEN PLASMA | EA167 | Yes | Apheresis CONVALESCENT PLASMA | Apheresis CONVALESCENT PLASMA|ACD-A/XX/<=-18C|1st container|COVID-19 low titer | PLASMA AFR Conv ACD-A 1C COVID-19 low titer | 8760 |
| FRESH FROZEN PLASMA | EA168 | Yes | Apheresis CONVALESCENT PLASMA | Apheresis CONVALESCENT PLASMA|ACD-A/XX/<=-18C|2nd container|COVID-19 high titer | PLASMA AFR Conv ACD-A 2C COVID-19 high titer | 8760 |
| FRESH FROZEN PLASMA | EA169 | Yes | Apheresis CONVALESCENT PLASMA | Apheresis CONVALESCENT PLASMA|ACD-A/XX/<=-18C|2nd container|COVID-19 low titer | PLASMA AFR Conv ACD-A 2C COVID-19 low titer | 8760 |
| FRESH FROZEN PLASMA | EA170 | Yes | Apheresis CONVALESCENT PLASMA | Apheresis CONVALESCENT PLASMA|ACD-A/XX/<=-18C|3rd container|COVID-19 high titer | PLASMA AFR Conv ACD-A 3C COVID-19 high titer | 8760 |
| FRESH FROZEN PLASMA | EA171 | Yes | Apheresis CONVALESCENT PLASMA | Apheresis CONVALESCENT PLASMA|ACD-A/XX/<=-18C|3rd container|COVID-19 low titer | PLASMA AFR Conv ACD-A 3C COVID-19 low titer | 8760 |
| FRESH FROZEN PLASMA | EA172 | Yes | Apheresis CONVALESCENT PLASMA | Apheresis CONVALESCENT PLASMA|ACD-A/XX/<=-18C|4th container|COVID-19 high titer | PLASMA AFR Conv ACD-A 4C COVID-19 high titer | 8760 |
| FRESH FROZEN PLASMA | EA173 | Yes | Apheresis CONVALESCENT PLASMA | Apheresis CONVALESCENT PLASMA|ACD-A/XX/<=-18C|4th container|COVID-19 low titer | PLASMA AFR Conv ACD-A 4C COVID-19 low titer | 8760 |
| FRESH FROZEN PLASMA | EA174 | Yes | Liquid Apheresis CONVALESCENT PLASMA | Liquid Apheresis CONVALESCENT PLASMA|NS/XX/refg|1st container|COVID-19 high titer | PLASMA Conv AFR Liq NS 1C COVID-19 high titer | 120 |
| FRESH FROZEN PLASMA | EA175 | Yes | Liquid Apheresis CONVALESCENT PLASMA | Liquid Apheresis CONVALESCENT PLASMA|NS/XX/refg|1st container|COVID-19 low titer | PLASMA Conv AFR Liq NS 1C COVID-19 low titer | 120 |
| FRESH FROZEN PLASMA | EA176 | Yes | Liquid Apheresis CONVALESCENT PLASMA | Liquid Apheresis CONVALESCENT PLASMA|NS/XX/refg|2nd container|COVID-19 high titer | PLASMA Conv AFR Liq NS 2C COVID-19 high titer | 120 |
| FRESH FROZEN PLASMA | EA177 | Yes | Liquid Apheresis CONVALESCENT PLASMA | Liquid Apheresis CONVALESCENT PLASMA|NS/XX/refg|2nd container|COVID-19 low titer | PLASMA Conv AFR Liq NS 2C COVID-19 low titer | 120 |
| FRESH FROZEN PLASMA | EA178 | Yes | Liquid Apheresis CONVALESCENT PLASMA | Liquid Apheresis CONVALESCENT PLASMA|NS/XX/refg|3rd container|COVID-19 high titer | PLASMA Conv AFR Liq NS 3C COVID-19 high titer | 120 |
| FRESH FROZEN PLASMA | EA179 | Yes | Liquid Apheresis CONVALESCENT PLASMA | Liquid Apheresis CONVALESCENT PLASMA|NS/XX/refg|3rd container|COVID-19 low titer | PLASMA Conv AFR Liq NS 3C COVID-19 low titer | 120 |
| FRESH FROZEN PLASMA | EA180 | Yes | Liquid Apheresis CONVALESCENT PLASMA | Liquid Apheresis CONVALESCENT PLASMA|NS/XX/refg|4th container|COVID-19 high titer | PLASMA Conv AFR Liq NS 4C COVID-19 high titer | 120 |
| FRESH FROZEN PLASMA | EA181 | Yes | Liquid Apheresis CONVALESCENT PLASMA | Liquid Apheresis CONVALESCENT PLASMA|NS/XX/refg|4th container|COVID-19 low titer | PLASMA Conv AFR Liq NS 4C COVID-19 low titer | 120 |
| FRESH FROZEN PLASMA | EA182 | Yes | Thawed Apheresis CONVALESCENT PLASMA | Thawed Apheresis CONVALESCENT PLASMA|ACD-A/XX/refg|1st container|COVID-19 high titer | PLASMA Conv AFR Thaw ACD-A 1C COVID-19 high titer | 120 |
| FRESH FROZEN PLASMA | EA183 | Yes | Thawed Apheresis CONVALESCENT PLASMA | Thawed Apheresis CONVALESCENT PLASMA|ACD-A/XX/refg|1st container|COVID-19 low titer | PLASMA Conv AFR Thaw ACD-A 1C COVID-19 low titer | 120 |
| FRESH FROZEN PLASMA | EA184 | Yes | Thawed Apheresis CONVALESCENT PLASMA | Thawed Apheresis CONVALESCENT PLASMA|ACD-A/XX/refg|2nd container|COVID-19 high titer | PLASMA Conv AFR Thaw ACD-A 2C COVID-19 high titer | 120 |
| FRESH FROZEN PLASMA | EA185 | Yes | Thawed Apheresis CONVALESCENT PLASMA | Thawed Apheresis CONVALESCENT PLASMA|ACD-A/XX/refg|2nd container|COVID-19 low titer | PLASMA Conv AFR Thaw ACD-A 2C COVID-19 low titer | 120 |
| FRESH FROZEN PLASMA | EA186 | Yes | Thawed Apheresis CONVALESCENT PLASMA | Thawed Apheresis CONVALESCENT PLASMA|ACD-A/XX/refg|3rd container|COVID-19 high titer | PLASMA Conv AFR Thaw ACD-A 3C COVID-19 high titer | 120 |
| FRESH FROZEN PLASMA | EA187 | Yes | Thawed Apheresis CONVALESCENT PLASMA | Thawed Apheresis CONVALESCENT PLASMA|ACD-A/XX/refg|3rd container|COVID-19 low titer | PLASMA Conv AFR Thaw ACD-A 3C COVID-19 low titer | 120 |
| FRESH FROZEN PLASMA | EA188 | Yes | Thawed Apheresis CONVALESCENT PLASMA | Thawed Apheresis CONVALESCENT PLASMA|ACD-A/XX/refg|4th container|COVID-19 high titer | PLASMA Conv AFR Thaw ACD-A 4C COVID-19 high titer | 120 |
| FRESH FROZEN PLASMA | EA189 | Yes | Thawed Apheresis CONVALESCENT PLASMA | Thawed Apheresis CONVALESCENT PLASMA|ACD-A/XX/refg|4th container|COVID-19 low titer | PLASMA Conv AFR Thaw ACD-A 4C COVID-19 low titer | 120 |
| FRESH FROZEN PLASMA | EA190 | Yes | Apheresis CONVALESCENT PLASMA | Apheresis CONVALESCENT PLASMA|NS/XX/<=-18C|COVID-19 high titer | PLASMA AFR Conv NS COVID-19 high titer | 8760 |
| FRESH FROZEN PLASMA | EA191 | Yes | Apheresis CONVALESCENT PLASMA | Apheresis CONVALESCENT PLASMA|NS/XX/<=-18C|COVID-19 low titer | PLASMA AFR Conv NS COVID-19 low titer | 8760 |
| FRESH FROZEN PLASMA | EA192 | Yes | Apheresis CONVALESCENT PLASMA | Apheresis CONVALESCENT PLASMA|NS/XX/<=-18C|Methylene blue-treated|COVID-19 high titer | PLASMA AFR Conv NS Methyl Blue COVID-19 high titer | 8760 |
| FRESH FROZEN PLASMA | EA193 | Yes | Apheresis CONVALESCENT PLASMA | Apheresis CONVALESCENT PLASMA|NS/XX/<=-18C|Methylene blue-treated|COVID-19 low titer | PLASMA AFR Conv NS Methyl Blue COVID-19 low titer | 8760 |
| FRESH FROZEN PLASMA | EA194 | Yes | Apheresis CONVALESCENT PLASMA | Apheresis CONVALESCENT PLASMA|NS/XX/<=-18C|Psoralen-treated|COVID-19 high titer | PLASMA AFR Conv NS Psoraln COVID-19 high titer | 8760 |
| FRESH FROZEN PLASMA | EA195 | Yes | Apheresis CONVALESCENT PLASMA | Apheresis CONVALESCENT PLASMA|NS/XX/<=-18C|Psoralen-treated|COVID-19 low titer | PLASMA AFR Conv NS Psoraln COVID-19 low titer | 8760 |
| FRESH FROZEN PLASMA | EA196 | Yes | Apheresis CONVALESCENT PLASMA | Apheresis CONVALESCENT PLASMA|NS/XX/<=-18C|Riboflavin-treated|COVID-19 high titer | PLASMA AFR Conv NS Ribo COVID-19 high titer | 8760 |
| FRESH FROZEN PLASMA | EA197 | Yes | Apheresis CONVALESCENT PLASMA | Apheresis CONVALESCENT PLASMA|NS/XX/<=-18C|Riboflavin-treated|COVID-19 low titer | PLASMA AFR Conv NS Ribo COVID-19 low titer | 8760 |
| FRESH FROZEN PLASMA | EA198 | Yes | Apheresis CONVALESCENT PLASMA | Apheresis CONVALESCENT PLASMA|ACD-A/XX/<=-18C|Methylene blue-treated|COVID-19 high titer | PLASMA AFR Conv ACD-A Methyl Blue COVID-19 high titer | 8760 |
| FRESH FROZEN PLASMA | EA199 | Yes | Apheresis CONVALESCENT PLASMA | Apheresis CONVALESCENT PLASMA|ACD-A/XX/<=-18C|Methylene blue-treated|COVID-19 low titer | PLASMA AFR Conv ACD-A Methyl Blue COVID-19 low titer | 8760 |
| FRESH FROZEN PLASMA | EA200 | Yes | Apheresis CONVALESCENT PLASMA | Apheresis CONVALESCENT PLASMA|ACD-A/XX/<=-18C|Psoralen-treated|COVID-19 high titer | PLASMA AFR Conv ACD-A Psoraln COVID-19 high titer | 8760 |
| FRESH FROZEN PLASMA | EA201 | Yes | Apheresis CONVALESCENT PLASMA | Apheresis CONVALESCENT PLASMA|ACD-A/XX/<=-18C|Psoralen-treated|COVID-19 low titer | PLASMA AFR Conv ACD-A Psoraln COVID-19 low titer | 8760 |
| FRESH FROZEN PLASMA | EA202 | Yes | Apheresis CONVALESCENT PLASMA | Apheresis CONVALESCENT PLASMA|ACD-A/XX/<=-18C|Riboflavin-treated|COVID-19 high titer | PLASMA AFR Conv ACD-A Ribo COVID-19 high titer | 8760 |
| FRESH FROZEN PLASMA | EA203 | Yes | Apheresis CONVALESCENT PLASMA | Apheresis CONVALESCENT PLASMA|ACD-A/XX/<=-18C|Riboflavin-treated|COVID-19 low titer | PLASMA AFR Conv ACD-A Ribo COVID-19 low titer | 8760 |
| FRESH FROZEN PLASMA | EA204 | Yes | Liquid Apheresis CONVALESCENT PLASMA | Liquid Apheresis CONVALESCENT PLASMA|ACD-A/XX/refg|COVID-19 high titer | PLASMA Conv AFR Liq ACD-A COVID-19 high titer | 120 |
| FRESH FROZEN PLASMA | EA205 | Yes | Liquid Apheresis CONVALESCENT PLASMA | Liquid Apheresis CONVALESCENT PLASMA|ACD-A/XX/refg|COVID-19 low titer | PLASMA Conv AFR Liq ACD-A COVID-19 low titer | 120 |
| FRESH FROZEN PLASMA | EA206 | Yes | Liquid Apheresis CONVALESCENT PLASMA | Liquid Apheresis CONVALESCENT PLASMA|ACD-A/XX/refg|Methylene blue-treated|COVID-19 high titer | PLASMA Conv AFR Liq ACD-A Methyl Blue COVID-19 high titer | 120 |
| FRESH FROZEN PLASMA | EA207 | Yes | Liquid Apheresis CONVALESCENT PLASMA | Liquid Apheresis CONVALESCENT PLASMA|ACD-A/XX/refg|Methylene blue-treated|COVID-19 low titer | PLASMA Conv AFR Liq ACD-A Methyl Blue COVID-19 low titer | 120 |
| FRESH FROZEN PLASMA | EA208 | Yes | Liquid Apheresis CONVALESCENT PLASMA | Liquid Apheresis CONVALESCENT PLASMA|ACD-A/XX/refg|Psoralen-treated|COVID-19 high titer | PLASMA Conv AFR Liq ACD-A Psoraln COVID-19 high titer | 120 |
| FRESH FROZEN PLASMA | EA209 | Yes | Liquid Apheresis CONVALESCENT PLASMA | Liquid Apheresis CONVALESCENT PLASMA|ACD-A/XX/refg|Psoralen-treated|COVID-19 low titer | PLASMA Conv AFR Liq ACD-A Psoraln COVID-19 low titer | 120 |
| FRESH FROZEN PLASMA | EA210 | Yes | Liquid Apheresis CONVALESCENT PLASMA | Liquid Apheresis CONVALESCENT PLASMA|ACD-A/XX/refg|Riboflavin-treated|COVID-19 high titer | PLASMA Conv AFR Liq ACD-A Ribo COVID-19 high titer | 120 |
| FRESH FROZEN PLASMA | EA211 | Yes | Liquid Apheresis CONVALESCENT PLASMA | Liquid Apheresis CONVALESCENT PLASMA|ACD-A/XX/refg|Riboflavin-treated|COVID-19 low titer | PLASMA Conv AFR Liq ACD-A Ribo COVID-19 low titer | 120 |
| FRESH FROZEN PLASMA | EA212 | Yes | Liquid Apheresis CONVALESCENT PLASMA | Liquid Apheresis CONVALESCENT PLASMA|NS/XX/refg|Methylene blue-treated|COVID-19 high titer | PLASMA Conv AFR Liq NS Methyl Blue COVID-19 high titer | 120 |
| FRESH FROZEN PLASMA | EA213 | Yes | Liquid Apheresis CONVALESCENT PLASMA | Liquid Apheresis CONVALESCENT PLASMA|NS/XX/refg|Methylene blue-treated|COVID-19 low titer | PLASMA Conv AFR Liq NS Methyl Blue COVID-19 low titer | 120 |
| FRESH FROZEN PLASMA | EA214 | Yes | Liquid Apheresis CONVALESCENT PLASMA | Liquid Apheresis CONVALESCENT PLASMA|NS/XX/refg|Psoralen-treated|COVID-19 high titer | PLASMA Conv AFR Liq NS Psoraln COVID-19 high titer | 120 |
| FRESH FROZEN PLASMA | EA215 | Yes | Liquid Apheresis CONVALESCENT PLASMA | Liquid Apheresis CONVALESCENT PLASMA|NS/XX/refg|Psoralen-treated|COVID-19 low titer | PLASMA Conv AFR Liq NS Psoraln COVID-19 low titer | 120 |
| FRESH FROZEN PLASMA | EA216 | Yes | Liquid Apheresis CONVALESCENT PLASMA | Liquid Apheresis CONVALESCENT PLASMA|NS/XX/refg|Riboflavin-treated|COVID-19 high titer | PLASMA Conv AFR Liq NS Ribo COVID-19 high titer | 120 |
| FRESH FROZEN PLASMA | EA217 | Yes | Liquid Apheresis CONVALESCENT PLASMA | Liquid Apheresis CONVALESCENT PLASMA|NS/XX/refg|Riboflavin-treated|COVID-19 low titer | PLASMA Conv AFR Liq NS Ribo COVID-19 low titer | 120 |
| FRESH FROZEN PLASMA | EA218 | Yes | Thawed CONVALESCENT PLASMA | Thawed CONVALESCENT PLASMA|CPD/XX/refg|COVID-19 high titer | PLASMA Conv Thaw CPD COVID-19 high titer | 120 |
| FRESH FROZEN PLASMA | EA219 | Yes | Thawed CONVALESCENT PLASMA | Thawed CONVALESCENT PLASMA|CPD/XX/refg|COVID-19 low titer | PLASMA Conv Thaw CPD COVID-19 low titer | 120 |
| FRESH FROZEN PLASMA | EA220 | Yes | Thawed Apheresis CONVALESCENT PLASMA | Thawed Apheresis CONVALESCENT PLASMA|CPD/XX/refg|COVID-19 high titer | PLASMA Conv AFR Thaw CPD COVID-19 high titer | 120 |
| FRESH FROZEN PLASMA | EA221 | Yes | Thawed Apheresis CONVALESCENT PLASMA | Thawed Apheresis CONVALESCENT PLASMA|CPD/XX/refg|COVID-19 low titer | PLASMA Conv AFR Thaw CPD COVID-19 low titer | 120 |
| FRESH FROZEN PLASMA | EA222 | Yes | Thawed Apheresis CONVALESCENT PLASMA | Thawed Apheresis CONVALESCENT PLASMA|NS/XX/refg|COVID-19 high titer | PLASMA Conv AFR Thaw NS COVID-19 high titer | 120 |
| FRESH FROZEN PLASMA | EA223 | Yes | Thawed Apheresis CONVALESCENT PLASMA | Thawed Apheresis CONVALESCENT PLASMA|NS/XX/refg|COVID-19 low titer | PLASMA Conv AFR Thaw NS COVID-19 low titer | 120 |
| FRESH FROZEN PLASMA | EA224 | Yes | Thawed CONVALESCENT PLASMA | Thawed CONVALESCENT PLASMA|NS/XX/refg|COVID-19 high titer | PLASMA Conv Thaw NS COVID-19 high titer | 120 |
| FRESH FROZEN PLASMA | EA225 | Yes | Thawed CONVALESCENT PLASMA | Thawed CONVALESCENT PLASMA|NS/XX/refg|COVID-19 low titer | PLASMA Conv Thaw NS COVID-19 low titer | 120 |
| FRESH FROZEN PLASMA | EA226 | Yes | Apheresis CONVALESCENT PLASMA | Apheresis CONVALESCENT PLASMA|ACD-A/XX/<=-18C|1st container|Psoralen-treated|COVID-19 high titer | PLASMA AFR Conv ACD-A 1C Psoraln COVID-19 high titer | 8760 |
| FRESH FROZEN PLASMA | EA227 | Yes | Apheresis CONVALESCENT PLASMA | Apheresis CONVALESCENT PLASMA|ACD-A/XX/<=-18C|1st container|Psoralen-treated|COVID-19 low titer | PLASMA AFR Conv ACD-A 1C Psoraln COVID-19 low titer | 8760 |
| FRESH FROZEN PLASMA | EA228 | Yes | Apheresis CONVALESCENT PLASMA | Apheresis CONVALESCENT PLASMA|ACD-A/XX/<=-18C|2nd container|Psoralen-treated|COVID-19 high titer | PLASMA AFR Conv ACD-A 2C Psoraln COVID-19 high titer | 8760 |
| FRESH FROZEN PLASMA | EA229 | Yes | Apheresis CONVALESCENT PLASMA | Apheresis CONVALESCENT PLASMA|ACD-A/XX/<=-18C|2nd container|Psoralen-treated|COVID-19 low titer | PLASMA AFR Conv ACD-A 2C Psoraln COVID-19 low titer | 8760 |
| FRESH FROZEN PLASMA | EA230 | Yes | Apheresis CONVALESCENT PLASMA | Apheresis CONVALESCENT PLASMA|ACD-A/XX/<=-18C|3rd container|Psoralen-treated|COVID-19 high titer | PLASMA AFR Conv ACD-A 3C Psoraln COVID-19 high titer | 8760 |
| FRESH FROZEN PLASMA | EA231 | Yes | Apheresis CONVALESCENT PLASMA | Apheresis CONVALESCENT PLASMA|ACD-A/XX/<=-18C|3rd container|Psoralen-treated|COVID-19 low titer | PLASMA AFR Conv ACD-A 3C Psoraln COVID-19 low titer | 8760 |
| FRESH FROZEN PLASMA | EA232 | Yes | Apheresis CONVALESCENT PLASMA | Apheresis CONVALESCENT PLASMA|ACD-A/XX/<=-18C|4th container|Psoralen-treated|COVID-19 high titer | PLASMA AFR Conv ACD-A 4C Psoraln COVID-19 high titer | 8760 |
| FRESH FROZEN PLASMA | EA233 | Yes | Apheresis CONVALESCENT PLASMA | Apheresis CONVALESCENT PLASMA|ACD-A/XX/<=-18C|4th container|Psoralen-treated|COVID-19 low titer | PLASMA AFR Conv ACD-A 4C Psoraln COVID-19 low titer | 8760 |
| FRESH FROZEN PLASMA | EA234 | Yes | Thawed Apheresis CONVALESCENT PLASMA | Thawed Apheresis CONVALESCENT PLASMA|ACD-A/XX/refg|Psoralen-treated|COVID-19 high titer | PLASMA Conv AFR Thaw ACD-A Psoraln COVID-19 high titer | 120 |
| FRESH FROZEN PLASMA | EA235 | Yes | Thawed Apheresis CONVALESCENT PLASMA | Thawed Apheresis CONVALESCENT PLASMA|ACD-A/XX/refg|Psoralen-treated|COVID-19 low titer | PLASMA Conv AFR Thaw ACD-A Psoraln COVID-19 low titer | 120 |
| FRESH FROZEN PLASMA | EA236 | Yes | Thawed Apheresis CONVALESCENT PLASMA | Thawed Apheresis CONVALESCENT PLASMA|ACD-A/XX/refg|1st container|Psoralen-treated|COVID-19 high titer | PLASMA Conv AFR Thaw ACD-A 1C Psoraln COVID-19 high titer | 120 |
| FRESH FROZEN PLASMA | EA237 | Yes | Thawed Apheresis CONVALESCENT PLASMA | Thawed Apheresis CONVALESCENT PLASMA|ACD-A/XX/refg|1st container|Psoralen-treated|COVID-19 low titer | PLASMA Conv AFR Thaw ACD-A 1C Psoraln COVID-19 low titer | 120 |
| FRESH FROZEN PLASMA | EA238 | Yes | Thawed Apheresis CONVALESCENT PLASMA | Thawed Apheresis CONVALESCENT PLASMA|ACD-A/XX/refg|2nd container|Psoralen-treated|COVID-19 high titer | PLASMA Conv AFR Thaw ACD-A 2C Psoraln COVID-19 high titer | 120 |
| FRESH FROZEN PLASMA | EA239 | Yes | Thawed Apheresis CONVALESCENT PLASMA | Thawed Apheresis CONVALESCENT PLASMA|ACD-A/XX/refg|2nd container|Psoralen-treated|COVID-19 low titer | PLASMA Conv AFR Thaw ACD-A 2C Psoraln COVID-19 low titer | 120 |
| FRESH FROZEN PLASMA | EA240 | Yes | Thawed Apheresis CONVALESCENT PLASMA | Thawed Apheresis CONVALESCENT PLASMA|ACD-A/XX/refg|3rd container|Psoralen-treated|COVID-19 high titer | PLASMA Conv AFR Thaw ACD-A 3C Psoraln COVID-19 high titer | 120 |
| FRESH FROZEN PLASMA | EA241 | Yes | Thawed Apheresis CONVALESCENT PLASMA | Thawed Apheresis CONVALESCENT PLASMA|ACD-A/XX/refg|3rd container|Psoralen-treated|COVID-19 low titer | PLASMA Conv AFR Thaw ACD-A 3C Psoraln COVID-19 low titer | 120 |
| FRESH FROZEN PLASMA | EA242 | Yes | Thawed Apheresis CONVALESCENT PLASMA | Thawed Apheresis CONVALESCENT PLASMA|ACD-A/XX/refg|4th container|Psoralen-treated|COVID-19 high titer | PLASMA Conv AFR Thaw ACD-A 4C Psoraln COVID-19 high titer | 120 |
| FRESH FROZEN PLASMA | EA243 | Yes | Thawed Apheresis CONVALESCENT PLASMA | Thawed Apheresis CONVALESCENT PLASMA|ACD-A/XX/refg|4th container|Psoralen-treated|COVID-19 low titer | PLASMA Conv AFR Thaw ACD-A 4C Psoraln COVID-19 low titer | 120 |
| FRESH FROZEN PLASMA | EA244 | Yes | Thawed Apheresis CONVALESCENT PLASMA | Thawed Apheresis CONVALESCENT PLASMA|ACD-A/XX/refg|Irradiated|COVID-19 high titer | PLASMA Conv AFR Thaw ACD-A IRD COVID-19 high titer | 120 |
| FRESH FROZEN PLASMA | EA245 | Yes | Thawed Apheresis CONVALESCENT PLASMA | Thawed Apheresis CONVALESCENT PLASMA|ACD-A/XX/refg|Irradiated|COVID-19 low titer | PLASMA Conv AFR Thaw ACD-A IRD COVID-19 low titer | 120 |
| FRESH FROZEN PLASMA | EA246 | Yes | Liquid CONVALESCENT PLASMA | Liquid CONVALESCENT PLASMA|NS/XX/refg|Irradiated|COVID-19 high titer | PLASMA Conv Liq NS IRD COVID-19 high titer | 624 |
| FRESH FROZEN PLASMA | EA247 | Yes | Liquid CONVALESCENT PLASMA | Liquid CONVALESCENT PLASMA|NS/XX/refg|Irradiated|COVID-19 low titer | PLASMA Conv Liq NS IRD COVID-19 low titer | 624 |
| FRESH FROZEN PLASMA | EA248 | Yes | Liquid Apheresis CONVALESCENT PLASMA | Liquid Apheresis CONVALESCENT PLASMA|NS/XX/refg|Irradiated|COVID-19 high titer | PLASMA Conv AFR Liq NS IRD COVID-19 high titer | 120 |
| FRESH FROZEN PLASMA | EA249 | Yes | Liquid Apheresis CONVALESCENT PLASMA | Liquid Apheresis CONVALESCENT PLASMA|NS/XX/refg|Irradiated|COVID-19 low titer | PLASMA Conv AFR Liq NS IRD COVID-19 low titer | 120 |
| FRESH FROZEN PLASMA | EA250 | Yes | Liquid Apheresis CONVALESCENT PLASMA | Liquid Apheresis CONVALESCENT PLASMA|ACD-A/XX/refg|Irradiated|COVID-19 high titer | PLASMA Conv AFR Liq ACD-A IRD COVID-19 high titer | 120 |
| FRESH FROZEN PLASMA | EA251 | Yes | Liquid Apheresis CONVALESCENT PLASMA | Liquid Apheresis CONVALESCENT PLASMA|ACD-A/XX/refg|Irradiated|COVID-19 low titer | PLASMA Conv AFR Liq ACD-A IRD COVID-19 low titer | 120 |
| FRESH FROZEN PLASMA | EA252 | Yes | Liquid CONVALESCENT PLASMA | Liquid CONVALESCENT PLASMA|CPD/XX/refg|Irradiated|COVID-19 high titer | PLASMA Conv Liq CPD IRD COVID-19 high titer | 624 |
| FRESH FROZEN PLASMA | EA253 | Yes | Liquid CONVALESCENT PLASMA | Liquid CONVALESCENT PLASMA|CPD/XX/refg|Irradiated|COVID-19 low titer | PLASMA Conv Liq CPD IRD COVID-19 low titer | 624 |
| FRESH FROZEN PLASMA | EA254 | Yes | Liquid Apheresis CONVALESCENT PLASMA | Liquid Apheresis CONVALESCENT PLASMA|CPD/XX/refg|Irradiated|COVID-19 high titer | PLASMA Conv AFR Liq CPD IRD COVID-19 high titer | 120 |
| FRESH FROZEN PLASMA | EA255 | Yes | Liquid Apheresis CONVALESCENT PLASMA | Liquid Apheresis CONVALESCENT PLASMA|CPD/XX/refg|Irradiated|COVID-19 low titer | PLASMA Conv AFR Liq CPD IRD COVID-19 low titer | 120 |
| FRESH FROZEN PLASMA | EA256 | Yes | CONVALESCENT PLASMA | CONVALESCENT PLASMA|CPD/XX/<=-18C|Irradiated|COVID-19 high titer | PLASMA Conv CPD IRD COVID-19 high titer | 8760 |
| FRESH FROZEN PLASMA | EA257 | Yes | CONVALESCENT PLASMA | CONVALESCENT PLASMA|CPD/XX/<=-18C|Irradiated|COVID-19 low titer | PLASMA Conv CPD IRD COVID-19 low titer | 8760 |
| FRESH FROZEN PLASMA | EA258 | Yes | CONVALESCENT PLASMA | CONVALESCENT PLASMA|CP2D/XX/<=-18C|COVID-19 high titer | PLASMA Conv CP2D COVID-19 high titer | 8760 |
| FRESH FROZEN PLASMA | EA259 | Yes | CONVALESCENT PLASMA | CONVALESCENT PLASMA|CP2D/XX/<=-18C|COVID-19 low titer | PLASMA Conv CP2D COVID-19 low titer | 8760 |
| FRESH FROZEN PLASMA | EA260 | Yes | Thawed CONVALESCENT PLASMA | Thawed CONVALESCENT PLASMA|CP2D/XX/refg|COVID-19 high titer | PLASMA Conv Thaw CP2D COVID-19 high titer | 120 |
| FRESH FROZEN PLASMA | EA261 | Yes | Thawed CONVALESCENT PLASMA | Thawed CONVALESCENT PLASMA|CP2D/XX/refg|COVID-19 low titer | PLASMA Conv Thaw CP2D COVID-19 low titer | 120 |
| FRESH FROZEN PLASMA | EA262 | Yes | CONVALESCENT PLASMA | CONVALESCENT PLASMA|CPDA-1/XX/<=-18C|COVID-19 high titer | PLASMA Conv CPDA-1 COVID-19 high titer | 8760 |
| FRESH FROZEN PLASMA | EA263 | Yes | CONVALESCENT PLASMA | CONVALESCENT PLASMA|CPDA-1/XX/<=-18C|COVID-19 low titer | PLASMA Conv CPDA-1 COVID-19 low titer | 8760 |
| FRESH FROZEN PLASMA | EA264 | Yes | CONVALESCENT PLASMA | CONVALESCENT PLASMA|CPDA-1/XX/<=-18C|Psoralen-treated|COVID-19 high titer | PLASMA Conv CPDA-1 Psoraln COVID-19 high titer | 8760 |
| FRESH FROZEN PLASMA | EA265 | Yes | CONVALESCENT PLASMA | CONVALESCENT PLASMA|CPDA-1/XX/<=-18C|Psoralen-treated|COVID-19 low titer | PLASMA Conv CPDA-1 Psoraln COVID-19 low titer | 8760 |
| FRESH FROZEN PLASMA | EA266 | Yes | Liquid Apheresis CONVALESCENT PLASMA | Liquid Apheresis CONVALESCENT PLASMA|NS/XX/refg|Irradiated|1st container|COVID-19 high titer | PLASMA Conv AFR Liq NS IRD 1C COVID-19 high titer | 120 |
| FRESH FROZEN PLASMA | EA267 | Yes | Liquid Apheresis CONVALESCENT PLASMA | Liquid Apheresis CONVALESCENT PLASMA|NS/XX/refg|Irradiated|1st container|COVID-19 low titer | PLASMA Conv AFR Liq NS IRD 1C COVID-19 low titer | 120 |
| FRESH FROZEN PLASMA | EA268 | Yes | Liquid Apheresis CONVALESCENT PLASMA | Liquid Apheresis CONVALESCENT PLASMA|NS/XX/refg|Irradiated|2nd container|COVID-19 high titer | PLASMA Conv AFR Liq NS IRD 2C COVID-19 high titer | 120 |
| FRESH FROZEN PLASMA | EA269 | Yes | Liquid Apheresis CONVALESCENT PLASMA | Liquid Apheresis CONVALESCENT PLASMA|NS/XX/refg|Irradiated|2nd container|COVID-19 low titer | PLASMA Conv AFR Liq NS IRD 2C COVID-19 low titer | 120 |
| FRESH FROZEN PLASMA | EA270 | Yes | Liquid Apheresis CONVALESCENT PLASMA | Liquid Apheresis CONVALESCENT PLASMA|NS/XX/refg|Irradiated|3rd container|COVID-19 high titer | PLASMA Conv AFR Liq NS IRD 3C COVID-19 high titer | 120 |
| FRESH FROZEN PLASMA | EA271 | Yes | Liquid Apheresis CONVALESCENT PLASMA | Liquid Apheresis CONVALESCENT PLASMA|NS/XX/refg|Irradiated|3rd container|COVID-19 low titer | PLASMA Conv AFR Liq NS IRD 3C COVID-19 low titer | 120 |
| FRESH FROZEN PLASMA | EA272 | Yes | Liquid Apheresis CONVALESCENT PLASMA | Liquid Apheresis CONVALESCENT PLASMA|NS/XX/refg|Irradiated|4th container|COVID-19 high titer | PLASMA Conv AFR Liq NS IRD 4C COVID-19 high titer | 120 |
| FRESH FROZEN PLASMA | EA273 | Yes | Liquid Apheresis CONVALESCENT PLASMA | Liquid Apheresis CONVALESCENT PLASMA|NS/XX/refg|Irradiated|4th container|COVID-19 low titer | PLASMA Conv AFR Liq NS IRD 4C COVID-19 low titer | 120 |
| FRESH FROZEN PLASMA | EA274 | Yes | Liquid CONVALESCENT PLASMA | Liquid CONVALESCENT PLASMA|CPDA-1/XX/refg|COVID-19 high titer | PLASMA Conv Liq CPDA-1 COVID-19 high titer | 624 |
| FRESH FROZEN PLASMA | EA275 | Yes | Liquid CONVALESCENT PLASMA | Liquid CONVALESCENT PLASMA|CPDA-1/XX/refg|COVID-19 low titer | PLASMA Conv Liq CPDA-1 COVID-19 low titer | 624 |
| FRESH FROZEN PLASMA | EA276 | Yes | Thawed CONVALESCENT PLASMA | Thawed CONVALESCENT PLASMA|CPDA-1/XX/refg|COVID-19 high titer | PLASMA Conv Thaw CPDA-1 COVID-19 high titer | 120 |
| FRESH FROZEN PLASMA | EA277 | Yes | Thawed CONVALESCENT PLASMA | Thawed CONVALESCENT PLASMA|CPDA-1/XX/refg|COVID-19 low titer | PLASMA Conv Thaw CPDA-1 COVID-19 low titer | 120 |
| FRESH FROZEN PLASMA | EA278 | Yes | Thawed CONVALESCENT PLASMA | Thawed CONVALESCENT PLASMA|CPD/XX/refg|Irradiated|COVID-19 high titer | PLASMA Conv Thaw CPD IRD COVID-19 high titer | 120 |
| FRESH FROZEN PLASMA | EA279 | Yes | Thawed CONVALESCENT PLASMA | Thawed CONVALESCENT PLASMA|CPD/XX/refg|Irradiated|COVID-19 low titer | PLASMA Conv Thaw CPD IRD COVID-19 low titer | 120 |
| FRESH FROZEN PLASMA | EA280 | Yes | Apheresis CONVALESCENT PLASMA | Apheresis CONVALESCENT PLASMA|ACD-A/XX/<=-18C|Irradiated|1st container|COVID-19 high titer | PLASMA AFR Conv ACD-A IRD 1C COVID-19 high titer | 8760 |
| FRESH FROZEN PLASMA | EA281 | Yes | Apheresis CONVALESCENT PLASMA | Apheresis CONVALESCENT PLASMA|ACD-A/XX/<=-18C|Irradiated|1st container|COVID-19 low titer | PLASMA AFR Conv ACD-A IRD 1C COVID-19 low titer | 8760 |
| FRESH FROZEN PLASMA | EA282 | Yes | Apheresis CONVALESCENT PLASMA | Apheresis CONVALESCENT PLASMA|ACD-A/XX/<=-18C|Irradiated|2nd container|COVID-19 high titer | PLASMA AFR Conv ACD-A IRD 2C COVID-19 high titer | 8760 |
| FRESH FROZEN PLASMA | EA283 | Yes | Apheresis CONVALESCENT PLASMA | Apheresis CONVALESCENT PLASMA|ACD-A/XX/<=-18C|Irradiated|2nd container|COVID-19 low titer | PLASMA AFR Conv ACD-A IRD 2C COVID-19 low titer | 8760 |
| FRESH FROZEN PLASMA | EA284 | Yes | Apheresis CONVALESCENT PLASMA | Apheresis CONVALESCENT PLASMA|ACD-A/XX/<=-18C|Irradiated|3rd container|COVID-19 high titer | PLASMA AFR Conv ACD-A IRD 3C COVID-19 high titer | 8760 |
| FRESH FROZEN PLASMA | EA285 | Yes | Apheresis CONVALESCENT PLASMA | Apheresis CONVALESCENT PLASMA|ACD-A/XX/<=-18C|Irradiated|3rd container|COVID-19 low titer | PLASMA AFR Conv ACD-A IRD 3C COVID-19 low titer | 8760 |
| FRESH FROZEN PLASMA | EA286 | Yes | Apheresis CONVALESCENT PLASMA | Apheresis CONVALESCENT PLASMA|ACD-A/XX/<=-18C|Irradiated|4th container|COVID-19 high titer | PLASMA AFR Conv ACD-A IRD 4C COVID-19 high titer | 8760 |
| FRESH FROZEN PLASMA | EA287 | Yes | Apheresis CONVALESCENT PLASMA | Apheresis CONVALESCENT PLASMA|ACD-A/XX/<=-18C|Irradiated|4th container|COVID-19 low titer | PLASMA AFR Conv ACD-A IRD 4C COVID-19 low titer | 8760 |
| FRESH FROZEN PLASMA | EA288 | Yes | Thawed Apheresis CONVALESCENT PLASMA | Thawed Apheresis CONVALESCENT PLASMA|ACD-A/XX/refg|Irradiated|1st container|COVID-19 high titer | PLASMA Conv AFR Thaw ACD-A IRD 1C COVID-19 high titer | 120 |
| FRESH FROZEN PLASMA | EA289 | Yes | Thawed Apheresis CONVALESCENT PLASMA | Thawed Apheresis CONVALESCENT PLASMA|ACD-A/XX/refg|Irradiated|1st container|COVID-19 low titer | PLASMA Conv AFR Thaw ACD-A IRD 1C COVID-19 low titer | 120 |
| FRESH FROZEN PLASMA | EA290 | Yes | Thawed Apheresis CONVALESCENT PLASMA | Thawed Apheresis CONVALESCENT PLASMA|ACD-A/XX/refg|Irradiated|2nd container|COVID-19 high titer | PLASMA Conv AFR Thaw ACD-A IRD 2C COVID-19 high titer | 120 |
| FRESH FROZEN PLASMA | EA291 | Yes | Thawed Apheresis CONVALESCENT PLASMA | Thawed Apheresis CONVALESCENT PLASMA|ACD-A/XX/refg|Irradiated|2nd container|COVID-19 low titer | PLASMA Conv AFR Thaw ACD-A IRD 2C COVID-19 low titer | 120 |
| FRESH FROZEN PLASMA | EA292 | Yes | Thawed Apheresis CONVALESCENT PLASMA | Thawed Apheresis CONVALESCENT PLASMA|ACD-A/XX/refg|Irradiated|3rd container|COVID-19 high titer | PLASMA Conv AFR Thaw ACD-A IRD 3C COVID-19 high titer | 120 |
| FRESH FROZEN PLASMA | EA293 | Yes | Thawed Apheresis CONVALESCENT PLASMA | Thawed Apheresis CONVALESCENT PLASMA|ACD-A/XX/refg|Irradiated|3rd container|COVID-19 low titer | PLASMA Conv AFR Thaw ACD-A IRD 3C COVID-19 low titer | 120 |
| FRESH FROZEN PLASMA | EA294 | Yes | Thawed Apheresis CONVALESCENT PLASMA | Thawed Apheresis CONVALESCENT PLASMA|ACD-A/XX/refg|Irradiated|4th container|COVID-19 high titer | PLASMA Conv AFR Thaw ACD-A IRD 4C COVID-19 high titer | 120 |
| FRESH FROZEN PLASMA | EA295 | Yes | Thawed Apheresis CONVALESCENT PLASMA | Thawed Apheresis CONVALESCENT PLASMA|ACD-A/XX/refg|Irradiated|4th container|COVID-19 low titer | PLASMA Conv AFR Thaw ACD-A IRD 4C COVID-19 low titer | 120 |
| FRESH FROZEN PLASMA | EA296 | Yes | Apheresis CONVALESCENT PLASMA | Apheresis CONVALESCENT PLASMA|ACD-A/XX/<=-18C|5th container|COVID-19 high titer | PLASMA AFR Conv ACD-A 5C COVID-19 high titer | 8760 |
| FRESH FROZEN PLASMA | EA297 | Yes | Apheresis CONVALESCENT PLASMA | Apheresis CONVALESCENT PLASMA|ACD-A/XX/<=-18C|5th container|COVID-19 low titer | PLASMA AFR Conv ACD-A 5C COVID-19 low titer | 8760 |
| FRESH FROZEN PLASMA | EA298 | Yes | Thawed Apheresis CONVALESCENT PLASMA | Thawed Apheresis CONVALESCENT PLASMA|ACD-A/XX/refg|5th container|COVID-19 high titer | PLASMA Conv AFR Thaw ACD-A 5C COVID-19 high titer | 120 |
| FRESH FROZEN PLASMA | EA299 | Yes | Thawed Apheresis CONVALESCENT PLASMA | Thawed Apheresis CONVALESCENT PLASMA|ACD-A/XX/refg|5th container|COVID-19 low titer | PLASMA Conv AFR Thaw ACD-A 5C COVID-19 low titer | 120 |
| FRESH FROZEN PLASMA | EA300 | Yes | CONVALESCENT PLASMA | CONVALESCENT PLASMA|CPD/450mL/<=-25C|Methylene blue-treated|COVID-19 high titer | PLASMA Conv CPD Methyl Blue COVID-19 high titer | 8760 |
| FRESH FROZEN PLASMA | EA301 | Yes | CONVALESCENT PLASMA | CONVALESCENT PLASMA|CPD/450mL/<=-25C|Methylene blue-treated|COVID-19 low titer | PLASMA Conv CPD Methyl Blue COVID-19 low titer | 8760 |
| FRESH FROZEN PLASMA | EA302 | Yes | Thawed Apheresis CONVALESCENT PLASMA | Thawed Apheresis CONVALESCENT PLASMA|NS/XX/refg|Psoralen-treated|COVID-19 high titer | PLASMA Conv AFR Thaw NS Psoraln COVID-19 high titer | 120 |
| FRESH FROZEN PLASMA | EA303 | Yes | Thawed Apheresis CONVALESCENT PLASMA | Thawed Apheresis CONVALESCENT PLASMA|NS/XX/refg|Psoralen-treated|COVID-19 low titer | PLASMA Conv AFR Thaw NS Psoraln COVID-19 low titer | 120 |
| FRESH FROZEN PLASMA | EA304 | Yes | Thawed Apheresis CONVALESCENT PLASMA | Thawed Apheresis CONVALESCENT PLASMA|NS/XX/refg|Methylene blue-treated|COVID-19 high titer | PLASMA Conv AFR Thaw NS Methyl Blue COVID-19 high titer | 120 |
| FRESH FROZEN PLASMA | EA305 | Yes | Thawed Apheresis CONVALESCENT PLASMA | Thawed Apheresis CONVALESCENT PLASMA|NS/XX/refg|Methylene blue-treated|COVID-19 low titer | PLASMA Conv AFR Thaw NS Methyl Blue COVID-19 low titer | 120 |
| FRESH FROZEN PLASMA | EA306 | Yes | Thawed Apheresis CONVALESCENT PLASMA | Thawed Apheresis CONVALESCENT PLASMA|NS/XX/refg|Riboflavin-treated|COVID-19 high titer | PLASMA Conv AFR Thaw NS Ribo COVID-19 high titer | 120 |
| FRESH FROZEN PLASMA | EA307 | Yes | Thawed Apheresis CONVALESCENT PLASMA | Thawed Apheresis CONVALESCENT PLASMA|NS/XX/refg|Riboflavin-treated|COVID-19 low titer | PLASMA Conv AFR Thaw NS Ribo COVID-19 low titer | 120 |
| FRESH FROZEN PLASMA | EA308 | Yes | Thawed Apheresis CONVALESCENT PLASMA | Thawed Apheresis CONVALESCENT PLASMA|ACD-A/XX/refg|Riboflavin-treated|COVID-19 high titer | PLASMA Conv AFR Thaw ACD-A Ribo COVID-19 high titer | 120 |
| FRESH FROZEN PLASMA | EA309 | Yes | Thawed Apheresis CONVALESCENT PLASMA | Thawed Apheresis CONVALESCENT PLASMA|ACD-A/XX/refg|Riboflavin-treated|COVID-19 low titer | PLASMA Conv AFR Thaw ACD-A Ribo COVID-19 low titer | 120 |
| FRESH FROZEN PLASMA | EA310 | Yes | Thawed CONVALESCENT PLASMA | Thawed CONVALESCENT PLASMA|CPDA-1/XX/refg|Psoralen-treated|COVID-19 high titer | PLASMA Conv Thaw CPDA-1 Psoraln COVID-19 high titer | 120 |
| FRESH FROZEN PLASMA | EA311 | Yes | Thawed CONVALESCENT PLASMA | Thawed CONVALESCENT PLASMA|CPDA-1/XX/refg|Psoralen-treated|COVID-19 low titer | PLASMA Conv Thaw CPDA-1 Psoraln COVID-19 low titer | 120 |
| FRESH FROZEN PLASMA | EA312 | Yes | Thawed CONVALESCENT PLASMA | Thawed CONVALESCENT PLASMA|CPD/XX/refg|Methylene blue-treated|COVID-19 high titer | PLASMA Conv Thaw CPD Methyl Blue COVID-19 high titer | 120 |
| FRESH FROZEN PLASMA | EA313 | Yes | Thawed CONVALESCENT PLASMA | Thawed CONVALESCENT PLASMA|CPD/XX/refg|Methylene blue-treated|COVID-19 low titer | PLASMA Conv Thaw CPD Methyl Blue COVID-19 low titer | 120 |
| FRESH FROZEN PLASMA | EA314 | Yes | Thawed Apheresis CONVALESCENT PLASMA | Thawed Apheresis CONVALESCENT PLASMA|NaCitrate/XX/refg|Riboflavin-treated|COVID-19 high titer | PLASMA Conv AFR Thaw NaCit Ribo COVID-19 high titer | 120 |
| FRESH FROZEN PLASMA | EA315 | Yes | Thawed Apheresis CONVALESCENT PLASMA | Thawed Apheresis CONVALESCENT PLASMA|NaCitrate/XX/refg|Riboflavin-treated|COVID-19 low titer | PLASMA Conv AFR Thaw NaCit Ribo COVID-19 low titer | 120 |
| FRESH FROZEN PLASMA | EA316 | Yes | Thawed Apheresis CONVALESCENT PLASMA | Thawed Apheresis CONVALESCENT PLASMA|NaCitrate/XX/refg|Psoralen-treated|COVID-19 high titer | PLASMA Conv AFR Thaw NaCit Psoraln COVID-19 high titer | 120 |
| FRESH FROZEN PLASMA | EA317 | Yes | Thawed Apheresis CONVALESCENT PLASMA | Thawed Apheresis CONVALESCENT PLASMA|NaCitrate/XX/refg|Psoralen-treated|COVID-19 low titer | PLASMA Conv AFR Thaw NaCit Psoraln COVID-19 low titer | 120 |
| FRESH FROZEN PLASMA | EA318 | No | Apheresis CONVALESCENT PLASMA | Apheresis CONVALESCENT PLASMA|ACD-A/XX/<=-18C|Not for tx or mnf|COVID-19 high titer | PLASMA AFR Conv ACD-A NMT COVID-19 high titer | 8760 |
| FRESH FROZEN PLASMA | EA319 | No | Apheresis CONVALESCENT PLASMA | Apheresis CONVALESCENT PLASMA|ACD-A/XX/<=-18C|Not for tx or mnf|COVID-19 low titer | PLASMA AFR Conv ACD-A NMT COVID-19 low titer | 8760 |
| FRESH FROZEN PLASMA | EA320 | Yes | Thawed Apheresis CONVALESCENT PLASMA | Thawed Apheresis CONVALESCENT PLASMA|ACD-A/XX/refg|Open|COVID-19 high titer | PLASMA Conv AFR Thaw ACD-A OPN COVID-19 high titer | 24 |
| FRESH FROZEN PLASMA | EA321 | Yes | Thawed Apheresis CONVALESCENT PLASMA | Thawed Apheresis CONVALESCENT PLASMA|ACD-A/XX/refg|Open|COVID-19 low titer | PLASMA Conv AFR Thaw ACD-A OPN COVID-19 low titer | 24 |
| FRESH FROZEN PLASMA | EA322 | Yes | Thawed Apheresis CONVALESCENT PLASMA | Thawed Apheresis CONVALESCENT PLASMA|ACD-A/XX/refg|Open|1st container|COVID-19 high titer | PLASMA Conv AFR Thaw ACD-A OPN 1C COVID-19 high titer | 24 |
| FRESH FROZEN PLASMA | EA323 | Yes | Thawed Apheresis CONVALESCENT PLASMA | Thawed Apheresis CONVALESCENT PLASMA|ACD-A/XX/refg|Open|1st container|COVID-19 low titer | PLASMA Conv AFR Thaw ACD-A OPN 1C COVID-19 low titer | 24 |
| FRESH FROZEN PLASMA | EA324 | Yes | Thawed Apheresis CONVALESCENT PLASMA | Thawed Apheresis CONVALESCENT PLASMA|ACD-A/XX/refg|Open|2nd container|COVID-19 high titer | PLASMA Conv AFR Thaw ACD-A OPN 2C COVID-19 high titer | 24 |
| FRESH FROZEN PLASMA | EA325 | Yes | Thawed Apheresis CONVALESCENT PLASMA | Thawed Apheresis CONVALESCENT PLASMA|ACD-A/XX/refg|Open|2nd container|COVID-19 low titer | PLASMA Conv AFR Thaw ACD-A OPN 2C COVID-19 low titer | 24 |
| FRESH FROZEN PLASMA | EA326 | Yes | Thawed Apheresis CONVALESCENT PLASMA | Thawed Apheresis CONVALESCENT PLASMA|ACD-A/XX/refg|Open|3rd container|COVID-19 high titer | PLASMA Conv AFR Thaw ACD-A OPN 3C COVID-19 high titer | 24 |
| FRESH FROZEN PLASMA | EA327 | Yes | Thawed Apheresis CONVALESCENT PLASMA | Thawed Apheresis CONVALESCENT PLASMA|ACD-A/XX/refg|Open|3rd container|COVID-19 low titer | PLASMA Conv AFR Thaw ACD-A OPN 3C COVID-19 low titer | 24 |
| FRESH FROZEN PLASMA | EA328 | Yes | Thawed Apheresis CONVALESCENT PLASMA | Thawed Apheresis CONVALESCENT PLASMA|ACD-A/XX/refg|Open|4th container|COVID-19 high titer | PLASMA Conv AFR Thaw ACD-A OPN 4C COVID-19 high titer | 24 |
| FRESH FROZEN PLASMA | EA329 | Yes | Thawed Apheresis CONVALESCENT PLASMA | Thawed Apheresis CONVALESCENT PLASMA|ACD-A/XX/refg|Open|4th container|COVID-19 low titer | PLASMA Conv AFR Thaw ACD-A OPN 4C COVID-19 low titer | 24 |
| FRESH FROZEN PLASMA | EA330 | Yes | Thawed Apheresis CONVALESCENT PLASMA | Thawed Apheresis CONVALESCENT PLASMA|ACD-A/XX/refg|Open|Irradiated|COVID-19 high titer | PLASMA Conv AFR Thaw ACD-A OPN IRD COVID-19 high titer | 24 |
| FRESH FROZEN PLASMA | EA331 | Yes | Thawed Apheresis CONVALESCENT PLASMA | Thawed Apheresis CONVALESCENT PLASMA|ACD-A/XX/refg|Open|Irradiated|COVID-19 low titer | PLASMA Conv AFR Thaw ACD-A OPN IRD COVID-19 low titer | 24 |
| FRESH FROZEN PLASMA | EA332 | Yes | Thawed Apheresis CONVALESCENT PLASMA | Thawed Apheresis CONVALESCENT PLASMA|ACD-A/XX/refg|Open|Irradiated|1st container|COVID-19 high titer | PLASMA Conv AFR Thaw ACD-A OPN IRD 1C COVID-19 high titer | 24 |
| FRESH FROZEN PLASMA | EA333 | Yes | Thawed Apheresis CONVALESCENT PLASMA | Thawed Apheresis CONVALESCENT PLASMA|ACD-A/XX/refg|Open|Irradiated|1st container|COVID-19 low titer | PLASMA Conv AFR Thaw ACD-A OPN IRD 1C COVID-19 low titer | 24 |
| FRESH FROZEN PLASMA | EA334 | Yes | Thawed Apheresis CONVALESCENT PLASMA | Thawed Apheresis CONVALESCENT PLASMA|ACD-A/XX/refg|Open|Irradiated|2nd container|COVID-19 high titer | PLASMA Conv AFR Thaw ACD-A OPN IRD 2C COVID-19 high titer | 24 |
| FRESH FROZEN PLASMA | EA335 | Yes | Thawed Apheresis CONVALESCENT PLASMA | Thawed Apheresis CONVALESCENT PLASMA|ACD-A/XX/refg|Open|Irradiated|2nd container|COVID-19 low titer | PLASMA Conv AFR Thaw ACD-A OPN IRD 2C COVID-19 low titer | 24 |
| FRESH FROZEN PLASMA | EA336 | Yes | Thawed Apheresis CONVALESCENT PLASMA | Thawed Apheresis CONVALESCENT PLASMA|ACD-A/XX/refg|Open|Irradiated|3rd container|COVID-19 high titer | PLASMA Conv AFR Thaw ACD-A OPN IRD 3C COVID-19 high titer | 24 |
| FRESH FROZEN PLASMA | EA337 | Yes | Thawed Apheresis CONVALESCENT PLASMA | Thawed Apheresis CONVALESCENT PLASMA|ACD-A/XX/refg|Open|Irradiated|3rd container|COVID-19 low titer | PLASMA Conv AFR Thaw ACD-A OPN IRD 3C COVID-19 low titer | 24 |
| FRESH FROZEN PLASMA | EA338 | No | Liquid CONVALESCENT PLASMA | Liquid CONVALESCENT PLASMA|NS/XX/refg|Not for tx or mnf|COVID-19 high titer | PLASMA Conv Liq NS NMT COVID-19 high titer | 624 |
| FRESH FROZEN PLASMA | EA339 | No | Liquid CONVALESCENT PLASMA | Liquid CONVALESCENT PLASMA|NS/XX/refg|Not for tx or mnf|COVID-19 low titer | PLASMA Conv Liq NS NMT COVID-19 low titer | 624 |
| FRESH FROZEN PLASMA | EA340 | No | CONVALESCENT PLASMA | CONVALESCENT PLASMA|NS/XX/<=-18C|Not for tx or mnf|COVID-19 high titer | PLASMA Conv NS NMT COVID-19 high titer | 8760 |
| FRESH FROZEN PLASMA | EA341 | No | CONVALESCENT PLASMA | CONVALESCENT PLASMA|NS/XX/<=-18C|Not for tx or mnf|COVID-19 low titer | PLASMA Conv NS NMT COVID-19 low titer | 8760 |
| FRESH FROZEN PLASMA | EA342 | Yes | Liquid CONVALESCENT PLASMA | Liquid CONVALESCENT PLASMA|CPDA-1/XX/refg|Irradiated|COVID-19 high titer | PLASMA Conv Liq CPDA-1 IRD COVID-19 high titer | 624 |
| FRESH FROZEN PLASMA | EA343 | Yes | Liquid CONVALESCENT PLASMA | Liquid CONVALESCENT PLASMA|CPDA-1/XX/refg|Irradiated|COVID-19 low titer | PLASMA Conv Liq CPDA-1 IRD COVID-19 low titer | 624 |
| FRESH FROZEN PLASMA | EA388 | Yes | Thawed CONVALESCENT PLASMA | Thawed CONVALESCENT PLASMA|CPD/XX/refg|Open|COVID-19 | PLASMA Conv Thaw CPD OPN COVID-19 | 120 |
| FRESH FROZEN PLASMA | EA389 | Yes | Thawed CONVALESCENT PLASMA | Thawed CONVALESCENT PLASMA|CPD/XX/refg|Open|Irradiated|COVID-19 | PLASMA Conv Thaw CPD OPN IRD COVID-19 | 120 |
| FRESH FROZEN PLASMA | EA390 | Yes | Thawed CONVALESCENT PLASMA | Thawed CONVALESCENT PLASMA|CPDA-1/XX/refg|Open|COVID-19 | PLASMA Conv Thaw CPDA-1 OPN COVID-19 | 120 |
| FRESH FROZEN PLASMA | EA391 | Yes | Thawed CONVALESCENT PLASMA | Thawed CONVALESCENT PLASMA|CPDA-1/XX/refg|Open|Irradiated|COVID-19 | PLASMA Conv Thaw CPDA-1 OPN IRD COVID-19 | 120 |
| FRESH FROZEN PLASMA | EA393 | Yes | CONVALESCENT PLASMA | CONVALESCENT PLASMA|CPD/XX/<=-18C|COVID-19 high titer | PLASMA Conv CPD COVID-19 high titer | 8760 |
| FRESH FROZEN PLASMA | EA394 | Yes | CONVALESCENT PLASMA | CONVALESCENT PLASMA|CPD/XX/<=-18C|COVID-19 low titer | PLASMA Conv CPD COVID-19 low titer | 8760 |

# Table 3: Other Blood Products Not Related to COVID-19 Treatment

| **Component** | **Product Code** | **Modifiable** | **Product Type** | **Long Name** | **Short Name** | **Maximum Storage Hours** |
| --- | --- | --- | --- | --- | --- | --- |
| FRESH FROZEN PLASMA | E9889 | Yes | FRESH FROZEN PLASMA | FRESH FROZEN PLASMA|NaCitrate/XX/<=-25C|Frozen <=18h|Psoralen-treated | FFP NaCit Psoraln | 8760 |
| FRESH FROZEN PLASMA | E9900 | Yes | Apheresis FRESH FROZEN PLASMA | Apheresis FRESH FROZEN PLASMA|ACD-A/XX/<=-25C|Frozen <=6h|Psoralen-treated | FFP AFR ACD-A Psoraln | 8760 |
| FRESH FROZEN PLASMA | E9901 | No | Apheresis FRESH FROZEN PLASMA | Apheresis FRESH FROZEN PLASMA|NaCitrate/XX/<=-20C|For mnf:injectable|Frozen <=24h | FFP AFR NaCit MNFI | 8760 |
| FRESH FROZEN PLASMA | E9902 | Yes | Apheresis FRESH FROZEN PLASMA | Apheresis FRESH FROZEN PLASMA|NaCitrate/XX/<=-18C|Frozen <=24h | FFP AFR NaCit | 8760 |
| FRESH FROZEN PLASMA | E9903 | Yes | Thawed Apheresis FRESH FROZEN PLASMA | Thawed Apheresis FRESH FROZEN PLASMA|NaCitrate/XX/refg|Frozen <=24h | FFP AFR Thaw NaCit | 24 |
| FRESH FROZEN PLASMA | E9907 | Yes | Thawed Apheresis PLASMA | Thawed Apheresis PLASMA|ACD-A/XX/refg|>=600mL|RT<=24h frozen<=24h | PLASMA AFR Thaw ACD-A LrgVol | 24 |
| PLATELETS | E9908 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-C/XX/20-24C|Open|Irradiated|ResLeu:<5E6|Plasma reduced|Psoralen-treated | PLT AFR ACD-A>PAS-C OPN IRD LUKOPR PLS Red Psoraln | 4 |
| PLATELETS | E9909 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-C/XX/20-24C|Open|Irradiated|ResLeu:<5E6|Plasma reduced|1st container|Psoralen-treated | PLT AFR ACD-A>PAS-C OPN IRD LUKOPR PLS Red 1C Psoraln | 4 |
| PLATELETS | E9910 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-C/XX/20-24C|Open|Irradiated|ResLeu:<5E6|Plasma reduced|2nd container|Psoralen-treated | PLT AFR ACD-A>PAS-C OPN IRD LUKOPR PLS Red 2C Psoraln | 4 |
| FRESH FROZEN PLASMA | E9911 | Yes | Liquid CONVALESCENT PLASMA | Liquid CONVALESCENT PLASMA|CPDA-1/XX/refg|Irradiated|COVID-19 | PLASMA Conv Liq CPDA-1 IRD COVID-19 | 624 |
| PLATELETS | E9912 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-C/XX/20-24C|Open|Irradiated|ResLeu:<5E6|Plasma reduced|3rd container|Psoralen-treated | PLT AFR ACD-A>PAS-C OPN IRD LUKOPR PLS Red 3C Psoraln | 4 |
| PLATELETS | E9913 | Yes | POOLED PLATELETS | POOLED PLATELETS|CPD/XX/20-24C|Open|Irradiated|ResLeu:<5E6|Plasma reduced|5 units | PLT Pool CPD OPN IRD LUKOPR PLS Red 5U | 4 |
| PLATELETS | E9914 | Yes | POOLED PLATELETS | POOLED PLATELETS|CPD/XX/20-24C|Open|Irradiated|ResLeu:<5E6|Plasma reduced|6 units | PLT Pool CPD OPN IRD LUKOPR PLS Red 6U | 4 |
| FRESH FROZEN PLASMA | E9915 | Yes | Apheresis FRESH FROZEN PLASMA | Apheresis FRESH FROZEN PLASMA|ACD-A/XX/<=-25C|Frozen <=15h|Methylene blue-treated | FFP AFR ACD-A Methyl Blue | 8760 |
| FRESH FROZEN PLASMA | E9916 | Yes | Liquid Apheresis PLASMA | Liquid Apheresis PLASMA|NaCitrate/XX/refg|Irradiated | PLASMA AFR Liq NaCit IRD | 120 |
| PLATELETS | E9917 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A/XX/20-24C|1st container|<3E11 plts|Bacterial monitoring | PLT AFR ACD-A 1C BacMtr | 120 |
| PLATELETS | E9918 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A/XX/20-24C|2nd container|<3E11 plts|Bacterial monitoring | PLT AFR ACD-A 2C BacMtr | 120 |
| PLATELETS | E9919 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A/XX/20-24C|3rd container|<3E11 plts|Bacterial monitoring | PLT AFR ACD-A 3C BacMtr | 120 |
| PLATELETS | E9920 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A/XX/20-24C|Irradiated|1st container|<3E11 plts|Bacterial monitoring | PLT AFR ACD-A IRD 1C BacMtr | 120 |
| PLATELETS | E9921 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A/XX/20-24C|Irradiated|2nd container|<3E11 plts|Bacterial monitoring | PLT AFR ACD-A IRD 2C BacMtr | 120 |
| PLATELETS | E9922 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A/XX/20-24C|Irradiated|3rd container|<3E11 plts|Bacterial monitoring | PLT AFR ACD-A IRD 3C BacMtr | 120 |
| PLATELETS | E9923 | No | Frozen Apheresis PLATELETS | Frozen Apheresis PLATELETS|ACD-A/XX/<=-20C|For mnf:noninjectable|Irradiated|ResLeu:<5E6|3rd container | PLT AFR Froz ACD-A MNFNI IRD LUKOPR 3C | 8760 |
| PLATELETS | E9924 | No | Frozen Apheresis PLATELETS | Frozen Apheresis PLATELETS|ACD-A/XX/<=-20C|For mnf:noninjectable|ResLeu:<5E6|1st container|<3E11 plts|Psoralen-treated | PLT AFR Froz ACD-A MNFNI LUKOPR 1C Psoraln | 8760 |
| PLATELETS | E9925 | No | Frozen Apheresis PLATELETS | Frozen Apheresis PLATELETS|ACD-A/XX/<=-20C|For mnf:noninjectable|ResLeu:<5E6|2nd container|<3E11 plts|Psoralen-treated | PLT AFR Froz ACD-A MNFNI LUKOPR 2C Psoraln | 8760 |
| PLATELETS | E9926 | No | Frozen Apheresis PLATELETS | Frozen Apheresis PLATELETS|ACD-A/XX/<=-20C|For mnf:noninjectable|ResLeu:<5E6|3rd container|<3E11 plts|Psoralen-treated | PLT AFR Froz ACD-A MNFNI LUKOPR 3C Psoraln | 8760 |
| PLATELETS | E9927 | No | Frozen Apheresis PLATELETS | Frozen Apheresis PLATELETS|ACD-A/XX/<=-20C|For mnf:noninjectable|Irradiated|ResLeu:<5E6 | PLT AFR Froz ACD-A MNFNI IRD LUKOPR | 8760 |
| PLATELETS | E9928 | No | Frozen Apheresis PLATELETS | Frozen Apheresis PLATELETS|ACD-A/XX/<=-20C|For mnf:noninjectable|Irradiated|ResLeu:<5E6|1st container | PLT AFR Froz ACD-A MNFNI IRD LUKOPR 1C | 8760 |
| PLATELETS | E9929 | No | Frozen Apheresis PLATELETS | Frozen Apheresis PLATELETS|ACD-A/XX/<=-20C|For mnf:noninjectable|Irradiated|ResLeu:<5E6|2nd container | PLT AFR Froz ACD-A MNFNI IRD LUKOPR 2C | 8760 |
| PLATELETS | E9930 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A/XX/20-24C|ResLeu:<5E6|4th container|Bacterial monitoring | PLT AFR ACD-A LUKOPR 4C BacMtr | 120 |
| PLATELETS | E9931 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A/XX/20-24C|Irradiated|ResLeu:<5E6|4th container|Bacterial monitoring | PLT AFR ACD-A IRD LUKOPR 4C BacMtr | 120 |
| PLATELETS | E9932 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A/XX/20-24C|ResLeu:<5E6|4th container|<3E11 plts|Bacterial monitoring | PLT AFR ACD-A LUKOPR 4C BacMtr | 120 |
| PLATELETS | E9933 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A/XX/20-24C|Irradiated|ResLeu:<5E6|4th container|<3E11 plts|Bacterial monitoring | PLT AFR ACD-A IRD LUKOPR 4C BacMtr | 120 |
| FRESH FROZEN PLASMA | E9937 | Yes | Apheresis PLASMA | Apheresis PLASMA|ACD-A/XX/<=-18C|RT<=24h frozen<=24h|5th container | PLASMA AFR ACD-A 5C | 8760 |
| PLATELETS | E9938 | Yes | Washed Apheresis PLATELETS | Washed Apheresis PLATELETS|PAS-C/XX/20-24C|Open|Irradiated|ResLeu:<5E6 | PLT AFR Wash PAS-C OPN IRD LUKOPR | 4 |
| PLATELETS | E9939 | Yes | Washed Apheresis PLATELETS | Washed Apheresis PLATELETS|PAS-C/XX/20-24C|Open|Irradiated|ResLeu:<5E6|1st container | PLT AFR Wash PAS-C OPN IRD LUKOPR 1C | 4 |
| PLATELETS | E9940 | Yes | Washed Apheresis PLATELETS | Washed Apheresis PLATELETS|PAS-C/XX/20-24C|Open|Irradiated|ResLeu:<5E6|2nd container | PLT AFR Wash PAS-C OPN IRD LUKOPR 2C | 4 |
| PLATELETS | E9941 | Yes | Washed Apheresis PLATELETS | Washed Apheresis PLATELETS|PAS-C/XX/20-24C|Open|Irradiated|ResLeu:<5E6|3rd container | PLT AFR Wash PAS-C OPN IRD LUKOPR 3C | 4 |
| PLATELETS | E9942 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-C/XX/20-24C|Open|ResLeu:<5E6|Plasma reduced/Saline added | PLT AFR ACD-A>PAS-C OPN LUKOPR PLS Red/SAL Add | 4 |
| PLATELETS | E9943 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-C/XX/20-24C|Open|ResLeu:<5E6|Plasma reduced/Saline added|1st container | PLT AFR ACD-A>PAS-C OPN LUKOPR PLS Red/SAL Add 1C | 4 |
| PLATELETS | E9944 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-C/XX/20-24C|Open|ResLeu:<5E6|Plasma reduced/Saline added|2nd container | PLT AFR ACD-A>PAS-C OPN LUKOPR PLS Red/SAL Add 2C | 4 |
| PLATELETS | E9945 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-C/XX/20-24C|Open|ResLeu:<5E6|Plasma reduced/Saline added|3rd container | PLT AFR ACD-A>PAS-C OPN LUKOPR PLS Red/SAL Add 3C | 4 |
| FRESH FROZEN PLASMA | E9946 | Yes | Apheresis FRESH FROZEN PLASMA | Apheresis FRESH FROZEN PLASMA|NaCitrate/XX/<=-25C|Frozen <=15h|Riboflavin-treated | FFP AFR NaCit Ribo | 8760 |
| FRESH FROZEN PLASMA | E9947 | Yes | Apheresis FRESH FROZEN PLASMA | Apheresis FRESH FROZEN PLASMA|ACD-A/XX/<=-25C|Frozen <=15h|Riboflavin-treated | FFP AFR ACD-A Ribo | 8760 |
| RED BLOOD CELLS | E9948 | No | RED BLOOD CELLS | RED BLOOD CELLS|PAGGS-M/450mL/refg|Irradiated|ResLeu:<1E6|Plasma reduced | RBC PAGGS-M IRD LUKOPR PLS Red | 672 |
| RED BLOOD CELLS | E9949 | No | RED BLOOD CELLS | RED BLOOD CELLS|SAGM/450mL/refg|Irradiated|ResLeu:<1E6|Plasma reduced | RBC SAGM IRD LUKOPR PLS Red | 672 |
| PLATELETS | E9950 | No | POOLED PLATELETS | POOLED PLATELETS|PAS-E/XX/20-24C|ResLeu:<1E6|Plasma reduced/Saline added|Buffy coat plts prep|Psoralen-treated | PLT Pool PAS-E LUKOPR PLS Red/SAL Add BUFCT Psoraln | 120 |
| PLATELETS | E9951 | No | Apheresis PLATELETS | Apheresis PLATELETS|PAS-E/XX/20-24C|ResLeu:<1E6|Plasma reduced/Saline added|Psoralen-treated | PLT AFR PAS-E LUKOPR PLS Red/SAL Add Psoraln | 120 |
| RED BLOOD CELLS | E9952 | No | RED BLOOD CELLS | RED BLOOD CELLS|PAGGS-M/450mL/refg|ResLeu:<1E6|Plasma reduced | RBC PAGGS-M LUKOPR PLS Red | 1008 |
| RED BLOOD CELLS | E9953 | No | RED BLOOD CELLS | RED BLOOD CELLS|SAGM/450mL/refg|ResLeu:<1E6|Plasma reduced | RBC SAGM LUKOPR PLS Red | 1008 |
| PLATELETS | E9954 | Yes | Washed Apheresis PLATELETS | Washed Apheresis PLATELETS|PAS-C/XX/20-24C|Open|ResLeu:<5E6 | PLT AFR Wash PAS-C OPN LUKOPR | 4 |
| PLATELETS | E9955 | Yes | Washed Apheresis PLATELETS | Washed Apheresis PLATELETS|PAS-C/XX/20-24C|Open|ResLeu:<5E6|1st container | PLT AFR Wash PAS-C OPN LUKOPR 1C | 4 |
| PLATELETS | E9956 | Yes | Washed Apheresis PLATELETS | Washed Apheresis PLATELETS|PAS-C/XX/20-24C|Open|ResLeu:<5E6|2nd container | PLT AFR Wash PAS-C OPN LUKOPR 2C | 4 |
| PLATELETS | E9957 | Yes | Washed Apheresis PLATELETS | Washed Apheresis PLATELETS|PAS-C/XX/20-24C|Open|ResLeu:<5E6|3rd container | PLT AFR Wash PAS-C OPN LUKOPR 3C | 4 |
| PLATELETS | E9958 | Yes | Washed Apheresis PLATELETS | Washed Apheresis PLATELETS|PAS-C/XX/20-24C|Open|ResLeu:<5E6|Psoralen-treated | PLT AFR Wash PAS-C OPN LUKOPR Psoraln | 4 |
| PLATELETS | E9959 | Yes | Washed Apheresis PLATELETS | Washed Apheresis PLATELETS|PAS-C/XX/20-24C|Open|ResLeu:<5E6|1st container|Psoralen-treated | PLT AFR Wash PAS-C OPN LUKOPR 1C Psoraln | 4 |
| PLATELETS | E9960 | Yes | Washed Apheresis PLATELETS | Washed Apheresis PLATELETS|PAS-C/XX/20-24C|Open|ResLeu:<5E6|2nd container|Psoralen-treated | PLT AFR Wash PAS-C OPN LUKOPR 2C Psoraln | 4 |
| PLATELETS | E9961 | Yes | Washed Apheresis PLATELETS | Washed Apheresis PLATELETS|PAS-C/XX/20-24C|Open|ResLeu:<5E6|3rd container|Psoralen-treated | PLT AFR Wash PAS-C OPN LUKOPR 3C Psoraln | 4 |
| PLATELETS | E9962 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-F/XX/20-24C|ResLeu:<5E6|2nd container|<3E11 plts | PLT AFR ACD-A>PAS-F LUKOPR 2C | 120 |
| PLATELETS | E9963 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-F/XX/20-24C|ResLeu:<5E6|3rd container|<3E11 plts | PLT AFR ACD-A>PAS-F LUKOPR 3C | 120 |
| PLATELETS | E9964 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-F/XX/20-24C|Irradiated|ResLeu:<5E6|2nd container|<3E11 plts | PLT AFR ACD-A>PAS-F IRD LUKOPR 2C | 120 |
| PLATELETS | E9965 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-F/XX/20-24C|Irradiated|ResLeu:<5E6|3rd container|<3E11 plts | PLT AFR ACD-A>PAS-F IRD LUKOPR 3C | 120 |
| PLATELETS | E9966 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A/XX/20-24C|ResLeu:<5E6|Bacterial monitoring >=24h | PLT AFR ACD-A LUKOPR BacMtr >=24h | 120 |
| PLATELETS | E9967 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A/XX/20-24C|ResLeu:<5E6|1st container|Bacterial monitoring >=24h | PLT AFR ACD-A LUKOPR 1C BacMtr >=24h | 120 |
| PLATELETS | E9968 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A/XX/20-24C|ResLeu:<5E6|2nd container|Bacterial monitoring >=24h | PLT AFR ACD-A LUKOPR 2C BacMtr >=24h | 120 |
| PLATELETS | E9969 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A/XX/20-24C|ResLeu:<5E6|3rd container|Bacterial monitoring >=24h | PLT AFR ACD-A LUKOPR 3C BacMtr >=24h | 120 |
| PLATELETS | E9970 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A/XX/20-24C|ResLeu:<5E6|<3E11 plts|Bacterial monitoring >=24h | PLT AFR ACD-A LUKOPR BacMtr >=24h | 120 |
| PLATELETS | E9971 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A/XX/20-24C|ResLeu:<5E6|1st container|<3E11 plts|Bacterial monitoring >=24h | PLT AFR ACD-A LUKOPR 1C BacMtr >=24h | 120 |
| PLATELETS | E9972 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A/XX/20-24C|ResLeu:<5E6|2nd container|<3E11 plts|Bacterial monitoring >=24h | PLT AFR ACD-A LUKOPR 2C BacMtr >=24h | 120 |
| PLATELETS | E9973 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A/XX/20-24C|ResLeu:<5E6|3rd container|<3E11 plts|Bacterial monitoring >=24h | PLT AFR ACD-A LUKOPR 3C BacMtr >=24h | 120 |
| PLATELETS | E9974 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A/XX/20-24C|Irradiated|ResLeu:<5E6|Bacterial monitoring >=24h | PLT AFR ACD-A IRD LUKOPR BacMtr >=24h | 120 |
| PLATELETS | E9975 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A/XX/20-24C|Irradiated|ResLeu:<5E6|1st container|Bacterial monitoring >=24h | PLT AFR ACD-A IRD LUKOPR 1C BacMtr >=24h | 120 |
| PLATELETS | E9976 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A/XX/20-24C|Irradiated|ResLeu:<5E6|2nd container|Bacterial monitoring >=24h | PLT AFR ACD-A IRD LUKOPR 2C BacMtr >=24h | 120 |
| PLATELETS | E9977 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A/XX/20-24C|Irradiated|ResLeu:<5E6|3rd container|Bacterial monitoring >=24h | PLT AFR ACD-A IRD LUKOPR 3C BacMtr >=24h | 120 |
| PLATELETS | E9978 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A/XX/20-24C|Irradiated|ResLeu:<5E6|<3E11 plts|Bacterial monitoring >=24h | PLT AFR ACD-A IRD LUKOPR BacMtr >=24h | 120 |
| PLATELETS | E9979 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A/XX/20-24C|Irradiated|ResLeu:<5E6|1st container|<3E11 plts|Bacterial monitoring >=24h | PLT AFR ACD-A IRD LUKOPR 1C BacMtr >=24h | 120 |
| PLATELETS | E9980 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A/XX/20-24C|Irradiated|ResLeu:<5E6|2nd container|<3E11 plts|Bacterial monitoring >=24h | PLT AFR ACD-A IRD LUKOPR 2C BacMtr >=24h | 120 |
| PLATELETS | E9981 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A/XX/20-24C|Irradiated|ResLeu:<5E6|3rd container|<3E11 plts|Bacterial monitoring >=24h | PLT AFR ACD-A IRD LUKOPR 3C BacMtr >=24h | 120 |
| PLATELETS | E9982 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-F/XX/20-24C|ResLeu:<5E6|Bacterial monitoring >=24h | PLT AFR ACD-A>PAS-F LUKOPR BacMtr >=24h | 120 |
| PLATELETS | E9983 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-F/XX/20-24C|ResLeu:<5E6|1st container|Bacterial monitoring >=24h | PLT AFR ACD-A>PAS-F LUKOPR 1C BacMtr >=24h | 120 |
| PLATELETS | E9984 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-F/XX/20-24C|ResLeu:<5E6|2nd container|Bacterial monitoring >=24h | PLT AFR ACD-A>PAS-F LUKOPR 2C BacMtr >=24h | 120 |
| PLATELETS | E9985 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-F/XX/20-24C|ResLeu:<5E6|3rd container|Bacterial monitoring >=24h | PLT AFR ACD-A>PAS-F LUKOPR 3C BacMtr >=24h | 120 |
| PLATELETS | E9986 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-F/XX/20-24C|ResLeu:<5E6|<3E11 plts|Bacterial monitoring >=24h | PLT AFR ACD-A>PAS-F LUKOPR BacMtr >=24h | 120 |
| PLATELETS | E9987 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-F/XX/20-24C|ResLeu:<5E6|1st container|<3E11 plts|Bacterial monitoring >=24h | PLT AFR ACD-A>PAS-F LUKOPR 1C BacMtr >=24h | 120 |
| PLATELETS | E9988 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-F/XX/20-24C|ResLeu:<5E6|2nd container|<3E11 plts|Bacterial monitoring >=24h | PLT AFR ACD-A>PAS-F LUKOPR 2C BacMtr >=24h | 120 |
| PLATELETS | E9989 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-F/XX/20-24C|ResLeu:<5E6|3rd container|<3E11 plts|Bacterial monitoring >=24h | PLT AFR ACD-A>PAS-F LUKOPR 3C BacMtr >=24h | 120 |
| PLATELETS | E9990 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-F/XX/20-24C|Irradiated|ResLeu:<5E6|Bacterial monitoring >=24h | PLT AFR ACD-A>PAS-F IRD LUKOPR BacMtr >=24h | 120 |
| PLATELETS | E9991 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-F/XX/20-24C|Irradiated|ResLeu:<5E6|1st container|Bacterial monitoring >=24h | PLT AFR ACD-A>PAS-F IRD LUKOPR 1C BacMtr >=24h | 120 |
| PLATELETS | E9992 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-F/XX/20-24C|Irradiated|ResLeu:<5E6|2nd container|Bacterial monitoring >=24h | PLT AFR ACD-A>PAS-F IRD LUKOPR 2C BacMtr >=24h | 120 |
| PLATELETS | E9993 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-F/XX/20-24C|Irradiated|ResLeu:<5E6|3rd container|Bacterial monitoring >=24h | PLT AFR ACD-A>PAS-F IRD LUKOPR 3C BacMtr >=24h | 120 |
| PLATELETS | E9994 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-F/XX/20-24C|Irradiated|ResLeu:<5E6|<3E11 plts|Bacterial monitoring >=24h | PLT AFR ACD-A>PAS-F IRD LUKOPR BacMtr >=24h | 120 |
| PLATELETS | E9995 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-F/XX/20-24C|Irradiated|ResLeu:<5E6|1st container|<3E11 plts|Bacterial monitoring >=24h | PLT AFR ACD-A>PAS-F IRD LUKOPR 1C BacMtr >=24h | 120 |
| PLATELETS | E9996 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-F/XX/20-24C|Irradiated|ResLeu:<5E6|2nd container|<3E11 plts|Bacterial monitoring >=24h | PLT AFR ACD-A>PAS-F IRD LUKOPR 2C BacMtr >=24h | 120 |
| PLATELETS | E9997 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-F/XX/20-24C|Irradiated|ResLeu:<5E6|3rd container|<3E11 plts|Bacterial monitoring >=24h | PLT AFR ACD-A>PAS-F IRD LUKOPR 3C BacMtr >=24h | 120 |
| PLATELETS | E9998 | Yes | PLATELETS | PLATELETS|CPD/450mL/20-24C|Bacterial monitoring >=24h | PLT CPD BacMtr >=24h | 120 |
| PLATELETS | E9999 | Yes | PLATELETS | PLATELETS|CPD/500mL/20-24C|Bacterial monitoring >=24h | PLT CPD BacMtr >=24h | 120 |
| PLATELETS | EA000 | Yes | PLATELETS | PLATELETS|CPD/450mL/20-24C|ResLeu:<5E6|Bacterial monitoring >=24h | PLT CPD LUKOPR BacMtr >=24h | 120 |
| PLATELETS | EA001 | Yes | PLATELETS | PLATELETS|CPD/500mL/20-24C|ResLeu:<5E6|Bacterial monitoring >=24h | PLT CPD LUKOPR BacMtr >=24h | 120 |
| PLATELETS | EA002 | Yes | PLATELETS | PLATELETS|CP2D/450mL/20-24C|ResLeu:<5E6|Bacterial monitoring >=24h | PLT CP2D LUKOPR BacMtr >=24h | 120 |
| PLATELETS | EA003 | Yes | PLATELETS | PLATELETS|CP2D/500mL/20-24C|ResLeu:<5E6|Bacterial monitoring >=24h | PLT CP2D LUKOPR BacMtr >=24h | 120 |
| PLATELETS | EA004 | Yes | POOLED PLATELETS | POOLED PLATELETS|CPD/XX/20-24C|ResLeu:<5E6|Bacterial monitoring >=24h | PLT Pool CPD LUKOPR BacMtr >=24h | 120 |
| PLATELETS | EA005 | Yes | POOLED PLATELETS | POOLED PLATELETS|CPD/XX/20-24C|ResLeu:<5E6|5 units|Bacterial monitoring >=24h | PLT Pool CPD LUKOPR 5U BacMtr >=24h | 120 |
| PLATELETS | EA006 | Yes | POOLED PLATELETS | POOLED PLATELETS|CP2D/XX/20-24C|ResLeu:<5E6|Bacterial monitoring >=24h | PLT Pool CP2D LUKOPR BacMtr >=24h | 120 |
| PLATELETS | EA007 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A/XX/20-24C|ResLeu:<5E6|Bacterial monitoring >=36h | PLT AFR ACD-A LUKOPR BacMtr >=36h | 120 |
| PLATELETS | EA008 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A/XX/20-24C|ResLeu:<5E6|1st container|Bacterial monitoring >=36h | PLT AFR ACD-A LUKOPR 1C BacMtr >=36h | 120 |
| PLATELETS | EA009 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A/XX/20-24C|ResLeu:<5E6|2nd container|Bacterial monitoring >=36h | PLT AFR ACD-A LUKOPR 2C BacMtr >=36h | 120 |
| PLATELETS | EA010 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A/XX/20-24C|ResLeu:<5E6|3rd container|Bacterial monitoring >=36h | PLT AFR ACD-A LUKOPR 3C BacMtr >=36h | 120 |
| PLATELETS | EA011 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A/XX/20-24C|ResLeu:<5E6|<3E11 plts|Bacterial monitoring >=36h | PLT AFR ACD-A LUKOPR BacMtr >=36h | 120 |
| PLATELETS | EA012 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A/XX/20-24C|ResLeu:<5E6|1st container|<3E11 plts|Bacterial monitoring >=36h | PLT AFR ACD-A LUKOPR 1C BacMtr >=36h | 120 |
| PLATELETS | EA013 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A/XX/20-24C|ResLeu:<5E6|2nd container|<3E11 plts|Bacterial monitoring >=36h | PLT AFR ACD-A LUKOPR 2C BacMtr >=36h | 120 |
| PLATELETS | EA014 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A/XX/20-24C|ResLeu:<5E6|3rd container|<3E11 plts|Bacterial monitoring >=36h | PLT AFR ACD-A LUKOPR 3C BacMtr >=36h | 120 |
| PLATELETS | EA015 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A/XX/20-24C|Irradiated|ResLeu:<5E6|Bacterial monitoring >=36h | PLT AFR ACD-A IRD LUKOPR BacMtr >=36h | 120 |
| PLATELETS | EA016 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A/XX/20-24C|Irradiated|ResLeu:<5E6|1st container|Bacterial monitoring >=36h | PLT AFR ACD-A IRD LUKOPR 1C BacMtr >=36h | 120 |
| PLATELETS | EA017 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A/XX/20-24C|Irradiated|ResLeu:<5E6|2nd container|Bacterial monitoring >=36h | PLT AFR ACD-A IRD LUKOPR 2C BacMtr >=36h | 120 |
| PLATELETS | EA018 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A/XX/20-24C|Irradiated|ResLeu:<5E6|3rd container|Bacterial monitoring >=36h | PLT AFR ACD-A IRD LUKOPR 3C BacMtr >=36h | 120 |
| PLATELETS | EA019 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A/XX/20-24C|Irradiated|ResLeu:<5E6|<3E11 plts|Bacterial monitoring >=36h | PLT AFR ACD-A IRD LUKOPR BacMtr >=36h | 120 |
| PLATELETS | EA020 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A/XX/20-24C|Irradiated|ResLeu:<5E6|1st container|<3E11 plts|Bacterial monitoring >=36h | PLT AFR ACD-A IRD LUKOPR 1C BacMtr >=36h | 120 |
| PLATELETS | EA021 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A/XX/20-24C|Irradiated|ResLeu:<5E6|2nd container|<3E11 plts|Bacterial monitoring >=36h | PLT AFR ACD-A IRD LUKOPR 2C BacMtr >=36h | 120 |
| PLATELETS | EA022 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A/XX/20-24C|Irradiated|ResLeu:<5E6|3rd container|<3E11 plts|Bacterial monitoring >=36h | PLT AFR ACD-A IRD LUKOPR 3C BacMtr >=36h | 120 |
| PLATELETS | EA023 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-F/XX/20-24C|ResLeu:<5E6|Bacterial monitoring >=36h | PLT AFR ACD-A>PAS-F LUKOPR BacMtr >=36h | 120 |
| PLATELETS | EA024 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-F/XX/20-24C|ResLeu:<5E6|1st container|Bacterial monitoring >=36h | PLT AFR ACD-A>PAS-F LUKOPR 1C BacMtr >=36h | 120 |
| PLATELETS | EA025 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-F/XX/20-24C|ResLeu:<5E6|2nd container|Bacterial monitoring >=36h | PLT AFR ACD-A>PAS-F LUKOPR 2C BacMtr >=36h | 120 |
| PLATELETS | EA026 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-F/XX/20-24C|ResLeu:<5E6|3rd container|Bacterial monitoring >=36h | PLT AFR ACD-A>PAS-F LUKOPR 3C BacMtr >=36h | 120 |
| PLATELETS | EA027 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-F/XX/20-24C|ResLeu:<5E6|<3E11 plts|Bacterial monitoring >=36h | PLT AFR ACD-A>PAS-F LUKOPR BacMtr >=36h | 120 |
| PLATELETS | EA028 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-F/XX/20-24C|ResLeu:<5E6|1st container|<3E11 plts|Bacterial monitoring >=36h | PLT AFR ACD-A>PAS-F LUKOPR 1C BacMtr >=36h | 120 |
| PLATELETS | EA029 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-F/XX/20-24C|ResLeu:<5E6|2nd container|<3E11 plts|Bacterial monitoring >=36h | PLT AFR ACD-A>PAS-F LUKOPR 2C BacMtr >=36h | 120 |
| PLATELETS | EA030 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-F/XX/20-24C|ResLeu:<5E6|3rd container|<3E11 plts|Bacterial monitoring >=36h | PLT AFR ACD-A>PAS-F LUKOPR 3C BacMtr >=36h | 120 |
| PLATELETS | EA031 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-F/XX/20-24C|Irradiated|ResLeu:<5E6|Bacterial monitoring >=36h | PLT AFR ACD-A>PAS-F IRD LUKOPR BacMtr >=36h | 120 |
| PLATELETS | EA032 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-F/XX/20-24C|Irradiated|ResLeu:<5E6|1st container|Bacterial monitoring >=36h | PLT AFR ACD-A>PAS-F IRD LUKOPR 1C BacMtr >=36h | 120 |
| PLATELETS | EA033 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-F/XX/20-24C|Irradiated|ResLeu:<5E6|2nd container|Bacterial monitoring >=36h | PLT AFR ACD-A>PAS-F IRD LUKOPR 2C BacMtr >=36h | 120 |
| PLATELETS | EA034 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-F/XX/20-24C|Irradiated|ResLeu:<5E6|3rd container|Bacterial monitoring >=36h | PLT AFR ACD-A>PAS-F IRD LUKOPR 3C BacMtr >=36h | 120 |
| PLATELETS | EA035 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-F/XX/20-24C|Irradiated|ResLeu:<5E6|<3E11 plts|Bacterial monitoring >=36h | PLT AFR ACD-A>PAS-F IRD LUKOPR BacMtr >=36h | 120 |
| PLATELETS | EA036 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-F/XX/20-24C|Irradiated|ResLeu:<5E6|1st container|<3E11 plts|Bacterial monitoring >=36h | PLT AFR ACD-A>PAS-F IRD LUKOPR 1C BacMtr >=36h | 120 |
| PLATELETS | EA037 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-F/XX/20-24C|Irradiated|ResLeu:<5E6|2nd container|<3E11 plts|Bacterial monitoring >=36h | PLT AFR ACD-A>PAS-F IRD LUKOPR 2C BacMtr >=36h | 120 |
| PLATELETS | EA038 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-F/XX/20-24C|Irradiated|ResLeu:<5E6|3rd container|<3E11 plts|Bacterial monitoring >=36h | PLT AFR ACD-A>PAS-F IRD LUKOPR 3C BacMtr >=36h | 120 |
| PLATELETS | EA039 | Yes | PLATELETS | PLATELETS|CPD/450mL/20-24C|Bacterial monitoring >=36h | PLT CPD BacMtr >=36h | 120 |
| PLATELETS | EA040 | Yes | PLATELETS | PLATELETS|CPD/500mL/20-24C|Bacterial monitoring >=36h | PLT CPD BacMtr >=36h | 120 |
| PLATELETS | EA041 | Yes | PLATELETS | PLATELETS|CPD/450mL/20-24C|ResLeu:<5E6|Bacterial monitoring >=36h | PLT CPD LUKOPR BacMtr >=36h | 120 |
| PLATELETS | EA042 | Yes | PLATELETS | PLATELETS|CPD/500mL/20-24C|ResLeu:<5E6|Bacterial monitoring >=36h | PLT CPD LUKOPR BacMtr >=36h | 120 |
| PLATELETS | EA043 | Yes | PLATELETS | PLATELETS|CP2D/450mL/20-24C|ResLeu:<5E6|Bacterial monitoring >=36h | PLT CP2D LUKOPR BacMtr >=36h | 120 |
| PLATELETS | EA044 | Yes | PLATELETS | PLATELETS|CP2D/500mL/20-24C|ResLeu:<5E6|Bacterial monitoring >=36h | PLT CP2D LUKOPR BacMtr >=36h | 120 |
| PLATELETS | EA045 | Yes | POOLED PLATELETS | POOLED PLATELETS|CPD/XX/20-24C|ResLeu:<5E6|Bacterial monitoring >=36h | PLT Pool CPD LUKOPR BacMtr >=36h | 120 |
| PLATELETS | EA046 | Yes | POOLED PLATELETS | POOLED PLATELETS|CPD/XX/20-24C|ResLeu:<5E6|5 units|Bacterial monitoring >=36h | PLT Pool CPD LUKOPR 5U BacMtr >=36h | 120 |
| PLATELETS | EA047 | Yes | POOLED PLATELETS | POOLED PLATELETS|CP2D/XX/20-24C|ResLeu:<5E6|Bacterial monitoring >=36h | PLT Pool CP2D LUKOPR BacMtr >=36h | 120 |
| PLATELETS | EA048 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-F/XX/20-24C|ResLeu:<5E6|Bacterial monitoring | PLT AFR ACD-A>PAS-F LUKOPR BacMtr | 120 |
| PLATELETS | EA049 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-F/XX/20-24C|ResLeu:<5E6|1st container|Bacterial monitoring | PLT AFR ACD-A>PAS-F LUKOPR 1C BacMtr | 120 |
| PLATELETS | EA050 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-F/XX/20-24C|ResLeu:<5E6|2nd container|Bacterial monitoring | PLT AFR ACD-A>PAS-F LUKOPR 2C BacMtr | 120 |
| PLATELETS | EA051 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-F/XX/20-24C|ResLeu:<5E6|3rd container|Bacterial monitoring | PLT AFR ACD-A>PAS-F LUKOPR 3C BacMtr | 120 |
| PLATELETS | EA052 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-F/XX/20-24C|ResLeu:<5E6|<3E11 plts|Bacterial monitoring | PLT AFR ACD-A>PAS-F LUKOPR BacMtr | 120 |
| PLATELETS | EA053 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-F/XX/20-24C|ResLeu:<5E6|1st container|<3E11 plts|Bacterial monitoring | PLT AFR ACD-A>PAS-F LUKOPR 1C BacMtr | 120 |
| PLATELETS | EA054 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-F/XX/20-24C|ResLeu:<5E6|2nd container|<3E11 plts|Bacterial monitoring | PLT AFR ACD-A>PAS-F LUKOPR 2C BacMtr | 120 |
| PLATELETS | EA055 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-F/XX/20-24C|ResLeu:<5E6|3rd container|<3E11 plts|Bacterial monitoring | PLT AFR ACD-A>PAS-F LUKOPR 3C BacMtr | 120 |
| PLATELETS | EA056 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-F/XX/20-24C|Irradiated|ResLeu:<5E6|Bacterial monitoring | PLT AFR ACD-A>PAS-F IRD LUKOPR BacMtr | 120 |
| PLATELETS | EA057 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-F/XX/20-24C|Irradiated|ResLeu:<5E6|1st container|Bacterial monitoring | PLT AFR ACD-A>PAS-F IRD LUKOPR 1C BacMtr | 120 |
| PLATELETS | EA058 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-F/XX/20-24C|Irradiated|ResLeu:<5E6|2nd container|Bacterial monitoring | PLT AFR ACD-A>PAS-F IRD LUKOPR 2C BacMtr | 120 |
| PLATELETS | EA059 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-F/XX/20-24C|Irradiated|ResLeu:<5E6|3rd container|Bacterial monitoring | PLT AFR ACD-A>PAS-F IRD LUKOPR 3C BacMtr | 120 |
| PLATELETS | EA060 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-F/XX/20-24C|Irradiated|ResLeu:<5E6|<3E11 plts|Bacterial monitoring | PLT AFR ACD-A>PAS-F IRD LUKOPR BacMtr | 120 |
| PLATELETS | EA061 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-F/XX/20-24C|Irradiated|ResLeu:<5E6|1st container|<3E11 plts|Bacterial monitoring | PLT AFR ACD-A>PAS-F IRD LUKOPR 1C BacMtr | 120 |
| PLATELETS | EA062 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-F/XX/20-24C|Irradiated|ResLeu:<5E6|2nd container|<3E11 plts|Bacterial monitoring | PLT AFR ACD-A>PAS-F IRD LUKOPR 2C BacMtr | 120 |
| PLATELETS | EA063 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-F/XX/20-24C|Irradiated|ResLeu:<5E6|3rd container|<3E11 plts|Bacterial monitoring | PLT AFR ACD-A>PAS-F IRD LUKOPR 3C BacMtr | 120 |
| PLATELETS | EA064 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A/XX/20-24C|Bacterial monitoring >=24h | PLT AFR ACD-A BacMtr >=24h | 120 |
| PLATELETS | EA065 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A/XX/20-24C|1st container|Bacterial monitoring >=24h | PLT AFR ACD-A 1C BacMtr >=24h | 120 |
| PLATELETS | EA066 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A/XX/20-24C|2nd container|Bacterial monitoring >=24h | PLT AFR ACD-A 2C BacMtr >=24h | 120 |
| PLATELETS | EA067 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A/XX/20-24C|3rd container|Bacterial monitoring >=24h | PLT AFR ACD-A 3C BacMtr >=24h | 120 |
| PLATELETS | EA068 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A/XX/20-24C|<3E11 plts|Bacterial monitoring >=24h | PLT AFR ACD-A BacMtr >=24h | 120 |
| PLATELETS | EA069 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A/XX/20-24C|1st container|<3E11 plts|Bacterial monitoring >=24h | PLT AFR ACD-A 1C BacMtr >=24h | 120 |
| PLATELETS | EA070 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A/XX/20-24C|2nd container|<3E11 plts|Bacterial monitoring >=24h | PLT AFR ACD-A 2C BacMtr >=24h | 120 |
| PLATELETS | EA071 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A/XX/20-24C|3rd container|<3E11 plts|Bacterial monitoring >=24h | PLT AFR ACD-A 3C BacMtr >=24h | 120 |
| PLATELETS | EA072 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A/XX/20-24C|Irradiated|Bacterial monitoring >=24h | PLT AFR ACD-A IRD BacMtr >=24h | 120 |
| PLATELETS | EA073 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A/XX/20-24C|Irradiated|1st container|Bacterial monitoring >=24h | PLT AFR ACD-A IRD 1C BacMtr >=24h | 120 |
| PLATELETS | EA074 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A/XX/20-24C|Irradiated|2nd container|Bacterial monitoring >=24h | PLT AFR ACD-A IRD 2C BacMtr >=24h | 120 |
| PLATELETS | EA075 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A/XX/20-24C|Irradiated|3rd container|Bacterial monitoring >=24h | PLT AFR ACD-A IRD 3C BacMtr >=24h | 120 |
| PLATELETS | EA076 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A/XX/20-24C|Irradiated|<3E11 plts|Bacterial monitoring >=24h | PLT AFR ACD-A IRD BacMtr >=24h | 120 |
| PLATELETS | EA077 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A/XX/20-24C|Irradiated|1st container|<3E11 plts|Bacterial monitoring >=24h | PLT AFR ACD-A IRD 1C BacMtr >=24h | 120 |
| PLATELETS | EA078 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A/XX/20-24C|Irradiated|2nd container|<3E11 plts|Bacterial monitoring >=24h | PLT AFR ACD-A IRD 2C BacMtr >=24h | 120 |
| PLATELETS | EA079 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A/XX/20-24C|Irradiated|3rd container|<3E11 plts|Bacterial monitoring >=24h | PLT AFR ACD-A IRD 3C BacMtr >=24h | 120 |
| PLATELETS | EA080 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-C/XX/20-24C|Bacterial monitoring >=24h | PLT AFR ACD-A>PAS-C BacMtr >=24h | 120 |
| PLATELETS | EA081 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-C/XX/20-24C|1st container|Bacterial monitoring >=24h | PLT AFR ACD-A>PAS-C 1C BacMtr >=24h | 120 |
| PLATELETS | EA082 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-C/XX/20-24C|2nd container|Bacterial monitoring >=24h | PLT AFR ACD-A>PAS-C 2C BacMtr >=24h | 120 |
| PLATELETS | EA083 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-C/XX/20-24C|3rd container|Bacterial monitoring >=24h | PLT AFR ACD-A>PAS-C 3C BacMtr >=24h | 120 |
| PLATELETS | EA084 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-C/XX/20-24C|<3E11 plts|Bacterial monitoring >=24h | PLT AFR ACD-A>PAS-C BacMtr >=24h | 120 |
| PLATELETS | EA085 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-C/XX/20-24C|1st container|<3E11 plts|Bacterial monitoring >=24h | PLT AFR ACD-A>PAS-C 1C BacMtr >=24h | 120 |
| PLATELETS | EA086 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-C/XX/20-24C|2nd container|<3E11 plts|Bacterial monitoring >=24h | PLT AFR ACD-A>PAS-C 2C BacMtr >=24h | 120 |
| PLATELETS | EA087 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-C/XX/20-24C|3rd container|<3E11 plts|Bacterial monitoring >=24h | PLT AFR ACD-A>PAS-C 3C BacMtr >=24h | 120 |
| PLATELETS | EA088 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-C/XX/20-24C|ResLeu:<5E6|Bacterial monitoring >=24h | PLT AFR ACD-A>PAS-C LUKOPR BacMtr >=24h | 120 |
| PLATELETS | EA089 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-C/XX/20-24C|ResLeu:<5E6|1st container|Bacterial monitoring >=24h | PLT AFR ACD-A>PAS-C LUKOPR 1C BacMtr >=24h | 120 |
| PLATELETS | EA090 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-C/XX/20-24C|ResLeu:<5E6|2nd container|Bacterial monitoring >=24h | PLT AFR ACD-A>PAS-C LUKOPR 2C BacMtr >=24h | 120 |
| PLATELETS | EA091 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-C/XX/20-24C|ResLeu:<5E6|3rd container|Bacterial monitoring >=24h | PLT AFR ACD-A>PAS-C LUKOPR 3C BacMtr >=24h | 120 |
| PLATELETS | EA092 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-C/XX/20-24C|ResLeu:<5E6|<3E11 plts|Bacterial monitoring >=24h | PLT AFR ACD-A>PAS-C LUKOPR BacMtr >=24h | 120 |
| PLATELETS | EA093 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-C/XX/20-24C|ResLeu:<5E6|1st container|<3E11 plts|Bacterial monitoring >=24h | PLT AFR ACD-A>PAS-C LUKOPR 1C BacMtr >=24h | 120 |
| PLATELETS | EA094 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-C/XX/20-24C|ResLeu:<5E6|2nd container|<3E11 plts|Bacterial monitoring >=24h | PLT AFR ACD-A>PAS-C LUKOPR 2C BacMtr >=24h | 120 |
| PLATELETS | EA095 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-C/XX/20-24C|ResLeu:<5E6|3rd container|<3E11 plts|Bacterial monitoring >=24h | PLT AFR ACD-A>PAS-C LUKOPR 3C BacMtr >=24h | 120 |
| PLATELETS | EA096 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-C/XX/20-24C|Irradiated|Bacterial monitoring >=24h | PLT AFR ACD-A>PAS-C IRD BacMtr >=24h | 120 |
| PLATELETS | EA097 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-C/XX/20-24C|Irradiated|1st container|Bacterial monitoring >=24h | PLT AFR ACD-A>PAS-C IRD 1C BacMtr >=24h | 120 |
| PLATELETS | EA098 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-C/XX/20-24C|Irradiated|2nd container|Bacterial monitoring >=24h | PLT AFR ACD-A>PAS-C IRD 2C BacMtr >=24h | 120 |
| PLATELETS | EA099 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-C/XX/20-24C|Irradiated|3rd container|Bacterial monitoring >=24h | PLT AFR ACD-A>PAS-C IRD 3C BacMtr >=24h | 120 |
| PLATELETS | EA100 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-C/XX/20-24C|Irradiated|<3E11 plts|Bacterial monitoring >=24h | PLT AFR ACD-A>PAS-C IRD BacMtr >=24h | 120 |
| PLATELETS | EA101 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-C/XX/20-24C|Irradiated|1st container|<3E11 plts|Bacterial monitoring >=24h | PLT AFR ACD-A>PAS-C IRD 1C BacMtr >=24h | 120 |
| PLATELETS | EA102 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-C/XX/20-24C|Irradiated|2nd container|<3E11 plts|Bacterial monitoring >=24h | PLT AFR ACD-A>PAS-C IRD 2C BacMtr >=24h | 120 |
| PLATELETS | EA103 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-C/XX/20-24C|Irradiated|3rd container|<3E11 plts|Bacterial monitoring >=24h | PLT AFR ACD-A>PAS-C IRD 3C BacMtr >=24h | 120 |
| PLATELETS | EA104 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-C/XX/20-24C|Irradiated|ResLeu:<5E6|Bacterial monitoring >=24h | PLT AFR ACD-A>PAS-C IRD LUKOPR BacMtr >=24h | 120 |
| PLATELETS | EA105 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-C/XX/20-24C|Irradiated|ResLeu:<5E6|1st container|Bacterial monitoring >=24h | PLT AFR ACD-A>PAS-C IRD LUKOPR 1C BacMtr >=24h | 120 |
| PLATELETS | EA106 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-C/XX/20-24C|Irradiated|ResLeu:<5E6|2nd container|Bacterial monitoring >=24h | PLT AFR ACD-A>PAS-C IRD LUKOPR 2C BacMtr >=24h | 120 |
| PLATELETS | EA107 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-C/XX/20-24C|Irradiated|ResLeu:<5E6|3rd container|Bacterial monitoring >=24h | PLT AFR ACD-A>PAS-C IRD LUKOPR 3C BacMtr >=24h | 120 |
| PLATELETS | EA108 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-C/XX/20-24C|Irradiated|ResLeu:<5E6|<3E11 plts|Bacterial monitoring >=24h | PLT AFR ACD-A>PAS-C IRD LUKOPR BacMtr >=24h | 120 |
| PLATELETS | EA109 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-C/XX/20-24C|Irradiated|ResLeu:<5E6|1st container|<3E11 plts|Bacterial monitoring >=24h | PLT AFR ACD-A>PAS-C IRD LUKOPR 1C BacMtr >=24h | 120 |
| PLATELETS | EA110 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-C/XX/20-24C|Irradiated|ResLeu:<5E6|2nd container|<3E11 plts|Bacterial monitoring >=24h | PLT AFR ACD-A>PAS-C IRD LUKOPR 2C BacMtr >=24h | 120 |
| PLATELETS | EA111 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-C/XX/20-24C|Irradiated|ResLeu:<5E6|3rd container|<3E11 plts|Bacterial monitoring >=24h | PLT AFR ACD-A>PAS-C IRD LUKOPR 3C BacMtr >=24h | 120 |
| PLATELETS | EA112 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A/XX/20-24C|Bacterial monitoring >=36h | PLT AFR ACD-A BacMtr >=36h | 120 |
| PLATELETS | EA113 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A/XX/20-24C|1st container|Bacterial monitoring >=36h | PLT AFR ACD-A 1C BacMtr >=36h | 120 |
| PLATELETS | EA114 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A/XX/20-24C|2nd container|Bacterial monitoring >=36h | PLT AFR ACD-A 2C BacMtr >=36h | 120 |
| PLATELETS | EA115 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A/XX/20-24C|3rd container|Bacterial monitoring >=36h | PLT AFR ACD-A 3C BacMtr >=36h | 120 |
| PLATELETS | EA116 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A/XX/20-24C|<3E11 plts|Bacterial monitoring >=36h | PLT AFR ACD-A BacMtr >=36h | 120 |
| PLATELETS | EA117 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A/XX/20-24C|1st container|<3E11 plts|Bacterial monitoring >=36h | PLT AFR ACD-A 1C BacMtr >=36h | 120 |
| PLATELETS | EA118 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A/XX/20-24C|2nd container|<3E11 plts|Bacterial monitoring >=36h | PLT AFR ACD-A 2C BacMtr >=36h | 120 |
| PLATELETS | EA119 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A/XX/20-24C|3rd container|<3E11 plts|Bacterial monitoring >=36h | PLT AFR ACD-A 3C BacMtr >=36h | 120 |
| PLATELETS | EA120 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A/XX/20-24C|Irradiated|Bacterial monitoring >=36h | PLT AFR ACD-A IRD BacMtr >=36h | 120 |
| PLATELETS | EA121 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A/XX/20-24C|Irradiated|1st container|Bacterial monitoring >=36h | PLT AFR ACD-A IRD 1C BacMtr >=36h | 120 |
| PLATELETS | EA122 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A/XX/20-24C|Irradiated|2nd container|Bacterial monitoring >=36h | PLT AFR ACD-A IRD 2C BacMtr >=36h | 120 |
| PLATELETS | EA123 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A/XX/20-24C|Irradiated|3rd container|Bacterial monitoring >=36h | PLT AFR ACD-A IRD 3C BacMtr >=36h | 120 |
| PLATELETS | EA124 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A/XX/20-24C|Irradiated|<3E11 plts|Bacterial monitoring >=36h | PLT AFR ACD-A IRD BacMtr >=36h | 120 |
| PLATELETS | EA125 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A/XX/20-24C|Irradiated|1st container|<3E11 plts|Bacterial monitoring >=36h | PLT AFR ACD-A IRD 1C BacMtr >=36h | 120 |
| PLATELETS | EA126 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A/XX/20-24C|Irradiated|2nd container|<3E11 plts|Bacterial monitoring >=36h | PLT AFR ACD-A IRD 2C BacMtr >=36h | 120 |
| PLATELETS | EA127 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A/XX/20-24C|Irradiated|3rd container|<3E11 plts|Bacterial monitoring >=36h | PLT AFR ACD-A IRD 3C BacMtr >=36h | 120 |
| PLATELETS | EA128 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-C/XX/20-24C|Bacterial monitoring >=36h | PLT AFR ACD-A>PAS-C BacMtr >=36h | 120 |
| PLATELETS | EA129 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-C/XX/20-24C|1st container|Bacterial monitoring >=36h | PLT AFR ACD-A>PAS-C 1C BacMtr >=36h | 120 |
| PLATELETS | EA130 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-C/XX/20-24C|2nd container|Bacterial monitoring >=36h | PLT AFR ACD-A>PAS-C 2C BacMtr >=36h | 120 |
| PLATELETS | EA131 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-C/XX/20-24C|3rd container|Bacterial monitoring >=36h | PLT AFR ACD-A>PAS-C 3C BacMtr >=36h | 120 |
| PLATELETS | EA132 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-C/XX/20-24C|<3E11 plts|Bacterial monitoring >=36h | PLT AFR ACD-A>PAS-C BacMtr >=36h | 120 |
| PLATELETS | EA133 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-C/XX/20-24C|1st container|<3E11 plts|Bacterial monitoring >=36h | PLT AFR ACD-A>PAS-C 1C BacMtr >=36h | 120 |
| PLATELETS | EA134 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-C/XX/20-24C|2nd container|<3E11 plts|Bacterial monitoring >=36h | PLT AFR ACD-A>PAS-C 2C BacMtr >=36h | 120 |
| PLATELETS | EA135 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-C/XX/20-24C|3rd container|<3E11 plts|Bacterial monitoring >=36h | PLT AFR ACD-A>PAS-C 3C BacMtr >=36h | 120 |
| PLATELETS | EA136 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-C/XX/20-24C|ResLeu:<5E6|Bacterial monitoring >=36h | PLT AFR ACD-A>PAS-C LUKOPR BacMtr >=36h | 120 |
| PLATELETS | EA137 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-C/XX/20-24C|ResLeu:<5E6|1st container|Bacterial monitoring >=36h | PLT AFR ACD-A>PAS-C LUKOPR 1C BacMtr >=36h | 120 |
| PLATELETS | EA138 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-C/XX/20-24C|ResLeu:<5E6|2nd container|Bacterial monitoring >=36h | PLT AFR ACD-A>PAS-C LUKOPR 2C BacMtr >=36h | 120 |
| PLATELETS | EA139 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-C/XX/20-24C|ResLeu:<5E6|3rd container|Bacterial monitoring >=36h | PLT AFR ACD-A>PAS-C LUKOPR 3C BacMtr >=36h | 120 |
| PLATELETS | EA140 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-C/XX/20-24C|ResLeu:<5E6|<3E11 plts|Bacterial monitoring >=36h | PLT AFR ACD-A>PAS-C LUKOPR BacMtr >=36h | 120 |
| PLATELETS | EA141 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-C/XX/20-24C|ResLeu:<5E6|1st container|<3E11 plts|Bacterial monitoring >=36h | PLT AFR ACD-A>PAS-C LUKOPR 1C BacMtr >=36h | 120 |
| PLATELETS | EA142 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-C/XX/20-24C|ResLeu:<5E6|2nd container|<3E11 plts|Bacterial monitoring >=36h | PLT AFR ACD-A>PAS-C LUKOPR 2C BacMtr >=36h | 120 |
| PLATELETS | EA143 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-C/XX/20-24C|ResLeu:<5E6|3rd container|<3E11 plts|Bacterial monitoring >=36h | PLT AFR ACD-A>PAS-C LUKOPR 3C BacMtr >=36h | 120 |
| PLATELETS | EA144 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-C/XX/20-24C|Irradiated|Bacterial monitoring >=36h | PLT AFR ACD-A>PAS-C IRD BacMtr >=36h | 120 |
| PLATELETS | EA145 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-C/XX/20-24C|Irradiated|1st container|Bacterial monitoring >=36h | PLT AFR ACD-A>PAS-C IRD 1C BacMtr >=36h | 120 |
| PLATELETS | EA146 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-C/XX/20-24C|Irradiated|2nd container|Bacterial monitoring >=36h | PLT AFR ACD-A>PAS-C IRD 2C BacMtr >=36h | 120 |
| PLATELETS | EA147 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-C/XX/20-24C|Irradiated|3rd container|Bacterial monitoring >=36h | PLT AFR ACD-A>PAS-C IRD 3C BacMtr >=36h | 120 |
| PLATELETS | EA148 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-C/XX/20-24C|Irradiated|<3E11 plts|Bacterial monitoring >=36h | PLT AFR ACD-A>PAS-C IRD BacMtr >=36h | 120 |
| PLATELETS | EA149 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-C/XX/20-24C|Irradiated|1st container|<3E11 plts|Bacterial monitoring >=36h | PLT AFR ACD-A>PAS-C IRD 1C BacMtr >=36h | 120 |
| PLATELETS | EA150 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-C/XX/20-24C|Irradiated|2nd container|<3E11 plts|Bacterial monitoring >=36h | PLT AFR ACD-A>PAS-C IRD 2C BacMtr >=36h | 120 |
| PLATELETS | EA151 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-C/XX/20-24C|Irradiated|3rd container|<3E11 plts|Bacterial monitoring >=36h | PLT AFR ACD-A>PAS-C IRD 3C BacMtr >=36h | 120 |
| PLATELETS | EA152 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-C/XX/20-24C|Irradiated|ResLeu:<5E6|Bacterial monitoring >=36h | PLT AFR ACD-A>PAS-C IRD LUKOPR BacMtr >=36h | 120 |
| PLATELETS | EA153 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-C/XX/20-24C|Irradiated|ResLeu:<5E6|1st container|Bacterial monitoring >=36h | PLT AFR ACD-A>PAS-C IRD LUKOPR 1C BacMtr >=36h | 120 |
| PLATELETS | EA154 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-C/XX/20-24C|Irradiated|ResLeu:<5E6|2nd container|Bacterial monitoring >=36h | PLT AFR ACD-A>PAS-C IRD LUKOPR 2C BacMtr >=36h | 120 |
| PLATELETS | EA155 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-C/XX/20-24C|Irradiated|ResLeu:<5E6|3rd container|Bacterial monitoring >=36h | PLT AFR ACD-A>PAS-C IRD LUKOPR 3C BacMtr >=36h | 120 |
| PLATELETS | EA156 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-C/XX/20-24C|Irradiated|ResLeu:<5E6|<3E11 plts|Bacterial monitoring >=36h | PLT AFR ACD-A>PAS-C IRD LUKOPR BacMtr >=36h | 120 |
| PLATELETS | EA157 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-C/XX/20-24C|Irradiated|ResLeu:<5E6|1st container|<3E11 plts|Bacterial monitoring >=36h | PLT AFR ACD-A>PAS-C IRD LUKOPR 1C BacMtr >=36h | 120 |
| PLATELETS | EA158 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-C/XX/20-24C|Irradiated|ResLeu:<5E6|2nd container|<3E11 plts|Bacterial monitoring >=36h | PLT AFR ACD-A>PAS-C IRD LUKOPR 2C BacMtr >=36h | 120 |
| PLATELETS | EA159 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-C/XX/20-24C|Irradiated|ResLeu:<5E6|3rd container|<3E11 plts|Bacterial monitoring >=36h | PLT AFR ACD-A>PAS-C IRD LUKOPR 3C BacMtr >=36h | 120 |
| PLATELETS | EA344 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-C/XX/20-24C|Open|Irradiated|ResLeu:<5E6|Plasma reduced/Saline added|Psoralen-treated | PLT AFR ACD-A>PAS-C OPN IRD LUKOPR PLS Red/SAL Add Psoraln | 4 |
| PLATELETS | EA345 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-C/XX/20-24C|Open|Irradiated|ResLeu:<5E6|Plasma reduced/Saline added|1st container|Psoralen-treated | PLT AFR ACD-A>PAS-C OPN IRD LUKOPR PLS Red/SAL Add 1C Psoraln | 4 |
| PLATELETS | EA346 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-C/XX/20-24C|Open|Irradiated|ResLeu:<5E6|Plasma reduced/Saline added|2nd container|Psoralen-treated | PLT AFR ACD-A>PAS-C OPN IRD LUKOPR PLS Red/SAL Add 2C Psoraln | 4 |
| PLATELETS | EA347 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-C/XX/20-24C|Open|Irradiated|ResLeu:<5E6|Plasma reduced/Saline added|3rd container|Psoralen-treated | PLT AFR ACD-A>PAS-C OPN IRD LUKOPR PLS Red/SAL Add 3C Psoraln | 4 |
| PLATELETS | EA348 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-C/XX/20-24C|Open|Irradiated|ResLeu:<5E6|Plasma reduced/Saline added|<3E11 plts|Psoralen-treated | PLT AFR ACD-A>PAS-C OPN IRD LUKOPR PLS Red/SAL Add Psoraln | 4 |
| PLATELETS | EA349 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A/XX/20-24C|Open|Irradiated|ResLeu:<5E6|Plasma reduced|Psoralen-treated | PLT AFR ACD-A OPN IRD LUKOPR PLS Red Psoraln | 4 |
| PLATELETS | EA350 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A/XX/20-24C|Open|Irradiated|ResLeu:<5E6|Plasma reduced|1st container|Psoralen-treated | PLT AFR ACD-A OPN IRD LUKOPR PLS Red 1C Psoraln | 4 |
| PLATELETS | EA351 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A/XX/20-24C|Open|Irradiated|ResLeu:<5E6|Plasma reduced|2nd container|Psoralen-treated | PLT AFR ACD-A OPN IRD LUKOPR PLS Red 2C Psoraln | 4 |
| PLATELETS | EA352 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A/XX/20-24C|Open|Irradiated|ResLeu:<5E6|Plasma reduced|3rd container|Psoralen-treated | PLT AFR ACD-A OPN IRD LUKOPR PLS Red 3C Psoraln | 4 |
| PLATELETS | EA353 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A/XX/20-24C|Open|Irradiated|ResLeu:<5E6|Plasma reduced|<3E11 plts|Psoralen-treated | PLT AFR ACD-A OPN IRD LUKOPR PLS Red Psoraln | 4 |
| FRESH FROZEN PLASMA | EA354 | No | Apheresis FRESH FROZEN PLASMA | Apheresis FRESH FROZEN PLASMA|NaCitrate/XX/<=-30C|For mnf:injectable | FFP AFR NaCit MNFI | 8760 |
| FRESH FROZEN PLASMA | EA355 | No | Apheresis FRESH FROZEN PLASMA | Apheresis FRESH FROZEN PLASMA|NaCitrate/XX/<=-30C|For mnf:injectable|1st container | FFP AFR NaCit MNFI 1C | 8760 |
| FRESH FROZEN PLASMA | EA356 | No | Apheresis FRESH FROZEN PLASMA | Apheresis FRESH FROZEN PLASMA|NaCitrate/XX/<=-30C|For mnf:injectable|2nd container | FFP AFR NaCit MNFI 2C | 8760 |
| FRESH FROZEN PLASMA | EA357 | Yes | Apheresis FRESH FROZEN PLASMA | Apheresis FRESH FROZEN PLASMA|NaCitrate/XX/<=-25C|Irradiated|ResLeu:<1E6 | FFP AFR NaCit IRD LUKOPR | 8760 |
| FRESH FROZEN PLASMA | EA358 | Yes | Apheresis FRESH FROZEN PLASMA | Apheresis FRESH FROZEN PLASMA|NaCitrate/XX/<=-25C|Irradiated|ResLeu:<1E6|1st container | FFP AFR NaCit IRD LUKOPR 1C | 8760 |
| FRESH FROZEN PLASMA | EA359 | Yes | Apheresis FRESH FROZEN PLASMA | Apheresis FRESH FROZEN PLASMA|NaCitrate/XX/<=-25C|Irradiated|ResLeu:<1E6|2nd container | FFP AFR NaCit IRD LUKOPR 2C | 8760 |
| FRESH FROZEN PLASMA | EA360 | Yes | Apheresis FRESH FROZEN PLASMA | Apheresis FRESH FROZEN PLASMA|NaCitrate/XX/<=-25C|ResLeu:<1E6 | FFP AFR NaCit LUKOPR | 8760 |
| FRESH FROZEN PLASMA | EA361 | Yes | Apheresis FRESH FROZEN PLASMA | Apheresis FRESH FROZEN PLASMA|NaCitrate/XX/<=-25C|ResLeu:<1E6|1st container | FFP AFR NaCit LUKOPR 1C | 8760 |
| FRESH FROZEN PLASMA | EA362 | Yes | Apheresis FRESH FROZEN PLASMA | Apheresis FRESH FROZEN PLASMA|NaCitrate/XX/<=-25C|ResLeu:<1E6|2nd container | FFP AFR NaCit LUKOPR 2C | 8760 |
| FRESH FROZEN PLASMA | EA363 | No | Apheresis FRESH FROZEN PLASMA | Apheresis FRESH FROZEN PLASMA|NaCitrate/XX/<=-25C|For mnf:injectable|ResLeu:<1E6|Frozen <=6h | FFP AFR NaCit MNFI LUKOPR | 8760 |
| FRESH FROZEN PLASMA | EA364 | No | Apheresis FRESH FROZEN PLASMA | Apheresis FRESH FROZEN PLASMA|NaCitrate/XX/<=-25C|For mnf:injectable|ResLeu:<1E6|Frozen <=6h|1st container | FFP AFR NaCit MNFI LUKOPR 1C | 8760 |
| FRESH FROZEN PLASMA | EA365 | No | Apheresis FRESH FROZEN PLASMA | Apheresis FRESH FROZEN PLASMA|NaCitrate/XX/<=-25C|For mnf:injectable|ResLeu:<1E6|Frozen <=6h|2nd container | FFP AFR NaCit MNFI LUKOPR 2C | 8760 |
| FRESH FROZEN PLASMA | EA366 | No | Apheresis FRESH FROZEN PLASMA | Apheresis FRESH FROZEN PLASMA|NaCitrate/XX/<=-30C|For mnf:noninjectable|ResLeu:<1E6 | FFP AFR NaCit MNFNI LUKOPR | 8760 |
| FRESH FROZEN PLASMA | EA367 | No | Apheresis FRESH FROZEN PLASMA | Apheresis FRESH FROZEN PLASMA|NaCitrate/XX/<=-30C|For mnf:noninjectable|ResLeu:<1E6|1st container | FFP AFR NaCit MNFNI LUKOPR 1C | 8760 |
| FRESH FROZEN PLASMA | EA368 | No | Apheresis FRESH FROZEN PLASMA | Apheresis FRESH FROZEN PLASMA|NaCitrate/XX/<=-30C|For mnf:noninjectable|ResLeu:<1E6|2nd container | FFP AFR NaCit MNFNI LUKOPR 2C | 8760 |
| FRESH FROZEN PLASMA | EA369 | No | Thawed Apheresis FRESH FROZEN PLASMA | Thawed Apheresis FRESH FROZEN PLASMA|NaCitrate/XX/refg|For mnf:injectable | FFP AFR Thaw NaCit MNFI | 24 |
| FRESH FROZEN PLASMA | EA370 | No | Thawed Apheresis FRESH FROZEN PLASMA | Thawed Apheresis FRESH FROZEN PLASMA|NaCitrate/XX/refg|For mnf:injectable|1st container | FFP AFR Thaw NaCit MNFI 1C | 24 |
| FRESH FROZEN PLASMA | EA371 | No | Thawed Apheresis FRESH FROZEN PLASMA | Thawed Apheresis FRESH FROZEN PLASMA|NaCitrate/XX/refg|For mnf:injectable|2nd container | FFP AFR Thaw NaCit MNFI 2C | 24 |
| FRESH FROZEN PLASMA | EA372 | No | Thawed Apheresis FRESH FROZEN PLASMA | Thawed Apheresis FRESH FROZEN PLASMA|NaCitrate/XX/refg|For mnf:injectable|ResLeu:<1E6 | FFP AFR Thaw NaCit MNFI LUKOPR | 24 |
| FRESH FROZEN PLASMA | EA373 | No | Thawed Apheresis FRESH FROZEN PLASMA | Thawed Apheresis FRESH FROZEN PLASMA|NaCitrate/XX/refg|For mnf:injectable|ResLeu:<1E6|1st container | FFP AFR Thaw NaCit MNFI LUKOPR 1C | 24 |
| FRESH FROZEN PLASMA | EA374 | No | Thawed Apheresis FRESH FROZEN PLASMA | Thawed Apheresis FRESH FROZEN PLASMA|NaCitrate/XX/refg|For mnf:injectable|ResLeu:<1E6|2nd container | FFP AFR Thaw NaCit MNFI LUKOPR 2C | 24 |
| FRESH FROZEN PLASMA | EA375 | Yes | Thawed Apheresis FRESH FROZEN PLASMA | Thawed Apheresis FRESH FROZEN PLASMA|NaCitrate/XX/refg|Irradiated|ResLeu:<1E6 | FFP AFR Thaw NaCit IRD LUKOPR | 24 |
| FRESH FROZEN PLASMA | EA376 | Yes | Thawed Apheresis FRESH FROZEN PLASMA | Thawed Apheresis FRESH FROZEN PLASMA|NaCitrate/XX/refg|Irradiated|ResLeu:<1E6|1st container | FFP AFR Thaw NaCit IRD LUKOPR 1C | 24 |
| FRESH FROZEN PLASMA | EA377 | Yes | Thawed Apheresis FRESH FROZEN PLASMA | Thawed Apheresis FRESH FROZEN PLASMA|NaCitrate/XX/refg|Irradiated|ResLeu:<1E6|2nd container | FFP AFR Thaw NaCit IRD LUKOPR 2C | 24 |
| FRESH FROZEN PLASMA | EA378 | Yes | Thawed Apheresis FRESH FROZEN PLASMA | Thawed Apheresis FRESH FROZEN PLASMA|NaCitrate/XX/refg|ResLeu:<1E6|Frozen <=6h | FFP AFR Thaw NaCit LUKOPR | 24 |
| FRESH FROZEN PLASMA | EA379 | Yes | Thawed Apheresis FRESH FROZEN PLASMA | Thawed Apheresis FRESH FROZEN PLASMA|NaCitrate/XX/refg|ResLeu:<1E6|Frozen <=6h|1st container | FFP AFR Thaw NaCit LUKOPR 1C | 24 |
| FRESH FROZEN PLASMA | EA380 | Yes | Thawed Apheresis FRESH FROZEN PLASMA | Thawed Apheresis FRESH FROZEN PLASMA|NaCitrate/XX/refg|ResLeu:<1E6|Frozen <=6h|2nd container | FFP AFR Thaw NaCit LUKOPR 2C | 24 |
| FRESH FROZEN PLASMA | EA381 | Yes | Thawed Apheresis FRESH FROZEN PLASMA | Thawed Apheresis FRESH FROZEN PLASMA|NaCitrate/XX/refg|Irradiated|ResLeu:<1E6|Frozen <=6h | FFP AFR Thaw NaCit IRD LUKOPR | 24 |
| FRESH FROZEN PLASMA | EA382 | Yes | Thawed Apheresis FRESH FROZEN PLASMA | Thawed Apheresis FRESH FROZEN PLASMA|NaCitrate/XX/refg|Irradiated|ResLeu:<1E6|Frozen <=6h|1st container | FFP AFR Thaw NaCit IRD LUKOPR 1C | 24 |
| FRESH FROZEN PLASMA | EA383 | Yes | Thawed Apheresis FRESH FROZEN PLASMA | Thawed Apheresis FRESH FROZEN PLASMA|NaCitrate/XX/refg|Irradiated|ResLeu:<1E6|Frozen <=6h|2nd container | FFP AFR Thaw NaCit IRD LUKOPR 2C | 24 |
| FRESH FROZEN PLASMA | EA384 | Yes | Liquid PLASMA | Liquid PLASMA|NaCitrate/XX/refg|Irradiated|ResLeu:<1E6 | PLASMA Liq NaCit IRD LUKOPR | 624 |
| FRESH FROZEN PLASMA | EA385 | Yes | Liquid PLASMA | Liquid PLASMA|NaCitrate/XX/refg|Irradiated|ResLeu:<1E6|1st container | PLASMA Liq NaCit IRD LUKOPR 1C | 624 |
| FRESH FROZEN PLASMA | EA386 | Yes | Liquid PLASMA | Liquid PLASMA|NaCitrate/XX/refg|Irradiated|ResLeu:<1E6|2nd container | PLASMA Liq NaCit IRD LUKOPR 2C | 624 |
| FRESH FROZEN PLASMA | EA387 | Yes | FRESH FROZEN PLASMA | FRESH FROZEN PLASMA|CPD/XX/<=-25C|Frozen <=18h|Methylene blue-treated | FFP CPD Methyl Blue | 8760 |
| PLATELETS | EA392 | Yes | Apheresis PLATELETS | Apheresis PLATELETS|ACD-A>PAS-C/XX/20-24C|Open|Irradiated|ResLeu:<5E6|Plasma reduced|<3E11 plts|Psoralen-treated | PLT AFR ACD-A>PAS-C OPN IRD LUKOPR PLS Red Psoraln | 4 |
| PLATELETS | EA395 | Yes | Frozen Apheresis POOLED PLATELETS | Frozen Apheresis POOLED PLATELETS|DMSO/XX/<=-65C|Irradiated|ResLeu:<5E6|Plasma reduced | PLT Pool AFR Froz DMSO IRD LUKOPR PLS Red | 8760 |
| PLATELETS | EA396 | Yes | Thawed Apheresis POOLED PLATELETS | Thawed Apheresis POOLED PLATELETS|DMSO/XX/20-24C|Irradiated|ResLeu:<5E6|Plasma reduced | PLT Pool AFR Thaw DMSO IRD LUKOPR PLS Red | 4 |
| RED BLOOD CELLS | EA397 | No | RED BLOOD CELLS | RED BLOOD CELLS|SAGM/450mL/refg|Irradiated|ResLeu:<1E6|Plasma reduced|Hct 0.70-0.85 | RBC SAGM IRD LUKOPR PLS Red Hct 0.70-0.85 | 672 |
| RED BLOOD CELLS | EA398 | No | RED BLOOD CELLS | RED BLOOD CELLS|PAGGS-M/450mL/refg|Irradiated|ResLeu:<1E6|Plasma reduced|Hct 0.70-0.85 | RBC PAGGS-M IRD LUKOPR PLS Red Hct 0.70-0.85 | 672 |

This is the last page of *VistA Blood Establishment Computer Software (VBECS) 2.3.2 Rev G Release Notes*.