PROSTHETICS

INVENTORY PACKAGE (PIP)

USER MANUAL

Patch RMPR*3*61

Version 3.0

March 2005

Department of Veterans Affairs

VistA Health System Design and Development (HSD&D)

Table of Contents

Prosthetics Inventory Package (PIP)	1

Overview	1

Accessing the Inventory Main Menu	3

Inventory Option Descriptions	4

Inventory Reports (RP) Menu Option Descriptions	6

Email Notifications	9

Overview	9

Managing/Viewing Inventory Data	10

Overview of Prosthetic Inventory Main Menu	10

Add Inventory LOCATION or ITEMS (AE)	11

Edit Inventory Items (EI)	18

Edit Inventory Location (EL)	22

Deactivate Inventory Location (DE)	24

Order Item from Supply or Vendor (OI)	26

Receive Item from Supply, Vendor or Patient (RC)	29

Transfer Stock Between Locations (TR)	33

Reconcile Item Balance (UP)	35

Remove/Deactivate HCPCS/Item from Inventory (RE)	37

Inventory Reports Menu …	38

Overview	38

New Inventory Reports (Patch RMPR*3*61)	39

Overview	39

Print Order/Receive Item (PO)	41

Print Item Usage by Location (IU)	43

Print Stock Work Sheet (WS)	46

Reprint Barcode Label (BC)	47

Print Items Not Issued Within 30-Day (P3)	49

Print Stock on Hand Over Date Range (OD)	50

Print All Barcode in a Location (AL)	52

Print PIP/IFCAP Item Report (IP)	53

Prosthetic Inventory Reports (Patch RMPR*3*51)	54

Overview	54

Access the Inventory Reports Menu	55

Field/Column Descriptions	56

Viewing/Printing Reports	58

Item Detail Report (SI)	59

Overview	59

Item Detail Report – Choosing “All HCPCS”	60

Item Detail Report – Choosing “All HCPCS for NPPD Group”	62

Item Detail Report – Choosing “All HCPCS for NPPD Line”	65

Item Detail Report – Choosing “Select Individual HCPCS”	68

HCPCS Summary Report (SH)	70

Overview	70

HCPCS Summary Report – Choosing “All HCPCS”	71

HCPCS Summary Report – Choosing “All HCPCS for NPPD Group”	74

HCPCS Summary Report – Choosing “All HCPCS for NPPD Line”	76

HCPCS Summary Report – Choosing “Select Individual HCPCS”	79

NPPD Group/Line Report (SG)	82

Overview	82

NPPD Group/Line Report - Select a Single NPPD Group	83

NPPD Group/Line Report - Select Multiple NPPD Groups	85

NPPD Group Summary Report (SS)	87

Overview	87

Viewing the NPPD Group Summary Report	88

Other Useful Inventory Reports	89

Overview	89

Print Transaction History (PS)	90

Print Current Item Balance by Location (PL)	92

Print Current HCPCS Balance by HCPCS (PI)	93

Appendix A	94

Glossary	94

Appendix B	95

Using Prosthetics Help	95

Prosthetics Inventory Package (PIP)

Overview

| Software description | The Prosthetics inventory software (also known as the Prosthetics Inventory Package or “PIP”) tracks quantities of prosthetic items located in the Prosthetics Sensory and AIDS Service (PSAS) inventory of each facility. The PIP system using bar coding provides the means to do the following: Manages the inventory data using barcode scanner equipment Provides for faster data entry with scanning information of labels More accurate data entry with scanning of HCPCS Codes Sends a mail message when stock is low Automatically calculates stock quantities when stock is ordered or issued. |
| --- | --- |

| Patch RMPR*3*61 | Introducing Patch RMPR*3*61 which provides a new Prosthetics Inventory Main Menu and new Inventory Reports Menu options. This patch also provides barcode printing and reader functionality. |
| --- | --- |

| WARNING | WARNING: Do NOT install this patch (or any patch) during the first week of the month as this will affect the Prosthetic Inventory Package statistics. |
| --- | --- |

| Installation of Patch RMPR*3*61 | Patch RMPR*3*61 is a large patch that involves careful setup PRIOR to installation and data conversion. This is extremely important: Please review this Prosthetics Inventory Package (PIP) User Manual and all other documents relating to Patch RMPR*3*61 before proceeding with the installation including the following: Forum Patch Module description Prosthetics Inventory Package (PIP) Implementation Guide Prosthetics Inventory Package (PIP) Lessons Learned Prosthetics Purchasing - Stock Issues User Manual. Additionally, the documents: Inventory User Manual, Stock Issues User Manual and Lessons Learned should be provided to end users with the suggestion that they be reviewed. Several major changes to the software are being introduced with this patch and the smoothness of adapting to these changes is directly related to end users having and reading these documents. |
| --- | --- |

Continued on next page

Overview, Continued

| Ordering/ Receiving Inventory | This patch is NOT for ordering or receiving inventory. The intention of this patch is to disperse inventory to the 2319. You cannot order an item from IFCAP using the Prosthetics Inventory Package (PIP) using the Order Item from Supply or Vendor (OI) option since it is not part of IFCAP. You must use GIP or IFCAP. The Order Item from Supply or Vendor (OI) is an option to record an Item that has been ordered. Whenever you place an order, use this option to update the quantity of the stock ordered. This option works in conjunction with the Receive Item from Supply, Vendor or Patient (RC) option. Note: The Order Item from Supply or Vendor (OI) option is not associated with IFCAP. This option will not automatically order an item from Supply or Vendor. |
| --- | --- |

Accessing the Inventory Main Menu

| Menu description | The Pros Inventory Main Menu is found under the Prosthetic Official's Menu and the Prosthetic Clerk's Menu. The Prosthetics Inventory software also provides reports on the status of the inventory. |
| --- | --- |

| Prosthetics Official’s Menu | PU Purchasing ... DD Display/Print ... UT Utilities ... AM AMIS ... SU Suspense ... CO Correspondence ... SC Scheduled Meetings and Home/Liaison Visits ... PS Process Form 2529-3 ... EL Eligibility Inquiry ET PSC/Entitlement Records ... HO Home Oxygen Main Menu ... INV Pros Inventory Main ... ND NPPD Tools ... VR VERIFY/REPAIR PURCHASE CARD NUMBER Select Prosthetic Official's Menu Option: INV Pros Inventory Main |
| --- | --- |

| Pros Inventory Main Menu screen | AE Add Inventory LOCATION or ITEMS EI Edit Inventory Items EL Edit Inventory Location DE Deactivate Inventory Location OI Order Item from Supply or Vendor RC Receive Item from Supply, Vendor or Patient TR Transfer Stock Between Locations UP Reconcile Item Balance RP Inventory Reports ... RE Remove/Deactivate HCPCS/Item from Inventory Select Pros Inventory Main Option: |
| --- | --- |

Inventory Option Descriptions

| Add Inventory LOCATION or ITEMS (AE) | The Add Inventory LOCATION or ITEMS (AE) option is used to set-up and maintain Prosthetic locations and inventory items used by the inventory software. All new locations and inventory items are entered using this option. |
| --- | --- |

| Edit Inventory Items (EI) | Any changes you need to make to a Prosthetic inventory Item must be made through the Edit Inventory Items (EI) option. You can only edit an Item that has already been set-up (entered through the Add Inventory LOCATION or ITEMS (AE) option). |
| --- | --- |

| Edit Inventory Location (EL) | Any changes you need to make to the Prosthetic Locations must be made through the Edit Inventory Location (EL) option. You can only edit a Location that has already been set-up. You can also edit an existing HCPCS. |
| --- | --- |

| Deactivate Inventory Location (DE) | The Deactivate Inventory Location (DE) option allows you to deactivate an inventory Location. Deactivating a Location also deactivates all the HCPCS associated with that Location. This option requires the user to own the RMPRMANAGER key. |
| --- | --- |

| Order Item from Supply or Vendor (OI) | The Order Item from Supply or Vendor (OI) is an option to record an Item that has been ordered. Whenever you place an order, use this option to update the quantity of the stock ordered. This option works in conjunction with the Receive Item from Supply, Vendor or Patient (RC) option. Note: This option is not associated with IFCAP. This option will not automatically order an item from Supply or Vendor. |
| --- | --- |

| Receive Item from Supply, Vendor or Patient (RC) | Whenever you receive ordered items, use the Receive Item from Supply, Vendor or Patient (RC) option to record and update the quantity of the stock received. Receiving an item in Supply through the IFCAP package does not update the Prosthetics Inventory module. This option has to be done separately for an item to be received and recorded in the Prosthetics module. |
| --- | --- |

| Transfer Stock Between Locations (TR) | If you have a quantity of stock in one location that you would like to show (transfer) as being in another location, use the Transfer Stock Between Locations (TR) option. You can transfer all quantities or certain quantities. |
| --- | --- |

Continued on next page

Inventory Option Descriptions, Continued

| Reconcile Item Balance (UP) | Use the Reconcile Item Balance (UP) option to reconcile any differences determined in balances between a physical count and the quantity on-hand shown by the system. This option should only be used for existing items and is only used to record quantities. Balances can be checked by using the report options: Print Current HCPCS Balance by HCPCS (PI) – or - Print Current Item Balance by Location (PL) |
| --- | --- |

| Remove/ Deactivate HCPCS/Item from Inventory (RE) | The Remove/Deactivate HCPCS/Item from Inventory (RE) option removes/ deactivates inventory item(s) from Prosthetics Inventory Package. Once an item has been removed/deactivated, that item is not accessible. Note: Only users with RMPRMANAGER key can access this option. |
| --- | --- |

| Inventory Reports (RP) Menu | The Inventory Reports (RP) Menu contains reports showing item balances and statistics. The first four usage reports are available for the sites and for PSAS Headquarters personnel to use. Use these reports to assess and manage your inventory. The Inventory Reports (RP) Menu includes the following report options: Item Detail Report HCPCS Summary Report NPPD Group/Line Report NPPD Group Summary Report Print Employee Lab Issue Statistics Print Current HCPCS Balance by HCPCS Print Current Item Balance by Location Print Order/Receive Item Print Transaction History Print Item Usage By Location Print Stock Work Sheet Reprint Barcode Label Print Item Not Issued Within 30-Day Print Stock On Hand Over Date Range Print All Barcode in a Location Print PIP/IFCAP Item Report |
| --- | --- |

Inventory Reports (RP) Menu Option Descriptions

| Introduction | The Inventory Reports (RP) Main Menu has 15 report options as described below. |
| --- | --- |

| Inventory Reports Menu screen | Select Pros Inventory Main Option: RP Inventory Reports SI Item Detail Report SH HCPCS Summary Report SG NPPD Group/Line Report SS NPPD Group Summary Report PE Print Employee Lab Issue Statistics PI Print Current HCPCS Balance by HCPCS PL Print Current Item Balance by Location PO Print Order/Receive Item PS Print Transaction History IU Print Item Usage By Location WS Print Stock Work Sheet BC Reprint Barcode Label P3 Print Items Not Issued Within 30-Day OD Print Stock On Hand Over Date Range AL Print All Barcode in a Location IP Print PIP/IFCAP Item Report Select Inventory Reports Option: |
| --- | --- |

| Item Detail Report (SI) | The Item Detail Report (SI) is the most detailed report at the facility level. This report displays the stock on hand for a date range and sorted by item at the facility level. Since this report is in the NPPD Report format, all HCPCS in that group are shown on the report, even if there was no activity during the reporting timeframe. For example, K004-1 and K004-3 is shown, but also K004-2 is shown. HCPCS are always grouped under their respective NPPD Line and Group headings. There are also separate summary lines for USED and NEW Total Values. At the end of the report is a Grand Total New and Used for inventory on-hand as well as items issued. |
| --- | --- |

| HCPCS Summary Report (SH) | The HCPCS Summary Report (SH) is for both local as well as headquarters use. This report provides a quick overview of the total dollars on-hand in Inventory. It displays the stock on-hand for a specified date range, and it is sorted by HCPCS. This report provides a description field in the second column. There is a Grand Total USED and NEW for items issued as well as stock on-hand on this report. |
| --- | --- |

| NPPD Group/Line Report (SG) | The NPPD Group/Line Report (SG) is for local use. This report displays the same information as the Item Detail Report but at the NPPD Line level. It displays the stock on hand for a date range and sorted by NPPD Group and NPPD Line. There is a Grand Total USED and NEW for items issued as well as stock on hand on this report. |
| --- | --- |

Continued on next page

Inventory Reports (RP) Menu Option Descriptions, Continued

| NPPD Group Summary Report (SS) | The NPPD Group Summary Report (SS) is for local use. This report provides high-level summary information based on the NPPD Group selected. It is the summary of the entire Prosthetics inventory for a certain date range sorted by NPPD Group. |
| --- | --- |

| Print Current HCPCS Balance by HCPCS (PI) | The Print Current HCPCS Balance by HCPCS (PI) is a report of the number of items available in current inventory by location for selected HCPCS. It includes other information about the items, including the following: Source (VA or Commercial) Vendor Unit of issue Re-order level Average cost. |
| --- | --- |

| Print Current Item Balance by Location (PL) | The Print Current Item Balance by Location (PL) is a report of item balances by one, more than one, or all prosthetic Locations for a site. |
| --- | --- |

| Print Transaction History (PS) | The Print Transaction History (PS) option to print daily Item statistics of all or particular HCPCS and Items that are in Prosthetics Inventory. This option prints the VA form 10-1210. The report shows all the statistics of a particular HCPCS Code, Item, and dollar amount for a certain date range. |
| --- | --- |

| Print Order/Receive Item (PO) | The Print Order/Receive Item (PO) option prints the Open, Received Item(s), or Cancelled Items in the PIP. You will be asked for the number of days back an item was open, received, or cancelled. |
| --- | --- |

| Print Item Usage by Location (IU) | The Print Item Usage by Location (IU) option provides a report of an item usage and quantity for a specified date range. This report is sorted by Location. |
| --- | --- |

Continued on next page

Inventory Reports (RP) Menu Option Descriptions, Continued

| Print Stock Work Sheet (WS) | The Print Stock Work Sheet (WS) option prints the inventory stock by Location of a particular station. It shows the HCPCS, Item description, date, cost, vendor, quantity, location, and a blank column for the physical count. |
| --- | --- |

| Reprint Barcode Label (BC) | The Reprint Barcode Label (BC) option allows inventory users to print barcode labels. Only HCPCS in PIP can be printed using this option. |
| --- | --- |

| Print Items Not Issued Within 30-Day (P3) | The Print Items Not Issued Within 30-Day (P3) report option prints Items not issued within a 30-day period. Items that have been issued within 30 days will NOT be printed on this report. |
| --- | --- |

| Print Stock on Hand Over Date Range (OD) | The Print Stock on Hand Over Date Range (OD) report prints all Items in a particular Location, where the number of days on-hand is greater than the number of days in the date range selected. Sort criteria are based on Locations and new or old Items. |
| --- | --- |

| Print All Barcode in a Location (AL) | With Patch RMPR*3*61, the Print All Barcode in a Location (AL) option is an option available for use in printing all the barcode labels for all items within a Location. Note: This is a helpful option to use after installing this patch into the Production (Live) system to implement this patch. |
| --- | --- |

| Print PIP/IFCAP Item Report (IP) | The Print PIP/IFCAP Item (IP) report prints all PIP Items and the corresponding IFCAP Items. Prosthetics users must edit the HCPCS/Item that has a blank IFCAP Item. This report is useful for checking if the IFCAP Item is correctly linked to the PIP Item. |
| --- | --- |

Email Notifications

Overview

| Introduction | Email notifications are sent when your items have been reduced to the Re-order Level you entered for the item. If you have re-ordered items, and your PIP reflects your Re-order Number, you will still receive an email notification. |
| --- | --- |

| Task Job (Inventory Task Balance Check) | After installation of the Prosthetic Inventory module, IRM will schedule the Inventory Task Balance Check to run every night. This option will check all items in each Prosthetics Location and send a Prosthetics Inventory message if the balance is below the Re-order Level for an item. |
| --- | --- |

| Mail Group (RMPR INVENTORY) | The RMPR INVENTORY mail group receives the Inventory Task Balance Check message whenever the balance for an item is below the re-order level. There must be at least one member, either the Prosthetics Chief or a designated person responsible for the Prosthetics Inventory module. Note: Make sure that IRM has a list of the people who should be in this mail group. |
| --- | --- |

| Sample mail message | Subj: PROSTHETICS INVENTORY MESSAGE [#79931] 12/28/02@06:00 14 lines From: POSTMASTER In 'IN' basket. Page 1 *New* ------------------------------------------------------------------------------ Run Date: DEC 28, 2002 This is a notification from the Prosthetics Department........ The current balance for the following item(s) is/are below the reorder level: [Site] [Location] [Item] [HCPCS] [Reorder Lvl] [Bal] SUPPOR HO 1 EYEGLASSES A4254-3 4 1 SUPPOR HNC ULTRALIGHTWEIGHT WHEELCHAIR K0005-2 5 3 **** Quantity = 10 has been ordered for item..ULTRALIGHTWEIGHT WHEELCHAIR G RN on DEC 18, 2002 ROOM 3 TAIL CLOSURES/COMMERCIAL A4369-1 2 1 Thank You!!! PROSTHETICS DEPARTMENT |
| --- | --- |

| Privacy Act | The Privacy Act covers personal data within this package. Access to the software should be restricted to those personnel whose normal duties require viewing and editing such patient-related data as found in the Prosthetics Inventory Package. |
| --- | --- |

Managing/Viewing Inventory Data

Overview of Prosthetic Inventory Main Menu

| Introduction | The Pros Inventory Main Menu options are used to manage the Prosthetics Inventory that contains information about Items including the following: Prosthetics Location HCPCS Code Quantity Cost Unit of issue Vendor Re-order level Source (VA or Commercial) |
| --- | --- |

| Pros Inventory Main Menu | AE Add Inventory LOCATION or ITEMS EI Edit Inventory Items EL Edit Inventory Location DE Deactivate Inventory Location OI Order Item from Supply or Vendor RC Receive Item from Supply, Vendor or Patient TR Transfer Stock Between Locations UP Reconcile Item Balance RP Inventory Reports ... RE Remove/Deactivate HCPCS/Item from Inventory Select Pros Inventory Main Option: |
| --- | --- |

| Inventory Reports Menu | The reports under the Inventory Reports Menu provide statistics and document the status of the inventory. The Inventory Reports Menu contains the following options: Item Detail Report HCPCS Summary Report NPPD Group/Line Report NPPD Group Summary Report Print Employee Lab Issue Statistics Print Current HCPCS Balance by HCPCS Print Current Item Balance by Location Print Order/Receive Item Print Transaction History Print Item Usage by Location Print Stock Work Sheet Reprint Barcode Label Print Items Not Issued Within 30-Day Print Stock on Hand Over Date Range Print All Barcode in a Location Print PIP/IFCAP Item Report |
| --- | --- |

Add Inventory LOCATION or ITEMS (AE)

| Function description | You must use the Add Inventory LOCATION or ITEMS (AE) option to populate the Prosthetics Inventory (PIP) to add a new Location or Item to inventory. (This is a one-time procedure.) You can also add a Prosthetic Location for each site where an inventory Item will be located. You must use this option before you can issue an Item from the Stock Issues (SI) Menu if it has not been previously added. You will not be able to receive stock until an Item has been added. The barcode scanner equipment will not work unless the Item(s) has been added to the PIP. |
| --- | --- |

| Steps | To add a PIP Location and/or an IFCAP Item, follow these steps: |
| --- | --- |

| Step | Action |
| --- | --- |
| 1 | Select the Site (if more than one Site can be selected). |
| 2 | Enter a Prosthetics Location and press <Enter>. (You can type one or two question marks <??> to display a list and select one or add a new one as shown on the next page.) |

| Site | The Site prompt only appears if your Prosthetics Service covers multiple stations. This is a non-editable field (for display purposes only). Entering a question mark <?> will bring up a list of sites for which you will need to define the Locations. Select a site or enter the number(s) for your station. |
| --- | --- |

| Enter Pros Location | The Enter Pros Location prompt provides a list of Locations by typing a question mark. You can view the entire PROS ITEM LOCATION list to select one or add a new one if you wish. When entering a new Location, there is a free-text field of 3 - 30 characters in length. This is a location of an item or stock being tracked for inventory. This might be a room number, warehouse, etc. |
| --- | --- |

| Sample screen | SITE: Hines Development System// <Enter> Enter Pros Location: ?? <Enter> Answer with PROS ITEM LOCATION Choose from: RADIOLOGY RMC26 You may enter a new PROS ITEM LOCATION, if you wish This is a location of an item or stock being tracked for inventory. Enter Pros Location: ROOM 19... <Enter> Are you adding 'ROOM 19' as a new PROS ITEM LOCATION? N// Y <Enter> (Yes) |
| --- | --- |

Continued on next page

Add Inventory LOCATION or ITEMS (AE), Continued

| Item Location Address | The Prosthetic Item Location Address prompt provides an entry for a more detailed description of the Prosthetics Location that you are adding to PIP. |
| --- | --- |

| Select HCPCS | The Select HCPCS prompt allows you to select a HCPCS Code from the current Prosthetic HCPCS list. Entering <??> at this prompt brings up the entire list. Select the current HCPCS associated with the item(s) you will be adding. |
| --- | --- |

| Steps | To continue to add a PIP Location and/or an IFCAP Item, follow these steps: |
| --- | --- |

| Step | Action |
| --- | --- |
| 3 | Enter the Prosthetic Item Location Address, and press <Enter>. |
| 4 | At the Select HCPCS prompt, you can enter the HCPCS Code or type two question marks <??> and press <Enter>. A prompt displays asking if you want the entire 3035-Entry Prosthetics HCPCS list to be viewed with a Y/N prompt. You can then select one by entering a HCPCS Code, Short Name, CPT, Synonym or Description. |

| Sample Screen | PROS ITEM LOCATION ADDRESS: Basement Floor - West Wing <Enter> Select HCPCS: ?? <Enter> Answer with PROSTHETIC HCPCS, or SHORT NAME, or CPT, or SYNONYM, or DESCRIPTION Do you want the entire 3035-Entry PROSTHETIC HCPCS List? Y <Enter> (Yes) Choose from: A4254 BATTERY FOR GLUCOSE MONITOR A4255 GLUCOSE MONITOR PLATFORMS E0100 CANE ADJUST/FIXED WITH TIP E0113 CRUTCH UNDERARM EACH WOOD E1260 WHEELCHAIR LIGHTWT FOOT REST ^ <Enter> Select HCPCS: E1260 <Enter> WHEELCHAIR LIGHTWT FOOT REST |
| --- | --- |

| HCPCS Code | For each HCPCS Code, you may enter multiple IFCAP Items and PIP Item Descriptions that is more descriptive for your facility. (See next page for sample PIP Item Descriptions.) Note: The list of HCPCS shown above is a portion of the entire list for your Prosthetics Service. |
| --- | --- |

Continued on next page

Add Inventory LOCATION or ITEMS (AE), Continued

| IFCAP Item | The IFCAP Item prompt allows you to associate or link the IFCAP Item to the local PIP Item Description you are about to add. |
| --- | --- |

| 2 Levels of Item Descriptions | Below are two different Item prompts with different levels of detail: 1. IFCAP Item – This prompt provides a description from the main list of IFCAP Items in the Prosthetic file (which cannot be changed in Prosthetics): Example: Diabetic Shoe 2. Inventory Item Description – Local “PIP” or Inventory Item specific description (which can be changed/replaced in Prosthetics): Example: Diabetic Shoe – Size 8 |
| --- | --- |

| Steps | To continue to add a PIP Location and/or an IFCAP Item, follow these steps: |
| --- | --- |

| Step | Action |
| --- | --- |
| 5 | At the IFCAP Item prompt, you may enter a new Item and press <Enter>. This is an Item or appliance in the PSAS HCPCS list kept by a local file in PIP. |

| Sample screen | IFCAP ITEM: ? <Enter> Answer with PROS ITEM MASTER NAME Do you want the entire 18-Entry PROS ITEM MASTER List? Y <Enter> (Yes) Choose from: 3 **SYRINGE-SUBCUTANEOUS-3IN **** THIS ITEM IS INACTIVE **** 55 WHEELCHAIR-ADULT/HEMI/BLUE-STD FOR ALL PATIENTS 56 WHEELCHAIR-CLASSIC-18X16 59 EYEGLASSES 99 OXYGEN CONCENTRATOR 100 OXYGEN DEVICE 912 WHEELCHAIR GLOVES 913 SHOE COMPONENTS 921 WHEELCHAIR - ELECTRIC IFCAP ITEM: 921 <Enter> WHEELCHAIR - ELECTRIC ...OK? Yes// <Enter> (Yes) Inventory Item Description: WHEELCHAIR - ELECTRIC Replace <Enter> |
| --- | --- |

| Inventory Item Description | The Inventory Item Description is a free-text field of 3 - 50 characters in length. This description for the item is used locally by your Prosthetic service. You may specify size, volume, etc. You can change the description at this prompt and replace it with a new one. For example, the HCPCS Code, A4565 may have the following PIP Item Descriptions: 1 - Sling, arm large 2 - Sling, arm small Note: For each HCPCS Code, you may enter multiple IFCAP Items and PIP Item descriptions. Several IFCAP Items may be associated with one HCPCS. |
| --- | --- |

Continued on next page

Add Inventory LOCATION or ITEMS (AE), Continued

| Source | The Source prompt is defined as the source for the Item you are defining. Enter either (V)A (for used items) or (C)ommercial (for new items) at this prompt. Note that new and used Items are tracked separately to maintain inventory records for each Source. |
| --- | --- |

| Steps | To continue to add a PIP Location and/or an IFCAP Item, follow these steps: |
| --- | --- |

| Step | Action |
| --- | --- |
| 6 | Select V (VA) or C (Commercial) at the Source prompt and press <Enter>. |
| 7 | Enter a Re-order Level number (optional) or exit at this prompt. |

| Screen sample | SOURCE: C// ?? <Enter> This is the source of an item: 'V' stands for VA or USED items and 'C' for COMMERCIAL or NEW items. NEW and USED items are tracked separately so that separate inventory records should be maintained for each source. Choose from: V VA C COMMERCIAL If the item is USED, type in 'V' for VA. If the item is NEW, type in 'C' for COMMERCIAL. SOURCE: C// COMMERCIAL <Enter> RE-ORDER LEVEL: 5 <Enter> |
| --- | --- |

| Re-Order Level (Optional) | The Re-Order Level (optional prompt) is a number that signifies when an Item should be re-ordered. The system uses this number to check against the quantity on-hand and will alert specified users through an email if the quantity on-hand is too low. Items are still accessible through PIP even if you do not enter a Re-order level for an Item. You can also exit at this prompt! The Item entry process is actually complete, even though no quantity has been assigned. This is because there may not be any Items available in stock at this point. Note: If the quantity is below the Re-order level for the Item, a message is sent to alert members of the RMPR INVENTORY mail group. Contact your IRM to be entered as a member of that mail group if you need a notification. |
| --- | --- |

Continued on next page

Add Inventory LOCATION or ITEMS (AE), Continued

| Invoice Quantity | The Invoice Quantity prompt provides the entry of the quantity of the IFCAP Item that you are adding at a specific Location for a specific vendor. (This is not the same as the quantity on-hand for an Item.) Note: To enter a receipt of an existing IFCAP Item, use the Receive Item from Supply, Vendor or Patient (RC) option. To update/correct the quantities on-hand for an IFCAP Item, use the Reconcile Item Balance (UP) option. |
| --- | --- |

| Steps | To continue to add a PIP Location and/or an IFCAP Item, follow these steps: |
| --- | --- |

| Step | Action |
| --- | --- |
| 8 | Enter the Invoice Quantity and press <Enter>. |
| 9 | Enter the Unit Cost or type a zero and press <Enter>. |
| 10 | The Total Cost of Quantity prompt displays with the total automatically calculated. |

| Sample screen | INVOICE QUANTITY: ?? <Enter> Type the item quantity you are receiving into stock. This quantity should match that on the paper record of the receipt such as an invoice or delivery note. It is not the same as the quantity on hand. To correct on hand quantities, you should use the Reconciliation option. Please make sure you create separate receipts if you are receiving the same item from different vendors or at different costs. INVOICE QUANTITY: 10 <Enter> |
| --- | --- |

| Unit Cost | The Unit Cost prompt is the cost of each unit being added. If you do not have the information to enter in this prompt, you can enter a Zero (0). |
| --- | --- |

| Sample screen | UNIT COST: ?? <Enter> Type in the dollar cost per item. If you would prefer to enter the total dollar value for the item quantity you have just typed in, then type in 0 here. UNIT COST: 75 <Enter> TOTAL COST OF QUANTITY: 750.00 |
| --- | --- |

| Total Cost of Quantity | The Total Cost of Quantity prompt automatically displays the total dollar value for the item you are requesting to order. (This is the Invoice Quantity multiplied by the Unit Cost.) |
| --- | --- |

Continued on next page

Add Inventory LOCATION or ITEMS (AE), Continued

| Vendor | The Vendor prompt specifies the vendor from whom the Item is procured. You can also select a vendor for the IFCAP Item from a list. This list includes the Vendor name, phone number, FMS (Financial Management System) Vendor Code or Dun & Bradstreet Synonym as well as other details (i.e., city, state, ZIP code and fax number if applicable). |
| --- | --- |

| Unit of Issue | The Unit of Issue prompt provides a list by entering a question mark. This list is from IFCAP. This defines the Item and how it is received as a pair, in a box, etc. |
| --- | --- |

| Steps (continued) | To continue to add a PIP Location and/or an IFCAP Item, follow these steps: |
| --- | --- |

| Step | Action |
| --- | --- |
| 11 | Select a Vendor and press <Enter>. You can type a question mark <?> to display a list and select one. |
| 12 | Enter a Unit of Issue and press <Enter>. You can type a question mark <?> to display a list and select one. |
| 13 | A confirmation prompt displays stating that inventory has been updated. |

| Sample screen | VENDOR: ? <Enter> Answer with VENDOR NUMBER, or NAME, or DUN & BRADSTREET #, or FMS VENDOR CODE, or SYNONYM Do you want the entire VENDOR List? N <Enter> (No) VENDOR: ABBOTT <Enter> LABORATORIES ABBOTT LABORATORIES PH:800 255-5162 NO: 3 ORD ADD:CORPORATE ORDER ENTRY FMS: ABBOTT PARK, IL 60064 CODE: FAX: ...OK? Yes// <Enter> (Yes) Unit of Issue: each <Enter> EA EACH ** Inventory updated. |
| --- | --- |

| Confirmation note | When you complete the entry process, a confirmation appears that Inventory has been updated. |
| --- | --- |

Continued on next page

Add Inventory LOCATION or ITEMS (AE), Continued

| Number of Labels to Print | A default number will display for you to print at the Number of Labels to Print prompt. You can press <Enter> to select the default number or enter a number that is less than the default. |
| --- | --- |

| Steps (continued) | To continue to add a PIP Location and/or an IFCAP Item, follow these steps: |
| --- | --- |

| Step | Action |
| --- | --- |
| 14 | Press <Enter> at the Number of Labels to print or enter a number less than the default number shown. |
| 15 | Press <Enter> at the Select Barcode Printer if it is set to the default for your barcode scanner equipment. |
| 16 | You can press <Enter> at the Do you want your output QUEUED? to accept the default of No, and the barcode label will print automatically. |
| 17 | You can then select another HCPCS to add another Location or Item, if necessary and continue the same process again. |

| New Prompts: | Number of Labels to print: 10// <Enter> Select Barcode Printer: ZEBRA PROSTHETIC// <Enter> ZEBRA PROSTHETIC PRINTER Do you want your output QUEUED? No// <Enter> Select HCPCS: <Enter> |
| --- | --- |

| Select Barcode Printer | The Select Barcode Printer prompt will display a default printer for the barcode scanner equipment. |
| --- | --- |

| Do you want your output QUEUED? | If you want your barcode label to print automatically, you would NOT want to QUEUE your output to the printer. It may take awhile for it to be printed depending on other print jobs sent to the printer before your label request. |
| --- | --- |

Edit Inventory Items (EI)

| Function description | The Edit Inventory Item (EI) option is used to make any changes to the PIP Item description, inventory location, re-order level, invoice quantities of the Item(s), unit cost, or vendor. You can edit an Item when there are multiple Items for a HCPCS Code. If you edit the PIP Item description, you will be prompted to associate a current stock record to the Item. The PIP Item(s) was entered through the Receive Item from Supply, Vendor or Patient (RC) option. |
| --- | --- |

| Steps | To edit inventory Item information, follow these steps: |
| --- | --- |

| Step | Action |
| --- | --- |
| 1 | Select the Site (if more than one site can be selected). |
| 2 | Select the HCPCS Code of the PIP Item you want to edit. You can type two question marks <??> to display a list and select one. |
| 3 | You can now edit any of the prompts that display from the HCPCS Code to the Vendor. Note: If you edit the PIP Item Description, then you will need to select a current stock record. (See next page.) |

| Sample screen | SITE: Hines Development System// <Enter> 499 Editing Inventory Items..... Select HCPCS: A4254 <Enter> BATTERY FOR GLUCOSE MONITOR is associated with more than 1 item, please select one... IFCAP Item: BATTERY DEVICE 1 A4254-1 C BATTERY FOR GLUCOSE MONITO/COMMERCIAL IFCAP Item: BATTERY DEVICE 2 A4254-2 C BAT FOR GLUCOSE MONITO/COMMERCIAL IFCAP Item: BATTERY DEVICE 3 A4254-3 C BAT FOR GLU MON/COMM Choose 1 - 3 : 1 <Enter> HCPCS: A4254 BATTERY FOR GLUCOSE MONITOR <Enter> |
| --- | --- |

| Site | The Site prompt only appears if your Prosthetics Service covers multiple stations. This is a non-editable field (for display purposes only). Entering a question mark <?> will bring up a list of sites for which you will need to define the Locations. Select a site or enter the number(s) for your station. |
| --- | --- |

| Select HCPCS | This is the HCPCS from the Prosthetic HCPCS list for this Location. Entering two question marks<??> at this prompt displays the entire list. Select a HCPCS to edit. |
| --- | --- |

Continued on next page

Edit Inventory Items (EI), Continued

| IFCAP Item | The IFCAP Item must be associated with the HCPCS that you entered. Entering two question marks <??> at this prompt displays the entire list. |
| --- | --- |

| PIP Item Description | The PIP Item Description prompt is a prompt that is used at your local facility. (This is a free-text entry.) One example of a PIP Item Description change is “Wheelchair Gloves” can be changed to “W/C Gloves.” You can also specify size and volume in the description. Note: When you make a change, notice that you are then prompted to select a current stock record. This will associate or link the item with the information that was entered through the Receive Item from Supply, Vendor or Patient (RC) option. A list of stock record(s) may display, and you can select one from the list. |
| --- | --- |

| Steps | To continue to edit inventory Item information, follow these steps: |
| --- | --- |

| Step | Action |
| --- | --- |
| 4 | Enter the IFCAP Item and press <Enter>. |
| 5 | You can change the PIP Item Description and press <Enter>. |
| 6 | If there is more than one stock record to associate, you will be presented with a list to select one. The linking is done at the Select a current stock record prompt. |

| Sample screen Linking done here | IFCAP ITEM: BATTERY DEVICE// <Enter> 15171 BATTERY DEVICE ...OK? Yes// <Enter> (Yes) PIP Item Description: BATTERY MONITOR DEVICE // ?? <Enter> Enter a description for this item that will be used locally by your Prosthetics Service. You may want to use a description with additional text specifying things like size, volume, etc. PIP Item Description: BATTERY MONITOR DEVICE // BAT MON DEV <Enter> Are you sure you want to change this Item's Description? N// Y <Enter> YES Select a current stock record... Date Quantity Value Vendor Location 1 SEP 04, 2001 20 500.00 ABBOTT LABORATORIES Room 18 2 SEP 04, 2001 15 375.00 ABBOTT LABORATORIES Room 18 Choose 1 - 2: 1 <Enter> |
| --- | --- |

Continued on next page

Edit Inventory Items (EI), Continued

| Enter Pros Location | You can modify the existing Prosthetic Location name at the Enter Pros Location prompt. This is a free-text field of 3 – 30 characters. (You can press <Enter> to bypass the prompt.) This is a Location of an Item or stock being tracked for inventory. It can be a room number, warehouse, etc. Note: You cannot add a new Location through this option. You must use the Add Inventory LOCATION or ITEMS (AE) option for a new Location. |
| --- | --- |

| Re-Order Level | The Re-Order Level is the number that signifies when to re-order an item. |
| --- | --- |

| Invoice Quantity | The Invoice Quantity is the amount of the Item associated with the transaction that you have on hand for a Location. You can edit this prompt. Note: You can change the quantity amount of an invoice/stock worksheet/packing slip, etc. at this prompt; you are not entering Items received. Use the Receive Item from Supply, Vendor or Patient (RC) option to enter Items received into Inventory. |
| --- | --- |

| Unit Cost | The Unit Cost prompt is the cost of one Item. The Total Cost of Quantity prompt automatically displays the Invoice Quantity multiplied by the Unit Cost. |
| --- | --- |

| Steps | To continue to edit inventory Item information, follow these steps: |
| --- | --- |

| Step | Action |
| --- | --- |
| 7 | You can edit the Prosthetic Location at the Enter Pros Location prompt or press <Enter> to bypass it. |
| 8 | You can edit the Reorder Level number. |
| 9 | You can edit the Invoice Quantity and/or the Unit Cost. (This will change the Total Cost of Quantity.) |

| Sample screen | Enter Pros Location: Room 18// <Enter> ...OK? Yes// <Enter> YES RE-ORDER LEVEL: 2// 4 <Enter> INVOICE QUANTITY: 10// 20 <Enter> UNIT COST: 25// <Enter> TOTAL COST OF QUANTITY: 500.00 |
| --- | --- |

Continued on next page

Edit Inventory Items (EI), Continued

| Vendor | This is the specific Vendor(s) from whom the Item was procured. You can also select a vendor for the Item from a list. |
| --- | --- |

| Unit of Issue | The Unit of Issue prompt provides a list by entering a question mark. This list is from IFCAP. This defines the Item and how it is received as a pair, in a box, etc. |
| --- | --- |

| Steps | To continue to edit inventory Item information, follow these steps: |
| --- | --- |

| Step | Action |
| --- | --- |
| 10 | You can edit the Vendor. |
| 11 | You can edit the Unit of Issue. You can type a question mark <?> to display a list and select one. |
| 12 | A confirmation displays. Note: The Invoice Quantity amount increased as shown in parenthesis before the Location in the sample screen below. (See arrow.) |

| Sample screen | VENDOR: ABBOTT LABORATORIES// <Enter> ABBOTT LABORATORIES PH:800 255-5162 NO: 3 ORD ADD:CORPORATE ORDER ENTRY FMS: ABBOTT PARK, IL 60064 CODE: FAX: ...OK? Yes// <Enter> (Yes) UNIT OF ISSUE: Ea <Enter> EACH ** Item A4254-1 was Edited by PROSUSER,one: (+10) @ Location Room 18 Editing Inventory Items..... Select HCPCS: A4254// ^ <Enter> |
| --- | --- |

| Confirmation | A confirmation note includes the HCPCS Code for the Item that was edited, the name of the person who performed the edit, and the Location. You can then select another Item to be edited using the same HCPCS or a new HCPCS. You can also exit the system at the Select HCPCS prompt. |
| --- | --- |

Edit Inventory Location (EL)

| Function description | The Edit Inventory Location (EL) option is used to make any necessary corrections to a Location name. Note: You cannot add a new Location through this option. You must use the Add Inventory LOCATION or ITEMS (AE) option for new Locations. |
| --- | --- |

| Steps | To edit an inventory Location, follow these steps: |
| --- | --- |

| Step | Action |
| --- | --- |
| 1 | Select the Site (if more than one site can be selected). |
| 2 | Enter a Prosthetics Location. You can type one or two question marks <??> to display a list and select one. |

| Sample screen | Select Pros Inventory Main Option: EL <Enter> Edit Inventory Location SITE: Hines Development System// <Enter> 499 Editing an Inventory Location..... Enter Pros Location: ? <Enter> Answer with PROS ITEM LOCATION Do you want the entire PROS ITEM LOCATION List? Y <Enter> YES 1 HO 1 2 A LOC 3 GENERIC 4 HNC 5 HO 1 6 JLOC 7 Room 18 CHOOSE 1-7: 7 <Enter> Room 18 |
| --- | --- |

| Site | The Site prompt only appears if your Prosthetics Service covers multiple stations. This is a non-editable field (for display purposes only). Entering a question mark <?> will bring up a list of sites for which you will need to define the Locations. Select a site or enter the number(s) for your station. |
| --- | --- |

| Enter Pros Location | The Enter Pros Location prompt is a free-text field of 3 - 30 characters. Enter the name of an existing Prosthetics Location you want to edit. This might be a room number, warehouse, etc. You can type a question mark <?> to view a list and select one. |
| --- | --- |

Continued on next page

Edit Inventory Location (EL), Continued

| Location | You will now have an opportunity to modify the Location name at the Location prompt. (If you do not need to do so, press <Enter> to bypass the prompt.) This is a Location of an item or stock being tracked for inventory. If you do modify the Location name, a verification prompt appears to confirm your response. |
| --- | --- |

| Steps | To continue to edit an inventory Location, follow these steps: |
| --- | --- |

| Step | Action |
| --- | --- |
| 3 | At the Location prompt, you can change the name of the Location and press <Enter> or press <Enter> to bypass the change. |
| 4 | A confirmation prompt displays asking if you are sure you want to change the name of the Location. |

| Screen sample | LOCATION: Room 18// Room 19 <Enter> Are you sure you want to change the name of this location? N// Y <Enter> YES Location has been edited from 'Room 18' to 'Room 19' !!! |
| --- | --- |

| Confirmation | A confirmation note includes the name of the Location before it was edited and the name of the new Location. |
| --- | --- |

Deactivate Inventory Location (DE)

| Function description | The Deactivate Inventory Location (DE) option prevents you from issuing an item from a Location that is no longer to be used. WARNING: Deactivating a Location deactivates ALL the HCPCS associated with that Location!!! Deactivating a Location is recommended when you enter a Location in error or the Location is not in use. |
| --- | --- |

| Steps | To deactivate an inventory Location, follow these steps: |
| --- | --- |

| Step | Action |
| --- | --- |
| 1 | Select the Site (if more than one site can be selected). |
| 2 | Select the Location you want to deactivate at the Enter Pros Location prompt. You can also enter a single question mark <?> at this prompt to get a list of all possible Locations and select one. |

| Screen sample | Select Pros Inventory Main Option: DE <Enter> Deactivate Inventory Location SITE: VAMC// <Enter> 500 Deactivate an Inventory Location..... This option now requires the electronic signatures of 2 users holding the RMPRMANAGER key to be entered before a location will be deactivated. Enter Pros Location: ? <Enter> Answer with PROS ITEM LOCATION Do you want the entire PROS ITEM LOCATION List? Y <Enter> (Yes) Choose from: LEFT WING; BACK HALL RD TEST ROOM 3 Enter Pros Location: Room 3 <Enter> ...OK? Yes// <Enter> (Yes) The above location contains 1 types of items, with a total quantity of 1 and cost of $50. |
| --- | --- |

| Site | The Site prompt only appears if your Prosthetics Service covers multiple stations. This is a non-editable field (for display purposes only). Entering a question mark <?> will bring up a list of sites for which you will need to define the Locations. Select a site or enter the number(s) for your station. |
| --- | --- |

| Enter Pros Location | The Enter Pros Location prompt is a free-text field of 3 - 30 characters. Enter the name of an existing Prosthetics Location you want to edit. This might be a room number, warehouse, etc. You can type a question mark <?> to view a list and select one. |
| --- | --- |

Continued on next page

Deactivate Inventory Location (DE), Continued

| 2 Electronic Signatures!!! | This option is only given to the holder of the RMPRMANAGER key. This option requires the electronic signatures of two (2) users holding the RMPRMANAGER key to be entered before a Location will be deactivated. |
| --- | --- |

| Steps | To continue to deactivate an inventory Location, follow these steps: |
| --- | --- |

| Step | Action |
| --- | --- |
| 3 | The 2nd manager (encrypted) must enter their user name for the signature code, and press <Enter>. |
| 4 | Enter your Current Signature Code (encrypted) and press <Enter>. |
| 5 | Type Y for Yes at the confirmation prompt to finalize the deactivation. |

| Screen sample | Please ask another user with the RMPRMANAGER key to enter their user name and electronic signature. Enter user name of 2nd manager: xxxxxxxxxxxxx <Enter> Enter your Current Signature Code: xxxxxxxxxxx <Enter> Are you sure you want to DEACTIVATE this LOCATION (Y/N) ? N// Y <Enter> YES Location is deactivated |
| --- | --- |

| Signature Code | The Enter your Current Signature Code prompt…allows you to enter an encrypted electronic signature and press the <Enter> key. |
| --- | --- |

| Second manager name | The Enter user name of 2nd Manager prompt…allows you to enter a second encrypted electronic signature of a manager, and press the <Enter> key. |
| --- | --- |

| Confirmation | A confirmation prompt displays allowing you to cancel at this point or continue the deactivation of the Location. |
| --- | --- |

Order Item from Supply or Vendor (OI)

| Function description | Whenever you order supplies, you should update the inventory by using the Order Item from Supply or Vendor (OI) option to show the quantity ordered. This function tracks purchase orders that are complete. It does not actually place an order. This option shows the items on order (from phone orders, faxed orders, etc.). During the background job at night, if items are low (lower than the assigned Re-order level), you will receive an email notice of the stock on hand. Note: You can view the Items on a report from the Print Order/Receive Item (PO) Report. |
| --- | --- |

| Status of an order/Tracking status | The following are the statuses when tracking an order: Open - The order stays open until all quantity ordered has been received. Received – The purchase order is complete. Canceled |
| --- | --- |

| Steps | To track an Item from Supply or Vendor, follow these steps: |
| --- | --- |

| Step | Action |
| --- | --- |
| 1 | Select the Site (if more than one site can be selected). |

| Sample screen | Select Pros Inventory Main Option: OI <Enter> Order Item from Supply or Vendor SITE: Hines Development System// <Enter> 499 Ordering ITEM from Supply or Vendor.... |
| --- | --- |

| Site | The Site prompt only appears if your Prosthetics Service covers multiple stations. This is a non-editable field (for display purposes only). Entering a question mark <?> will bring up a list of sites for which you will need to define the Locations. Select a site or enter the number(s) for your station. |
| --- | --- |

Continued on next page

Order Item from Supply or Vendor (OI), Continued

| Select HCPCS to Order | This is the HCPCS Code that you ordered – a HCPCS that currently exists. Notice that the HCPCS list also shows the PIP Item Description and a more detailed HCPCS/Item number as shown below. |
| --- | --- |

| Enter Vendor | Select a vendor that you used for this order. You can also select a vendor for the Item from a list. This list includes the Vendor name, phone number, FMS (Financial Management System) Vendor Code or Dun & Bradstreet Synonym as well as other details (i.e., city, state, ZIP code and fax number if applicable). |
| --- | --- |

| Steps | To continue to track an Item from Supply or Vendor, follow these steps: |
| --- | --- |

| Step | Action |
| --- | --- |
| 2 | Select the HCPCS to Order. Enter a single question mark <?> at this prompt to get a list of all possible HCPCS. |
| 3 | Select a Vendor from a list by typing two question marks <??>. |
| 4 | Enter a number in the Quantity to Order prompt. |

| Sample screen | Select HCPCS to ORDER: ? <Enter> Answer with PROSTHETICS HCPCS ITEM MASTER FILE, or NUMBER, or DESCRIPTION, or STATION, or PSAS ITEM Do you want the entire PROSTHETICS HCPCS ITEM MASTER FILE List? Y <Enter> (Yes) Choose from: 1 A5506 A5506-1 DIABETIC SHOE - SZ 8 2 A5506 A5506-2 DIABETIC SHOE - SZ 9 3 K0001 K0001-1 WHEELCHAIR – MANUAL Select HCPCS to ORDER: 1 <Enter> (1 YES) A5506 A5506-1 DIABETIC SHOE - SZ 8 ...OK? Yes// <Enter> (Yes) Enter Vendor: Abbott <Enter> LABORATORIES ABBOTT LABORATORIES PH:800 255-5162NO: 3 ORD ADD:CORPORATE ORDER ENTRY FMS: ABBOTT PARK, IL 60064 CODE: FAX: ...OK? Yes// <Enter> (Yes) Quantity to Order: 10 <Enter> |
| --- | --- |

| Quantity to Order | This is the amount (a number between 0 and 99999) that signifies the quantity you are ordering. |
| --- | --- |

Continued on next page

Order Item from Supply or Vendor (OI), Continued

| Enter Comment | The Enter Comment prompt provides a free-text field that can be used for comments or any description of an item being ordered. Enter a short comment between 3-50 characters in length, if you need one. |
| --- | --- |

| Steps | To continue to track an Item from Supply or Vendor, follow these steps: |
| --- | --- |

| Step | Action |
| --- | --- |
| 5 | Type a comment in the Enter Comment prompt and press <Enter>. |
| 6 | A confirmation prompt displays that the item was ordered. Note: This function does not actually place the order; it is a tracking mechanism only. |

| Screen sample | Enter Comment: Ordered items from Vendor, Abbott <Enter> *** Item was ordered.... Select HCPCS to ORDER:^ <Enter> |
| --- | --- |

| Confirmation Prompt | A confirmation prompt displays stating the following: *** Item was ordered…. |
| --- | --- |

| Select HCPCS to Order | The Select HCPCS to Order prompt displays for you to enter another HCPCS or exit at this prompt. |
| --- | --- |

Receive Item from Supply, Vendor or Patient (RC)

| Function descriptions | Whenever you receive supplies, you should update the inventory using the Receive Item from Supply, Vendor or Patient (RC) option to show the quantity received. You can receive supplies from a different supply area, from a vendor, or Items returned from a patient. Barcode scanner equipment is used with this option. Note: All Items will need a HCPCS code and location before creating the barcode label. The barcode scanner will not work unless the Items are in PIP. |
| --- | --- |

| Steps | To receive an Item from Supply, Vendor or Patient, follow these steps: |
| --- | --- |

| Step | Action |
| --- | --- |
| 1 | Select the Site (if more than one site can be selected). |
| 2 | The Select HCPCS prompt is provided to receive the Item(s). (If there is more than one Item, a list will display for you to select one.) |

| Sample screen | Select Pros Inventory Main Option: RC <Enter> Receive Item from Supply, Vendor or Patient SITE: Hines Development System// <Enter> 499 Receive an Item from Supply, Vendor or Veteran. Select HCPCS:A4254 <Enter> BATTERY FOR GLUCOSE MONITOR HCPCS: A4254 BATTERY FOR GLUCOSE MONITOR is associated with more than 1 item, please select one... |
| --- | --- |

| Site | The Site prompt only appears if your Prosthetics Service covers multiple stations. This is a non-editable field (for display purposes only). Entering a question mark <?> will bring up a list of sites for which you will need to define the Locations. Select a site or enter the number(s) for your station. |
| --- | --- |

| Select HCPCS | This is the HCPCS of the item(s) received. There may be multiple Items for a HCPCS Code that you enter. If so, a list will display for you to select one. |
| --- | --- |

Continued on next page

Receive Item from Supply, Vendor or Patient (RC), Continued

| IFCAP Item | Choose an Item from the IFCAP Item list. When you do, the following displays: HCPCS IFCAP Item PIP Item Description. |
| --- | --- |

| Invoice Quantity | The Invoice Quantity prompt is the amount (a number between 0 and 99999) received. |
| --- | --- |

| Steps | To continue to receive an Item from Supply, Vendor or Patient, follow these steps: |
| --- | --- |

| Step | Action |
| --- | --- |
| 3 | Select the IFCAP Item that was received. If more than one displays, select one from the list. |
| 4 | Enter the Invoice Quantity to be received. |

| Sample Screen The following displays: | IFCAP Item: BATTERY DEVICE 1 A4254-1 C BATTERY FOR GLUCOSE MONITO/COMMERCIAL IFCAP Item: BATTERY DEVICE 2 A4254-2 C BAT FOR GLUCOSE MONITO/COMMERCIAL IFCAP Item: BATTERY DEVICE 3 A4254-3 C BAT FOR GLU MON/COMM Choose 1 - 3 : 1 <Enter> HCPCS: A4254 BATTERY FOR GLUCOSE MONITOR <Enter> HCPCS: A4254 BATTERY FOR GLUCOSE MONITOR IFCAP Item: BATTERY PIP Item Description: BATTERY-Glucometer-6 Volt INVOICE QUANTITY: 29 <Enter> UNIT COST: 45 <Enter> |
| --- | --- |

| Unit Cost | The Unit Cost prompt is the cost of one unit (a number between 0 and 99999) of the quantity received. |
| --- | --- |

Continued on next page

Receive Item from Supply, Vendor or Patient (RC), Continued

| Total Cost | The Total Cost of the Quantity is calculated and displays automatically. |
| --- | --- |

| Vendor | This is the Vendor that is supplying the stock. If the vendor is not the same as on the original order (shown on the packing slip), you can change the vendor. |
| --- | --- |

| Steps | To continue to receive an Item from Supply, Vendor or Patient, follow these steps: |
| --- | --- |

| Step | Action |
| --- | --- |
| 5 | Enter the Unit Cost of an Item. You can also press <Enter> to bypass this prompt. |
| 6 | The Total Cost of the Item displays. You can press <Enter> to accept the default cost. If you bypassed the Unit Cost prompt, you can enter the total dollar amount here. |
| 7 | Enter the Vendor. (You can change the Vendor from the original order at this prompt if necessary.) |
| 8 | Enter the Unit of Issue and press <Enter>. |
| 9 | Enter the Prosthetic Location and the item has been received. |

| Screen sample | TOTAL COST OF QUANTITY: 1305.00 <Enter> VENDOR: Abbott Laboratories <Enter> ABBOTT LABORATORIES PH:800 255-5162 NO: 3 ORD ADD:CORPORATE ORDER ENTRY FMS: ABBOTT PARK, IL 60064 CODE: FAX: ...OK? Yes// <Enter> (Yes) The entered Vendor is not the same as on the original order Do you want to change the Vendor on the order? Y <Enter> YES UNIT OF ISSUE: ea <Enter> EACH Enter Pros Location: C-26 <Enter> ...OK? Yes// <Enter> YES ** Item has been received and inventory updated. If you are using barcoding you should now print labels for the items received. |
| --- | --- |

| Unit of Issue | This is the way an item is packaged or set up with a separate cost. |
| --- | --- |

| Enter Pros Location | At the Enter Pros Location prompt, select the Location where the inventory is received. (If you cannot find the Location you want, and you are a multi-site facility, you may have selected the wrong site.) |
| --- | --- |

Continued on next page

Receive Item from Supply, Vendor or Patient (RC), Continued

| Number of Labels to print | The Number of Labels to print prompt displays. It is recommended that you should print the barcode labels NOW. This prompt assumes you want to print the number of the invoice quantity received. You can print fewer labels but not more than the default setting. The default number of labels appears according to the number you entered into the Invoice Quantity prompt. The following information prints on the barcode label: HCPCS Item, the unit cost, the date when received into inventory, the local description of the item and the vendor. Note: There is a backup option that allows you to print a single barcode label at a later time using the Print Barcode Label (PB) option. Use for backup purposes. |
| --- | --- |

| Steps | To continue to receive an Item from Supply, Vendor or Patient, follow these steps: |
| --- | --- |

| Step | Action |
| --- | --- |
| 10 | At the Number of Labels to print prompt, you can press <Enter> to accept the default setting. Or type in the number (less than the default) of barcode labels you want to print for the Item selected. |
| 12 | At the Select Barcode Printer prompt, press <Enter> to accept the default setting. |
| 13 | Press <Enter> at the Do you want your output QUEUED? to accept the default of No, and the barcode label will print automatically. If you answer Yes, you will then enter a Start Time. (See below.) |
| 14 | Press <Enter> to accept the default Start Time for the current day/time. |

| Sample Screen | Number of Labels to print: 29// <Enter> Select Barcode Printer: ZEBRA PROSTHETIC// <Enter> Do you want your output QUEUED? No// Y <Enter> YES Requested Start Time: NOW// <Enter> (MAY 14, 2002@11:37:26) REQUEST QUEUED! Receive an Item from Supply, Vendor or Veteran. Select HCPCS: ^ <Enter> |
| --- | --- |

| Select Barcode Printer | You can press <Enter> to accept the default setting or select your Barcode Printer device from a list by typing two question marks <??> and pressing <Enter>. |
| --- | --- |

Transfer Stock Between Locations (TR)

| Function description | If you transfer stock from one Location to another, you can update the inventory using the Transfer Stock Between Locations (TR) option. This option allows you to transfer stock from one Location to another without deactivating and re-adding PIP Items. Note: To deactivate items in a location, use the Deactivate Inventory Location (DE) option. This option does not remove an Item from a Location if all quantities have been transferred. |
| --- | --- |

| Steps | To transfer an Item from a Location, follow these steps: |
| --- | --- |

| Step | Action |
| --- | --- |
| 1 | Select the Site (if more than one site can be selected). |
| 2 | The Select HCPCS prompt is provided to transfer the Item(s). (If there is more than one Item, a list will display for you to select one.) |

| Sample Screen | Select Pros Inventory Main Option: TR <Enter> Transfer Stock Between Locations SITE: Hines Development System// <Enter> 499 Transfer item quantity to another location. Select HCPCS: BA158 <Enter> EYE DROP GUIDE HCPCS: BA158 EYE DROP GUIDE IFCAP Item: EYEGLASSES PIP Item Description: EYEGLASSES FRAME DELUXE |
| --- | --- |

| Site | The Site prompt only appears if your Prosthetics Service covers multiple stations. This is a non-editable field (for display purposes only). Entering a question mark <?> will bring up a list of sites for which you will need to define the Locations. Select a site or enter the number(s) for your station. |
| --- | --- |

| Select HCPCS | This is the HCPCS Code of the Item that was transferred. After you select one, the HCPCS, IFCAP Item and PIP Item Description displays (as shown in the shaded area above). |
| --- | --- |

Continued on next page

Transfer Stock Between Locations (TR), Continued

| Select a Current Stock Record | The Select a current stock record prompt allows you to identify the HCPCS you are transferring. |
| --- | --- |

| Enter Quantity to Transfer | This is the amount (a number between 0 and 99999) of the Item that was transferred. |
| --- | --- |

| Steps | To continue to transfer an Item from a Location, follow these steps: |
| --- | --- |

| Step | Action |
| --- | --- |
| 3 | At the Select a current stock record prompt, a list of order dates will display with the quantity, Unit Cost, Value, Vendor and Location. Select one and press <Enter> to link the Item to transfer with the Location of the Item(s). |
| 4 | Enter the Quantity to transfer of the Item in the specific Location. |
| 5 | Enter the Receiving Location of the Item(s) you are transferring. |

| Screen sample | Select a current stock record... Date Qty Unit Cost Value Vendor Location 1 05/01/02 20 50.00 1000.00 ABBOTT LABORATORIES C-26 2 05/01/02 5 50.00 250.00 ABBOTT LABORATORIES C-26 Choose 1 - 2 : 1 <Enter> Enter Quantity to transfer: 2 <Enter> Enter Receiving Location: D-14 <Enter> ...OK? Yes// <Enter> YES QTY 2 transferred from C-26 to D-14 Transfer item quantity to another location. |
| --- | --- |

| Enter Receiving Location | This is the Location where the stock has been transferred. If you cannot enter the Location at this prompt, check to see if the Location receiving the stock has that stock Item assigned to it. Note: If you enter the receiving Location and it is the same as the forwarding Location, you will see the following note: *** Forwarding and Receiving Location is the same!!!! |
| --- | --- |

Reconcile Item Balance (UP)

| Function description | Use the Reconcile Item Balance (UP) option when your reports (Print Current Balance by Location or Print Current HCPCS Balance by HCPCS) show an item balance different from the actual physical count for a Location. This option also allows you to update other Item-specific information. To use this option, you must own the RMPRMANAGER key. |
| --- | --- |

| Steps | To reconcile an item balance, follow these steps: |
| --- | --- |

| Step | Action |
| --- | --- |
| 1 | Select the Site (if more than one Site can be selected). |
| 2 | At the Select HCPCS prompt, select the HCPCS Code that needs to be balanced/updated. |
| 3 | Select an IFCAP Item if a HCPCS is associated with more than one item. |

| Screen sample | Select Pros Inventory Main Option: UP <Enter> Reconcile Item Balance SITE: Hines Development System// <Enter> 499 Reconcile Inventory item quantities on hand... Select HCPCS: A4254 <Enter> Battery for glucose monitor A4254 BATTERY FOR GLUCOSE MONITOR HCPCS: A4254 BATTERY FOR GLUCOSE MONITOR is associated with more than 1 item, please select one... <Enter> IFCAP Item: BATTERY DEVICE 1 A4254-1 C BATTERY FOR GLUCOSE MONITO/COMMERCIAL IFCAP Item: BATTERY DEVICE 2 A4254-2 C BAT FOR GLUCOSE MONITO/COMMERCIAL IFCAP Item: BATTERY DEVICE 3 A4254-3 C BAT FOR GLU MON/COMM Choose 1 - 3 : 1 <Enter> |
| --- | --- |

| Site | The Site prompt only appears if your Prosthetics Service covers multiple stations. This is a non-editable field (for display purposes only). Entering a question mark <?> will bring up a list of sites for which you will need to define the Locations. Select a site or enter the number(s) for your station. |
| --- | --- |

| Select HCPCS | This is the HCPCS Code that needs to be balanced/updated. |
| --- | --- |

| IFCAP Item | Select an Item from the IFCAP Item list if a HCPCS is associated with more than one item. This is the Item that needs to be balanced/updated. |
| --- | --- |

Continued on next page

Reconcile Item Balance (UP), Continued

| Enter Pros Location | Select a Location from the list of Locations for the site. Note: If you cannot find the Location you want, and you are a multi-site facility, you may have selected the wrong site. |
| --- | --- |

| Steps | To continue to reconcile an item balance, follow these steps: |
| --- | --- |

| Step | Action |
| --- | --- |
| 4 | At the Enter Pros Location prompt, enter the Location of the item you want to reconcile or enter two question marks <??> to display a list and select one. |
| 5 | Select a Vendor for the Item that you are reconciling. |
| 6 | Enter the amount of the Invoice Quantity that you are reconciling for the Item. |

| Sample Screen Reconciles at the Invoice Quantity prompt: | HCPCS: A4254 BATTERY FOR GLUCOSE MONITOR IFCAP Item: BATTERY PIP Item desc.: BATTERY FOR GLUCOSE MONITOR/COMMERCIAL Enter Pros Location: JLOC <Enter> <Enter> VENDOR: ABBOTT <Enter> LABORATORIES ABBOTT LABORATORIES PH:800 255-5162 NO: 3 ORD ADD:CORPORATE ORDER ENTRY FMS: ABBOTT PARK, IL 60064 CODE: FAX: ...OK? Yes// <Enter> (Yes) INVOICE QUANTITY: 20// 25 <Enter> *** Item was reconciled... Reconcile Inventory item quantities on hand... Select HCPCS: ^ <Enter> |
| --- | --- |

| Vendor | This is the Vendor associated with the Item that you are reconciling. WARNING: If you have a situation where more than one Vendor supplies the same Item(s), you should perform a separate reconcile count for each Vendor! |
| --- | --- |

| Invoice Quantity | Enter the correct quantity, a number between 0 and 99999, for the Item that you are reconciling. When the level of stock for an Item reaches zero quantity on hand, the Item is removed automatically. To remove an Item, you can enter a ZERO, which removes the Item from the PIP inventory. |
| --- | --- |

Remove/Deactivate HCPCS/Item from Inventory (RE)

| Function description | You can remove or deactivate an inventory Item from PIP through the Remove/ Deactivate HCPCS/Item from Inventory (RE). Once an Item has been removed/deactivated, that Item is no longer accessible. Note: Only users with the RMPRMANAGER key can access this option. |
| --- | --- |

| Steps | To remove an Item from PIP, follow these steps: |
| --- | --- |

| Step | Action |
| --- | --- |
| 1 | Select the Site (if more than one site can be selected). |
| 2 | Select the HCPCS that you want to remove. You can type one or two question marks <??> to display a list and select one. |
| 3 | At the prompt, Do you want to Remove/Deactivate ALL Items for this HCPCS? N//, type Y for Yes. |
| 4 | At the prompt, Are you sure you want to Remove/Deactivate ALL ITEMs for HCPCS XXXXX? N//, type Y for Yes. |

| Sample screen | AE Add Inventory LOCATION or ITEMS EI Edit Inventory Items EL Edit Inventory Location DE Deactivate Inventory Location OI Order Item from Supply or Vendor RC Receive Item from Supply, Vendor or Patient TR Transfer Stock Between Locations UP Reconcile Item Balance RP Inventory Reports ... RE Remove/Deactivate HCPCS/Item from Inventory Select Pros Inventory Main Option: RE <Enter> Remove/Deactivate HCPCS/Item from Inventory SITE: Hines Development System// <Enter> 499 *** Removing/Deactivating HCPCS...... Select HCPCS: BA150 <Enter> Do you want to Remove/Deactivate ALL Items for this HCPCS? N// Y <Enter> YES Are you sure you want to Remove/Deactivate ALL ITEMs for HCPCS BA150? N// Y <Enter> YES *** HCPCS/ITEM BA150-1 has been Removed/Deactivated from PIP... |
| --- | --- |

| Confirmation | You have two confirmation prompts where you can continue the removal/ deactivation or cancel the process and exit the option. |
| --- | --- |

Inventory Reports Menu …

Overview

| Introduction | Use the Inventory Reports Menu options to help you to review what you have in your Prosthetics Inventory. The next few sections are as follows: New Inventory Reports (from Patch RMPR*3*61) Print Order/Receive Item Print Item Usage by Location Print Stock Work Sheet Reprint Barcode Label Print Items Not Issued Within 30-Day Print Stock on Hand Over Date Range Print All Barcode in a Location Print PIP/IFCAP Item Report Prosthetic Inventory Reports (from a previous patch, Patch RMPR*3*51): Item Detail Report HCPCS Summary Report NPPD Group/Line Report NPPD Group Summary Report Other Useful Inventory Reports: Print Current HCPCS Balance by HCPCS (format revised) Print Current Item Balance by Location (format revised) Print Transaction History |
| --- | --- |

New Inventory Reports (Patch RMPR*3*61)

Overview

| Introduction | There are eight new Inventory Report Menu options with Patch RMPR*3*61 as follows: Print Order/Receive Item (PO) Print Item Usage by Location (IU) Print Stock Work Sheet (WS) Reprint Barcode Label (BC) Print Items Not Issued Within 30-Day (P3) Print Stock on Hand Over Date Range (OD) Print All Barcode in a Location (AL) Print PIP/IFCAP Item Report (IP) |
| --- | --- |

| Reports Menu | SI Item Detail Report SH HCPCS Summary Report SG NPPD Group/Line Report SS NPPD Group Summary Report PI Print Current HCPCS Balance by HCPCS PL Print Current Item Balance by Location PO Print Order/Receive Item PS Print Transaction History IU Print Item Usage By Location WS Print Stock Work Sheet BC Reprint Barcode Label P3 Print Items Not Issued Within 30-Day OD Print Stock On Hand Over Date Range AL Print All Barcode in a Location IP Print PIP/IFCAP Item Report Select Inventory Reports Option: |
| --- | --- |

| Print Order/Receive Item (PO) | The Print Order/Receive Item (PO) report is a new report with Patch RMPR*3*61. This option prints Open, Received item(s) or Cancelled in the Prosthetics Inventory Package (PIP). You will be asked for the number of days back an item was ordered, received or cancelled for this report. |
| --- | --- |

| Print Item Usage by Location (IU) | The Print Item Usage by Location (IU) report provides an item usage and quantity on-hand report for a specified date range and sorted by location. |
| --- | --- |

Continued on next page

Overview, Continued

| Print Stock Worksheet (WS) | This report prints the inventory stock by Location of a particular station. It shows the HCPCS, Item description, date, cost, vendor, quantity, Location and a blank column for the physical count. |
| --- | --- |

| Reprint Barcode Label (BC) | This option allows inventory users to print barcode labels. Only HCPCS in PIP can be printed using this option. |
| --- | --- |

| Print Items Not Issued Within 30-Day (P3) | The Print Items Not Issued Within 30-Day (P3) report option prints Items not issued within a 30-day period. Items have been issued within 30 days will NOT be printed on this report. |
| --- | --- |

| Print Stock on Hand Over Date Range (OD) | This report prints all Items in a particular Location, where the number of days on-hand is greater than the number of days in the date range selected. Sort criteria are based on Locations and new or old Items. |
| --- | --- |

| Print All Barcode in a Location (AL) | With Patch RMPR*3*61, the Print All Barcode in a Location (AL) option is an option available for use in printing all the barcode labels for all items within a Location. This is a helpful option to use after installing this patch into the Production (Live) system during the implementation of this patch. |
| --- | --- |

| Print PIP/IFCAP Item Report (IP) | The Print PIP/IFCAP Item (IP) report prints all PIP Items and the corresponding IFCAP Items. Prosthetics users must edit the HCPCS/Item that has a blank IFCAP Item. This report is useful for checking if the IFCAP Item is correctly linked to the PIP Item. |
| --- | --- |

Print Order/Receive Item (PO)

| Report description | The Print Order/Receive Item (PO) Report is a new report with Patch RMPR*3*61. This option prints Open, Received Item(s), or Canceled in the Prosthetics Inventory Package (PIP). You will be asked for the number of days back an Item was open, received, or canceled for this report. |
| --- | --- |

| Select number of days old | You can select the number of days tracking backwards that you want the report to print data in timeframes as follows: 30 Days Old 60 Days Old 90 Days Old Over 90 Days Old |
| --- | --- |

| Sample screen | Select Inventory Reports Option: PO <Enter> Print Order/Receive Item SITE: Hines Development System// <Enter> 499 Select one of the following: 1 30 Days Old 2 60 Days Old 3 90 Days Old 4 Over 90 Days Old Select number of days old: 30 Days Old// 1 <Enter> 30 Days Old Select one of the following: O OPEN R RECIEVED C CANCEL Select Category of report: OPEN// O <Enter> OPEN DEVICE: HOME// <Enter> TELNET Right Margin: 80// <Enter> Processing report..... |
| --- | --- |

| Category of Report | You can select the report to print one of the following categories: Open Received Canceled |
| --- | --- |

Continued on next page

Print Order/Receive Item (PO), Continued

| Report for Ordered Items | *** PIP ORDER AND RECEIVE ITEM REPORT *** for 30 days old, OPEN order Station: SUPPORT ISC Run Date: JUN 28, 2001 PAGE: 1 ------------------------------------------------------------------------------ DATE DATE QTY QTY HCPCS ITEM VENDOR ORDERED RECIEVED ORDERED RECIEVED ----- ---- ------ ------- -------- ------- -------- A4367-1 Ostomy belt holder ABBOTT LABO 06/28/01 15 Comment: Entered a new item for HCPCS Code A4367 A4404-1 OSTOMY RING EACH/COM ABBOTT LABO 06/21/01 1 BA100-1 READING MACHINE/COMM INLANDER 06/25/01 4 E0142-1 WALKER RIGID WHEELED INLANDER BR 06/25/01 5 Comment: 6/22/01 ordered E0601-1 CONT AIRWAY PRESSURE ABBOTT LABO 06/21/01 1 K0082-1 22 NF BATTERY CASE ABBOTT LABO 06/25/01 25 Comment: ORDERING BATTERY CASES AT HINES L5050-4 123 ABBOTT LABO 06/21/01 10 ------------------------------------------------------------------------------ <End of Report> |
| --- | --- |

| Received Data | Below is the report with Received as the selection criteria. Above is a report with Open as the selection criteria (indicated by the Date Ordered column). |
| --- | --- |

| Select Received Category | SITE: Hines Development System// <Enter> 499 Select one of the following: 1 30 Days Old or Less 2 60 Days Old or Less 3 90 Days Old or Less 4 Over 90 Days Old or Less Select number of days old: 30 Days Old or Less// 4 <Enter> Over 90 Days Old or Less Select one of the following: O OPEN R RECIEVED C CANCEL Select Category of report: OPEN// R <Enter> RECEIVED DEVICE: HOME// <Enter> TELNET Right Margin: 80// <Enter> |
| --- | --- |

| Report for Received Items | *** PIP ORDER AND RECEIVE ITEM REPORT *** for OVER 90 days old or Less, RECIEVED order Station: SUPPORT ISC Run Date: JAN 31, 2002 PAGE: 1 ------------------------------------------------------------------------------ DATE DATE QTY QTY HCPCS ITEM VENDOR ORDERED RECIEVED ORDERED RECIEVED ----- ---- ------ ------- -------- ------- -------- A4254-1 BATTERY FOR GLUCOSE ABB 10/23/01 29 A4565-18 WHEELCHAIR - ELECTRI ABBOTT LABO 01/30/02 10 A4565-18 WHEELCHAIR - ELECTRI ABBOTT LABO 01/30/02 20 E0196-1 GEL PRESSURE MATTRES ABBOTT LABO 10/02/01 20 K0004-4 W/C LW - ALUMINUM SUNRISE MED 09/19/01 6 K0005-1 ULTRALIGHTWEIGHT WHE SUNRISE MED 09/18/01 6 K0005-2 ULTRALIGHTWEIGHT WHE SUNRISE MED 09/18/01 6 ------------------------------------------------------------------------------ <End of Report> |
| --- | --- |

Print Item Usage by Location (IU)

| Report description | The Print Item Usage by Location (IU) report provides an item usage and quantity on hand report for a specified date range sorted by Location. |
| --- | --- |

| Locations | You can enter a specific Location or “ALL” Locations to print the data in the report. |
| --- | --- |

| Source Criteria | You can enter one of the two Source Criteria items as follows: Old Items (V)A New Items (C)ommercial |
| --- | --- |

| Sample screen | Select Inventory Reports Option: IS <Enter> Print Item Usage By Location SITE: Hines Development System// <Enter> 499 Enter 'ALL' for all Locations or 'RETURN' to select individual Locations: ALL <Enter> Select one of the following: V OLD Items C NEW Items Enter a SOURCE Criteria: NEW Items// V <Enter> OLD Items Beginning Date: T-30//T-90 <Enter> (MAR 30, 2001) Ending Date: TODAY//T <Enter> (JUN 28, 2001) DEVICE: HOME// <Enter> TELNET Right Margin: 80// <Enter> Processing report..... |
| --- | --- |

| Date Ranges | You can enter a Beginning Date and an Ending Date range for your report. The default date range for the report is 30 days, but you can change the range to any specific date or date range. |
| --- | --- |

Continued on next page

Print Item Usage by Location (IU), Continued

| Report parameters | Below is a sample Print Item Usage by Location (IU) report selecting V for VA for Old Items (or USED items) to display. |
| --- | --- |

| Sample Report – Old Items (V) | *** DETAIL ITEM USAGE BY LOCATION *** for USED Items Station: MILWAUKEE, WI Run Date: JUL 2,2001@13:21:53 PAGE: 1 APR 03, 2001 to JUL 02, 2001 [ 91 calendar days ] ------------------------------------------------------------------------------ Location: B-5 QTY $ DAYS AVE DAYS STOCK TOTAL $ HCPCS ITEM ISSUE VALUE USAGE RATE ON-HAND ON-HAND VAL ON-HND ----- ---- ----- ----- ---------- ------- ------- ---------- A4670-4 VAS-DIGITAL B 0.00 0.000 21 0.00 B9004-2 VAS INFUSION 1 750.00 0.011 455.0 5 3,750.00 DL101-3 VAS DRESSING 0.00 0.000 3 5.40 DL103-4 VAS REACHER 1 6.20 0.011 182.0 2 12.40 DL104-4 VAS SHOE HORN 0.00 0.000 28 83.44 DL105-7 VAS-SHOELACES 0.00 0.000 54 51.30 DL106-2 VAS-SOCK AID 0.00 0.000 29 289.42 DL151-3 VAS BATH SPON 0.00 0.000 30 30.00 E0135-4 VAS-WALKER 0.00 0.000 11 0.00 E0142-2 VAS-WALKER SP 0.00 0.000 24 0.00 E0143-3 VAS WALKER W/ 0.00 0.000 17 552.50 E0155-3 VAS-WALKER WH 0.00 0.000 17 0.00 E0176-6 VAS AIR CUSHI 0.00 0.000 3 324.81 E0178-4 VAS GEL CUSHI 1 101.22 0.011 91.0 1 101.22 E0245-8 VAS-TUB BENCH 0.00 0.000 9 338.22 L8500-2 SERVOX-SPEECH 0.00 0.000 6 2,902.50 UNKNOWN-21VAS-SKI'S 0.00 0.000 17 0.00 ------------------------------------------------------------------------------ Location: SAVANT QTY $ DAYS AVE DAYS STOCK TOTAL $ HCPCS ITEM ISSUE VALUE USAGE RATE ON-HAND ON-HAND VAL ON-HND ----- ---- ----- ----- ---------- ------- ------- ---------- E0184-1 VAS MATTRESS 1 45.00 0.011 637.0 7 315.00 E0266-4 VAS BED ELECT 1 292.86 0.011 182.0 2 585.72 ----------------------------------------------------------------------------- Location: C-26 QTY $ DAYS AVE DAYS STOCK TOTAL $ HCPCS ITEM ISSUE VALUE USAGE RATE ON-HAND ON-HAND VAL ON-HND ----- ---- ----- ----- ---------- ------- ------- ---------- DL175-4 VAS-GLOVES-WH 0.00 0.000 24 0.00 E0100-6 VAS-CANE 0.00 0.000 10 0.00 E0191-9 VAS-CHEESE BO 0.00 0.000 23 0.00 E0776-3 VAS-IV POLE 0.00 0.000 21 157.50 K0001-4 VAS STANDARD/ 0.00 0.000 12 691.44 L1845-2 VAS KNEE BRAC 1 9.56 0.011 455.0 5 47.80 UNKNOWN-22VAS-BOOT-ROOK 0.00 0.000 12 0.00 ------------------------------------------------------------------------------ <End of Report> |
| --- | --- |

| Days On-Hand | See Field/Column Descriptions in this section for a detailed explanation of the “Days On Hand” column of this report. |
| --- | --- |

Continued on next page

Print Item Usage by Location (IU), Continued

| Report parameters | Below is a sample Print Item Usage by Location (IU) report selecting (C)ommercial (New Items) to display. |
| --- | --- |

| Sample Report – New Items (C) | *** DETAIL ITEM USAGE BY LOCATION *** for NEW Items Station: MILWAUKEE, WI Run Date: JUL 2,2001@13:27:06 PAGE: 1 APR 03, 2001 to JUL 02, 2001 [ 91 calendar days ] ------------------------------------------------------------------------------ Location: B-5 QTY $ DAYS AVE DAYS STOCK TOTAL $ HCPCS ITEM ISSUE VALUE USAGE RATE ON-HAND ON-HAND VAL ON-HND ----- ---- ----- ----- ---------- ------- ------- ---------- BA110-2 RAZOR-CORDLES 0.00 0.000 2 99.98 BA118-1 CASSETTE PLAY 0.00 0.000 4 91.80 BA158-2 GUIDE-EYEDROP 0.00 0.000 5 24.75 BA159-2 PILL BOX REMI 0.00 0.000 10 54.50 BA159-3 PILL REMINDER 11 11.66 0.121 165.5 20 21.20 BA183-3 SUNGLASSES NO 1 25.00 0.011 182.0 2 50.00 BA183-2 SUNGLASSES NO 0.00 0.000 4 100.00 BA184-2 CLOCK-TALK-AL 0.00 0.000 5 64.75 BA185-3 WATCH LOW VIS 0.00 0.000 4 45.16 BA185-4 WATCH LOW VIS 0.00 0.000 3 33.87 BA185-5 WATCH LOW VIS 0.00 0.000 4 45.16 BA185-6 WATCH TALKING 3 81.00 0.033 0.0 0.00 BA185-2 WATCH-BRAILLE 0.00 0.000 4 236.00 DL100-2 BUTTON HOOK-G 3 10.68 0.033 333.7 11 39.16 DL101-2 STICK-DRESSIN 13 62.27 0.143 14.0 2 9.58 DL103-1 REACHER-REGUL 3 20.55 0.033 60.7 2 13.70 DL104-1 SHOE HORN/COM 12 71.40 0.132 310.9 41 243.95 DL105-2 SHOELACES-ELA 3 4.50 0.033 576.3 19 28.50 DL105-3 SHOELACES-ELA 2 3.00 0.022 >999 22 33.00 DL105-4 SHOELACES-ELA 7 10.50 0.077 208.0 16 24.00 ------------------------------------------------------------------------------ <End of Report> |
| --- | --- |

| >999 Value | When the Days On Hand column displays a >999 value, this means that the item is overstocked according to the calculation of the Stock on Hand. |
| --- | --- |

Print Stock Work Sheet (WS)

| Report description | The Print Stock Work Sheet (WS) report prints the inventory stock by Location of a particular station. It shows the HCPCS, Item description, date, unit cost, vendor quantity, Location and a blank column for the physical count. Tip: You can use the blank column when conducting a physical inventory for reconciliation purposes. |
| --- | --- |

| Select location for report data | Select Inventory Reports Option: WS <Enter> Print Stock Work Sheet SITE: Hines Development System// <Enter> 499 Enter 'ALL' for all Locations or 'RETURN' to select individual Locations: <Enter> Select Location 1: JLOC <Enter> 1 JLOC SUPPORT ISC 2 JLOC22 SUPPORT ISC 3 JLOC3 SUPPORT ISC CHOOSE 1-3: 1 <Enter> JLOC SUPPORT ISC Select Location 2: JLOC3 <Enter> SUPPORT ISC Select Location 3: <Enter> DEVICE: HOME// <Enter> TELNET Right Margin: 80// <Enter> Processing report..... |
| --- | --- |

| Stock Reconciliation Work Sheet | *** PROSTHETICS STOCK RECONCILIATION WORK SHEET *** PAGE: 1 Run Date: DEC 04, 2002 station: SUPPORT ISC ------------------------------------------------------------------------------ Location: JLOC UNIT PHYSICAL HCPCS ITEM DATE COST VENDOR QTY LOCATION COUNT ----- ---- ---- ---- ------ --- -------- ----- A4254-1 BATTERY FOR GLUCOSE MONITO/COMMERCIAL 12/02/02 42.16 ABBOTT LA 25 JLOC ________ A4254-3 EYEGLASSES 05/07/02 45.00 ABBOTT LA 29 JLOC ________ A4373-1 WHEELCHAIR - ELECTRIC 02/05/02 200.00 ABBOTT LA 20 JLOC ________ BA185-2 WATCH BRAILLE 09/05/01 32.38 HINES VA 4 JLOC ________ Location: JLOC3 UNIT PHYSICAL HCPCS ITEM DATE COST VENDOR QTY LOCATION COUNT ----- ---- ---- ---- ------ --- -------- ----- A4254-1 BATTERY FOR GLUCOSE MONITO/COMMERCIAL 02/11/02 23.50 ABBOTT LA 37 JLOC3 ________ K0096-1 WHEELCHAIR - ELECTRIC 10/25/01 800.00 ABBOTT LA 10 JLOC3 ________ L5000-1 SHO INSERT W ARCH TOE FILL/COMMERCIAL 09/05/01 5.00 ABBOTT LA 192 JLOC3 ________ L5000-2 SHO INSERT W ARCH TOE/VA 09/05/01 3.00 ABBOTT LA 100 JLOC3 ________ <End of Report> |
| --- | --- |

Reprint Barcode Label (BC)

| Report description | The Reprint Barcode Label (BC) option allows inventory users to print barcode labels if you did not use the Receive Item from Supply, Vendor or Patient (RC) option. It will print labels for current inventory only. The HCPCS code for a stock item must exist in PIP before it can be printed on a barcode. This option prints the following on a Barcode label: HCPCS Code HCPCS description Unit Cost Date received into inventory Item description (local description of the item) Vendor |
| --- | --- |

| Report criteria | Select Inventory Reports Option: BC <Enter> Reprint Barcode Label SITE: Hines Development System// <Enter> 499 Print Barcode Labels for current inventory... Select HCPCS: ?? <Enter> 1 A4254 BATTERY FOR GLUCOSE MONITOR 2 A4259 LANCETS PER BOX 3 A4402 LUBRICANT PER OUNCE 4 A4404 OSTOMY RING EACH 5 A4565 SLINGS Press <RETURN> to see more, '^' to exit this list, or Choose 1 - 5 : 1 <Enter> HCPCS: A4254 BATTERY FOR GLUCOSE MONITOR is associated with more than 1 item, please select one... |
| --- | --- |

| Select HCPCS | You can enter two question marks at the Select HCPCS prompt to display a list and select one. If it is associated with more than one item, it will list the IFCAP Items associated with it, and you can select one from the list. (See next page.) |
| --- | --- |

Continued on next page

Reprint Barcode Label (BC), Continued

| Number of labels to print | The Number of Labels to print prompt will have a default number set for the maximum number of labels that you can print. It will not allow you to print more than the default number; however, you can print less than the default number displayed. |
| --- | --- |

| Report sample | IFCAP ITEM: BATTERY 1 A4254-1 C BATTERY FOR GLUCOSE MONITO/COMMERCIAL IFCAP ITEM: BATTERY 4 A4254-1 C BATTERY FOR GLUCOSE MONITO/COMMERCIAL IFCAP ITEM: BATTERY 10 A4254-3 C BAT Choose 1 - 10 : 1 <Enter> HCPCS: A4254 BATTERY FOR GLUCOSE MONITOR IFCAP Item: BATTERY PIP Item desc.: BATTERY FOR GLUCOSE MONITO/COMMERCIAL Select a current stock record... Date Qty Unit Cost Value Vendor Location 1 10/23/01 29 45.00 1305.00 ABB HO 1 2 01/08/02 1 155.00 155.00 **M AND M MARS JLOC3 Choose 1 - 2 : 1 <Emter> Number of Labels to print: 29//25 <Enter> Select Barcode Printer: ZEBRA PROSTHETIC// <Enter> ZEBRA PROSTHETIC PRINTER TONY'S DESK Do you want your output QUEUED? NO// <Enter> (NO) Print Barcode Labels for current inventory... Select HCPCS: A4254// ^ <Enter> |
| --- | --- |

| To exit | To exit the Reprint Barcode Label option, you can enter an “up caret” (^) at the Select HCPCS prompt. |
| --- | --- |

Print Items Not Issued Within 30-Day (P3)

| Report description | The Print Items Not Issued Within 30-Day (P3) report option prints Items not issued within a 30-day period. Items that have been issued within 30 days will NOT display on this report. Note: You can select “All” or specific Locations to display. |
| --- | --- |

| Report criteria | Select Inventory Reports Option: P3<Enter>Print Items Not Issued Within 30-Day SITE: Hines Development System// <Enter> 499 Enter 'ALL' for all Locations or 'RETURN' to select individual Locations: <Enter> Select Location 1: JLOC 1 JLOC SUPPORT ISC 2 JLOC22 SUPPORT ISC 3 JLOC22 (2) SUPPORT ISC 4 JLOC3 SUPPORT ISC 5 JLOC3 (2) SUPPORT ISC CHOOSE 1-5: 1 <Enter> JLOC SUPPORT ISC Select Location 2: JLOC3 <Enter> 1 JLOC3 SUPPORT ISC 2 JLOC3 (2) SUPPORT ISC CHOOSE 1-2: 1 <Enter> JLOC3 SUPPORT ISC Select Location 3: <Enter> DEVICE: HOME// TELNET <Enter> Right Margin: 80// <Enter> Processing report..... |
| --- | --- |

| Print Items Not Issued Within 30-Day Report | *** PROSTHETICS ITEMS NOT ISSUED WITHIN 30-DAY *** PAGE: 1 Run Date: NOV 25, 2002 station: SUPPORT ISC ------------------------------------------------------------------------------ Location: JLOC DATE UNIT TOTAL HCPCS ITEM SRC VENDOR ENTERED QTY COST VALUE ----- ---- --- ------ ------- --- ---- ------ A4254-3 EYEGLASSES C ABBOTT 05/07/02 29 45.00 1,305.00 A4373-1 WHEELCHAIR - ELECTRIC V ABBOTT 02/05/02 20 200.00 4,000.00 BA185-2 WATCH BRAILLE C HINES V 09/05/01 4 32.38 129.52 BA185-3 WATCH LOW VISION BLACK C HINES V 09/05/01 46 2.82 129.72 E0111-2 CRUTCH FOREARM/VA V HINES V 09/05/01 3 2.00 6.00 V2025-1 EYEGLASSES C ABBOTT 05/07/02 16 35.07 561.10 V2025-1 EYEGLASSES C ABB 07/09/02 4 50.00 200.00 ------------------------------------------------------------------------------ Location: JLOC3 DATE UNIT TOTAL HCPCS ITEM SRC VENDOR ENTERED QTY COST VALUE ----- ---- --- ------ ------- --- ---- ------ A4254-1 BATTERY FOR GLUCOSE MONI C 01/08/02 1 155.00 155.00 |
| --- | --- |

Print Stock on Hand Over Date Range (OD)

| Report description | The Print Stock on Hand Over Date Range (OD) report prints all Items in a particular Location, where the number of days on-hand is greater than the number of the days in the date range selected. Note: Sort criteria are based on Locations and new or old Items. |
| --- | --- |

| Report sample | Select Inventory Reports Option: OD <Enter> Print Stock On Hand Over Date Range SITE: Hines Development System// <Enter> 499 Enter 'ALL' for all Locations or 'RETURN' to select individual Locations: <Enter> Select Location 1: JLOC <Enter> 1 JLOC SUPPORT ISC 2 JLOC22 SUPPORT ISC 3 JLOC3 SUPPORT ISC CHOOSE 1-3: 1 <Enter> JLOC SUPPORT ISC Select Location 2: JLOC3 <Enter> SUPPORT ISC Select Location 3: <Enter> Select one of the following: V OLD Items C NEW Items Enter a SOURCE Criteria: NEW Items// V <Enter> OLD Items Beginning Date: T-30//T-90 <Enter> (NOV 02, 2001) Ending Date: TODAY// <Enter> (JAN 31, 2002) DEVICE: HOME// <Enter> TELNET Right Margin: 80// <Enter> Processing report..... |
| --- | --- |

| Stock on Hand Over Date Range – for Used Items | *** STOCK ON HAND OVER DATE RANGE *** for USED Items Station: SUPPORT ISC Run Date: JAN 31,2002@10:17:48 PAGE: 1 NOV 02, 2001 to JAN 31, 2002 [ 91 calendar days ] ------------------------------------------------------------------------------ Location: JLOC3 QTY $ DAYS AVE DAYS STOCK TOTAL $ HCPCS ITEM ISSUE VALUE USAGE RATE ON-HAND ON-HAND VAL ON-HND ----- ---- ----- ----- ---------- ------- ------- ---------- L5000-2 SHO INSERT W 0.00 0.000 >91 200 600.00 ----------------------------------------------------------------------------- Location: JLOC QTY $ DAYS AVE DAYS STOCK TOTAL $ HCPCS ITEM ISSUE VALUE USAGE RATE ON-HAND ON-HAND VAL ON-HND ----- ---- ----- ----- ---------- ------- ------- ---------- E0111-2 CRUTCH FOREAR 0.00 0.000 >91 3 6.00 ------------------------------------------------------------------------------ <End of Report> |
| --- | --- |

Continued on next page

Print Stock on Hand Over Date Range (OD), Continued

| Sample report | Below is the Stock On Hand Over Date Range report for NEW Items. |
| --- | --- |

| Stock On Hand Over Date Range for New Items | *** STOCK ON HAND OVER DATE RANGE *** for NEW Items Station: MILWAUKEE Run Date: DEC 18,2001@12:54:31 PAGE: 1 NOV 18, 2001 to DEC 18, 2001 [ 31 calendar days ] ------------------------------------------------------------------------------ Location: RMB5 QTY $ DAYS AVE DAYS STOCK TOTAL $ HCPCS ITEM ISSUE VALUE USAGE RATE ON-HAND ON-HAND VAL ON-HND ----- ---- ----- ----- ---------- ------- ------- ---------- BA110-2 RAZOR-CORDLES 0.00 0.000 >31 2 99.98 BA118-1 CASSETTE PLAY 0.00 0.000 >31 4 91.80 BA158-2 GUIDE-EYEDROP 0.00 0.000 >31 5 24.75 BA159-2 PILL BOX REMI 3 16.35 0.097 72.3 7 38.15 BA159-3 PILL REMINDER 0.00 0.000 >31 20 21.20 BA183-3 SUNGLASSES NO 0.00 0.000 >31 2 50.00 BA183-2 SUNGLASSES NO 0.00 0.000 >31 4 100.00 BA184-2 CLOCK-TALK-AL 0.00 0.000 >31 5 64.75 BA185-3 WATCH LOW VIS 0.00 0.000 >31 4 45.16 BA185-4 WATCH LOW VIS 0.00 0.000 >31 3 33.87 |
| --- | --- |

| Days on Hand | Note that there is one line item that shows 72.3 in the Days On-Hand column in the report shown above. This means that the Stock On Hand is shown for 72.3 days over the date range selected of 31 calendar days (72.3 Days On-Hand + 31 calendar days). |
| --- | --- |

Print All Barcode in a Location (AL)

| Introduction | With Patch RMPR*3*61, the Print All Barcode in a Location (AL) option is available for use in printing all the barcode labels for all Items within a Location. (This is a helpful option to use after first installing this patch into the Production (Live) system.) In order to use this option, you must have an RMPRMANAGER key. Insert enough labels in the printer before using this option, since it will print labels for all Items in a given station. |
| --- | --- |

| Inventory Reports Menu | SI Item Detail Report SH HCPCS Summary Report SG NPPD Group/Line Report SS NPPD Group Summary Report PI Print Current HCPCS Balance by HCPCS PL Print Current Item Balance by Location PO Print Order/Receive Item PS Print Transaction History IU Print Item Usage By Location WS Print Stock Work Sheet BC Reprint Barcode Label P3 Print Items Not Issued Within 30-Day OD Print Stock On Hand Over Date Range AL Print All Barcode in a Location IP Print PIP/IFCAP Item Report |
| --- | --- |

| Sample screen | Select Inventory Reports Option: AL <Enter> Print All Barcode in a Location SITE: Hines Development System// <Enter> 499 Enter Pros Location: ?? <Enter> Choose from: HO 1 A LOC HNC HO 1 JLOC JLOC22 JLOC22 (2) JLOC3 JLOC3 (2) MERGER MERGER (2) ODJ2 ODJLOC1 Enter Pros Location: JLOC <Enter> Select Barcode Printer: ZEBRA PROSTHETIC// <Enter> ZEBRA PROSTHETIC PRINTER |
| --- | --- |

Print PIP/IFCAP Item Report (IP)

| Report description | The Print PIP/IFCAP Items Report (IP) prints all PIP Items and the corresponding IFCAP Items. If this report does NOT print an IFCAP Item, and this column is blank, then Prosthetics users must edit the HCPCS/Item. When an IFCAP Item is entered, then there is a link to the PIP Item. This report is useful for checking if the IFCAP Item is correctly linked to the PIP Item. |
| --- | --- |

| Inventory Reports Menu | SI Item Detail Report SH HCPCS Summary Report SG NPPD Group/Line Report SS NPPD Group Summary Report PI Print Current HCPCS Balance by HCPCS PL Print Current Item Balance by Location PO Print Order/Receive Item PS Print Transaction History IU Print Item Usage By Location WS Print Stock Work Sheet BC Reprint Barcode Label P3 Print Items Not Issued Within 30-Day OD Print Stock On Hand Over Date Range AL Print All Barcode in a Location IP Print PIP/IFCAP Item Report Select Inventory Reports Option: IP <Enter> Print PIP/IFCAP Item Report SITE: Hines Development System// <Enter> 499 DEVICE: HOME// <Enter> TELNET Right Margin: 80// <Enter> Processing report..... |
| --- | --- |

| Print PIP/IFCAP Items Report | *** PROSTHETICS PIP/IFCAP ITEMS REPORT*** PAGE: 1 Run Date: DEC 12, 2002 Station: SUPPORT ISC ------------------------------------------------------------------------------ HCPCS-ITEM PIP ITEM IFCAP ITEM ---------- -------- ---------- A4254-1 BATTERY FOR GLUCOSE BEEF-ROUND/TOP/INSIDE/FRZN A4254-2 BAT FOR GLUCOSE MONI BEEF-ROUND/TOP/INSIDE/FRZN A4254-3 EYEGLASSES BEEF-ROUND/TOP/INSIDE/FRZN A4259-1 LANCETS PER BOX/COMM WHEELCHAIR-CLASSIC-18X16 A4301-1 WHEELCHAIR-ADULT/HEM SHOES A4373-1 WHEELCHAIR - ELECTRI WHEELCHAIR - ELECTRIC A4373-2 WC MAN WHEELCHAIR - MANUAL A4402-1 LUBRICANT PER OUNCE/ PORK-GROUND/FRZN A4402-2 LANCETS PER BOX/COMM OXYGEN DEVICE A4404-1 OSTOMY RING EACH/COM OXYGEN CONCENTRATOR A4404-2 OSTOMY RING EACH/COM EYEGLASSES A4404-3 EYEGLASSES EYEGLASSES |
| --- | --- |

| IFCAP Item | If there is a blank in the IFCAP Item column on this report, then you will need to edit this Item through the Edit Inventory Items (EI) option and add an item description at the IFCAP/Item prompt from the list of options. |
| --- | --- |

Prosthetic Inventory Reports (Patch RMPR*3*51)

Overview

| Introduction | There are four Inventory Reports from Patch RMPR*3*51 in the Inventory Reports Menu. These usage reports are available for the sites and for PSAS Headquarters personnel to use. The four types of reports and the options that display them are: Item Detail Report (SI) HCPCS Summary Report (SH) NPPD Group/Lines Report (SG) NPPD Group Report (SS) |
| --- | --- |

| Headquarter Roll-up Data | Headquarters personnel can request all reports through a server process. They can request a roll-up for station inventory data for a certain date range through a server. The roll-up data is loaded in an Excel document and can be used for other reporting purposes. |
| --- | --- |

| Purpose | Usage reports are developed for the site level that will show stock usage over a selected date range. Each report is sorted first by site and by a date range. |
| --- | --- |

| USED and NEW Inventory | There are values for USED and NEW inventory shown separately on the usage reports. These values are never added together. Note: If the same item (with the same HCPCS code) has both NEW and USED quantities entered against it, then the report will print NEW and USED figures on separate lines. |
| --- | --- |

Access the Inventory Reports Menu

| Prosthetic Official’s Menu | PU Purchasing ... DD Display/Print ... UT Utilities ... AM AMIS ... SU Suspense ... CO Correspondence ... SC Scheduled Meetings and Home/Liaison Visits ... PS Process Form 2529-3 ... EL Eligibility Inquiry ET PSC/Entitlement Records ... HO Home Oxygen Main Menu ... INV Pros Inventory Main ... ND NPPD Tools ... VR Verify/Repair Purchase Card Number Select Prosthetic Official's Menu Option: INV Pros Inventory Main |
| --- | --- |

| Steps | To access the Prosthetic Inventory Reports Menu, follow these steps: |
| --- | --- |

| Step | Action |
| --- | --- |
| 1 | At the Prosthetic Official’s Menu, type INV for the Prosthetic Inventory Main Menu, and press <Enter>. |
| 2 | Type RP for Inventory Reports Menu, and press <Enter>. |

| Prosthetic Inventory Main Menu | AE Add Inventory LOCATION or ITEMS EI Edit Inventory Items EL Edit Inventory Location DE Deactivate Inventory Location RI Remove Item from Inventory OI Order Item from Supply or Vendor RC Receive Item from Supply, Vendor or Patient TR Transfer Stock Between Locations UP Reconcile Item Balance RP Inventory Reports ... RE Remove/Deactivate HCPCS/Item from Inventory Select Pros Inventory Main Option: RP Inventory Reports |
| --- | --- |

| Inventory Reports Menu | SI Item Detail Report SH HCPCS Summary Report SG NPPD Group/Line Report SS NPPD Group Summary Report PI Print Current HCPCS Balance by HCPCS PL Print Current Item Balance by Location PO Print Order/Receive Item PS Print Transaction History IU Print Item Usage By Location WS Print Stock Work Sheet BC Reprint Barcode Label P3 Print Items Not Issued Within 30-Day OD Print Stock On Hand Over Date Range AL Print ALL Barcode in a Location IP Print PIP/IFCAP Item Report |
| --- | --- |

Field/Column Descriptions

| Fields and columns | Below are the field and column descriptions within the inventory reports. |
| --- | --- |

| Field/Column | Description |
| --- | --- |
| Run Date | The date and time the report is run shown on the first line of a report. |
| Station | The system location that you select or it may be a default. If you have only one site, this prompt is not available. |
| Number of Calendar Days | Total number of calendar days for the date range selected will be shown on the second line of a report. |
| HCPCS | HCPCS code. |
| PSAS/Item Description | Free-text description of the item from the name entered into the “Add an Item” option. This is shown only on the Item Detail Report. On the HCPCS Summary Report, the Description field replaces the PSAS Item field and provides a description of the HCPCS code. |
| VA (Used) | Number issued and dollar value for USED inventory. | CAUTION: These dollar values may not equal the dollar values on the 2319. (See Appendix A for a more detailed explanation.) These are the values for the date range selected. In the examples to follow, it would be the numbers issued for September 2000. |  |
| COM (New) | Number issued and dollar value for NEW inventory. |  |  |
| Total Issue | Total number issued for the VA (Used) and Commercial (New) on different lines. |  |  |
| Days Ave Usage Rate | Average rate of use per day. This is the total issued (both USED or NEW) divided by the total calendar days for the date range selected. Note: Value will be expressed in decimal format if usage rate is less than one unit per day. Example: If an item was issued ten times during a 20 day period, the average usage rate over the period would be 0.5. |
| Stock On-Hand | Number of USED and number of NEW stock on-hand items remaining in inventory. Note: These quantities refer to the date the report was run and not necessarily the date range entered. |

Continued on next page

Field/Column Descriptions, Continued

| Fields and columns (continued) | Below are the descriptions of the each of the columns and fields within the usage reports. |
| --- | --- |

| Field/Column | Description |
| --- | --- |
| Days On-Hand | Number of days of quantity on-hand remaining in inventory. This is the Total Stock on Hand divided by the Days Average Usage Rate. Example: To refer to the previous example where 10 items were issued during a 20-day period, if we had 10 items left in the inventory, the Days On Hand Value would be 20. The quantity on hand refers to the date the report was run and not necessarily the date range entered. Note: If you see >nn, where nn equals the number of calendar days, then it means no items were issued during those calendar days. If you see >999, this means that the inventory on hand exceeds 999 days. |
| Total Dollar Value On-Hand | Total value of USED and total value of NEW on-hand. Note: This is not the total of the average cost. This is the total cost to purchase the items on hand. |

| Grand totals | At the bottom of the reports, the following grand totals are shown: |
| --- | --- |

| Field/Column | Description |
| --- | --- |
| Grand Total Dollar Value Issued (Used) | Total dollar value of USED inventory issued. |
| Grand Total Dollar Value Issued (New) | Total dollar value of NEW inventory issued. |
| Grand Total Dollar Value on Hand (Used) | Total cost of USED stock on hand. |
| Grand Total Dollar Value on Hand (New) | Total cost of NEW stock on hand. |

Viewing/Printing Reports

| Column Size | Contact your IRM department to change the column size from 80 to 132-column width size to print the Inventory Reports and view them on your screen. See instructions below if you use a terminal emulation software on a PC to view a report on your screen or print it out. You must change the column size that is viewable from 80 characters wide to 132 characters. Otherwise, you will not be able to view the entire contents of a report. |
| --- | --- |

| Step | Action |
| --- | --- |
| 1 | Click the Options Menu. |
| 2 | Click the Display option. The Display dialog box displays as shown below. Click the VT Specific tab. |
| 3 | Click the down arrow in the Columns field and select 132. |
| 4 | Click the Ok button. |

| Display Option |  |
| --- | --- |

Item Detail Report (SI)

Overview

| Introduction | The Item Detail Report option provides a detailed report that displays the stock on hand sorted by HCPCS/Item at the facility level. (This is the report that provides the greatest amount of detail vs. the HCPCS Summary Report that only provides high-level summary information.) The following are the sort criteria options: All HCPCS (default setting) All HCPCS for an NPPD Group All HCPCS for an NPPD Line (or related HCPCS) Select Individual HCPCS (more than one HCPCS can be selected) Note: Each option above has the same report format (i.e., HCPCS always grouped under respective NPPD Line and Group headings.) |
| --- | --- |

| Steps | To select the Item Detail Report, follow these steps: |
| --- | --- |

| Step | Action |
| --- | --- |
| 1 | Type SI for the Item Detail Report option, and press <Enter>. |
| 2 | At the Site prompt, press <Enter> to select the default site entry. |
| 3 | At the Beginning Date prompt, type the beginning date of the date range. |
| 4 | At the Ending Date prompt, type the end date, and press <Enter>. |
| 5 | The four options to view or print the Item Detail Report displays. |

| Inventory Reports Menu | SI Item Detail Report SH HCPCS Summary Report SG NPPD Group/Line Report SS NPPD Group Summary Report PI Print Current HCPCS Balance by HCPCS PL Print Current Item Balance by Location PO Print Order/Receive Item PS Print Transaction History IU Print Item Usage By Location WS Print Stock Work Sheet BC Reprint Barcode Label PC Print Items Not Issued Within 30-Day OD Print Stock On Hand Over Date Range AL Print All Barcode in a Location IP Print PIP/IFCAP Item Report Select Inventory Reports Option: SI <Enter> Item Detail Report SITE: Hines Development System// <Enter> ST. NUM. 499 Beginning Date: 9/1/00 (SEP 01, 2000) <Enter> Ending Date: 9/30/00 (SEP 30, 2000) <Enter> Select one of the following: A ALL HCPCS G ALL HCPCS for NPPD group L ALL HCPCS for NPPD line S Select individual HCPCS |
| --- | --- |

Item Detail Report – Choosing “All HCPCS”

| Report description | You can select to view or print the Item Detail Report using the All HCPCS. This is the default setting, and you can press <Enter> instead of typing A and pressing <Enter>. All HCPCS/Item in a group will be shown on the report even if there was no activity during the reporting date range. |
| --- | --- |

| Steps | To select the All HCPCS option for the Item Detail Report, follow these steps: |
| --- | --- |

| Step | Action |
| --- | --- |
| 1 | At the Choose HCPCS Selection prompt, type A for the All HCPCS option, and press <Enter>. |
| 2 | At the Device: Home// prompt, press <Enter> |
| 3 | To view or print the report, type 132 at the Right Margin: 80// prompt to extend the margins for the report to display and/or print. |
| 4 | Then press <Enter>. |

| Item Detail Report Options | Select one of the following: A ALL HCPCS G ALL HCPCS for NPPD group L ALL HCPCS for NPPD line S Select individual HCPCS Choose HCPCS selection option: A// <Enter> ALL HCPCS DEVICE: HOME// <Enter> TELNET Right Margin: 80// 132 <Enter> Processing report....... |
| --- | --- |

Continued on next page

Item Detail Report – Choosing “All HCPCS”, Continued

| All HCPCS | Below is the Prosthetic Inventory Item Detail Report using the All HCPCS option. Also, you can run a report for a one-day range to see beginning inventory balances. |
| --- | --- |

PROSTHETIC INVENTORY ITEM DETAIL REPORT Run Date: DEC 14,2000@10:00:04 Page: 1 STATION: Milwaukee VAMC NOV 01, 2000 - NOV 30, 2000 [ 30 calendar days ] 100 B MANUAL CUSTOM [WHEELCHAIRS AND ACCESSORIES ] -------------------------------------------------------------------------------------------------------------------------------- HCPCS PSAS/ITEM V.A.(Used) Total¦ COM. (New) Total¦ Total ¦Days Ave ¦ Stock On-Hand¦ Days ¦Total $ Value On-Hand Issue $ Value¦ Issue $ Value¦ Issue ¦Usage Rate¦ Used New ¦ On-Hand¦ Used New -------------------------------------------------------------------------------------------------------------------------------- K0004-1 HIGH STRENGTH L ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 2 ¦ >30¦ 758.78 K0004-2 WHEELCHAIR 9000 ¦ 10 3.00 ¦ 10 ¦ 0.33 ¦ 3 ¦ 9¦ 1,098.03 ================================================================================================================================ (Used) 0 0.00¦ ¦ 0 ¦ 0.00 ¦ 0 ¦ ¦ 0.00 (New) ¦ 10 3,294.09 ¦ 10 ¦ 0.33 ¦ 5 ¦ ¦ 1,856.81 100 C STANDARD [WHEELCHAIRS AND ACCESSORIES ] -------------------------------------------------------------------------------------------------------------------------------- HCPCS PSAS/ITEM V.A.(Used) Total¦ COM. (New) Total¦ Total ¦Days Ave ¦ Stock On-Hand¦ Days ¦Total $ Value On-Hand Issue $ Value¦ Issue $ Value¦ Issue ¦Usage Rate¦ Used New ¦ On-Hand¦ Used New -------------------------------------------------------------------------------------------------------------------------------- K0001-2 WHEELCHAIR INVA ¦ 5 576.25 ¦ 5 ¦ 0.17 ¦ 3 ¦ 18¦ 387.30 ================================================================================================================================ (Used) 0 0.00¦ ¦ 0 ¦ 0.00 ¦ 0 ¦ ¦ 0.00 (New) ¦ 5 576.25 ¦ 5 ¦ 0.17 ¦ 3 ¦ ¦ 387.30 100 D ACCESSORIES [WHEELCHAIRS AND ACCESSORIES ] -------------------------------------------------------------------------------------------------------------------------------- HCPCS PSAS/ITEM V.A.(Used) Total¦ COM. (New) Total¦ Total ¦Days Ave ¦ Stock On-Hand¦ Days ¦Total $ Value On-Hand Issue $ Value¦ Issue $ Value¦ Issue ¦Usage Rate¦ Used New ¦ On-Hand¦ Used New -------------------------------------------------------------------------------------------------------------------------------- DL175-2 GLOVES-WHEELCHA ¦ 8 56.00 ¦ 8 ¦ 0.27 ¦ 13 ¦ 49¦ 91.00 DL175-3 GLOVES-WHEELCHA ¦ 8 56.00 ¦ 8 ¦ 0.27 ¦ 28 ¦ 105¦ 196.00 DL177-1 COVER-MATTRESS- ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 5 ¦ >30¦ 281.85 DL177-2 COVER-ROHO-1R88 ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 10 ¦ >30¦ 252.00 DL177-3 COVER-ROHO-1R89 ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 8 ¦ >30¦ 181.44 E0978-1 WHEELCHAIR BELT ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 5 ¦ >30¦ 154.25 K0019-1 ARM PAD EACH/CO ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 6 ¦ >30¦ 30.00 K0020-1 FIXED ADJUST AR ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 4 ¦ >30¦ 19.80 K0045-1 FOOTREST COMPLE ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 8 ¦ >30¦ 80.00 K0098-1 DRIVE BELT POWE ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 4 ¦ >30¦ 86.40 =============================================================================================================================== (Used) 0 0.00¦ ¦ 0 ¦ 0.00 ¦ 24 ¦ ¦ 0.00 (New) ¦ 16 112.00 ¦ 16 ¦ 0.53 ¦ 91 ¦ ¦ 1,372.74 100 E CUSHION FOAM [WHEELCHAIRS AND ACCESSORIES ] -------------------------------------------------------------------------------------------------------------------------------- HCPCS PSAS/ITEM V.A.(Used) Total¦ COM. (New) Total¦ Total ¦Days Ave ¦ Stock On-Hand¦ Days ¦Total $ Value On-Hand Issue $ Value¦ Issue $ Value¦ Issue ¦Usage Rate¦ Used New ¦ On-Hand¦ Used New -------------------------------------------------------------------------------------------------------------------------------- E0963-2 CUSHION-FOAM-16 ¦ 1 7.35 ¦ 1 ¦ 0.03 ¦ 2 ¦ 60¦ 14.70 E0963-3 CUSHION-FOAM-18 ¦ 1 8.40 ¦ 1 ¦ 0.03 ¦ 2 ¦ 60¦ 16.80 E0964-2 CUSHION-FOAM-18 ¦ 9 82.71 ¦ 9 ¦ 0.30 ¦ 9 ¦ 30¦ 82.71 ================================================================================================================================ (Used) 0 0.00¦ ¦ 0 ¦ 0.00 ¦ 0 ¦ ¦ 0.00 (New) ¦ 11 98.46 ¦ 11 ¦ 0.37 ¦ 13 ¦ ¦ 114.21 100 F CUSHION SPEC [WHEELCHAIRS AND ACCESSORIES ] -------------------------------------------------------------------------------------------------------------------------------- HCPCS PSAS/ITEM V.A.(Used) Total¦ COM. (New) Total¦ Total ¦Days Ave ¦ Stock On-Hand¦ Days ¦Total $ Value On-Hand Issue $ Value¦ Issue $ Value¦ Issue ¦Usage Rate¦ Used New ¦ On-Hand¦ Used New -------------------------------------------------------------------------------------------------------------------------------- E0176-2 CUSHION-DONUT-V ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 7 ¦ >30¦ 11.27: E0176-3 CUSHION-ROHO-1R ¦ 4 654.69 ¦ 4 ¦ 0.13 ¦ 7 ¦ 53¦ 1,527.61 E0176-4 CUSHION-ROHO-1R ¦ 1 216.54 ¦ 1 ¦ 0.03 ¦ 4 ¦ 120¦ 866.16 E0176-5 CUSHION-ROHO-1R ¦ 1 216.54 ¦ 1 ¦ 0.03 ¦ 4 ¦ 120¦ 866.16 E0178-2 CUSHION-JAY 2 ¦ 3 607.38 ¦ 3 ¦ 0.10 ¦ 6 ¦ 60¦ 1,214.76 E0178-3 CUSHION-JAY-ACT ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 4 ¦ >30¦ 799.56 =============================================================================================== (Used) 0 0.00¦ ¦ 0 ¦ 0.00 ¦ 0 ¦ ¦ 0.00 (New) ¦ 9 1,695.15 ¦ 9 ¦ 0.30 ¦ 32 ¦ ¦ 5,285.52 GRAND TOTAL $ VALUE ISSUED (Used) = $ 483.75 GRAND TOTAL $ VALUE ON-HAND (Used) = $ 2,276.54 GRAND TOTAL $ VALUE ISSUED (New) = $ 26,150.77 GRAND TOTAL $ VALUE ON-HAND (New) = $ 97,658.36 <End of Report>

Item Detail Report – Choosing “All HCPCS for NPPD Group”

| Report description | You can select to view or print the Item Detail Report using the All HCPCS for NPPD Group criteria. This criteria option provides a list of NPPD Groups. You will be able to select a single NPPD Group or multiple NPPD Groups. |
| --- | --- |

| Steps | To view or print the Item Detail Report for All HCPCS for NPPD Group, follow these steps: |
| --- | --- |

| Step | Action |
| --- | --- |
| 1 | At the Choose HCPCS Selection prompt, type G for the All HCPCS for NPPD Group option, and press <Enter>. |
| 2 | A list of NPPD Groups displays. Type a number of the NPPD Group you want to select, and press <Enter>. Note: You can select multiple NPPD Groups, by typing a list or range of numbers (e.g., 1,3,5 or 2-4,8). |
| 3 | At the Device: Home// prompt, press <Enter> |
| 4 | To view or print the report, type “;132;” at the Right Margin: 80// prompt to extend the margins for the report to display and/or print, and press <Enter>. |

| All HCPCS for NPPD Group option | Select one of the following: A ALL HCPCS G ALL HCPCS for NPPD group L ALL HCPCS for NPPD line S Select individual HCPCS Choose HCPCS selection option: A// G <Enter> ALL HCPCS for NPPD group 1. WHEELCHAIRS AND ACCESSORIES 2. ARTIFICIAL LEGS 3. ARTIFICIAL ARMS AND TERMINAL DEVICES 4. BRACES AND ORTHOTICS 5. SHOES/ORTHOTICS 6. NEUROSENSORY AIDS 7. RESTORATIONS 8. OXYGEN AND RESPIRATORY 9. MEDICAL EQUIPMENT 10. ALL OTHER SUPPLIES AND EQUIPMENT 11. HOME DIALYSIS PROGRAM 12. ADAPTIVE EQUIPMENT 13. HISA 14. SURGICAL IMPLANTS 15. MISC Select NPPD Group : (1-15): 4 <Enter> DEVICE: HOME// ;132; <Enter> TELNET VIRTUAL Processing report....... |
| --- | --- |

Continued on next page

Item Detail Report – Choosing “All HCPCS for NPPD Group”, Continued

| Report sample | Below is the Prosthetic Inventory Item Detail Report with the All HCPCS for NPPD Group criteria selected. |
| --- | --- |

PROSTHETIC INVENTORY ITEM DETAIL REPORT Run Date: DEC 14,2000@10:03:24 Page: 1 STATION: Milwaukee VAMC NOV 01, 2000 - NOV 30, 2000 [ 30 calendar days ] 400 A BRACE ANKLE [BRACES AND ORTHOTICS ] -------------------------------------------------------------------------------------------------------------------------------- HCPCS PSAS/ITEM V.A.(Used) Total¦ COM. (New) Total¦ Total ¦Days Ave ¦ Stock On-Hand¦ Days ¦Total $ Value On-Hand Issue $ Value¦ Issue $ Value¦ Issue ¦Usage Rate¦ Used New ¦ On-Hand¦ Used New -------------------------------------------------------------------------------------------------------------------------------- L1902-1 AFO ANKLE GAUNT ¦ 5 17.80 ¦ 5 ¦ 0.17 ¦ 2 ¦ 12¦ 7.12 L1902-2 BRACE ANKLE LAC ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 3 ¦ >30¦ 42.00 L1902-3 BRACE ANKLE LAC ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 2 ¦ >30¦ 28.00 L1902-4 BRACE ANKLE LAC ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 12 ¦ >30¦ 168.00 L1902-5 BRACE ANKLE LAC ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 4 ¦ >30¦ 56.00 L1930-1 AFO PLASTIC/COM ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 1 ¦ >30¦ 19.87 L1930-2 BRACE AFO LEFT ¦ 2 39.92 ¦ 2 ¦ 0.07 ¦ 2 ¦ 30¦ 39.92 L1930-3 BRACE AFO PLAST ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 4 ¦ >30¦ 79.48 L1930-4 BRACE AFO PLAST ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 6 ¦ >30¦ 119.22 L1930-5 BRACE AFO PLAST ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 5 ¦ >30¦ 99.35 L1930-6 BRACE AFO PLAST ¦ 1 19.87 ¦ 1 ¦ 0.03 ¦ 4 ¦ 120¦ 79.48 L1930-7 BRACE AFO PLAST ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 6 ¦ >30¦ 119.22 L1930-8 BRACE AFO PLAST ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 6 ¦ >30¦ 119.22 L4392-2 SOLE-WALKING ¦ 1 4.50 ¦ 1 ¦ 0.03 ¦ 8 ¦ 240¦ 36.00 L4392-3 LINER-REPLACEME ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 6 ¦ >30¦ 94.50 L4392-4 LINER-REPLACEME ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 6 ¦ >30¦ 94.50 L4396-2 BRACE-MULTIPODU ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 40 ¦ >30¦ 1,800.00 L4396-3 BRACE-MULTIPODU ¦ 3 135.00 ¦ 3 ¦ 0.10 ¦ 10 ¦ 100¦ 450.00 ================================================================================================================================ (Used) 0 0.00¦ ¦ 0 ¦ 0.00 ¦ 0 ¦ ¦ 0.00 (New) ¦ 12 217.09 ¦ 12 ¦ 0.40 ¦ 127 ¦ ¦ 3,451.88 400 D BRACE AL/OTH [BRACES AND ORTHOTICS ] -------------------------------------------------------------------------------------------------------------------------------- HCPCS PSAS/ITEM V.A.(Used) Total¦ COM. (New) Total¦ Total ¦Days Ave ¦ Stock On-Hand¦ Days ¦Total $ Value On-Hand Issue $ Value¦ Issue $ Value¦ Issue ¦Usage Rate¦ Used New ¦ On-Hand¦ Used New -------------------------------------------------------------------------------------------------------------------------------- L0120-1 COLLAR-CERVICAL ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 11 ¦ >30¦ 48.40 L0120-5 COLLAR-CERVICAL ¦ 3 8.55 ¦ 3 ¦ 0.10 ¦ 9 ¦ 90¦ 25.65 L0120-6 COLLAR-CERVICAL ¦ 1 3.70 ¦ 1 ¦ 0.03 ¦ 3 ¦ 90¦ 11.10 L0120-7 COLLAR-CERVICAL ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 12 ¦ >30¦ 44.40 L0120-8 COLLAR-CERVICAL ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 10 ¦ >30¦ 28.50 L2270-1 VARUS/VALGUS ST ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 3 ¦ >30¦ 43.92 L3670-2 SLING ARM BLUE ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 6 ¦ >30¦ 28.02 L3700-1 ELBOW ORTHOSES ¦ 4 39.80 ¦ 4 ¦ 0.13 ¦ 8 ¦ 60¦ 79.60 L3907-2 BRACE WRIST SPI ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 10 ¦ >30¦ 157.50 L3907-3 BRACE WRIST SPI ¦ 1 15.75 ¦ 1 ¦ 0.03 ¦ 9 ¦ 270¦ 141.75 L3908-2 BRACE-WRIST-LAR ¦ 7 27.09 ¦ 7 ¦ 0.23 ¦ 19 ¦ 81¦ 73.53 L3908-3 BRACE-WRIST-LAR ¦ 5 19.35 ¦ 5 ¦ 0.17 ¦ 5 ¦ 30¦ 19.35 L3908-4 BRACE-WRIST-MED ¦ 2 7.74 ¦ 2 ¦ 0.07 ¦ 13 ¦ 195¦ 50.31 L3908-5 BRACE-WRIST-MED ¦ 1 3.87 ¦ 1 ¦ 0.03 ¦ 23 ¦ 690¦ 89.01 L3908-6 BRACE-WRIST-SMA ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 4 ¦ >30¦ 15.48 L3908-7 BRACE-WRIST-SMA ¦ 1 3.87 ¦ 1 ¦ 0.03 ¦ 5 ¦ 150¦ 19.35 L3908-8 BRACE-WRIST-XLA ¦ 7 30.96 ¦ 7 ¦ 0.23 ¦ 7 ¦ 30¦ 27.09 L3908-9 BRACE-WRIST-XLA ¦ 7 50.31 ¦ 7 ¦ 0.23 ¦ 16 ¦ 69¦ 123.84 L3908-10 BRACE-WRIST-RIG ¦ 1 3.87 ¦ 1 ¦ 0.03 ¦ 11 ¦ 330¦ 42.57 L4350-1 PNEUMATIC ANKLE ¦ 2 49.00 ¦ 2 ¦ 0.07 ¦ 1 ¦ 15¦ 24.50 L4360-2 CAMWALKER-LARGE ¦ 7 315.00 ¦ 7 ¦ 0.23 ¦ 2 ¦ 9¦ 90.00 L4360-3 CAMWALKER-MEDIU ¦ 8 640.00 ¦ 8 ¦ 0.27 ¦ 9 ¦ 34¦ 405.00 L4360-4 CAMWALKER-SHORT ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 10 ¦ >30¦ 450.00 L4360-6 CAMWALKER-SHORT ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 12 ¦ >30¦ 540.00 L4360-7 CAMWALKER-SMALL ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 11 ¦ >30¦ 495.00 L4360-10 CAMWALKER-SHORT ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 12 ¦ >30¦ 540.00 ================================================================================================================================ (Used) 0 0.00¦ ¦ 0 ¦ 0.00 ¦ 0 ¦ ¦ 0.00 (New) ¦ 57 1,218.86 ¦ 57 ¦ 1.90 ¦ 242 ¦ ¦ 3,613.87

(Screen print sample continued on next page…)

Continued on next page

Item Detail Report – Choosing “All HCPCS for NPPD Group”, Continued

| Report sample (continued) | Below is the continued Prosthetic Inventory Item Detail Report with the All HCPCS for NPPD Group criteria selected. |
| --- | --- |

400 E ELAS HOSE, EA [BRACES AND ORTHOTICS ] -------------------------------------------------------------------------------------------------------------------------------- HCPCS PSAS/ITEM V.A.(Used) Total¦ COM. (New) Total¦ Total ¦Days Ave ¦ Stock On-Hand¦ Days ¦Total $ Value On-Hand Issue $ Value¦ Issue $ Value¦ Issue ¦Usage Rate¦ Used New ¦ On-Hand¦ Used New -------------------------------------------------------------------------------------------------------------------------------- L8100-1 ELAS SUPRT STOC ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 22 ¦ >30¦ 304.32 L8100-2 STOCKING VENOSA ¦ 2 19.38 ¦ 2 ¦ 0.07 ¦ ¦ 0¦ L8100-6 FAST FIT 114 20 ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 6 ¦ >30¦ 149.28 L8100-7 FAST FIT 114 21 ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 6 ¦ >30¦ 149.28 L8100-8 FAST FIT 114 21 ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 6 ¦ >30¦ 149.28 L8100-9 FAST FIT 114 21 ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 6 ¦ >30¦ 149.28 L8100-10 FAST FIT 114 22 ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 6 ¦ >30¦ 149.28 L8100-11 FAST FIT 114 22 ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 6 ¦ >30¦ 149.28 L8100-12 FAST FIT 114 23 ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 6 ¦ >30¦ 149.28 L8100-13 FAST FIT 114 23 ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 6 ¦ >30¦ 149.28 L8100-14 FAST FIT 114 23 ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 6 ¦ >30¦ 149.28 L8100-15 FAST FIT 114 24 ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 6 ¦ >30¦ 149.28 L8100-16 FAST FIT 114 24 ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 6 ¦ >30¦ 149.28 L8100-17 FAST FIT 114 24 ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 6 ¦ >30¦ 149.28 L8100-18 FAST FIT 114 24 ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 6 ¦ >30¦ 149.28 L8100-19 FAST FIT 114 25 ¦ 2 49.76 ¦ 2 ¦ 0.07 ¦ 4 ¦ 60¦ 99.52 L8100-20 FAST FIT 114 26 ¦ 2 49.76 ¦ 2 ¦ 0.07 ¦ 5 ¦ 75¦ 124.40 L8100-21 ULTIMATE STOCKI ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 2 ¦ >30¦ 35.00 L8100-22 ULTIMATE STOCKI ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 6 ¦ >30¦ 105.00 L8100-23 ULTIMATE STOCKI ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 6 ¦ >30¦ 105.00 L8100-24 STOCKING-VENOSA ¦ 4 38.76 ¦ 4 ¦ 0.13 ¦ 20 ¦ 150¦ 193.80 L8100-25 STOCKING-VENOSA ¦ 31 300.39 ¦ 31 ¦ 1.03 ¦ 6 ¦ 6¦ 58.14 L8100-26 STOCKING-VENOSA ¦ 26 251.94 ¦ 26 ¦ 0.87 ¦ 11 ¦ 13¦ 106.59 L8100-30 STOCKING-CAROLO ¦ 1 6.80 ¦ 1 ¦ 0.03 ¦ 23 ¦ 690¦ 156.40 L8100-31 STOCKING-CAROLO ¦ 2 13.60 ¦ 2 ¦ 0.07 ¦ 22 ¦ 330¦ 149.60 L8100-32 STOCKING-CAROLO ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 24 ¦ >30¦ 163.20 L8100-33 ULTIMATE JOBST ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 10 ¦ >30¦ 249.50 L8100-34 ULTIMATE JOBST ¦ 0 00.00 ¦ 0 ¦ 0.00 ¦ 10 ¦ >30¦ 249.50 L8100-35 ULTIMATE JOBST ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 10 ¦ >30¦ 249.50 L8100-36 ULTIMATE THIGH ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 10 ¦ >30¦ 249.50 L8100-37 ULTIMATE THIGH ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 10 ¦ >30¦ 249.50 L8110-1 ELASTIC SUPP ST ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 2 ¦ >30¦ 18.00 L8110-8 STOCKING-VENOSA ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 24 ¦ >30¦ 232.56 L8110-9 STOCKING-VENOSA ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 22 ¦ >30¦ 213.18 L8110-10 STOCKING-VENOSA ¦ 2 19.38 ¦ 2 ¦ 0.07 ¦ 20 ¦ 300¦ 193.80 ================================================================================================================================ (Used) 0 0.00¦ ¦ 0 ¦ 0.00 ¦ 0 ¦ ¦ 0.00 (New) ¦ 72 749.77 ¦ 72 ¦ 2.40 ¦ 347 ¦ ¦ 5,446.65 400 F BRACES, KNEE [BRACES AND ORTHOTICS ] -------------------------------------------------------------------------------------------------------------------------------- HCPCS PSAS/ITEM V.A.(Used) Total¦ COM. (New) Total¦ Total ¦Days Ave ¦ Stock On-Hand¦ Days ¦Total $ Value On-Hand Issue $ Value¦ Issue $ Value¦ Issue ¦Usage Rate¦ Used New ¦ On-Hand¦ Used New -------------------------------------------------------------------------------------------------------------------------------- L1800-2 BRACE KNEE SPIR ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 4 ¦ >30¦ 60.40 Enter RETURN to continue or '^' to exit: --------------------------------------------------------------------------------------------------- PROSTHETIC INVENTORY ITEM DETAIL REPORT Run Date: DEC 15,2000@08:04:41 Page: 17 (A few pages were skipped here.) STATION: Milwaukee VAMC NOV 01, 2000 - NOV 30, 2000 [ 30 calendar days ] -------------------------------------------------------------------------------------------------------------------------------- HCPCS PSAS/ITEM V.A.(Used) Total¦ COM. (New) Total¦ Total ¦Days Ave ¦ Stock On-Hand¦ Days ¦Total $ Value On-Hand Issue $ Value¦ Issue $ Value¦ Issue ¦Usage Rate¦ Used New ¦ On-Hand¦ Used New -------------------------------------------------------------------------------------------------------------------------------- L8310-13 GUARD RUPTURE R ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 4 ¦ >30¦ 82.40 L8330-1 SCROTAL SUPPORT ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 11 ¦ >30¦ 58.74 L8330-2 SCROTAL SUPPORT ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 10 ¦ >30¦ 53.40 ================================================================================================================================ (Used) 0 0.00¦ ¦ 0 ¦ 0.00 ¦ 0 ¦ ¦ 0.00 (New) ¦ 1 8.25 ¦ 1 ¦ 0.03 ¦ 479 ¦ ¦ 8,932.79 GRAND TOTAL $ VALUE ISSUED (Used) = $ 0.00 GRAND TOTAL $ VALUE ON-HAND (Used) = $ 0.00 GRAND TOTAL $ VALUE ISSUED (New) = $ 2,349.02 GRAND TOTAL $ VALUE ON-HAND (New) = $ 23,012.04 <End of Report>

Item Detail Report – Choosing “All HCPCS for NPPD Line”

| Report description | You can select to view or print the Item Detail Report using the All HCPCS for NPPD Line criteria. If you select the All HCPCS for NPPD Line criteria, a list of NPPD Groups displays. Then the NPPD Lines within the NPPD Group display unless multiple NPPD Groups were selected. You will be able to select one NPPD Line or multiple NPPD Lines for one NPPD Group. |
| --- | --- |

| Steps | To view or print the Item Detail Report using the All HCPCS for an NPPD Line criteria, follow these steps: |
| --- | --- |

| Step | Action |
| --- | --- |
| 1 | At the Choose HCPCS Selection prompt, type L for the All HCPCS for NPPD Line option, and press <Enter>. |
| 2 | A list of NPPD Groups displays. Type a number(s) of the NPPD Group you want to select, and press <Enter>. Note: For multiple NPPD Groups, you can enter a list or range of numbers (e.g., 1,3,5 or 2-4,8). |

| NPPD Groups | Select one of the following: A ALL HCPCS G ALL HCPCS for NPPD group L ALL HCPCS for NPPD line S Select individual HCPCS Choose HCPCS selection option: A// L <Enter> ALL HCPCS for NPPD line 1. WHEELCHAIRS AND ACCESSORIES 2. ARTIFICIAL LEGS 3. ARTIFICIAL ARMS AND TERMINAL DEVICES 4. BRACES AND ORTHOTICS 5. SHOES/ORTHOTICS 6. NEUROSENSORY AIDS 7. RESTORATIONS 8. OXYGEN AND RESPIRATORY 9. MEDICAL EQUIPMENT 10. ALL OTHER SUPPLIES AND EQUIPMENT 11. HOME DIALYSIS PROGRAM 12. ADAPTIVE EQUIPMENT 13. HISA 14. SURGICAL IMPLANTS 15. MISC Select NPPD Group : (1-15): 4 <Enter> NPPD Lines for Group: 400 - BRACES AND ORTHOTICS |
| --- | --- |

Continued on next page

Item Detail Report – Choosing “All HCPCS for NPPD Line”, Continued

| Selecting Multiple NPPD Groups | If one NPPD Group is selected, you will be able to select multiple NPPD Lines. If you select multiple NPPD Groups, you will NOT be able to select an NPPD Line. You will automatically be taken to the Device prompt. |
| --- | --- |

| Steps (continued) | To view or print the Item Detail Report using the All HCPCS for NPPD Line criteria, follow these steps: |
| --- | --- |

| Step | Action |
| --- | --- |
| 3 | A list of NPPD Lines displays. Type one or multiple NPPD Lines, and press <Enter>. To enter multiple NPPD Lines, you must type a list or range of numbers (e.g., 1,3,5 or 2-4,8). |
| 4 | At the Device: Home// prompt, press <Enter> |
| 5 | To view or print the report, type “;132;” at the Right Margin: 80// prompt to extend the margins for the report to display and/or print, and press <Enter>. |

| NPPD Lines | 1. 400 A BRACE ANKLE 2. 400 B BRACE LEG AK 3. 400 C BRACE, SPINAL 4. 400 D BRACE AL/OTH 5. 400 E ELAS HOSE, EA 6. 400 F BRACES, KNEE 7. 400 G CORSET/BELT Select NPPD line(s) within the above group: (1-7): 5 <Enter> DEVICE: HOME// ;132; <Enter> TELNET VIRTUAL Processing report....... |
| --- | --- |

Continued on next page

Item Detail Report – Choosing “All HCPCS for NPPD Line”, Continued

| Report sample | Below is an Item Detail Report using the All HCPCS for NPPD Line criteria. |
| --- | --- |

PROSTHETIC INVENTORY ITEM DETAIL REPORT Run Date: DEC 14,2000@10:06:40 Page: 1 STATION: Milwaukee VAMC NOV 01, 2000 - NOV 30, 2000 [ 30 calendar days ] 400 E ELAS HOSE, EA [BRACES AND ORTHOTICS ] -------------------------------------------------------------------------------------------------------------------------------- HCPCS PSAS/ITEM V.A.(Used) Total¦ COM. (New) Total¦ Total ¦Days Ave ¦ Stock On-Hand¦ Days ¦Total $ Value On-Hand Issue $ Value¦ Issue $ Value¦ Issue ¦Usage Rate¦ Used New ¦ On-Hand¦ Used New -------------------------------------------------------------------------------------------------------------------------------- L8100-1 ELAS SUPRT STOC ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 22 ¦ >30¦ 304.32 L8100-2 STOCKING VENOSA ¦ 2 19.38 ¦ 2 ¦ 0.07 ¦ ¦ 0¦ L8100-6 FAST FIT 114 20 ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 6 ¦ >30¦ 149.28 L8100-7 FAST FIT 114 21 ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 6 ¦ >30¦ 149.28 L8100-8 FAST FIT 114 21 ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 6 ¦ >30¦ 149.28 L8100-9 FAST FIT 114 21 ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 6 ¦ >30¦ 149.28 L8100-10 FAST FIT 114 22 ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 6 ¦ >30¦ 149.28 L8100-11 FAST FIT 114 22 ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 6 ¦ >30¦ 149.28 L8100-12 FAST FIT 114 23 ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 6 ¦ >30¦ 149.28 Enter RETURN to continue or '^' to exit: PROSTHETIC INVENTORY ITEM DETAIL REPORT Run Date: DEC 14,2000@10:06:40 Page: 2 STATION: Milwaukee VAMC NOV 01, 2000 - NOV 30, 2000 [ 30 calendar days ] -------------------------------------------------------------------------------------------------------------------------------- HCPCS PSAS/ITEM V.A.(Used) Total¦ COM. (New) Total¦ Total ¦Days Ave ¦ Stock On-Hand¦ Days ¦Total $ Value On-Hand Issue $ Value¦ Issue $ Value¦ Issue ¦Usage Rate¦ Used New ¦ On-Hand¦ Used New -------------------------------------------------------------------------------------------------------------------------------- L8100-13 FAST FIT 114 23 ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 6 ¦ >30¦ 149.28 L8100-14 FAST FIT 114 23 ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 6 ¦ >30¦ 149.28 L8100-15 FAST FIT 114 24 ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 6 ¦ >30¦ 149.28 L8100-16 FAST FIT 114 24 ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 6 ¦ >30¦ 149.28 L8100-17 FAST FIT 114 24 ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 6 ¦ >30¦ 149.28 L8100-18 FAST FIT 114 24 ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 6 ¦ >30¦ 149.28 L8100-19 FAST FIT 114 25 ¦ 2 49.76 ¦ 2 ¦ 0.07 ¦ 4 ¦ 60¦ 99.52 L8100-20 FAST FIT 114 26 ¦ 2 49.76 ¦ 2 ¦ 0.07 ¦ 5 ¦ 75¦ 124.40 L8100-21 ULTIMATE STOCKI ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 2 ¦ >30¦ 35.00 L8100-22 ULTIMATE STOCKI ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 6 ¦ >30¦ 105.00 L8100-23 ULTIMATE STOCKI ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 6 ¦ >30¦ 105.00 Enter RETURN to continue or '^' to exit: PROSTHETIC INVENTORY ITEM DETAIL REPORT Run Date: DEC 14,2000@10:06:40 Page: 3 STATION: Milwaukee VAMC NOV 01, 2000 - NOV 30, 2000 [ 30 calendar days ] -------------------------------------------------------------------------------------------------------------------------------- HCPCS PSAS/ITEM V.A.(Used) Total¦ COM. (New) Total¦ Total ¦Days Ave ¦ Stock On-Hand¦ Days ¦Total $ Value On-Hand Issue $ Value¦ Issue $ Value¦ Issue ¦Usage Rate¦ Used New ¦ On-Hand¦ Used New -------------------------------------------------------------------------------------------------------------------------------- L8100-24 STOCKING-VENOSA ¦ 4 38.76 ¦ 4 ¦ 0.13 ¦ 20 ¦ 150¦ 193.80 L8100-25 STOCKING-VENOSA ¦ 31 300.39 ¦ 31 ¦ 1.03 ¦ 6 ¦ 6¦ 58.14 L8100-26 STOCKING-VENOSA ¦ 26 251.94 ¦ 26 ¦ 0.87 ¦ 11 ¦ 13¦ 106.59 L8100-30 STOCKING-CAROLO ¦ 1 6.80 ¦ 1 ¦ 0.03 ¦ 23 ¦ 690¦ 156.40 L8100-31 STOCKING-CAROLO ¦ 2 13.60 ¦ 2 ¦ 0.07 ¦ 22 ¦ 330¦ 149.60 L8100-32 STOCKING-CAROLO ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 24 ¦ >30¦ 163.20 L8100-33 ULTIMATE JOBST ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 10 ¦ >30¦ 249.50 L8100-34 ULTIMATE JOBST ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 10 ¦ >30¦ 249.50 L8100-35 ULTIMATE JOBST ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 10 ¦ >30¦ 249.50 L8100-36 ULTIMATE THIGH ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 10 ¦ >30¦ 249.50 L8100-37 ULTIMATE THIGH ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 10 ¦ >30¦ 249.50 Enter RETURN to continue or '^' to exit: PROSTHETIC INVENTORY ITEM DETAIL REPORT Run Date: DEC 14,2000@10:06:40 Page: 4 STATION: Milwaukee VAMC NOV 01, 2000 - NOV 30, 2000 [ 30 calendar days ] -------------------------------------------------------------------------------------------------------------------------------- HCPCS PSAS/ITEM V.A.(Used) Total¦ COM. (New) Total¦ Total ¦Days Ave ¦ Stock On-Hand¦ Days ¦Total $ Value On-Hand Issue $ Value¦ Issue $ Value¦ Issue ¦Usage Rate¦ Used New ¦ On-Hand¦ Used New -------------------------------------------------------------------------------------------------------------------------------- L8110-1 ELASTIC SUPP ST ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 2 ¦ >30¦ 18.00 L8110-8 STOCKING-VENOSA ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 24 ¦ >30¦ 232.56 L8110-9 STOCKING-VENOSA ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 22 ¦ >30¦ 213.18 L8110-10 STOCKING-VENOSA ¦ 2 19.38 ¦ 2 ¦ 0.07 ¦ 20 ¦ 300¦ 193.80 ================================================================================================================================ (Used) 0 0.00¦ ¦ 0 ¦ 0.00 ¦ 0 ¦ ¦ 0.00 (New) ¦ 72 749.77 ¦ 72 ¦ 2.40 ¦ 347 ¦ ¦ 5,446.65 GRAND TOTAL $ VALUE ISSUED (Used) = $ 0.00 GRAND TOTAL $ VALUE ON-HAND (Used) = $ 0.00 GRAND TOTAL $ VALUE ISSUED (New) = $ 749.77 GRAND TOTAL $ VALUE ON-HAND (New) = $ 5,446.65 <End of Report>

Item Detail Report – Choosing “Select Individual HCPCS”

| Report description | You can select to view or print the Item Detail Report using the Select Individual HCPCS criteria. This report provides the following cost information: Grand totals for Dollar Value Issued for both USED and NEW items Dollar value on hand for both USED and NEW items. |
| --- | --- |

| Steps | To view or print the Item Detail Report by selecting an individual HCPCS, follow these steps: |
| --- | --- |

| Step | Action |
| --- | --- |
| 1 | At the Choose HCPCS Selection option prompt, type S for the Select Individual HCPCS option, and press <Enter>. |
| 2 | At the Select HCPCS 1: prompt, enter the HCPCS if you know it or enter two question marks to display a list of HCPCS and select one if you do not know the exact HCPCS. |
| 3 | More HCPCS prompts will display until you press <Enter> to bypass it. |
| 4 | At the Device: Home// prompt, press <Enter>. |
| 5 | To view or print the report, type “;132;” at the Right Margin: 80// prompt to extend the margins for the report to display and/or print, and press <Enter>. |

| Select Individual HCPCS | A ALL HCPCS G ALL HCPCS for NPPD group L ALL HCPCS for NPPD line S Select individual HCPCS Choose HCPCS selection option: A// S <Enter> Select individual HCPCS Select HCPCS 1: L0120 <Enter> CERV FLEXIBLE NON-ADJUSTABLE Select HCPCS 2: <Enter> DEVICE: HOME// ;132; <Enter> TELNET VIRTUAL Processing report....... |
| --- | --- |

Continued on next page

Item Detail Report – Choosing “Select Individual HCPCS”, Continued

| Individual HCPCS | Remember to change the report width size from the default standard of 80 to 132 at the Right Margin: 80// prompt. (Contact your IRM if you need instructions on how to make this change.) |
| --- | --- |

PROSTHETIC INVENTORY ITEM DETAIL REPORT Run Date: DEC 14,2000@10:08:38 Page: 1 STATION: Milwaukee VAMC NOV 01, 2000 - NOV 30, 2000 [ 30 calendar days ] 400 D BRACE AL/OTH [BRACES AND ORTHOTICS ] -------------------------------------------------------------------------------------------------------------------------------- HCPCS PSAS/ITEM V.A.(Used) Total¦ COM. (New) Total¦ Total ¦Days Ave ¦ Stock On-Hand¦ Days ¦Total $ Value On-Hand Issue $ Value¦ Issue $ Value¦ Issue ¦Usage Rate¦ Used New ¦ On-Hand¦ Used New -------------------------------------------------------------------------------------------------------------------------------- L0120-1 COLLAR-CERVICAL ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 11 ¦ >30¦ 48.40 L0120-5 COLLAR-CERVICAL ¦ 3 8.55 ¦ 3 ¦ 0.10 ¦ 9 ¦ 90¦ 25.65 L0120-6 COLLAR-CERVICAL ¦ 1 3.70 ¦ 1 ¦ 0.03 ¦ 3 ¦ 90¦ 11.10 L0120-7 COLLAR-CERVICAL ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 12 ¦ >30¦ 44.40 L0120-8 COLLAR-CERVICAL ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 10 ¦ >30¦ 28.50 ================================================================================================================================ (Used) 0 0.00¦ ¦ 0 ¦ 0.00 ¦ 0 ¦ ¦ 0.00 (New) ¦ 4 12.25 ¦ 4 ¦ 0.13 ¦ 45 ¦ ¦ 158.05 GRAND TOTAL $ VALUE ISSUED (Used) = $ 0.00 GRAND TOTAL $ VALUE ON-HAND (Used) = $ 0.00 GRAND TOTAL $ VALUE ISSUED (New) = $ 12.25 GRAND TOTAL $ VALUE ON-HAND (New) = $ 158.05 <End of Report>

HCPCS Summary Report (SH)

Overview

| Report description | The HCPCS Summary Report provides a quick overview of the total dollars on hand in Inventory. This report displays the stock on hand for a specified date range, and it is sorted by HCPCS. The HCPCS options for you to select when viewing or printing a report includes the following: All HCPCS (default setting) All HCPCS for an NPPD Group All HCPCS for an NPPD Line (or related HCPCS) Select Individual HCPCS (more than one HCPCS can be selected). |
| --- | --- |

| Steps | To select the HCPCS Summary Report, follow these steps: |
| --- | --- |

| Step | Action |
| --- | --- |
| 1 | Type SH for the HCPCS Summary Report option from the Inventory Report Menu, and press <Enter>. |
| 2 | At the Site prompt, press <Enter> to select the default site entry. |
| 3 | At the Beginning Date prompt, type the beginning date of the date range, and press <Enter>. |
| 4 | At the Ending Date prompt, type the end date, and press <Enter>. |
| 5 | The options for the HCPCS Summary Report displays. |

| Inventory Reports Menu | SI Item Detail Report SH HCPCS Summary Report SG NPPD Group/Line Report SS NPPD Group Summary Report PI Print Current HCPCS Balance by HCPCS PL Print Current Item Balance by Location PO Print Order/Receive Item PS Print Transaction History IU Print Item Usage By Location WS Print Stock Work Sheet BC Reprint Barcode Label PC Print Items Not Issued Within 30-Day OD Print Stock On Hand Over Date Range AL Print All Barcode in a Location IP Print PIP/IFCAP Item Report Select Inventory Reports Option: SH <Enter> Stock On Hand HCPCS SITE: Hines Development System// <Enter> 499 Beginning Date: 9/1/00 (SEP 01, 2000) <Enter> Ending Date: 9/30/00 (SEP 30, 2000) <Enter> Select one of the following: A ALL HCPCS G ALL HCPCS for NPPD group L ALL HCPCS for NPPD line S Select individual HCPCS |
| --- | --- |

HCPCS Summary Report – Choosing “All HCPCS”

| Report right margins | The All HCPCS option on the HCPCS Summary Report must be printed using an extended right margin format of 132-width size instead of the standard 80-width default size. (See your IRM department for detailed instructions.) |
| --- | --- |

| Steps | To select the All HCPCS option of the HCPCS Summary Report, follow these steps: |
| --- | --- |

| Step | Action |
| --- | --- |
| 1 | At the Choose HCPCS Selection option prompt, type A for the All HCPCS option, and press <Enter>. |
| 2 | At the Device: Home// prompt, press <Enter>. |
| 3 | To print the report, type “;132;” at the Right Margin: 80// prompt to extend the margins for the report to display and/or print, and press <Enter>. |

| HCPCS Summary Report Options | Select one of the following: A ALL HCPCS G ALL HCPCS for NPPD group L ALL HCPCS for NPPD line S Select individual HCPCS Choose HCPCS selection option: A// <Enter> ALL HCPCS DEVICE: HOME// ;132; <Enter> TELNET VIRTUAL Processing report....... |
| --- | --- |

Continued on next page

HCPCS Summary Report – Choosing “All HCPCS”, Continued

| Description field | Notice that this HCPCS Summary Report provides a DESCRIPTION field in the second column instead of a PSAS/Item field as in the Item Detail Report. |
| --- | --- |

PROSTHETIC INVENTORY HCPCS SUMMARY REPORT Run Date: DEC 14,2000@10:10:16 Page: 1 STATION: Milwaukee VAMC NOV 01, 2000 - NOV 30, 2000 [ 30 calendar days ] 100 B MANUAL CUSTOM [ WHEELCHAIRS AND ACCESSORIES ] -------------------------------------------------------------------------------------------------------------------------------- HCPCS DESCRIPTION V.A.(Used) Total¦ COM. (New) Total¦ Total ¦Days Ave ¦ Stock On-Hand¦ Days ¦Total $ Value On-Hand Issue $ Value¦ Issue $ Value¦ Issue ¦Usage Rate¦ Used New ¦ On-Hand¦ Used New -------------------------------------------------------------------------------------------------------------------------------- K0004 HIGH STREN(Used) 0 0.00¦ ¦ 0 ¦ 0.00 ¦ 0 ¦ ¦ 0.00 K0004 HIGH STREN(New) ¦ 10 3,294.09 ¦ 10 ¦ 0.33 ¦ 5 ¦ 15¦ 1,856.81 ================================================================================================================================ (Used) 0 0.00¦ ¦ 0 ¦ 0.00 ¦ 0 ¦ ¦ 0.00 (New) ¦ 10 3,294.09 ¦ 10 ¦ 0.33 ¦ 5 ¦ ¦ 1,856.81 100 C STANDARD [ WHEELCHAIRS AND ACCESSORIES ] -------------------------------------------------------------------------------------------------------------------------------- HCPCS DESCRIPTION V.A.(Used) Total¦ COM. (New) Total¦ Total ¦Days Ave ¦ Stock On-Hand¦ Days ¦Total $ Value On-Hand Issue $ Value¦ Issue $ Value¦ Issue ¦Usage Rate¦ Used New ¦ On-Hand¦ Used New -------------------------------------------------------------------------------------------------------------------------------- K0001 STANDARD W(Used) 0 0.00¦ ¦ 0 ¦ 0.00 ¦ 0 ¦ ¦ 0.00 K0001 STANDARD W(New) ¦ 5 576.25 ¦ 5 ¦ 0.17 ¦ 3 ¦ 18¦ 387.30 ================================================================================================================================ (Used) 0 0.00¦ ¦ 0 ¦ 0.00 ¦ 0 ¦ ¦ 0.00 (New) ¦ 5 576.25 ¦ 5 ¦ 0.17 ¦ 3 ¦ ¦ 387.30 100 D ACCESSORIES [ WHEELCHAIRS AND ACCESSORIES ] -------------------------------------------------------------------------------------------------------------------------------- HCPCS DESCRIPTION V.A.(Used) Total¦ COM. (New) Total¦ Total ¦Days Ave ¦ Stock On-Hand¦ Days ¦Total $ Value On-Hand Issue $ Value¦ Issue $ Value¦ Issue ¦Usage Rate¦ Used New ¦ On-Hand¦ Used New -------------------------------------------------------------------------------------------------------------------------------- DL175 GLOVES, WH(Used) 0 0.00¦ ¦ 0 ¦ 0.00 ¦ 24 ¦ >30¦ 0.00 DL175 GLOVES, WH(New) ¦ 16 112.00 ¦ 16 ¦ 0.53 ¦ 41 ¦ 77¦ 287.00 Enter RETURN to continue or '^' to exit: PROSTHETIC INVENTORY HCPCS SUMMARY REPORT Run Date: DEC 14,2000@10:10:16 Page: 3 STATION: Milwaukee VAMC NOV 01, 2000 - NOV 30, 2000 [ 30 calendar days ] -------------------------------------------------------------------------------------------------------------------------------- HCPCS DESCRIPTION V.A.(Used) Total¦ COM. (New) Total¦ Total ¦Days Ave ¦ Stock On-Hand¦ Days ¦Total $ Value On-Hand Issue $ Value¦ Issue $ Value¦ Issue ¦Usage Rate¦ Used New ¦ On-Hand¦ Used New -------------------------------------------------------------------------------------------------------------------------------- DL177 COVERS(Used) 0 0.00¦ ¦ 0 ¦ 0.00 ¦ 0 ¦ ¦ 0.00 DL177 COVERS(New) ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 23 ¦ >30¦ 715.29 E0978 WHEELCHAIR(Used) 0 0.00¦ ¦ 0 ¦ 0.00 ¦ 0 ¦ ¦ 0.00 E0978 WHEELCHAIR(New) ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 5 ¦ >30¦ 154.25 K0019 ARM PAD EA(Used) 0 0.00¦ ¦ 0 ¦ 0.00 ¦ 0 ¦ ¦ 0.00 K0019 ARM PAD EA(New) ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 6 ¦ >30¦ 30.00 K0020 FIXED ADJU(Used) 0 0.00¦ ¦ 0 ¦ 0.00 ¦ 0 ¦ ¦ 0.00 K0020 FIXED ADJU(New) ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 4 ¦ >30¦ 19.80 K0045 FOOTREST C(Used) 0 0.00¦ ¦ 0 ¦ 0.00 ¦ 0 ¦ ¦ 0.00 K0045 FOOTREST C(New) ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 8 ¦ >30¦ 80.00 K0098 DRIVE BELT(Used) 0 0.00¦ ¦ 0 ¦ 0.00 ¦ 0 ¦ ¦ 0.00 K0098 DRIVE BELT(New) ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 4 ¦ >30¦ 86.40 -------------------------------------------------------------------------------------------------------------------------------- ================================================================================================================================ (Used) 0 0.00¦ ¦ 0 ¦ 0.00 ¦ 24 ¦ ¦ 0.00 (New) ¦ 16 112.00 ¦ 16 ¦ 0.53 ¦ 91 ¦ ¦ 1,372.74 100 E CUSHION FOAM [ WHEELCHAIRS AND ACCESSORIES ] -------------------------------------------------------------------------------------------------------------------------------- HCPCS DESCRIPTION V.A.(Used) Total¦ COM. (New) Total¦ Total ¦Days Ave ¦ Stock On-Hand¦ Days ¦Total $ Value On-Hand Issue $ Value¦ Issue $ Value¦ Issue ¦Usage Rate¦ Used New ¦ On-Hand¦ Used New -------------------------------------------------------------------------------------------------------------------------------- E0963 WHEELCHAIR(Used) 0 0.00¦ ¦ 0 ¦ 0.00 ¦ 0 ¦ ¦ 0.00 E0963 WHEELCHAIR(New) ¦ 2 15.75 ¦ 2 ¦ 0.07 ¦ 4 ¦ 60¦ 31.50 E0964 WHEELCHAIR(Used) 0 0.00¦ ¦ 0 ¦ 0.00 ¦ 0 ¦ ¦ 0.00 E0964 WHEELCHAIR(New) ¦ 9 82.71 ¦ 9 ¦ 0.30 ¦ 9 ¦ 30¦ 82.71 ================================================================================================================================ (Used) 0 0.00¦ ¦ 0 ¦ 0.00 ¦ 0 ¦ ¦ 0.00 (New) ¦ 11 98.46 ¦ 11 ¦ 0.37 ¦ 13 ¦ ¦ 114.21

(Report screen sample continued on next page)

Continued on next page

HCPCS Summary Report – Choosing “All HCPCS”, Continued

| Sample Screen (continued) | The HCPCS Summary Report using the “All HCPCS” option continues as follows: |
| --- | --- |

100 F CUSHION SPEC [ WHEELCHAIRS AND ACCESSORIES ] -------------------------------------------------------------------------------------------------------------------------------- HCPCS DESCRIPTION V.A.(Used) Total¦ COM. (New) Total¦ Total ¦Days Ave ¦ Stock On-Hand¦ Days ¦Total $ Value On-Hand Issue $ Value¦ Issue $ Value¦ Issue ¦Usage Rate¦ Used New ¦ On-Hand¦ Used New -------------------------------------------------------------------------------------------------------------------------------- E0176 AIR PRESSR(Used) 0 0.00¦ ¦ 0 ¦ 0.00 ¦ 0 ¦ ¦ 0.00 E0176 AIR PRESSR(New) ¦ 6 1,087.77 ¦ 6 ¦ 0.20 ¦ 23 ¦ 115¦ 3,487.74 E0178 GEL PRESSR(Used) 0 0.00¦ ¦ 0 ¦ 0.00 ¦ 0 ¦ ¦ 0.00 E0178 GEL PRESSR(New) ¦ 3 607.38 ¦ 3 ¦ 0.10 ¦ 10 ¦ 100¦ 2,014.32 ================================================================================================================================ (Used) 0 0.00¦ ¦ 0 ¦ 0.00 ¦ 0 ¦ ¦ 0.00 (New) ¦ 9 1,695.15 ¦ 9 ¦ 0.30 ¦ 33 ¦ ¦ 5,502.06 400 A BRACE ANKLE [ BRACES AND ORTHOTICS ] -------------------------------------------------------------------------------------------------------------------------------- HCPCS DESCRIPTION V.A.(Used) Total¦ COM. (New) Total¦ Total ¦Days Ave ¦ Stock On-Hand¦ Days ¦Total $ Value On-Hand Issue $ Value¦ Issue $ Value¦ Issue ¦Usage Rate¦ Used New ¦ On-Hand¦ Used New -------------------------------------------------------------------------------------------------------------------------------- L1902 AFO ANKLE (Used) 0 0.00¦ ¦ 0 ¦ 0.00 ¦ 0 ¦ ¦ 0.00 L1902 AFO ANKLE (New) ¦ 5 17.80 ¦ 5 ¦ 0.17 ¦ 23 ¦ 138¦ 301.12 L1930 AFO PLASTI(Used) 0 0.00¦ ¦ 0 ¦ 0.00 ¦ 0 ¦ ¦ 0.00 L1930 AFO PLASTI(New) ¦ 3 59.79 ¦ 3 ¦ 0.10 ¦ 34 ¦ 340¦ 675.76 L4392 REPLACE AN(Used) 0 0.00¦ ¦ 0 ¦ 0.00 ¦ 0 ¦ ¦ 0.00 L4392 REPLACE AN(New) ¦ 1 4.50 ¦ 1 ¦ 0.03 ¦ 20 ¦ 600¦ 225.00 L4396 ANKLE CONT(Used) 0 0.00¦ ¦ 0 ¦ 0.00 ¦ 0 ¦ ¦ 0.00 L4396 ANKLE CONT(New) ¦ 3 135.00 ¦ 3 ¦ 0.10 ¦ 50 ¦ 500¦ 2,250.00 ================================================================================================================================ (Used) 0 0.00¦ ¦ 0 ¦ 0.00 ¦ 0 ¦ ¦ 0.00 (New) ¦ 12 217.09 ¦ 12 ¦ 0.40 ¦ 127 ¦ ¦ 3,451.88 400 D BRACE AL/OTH [ BRACES AND ORTHOTICS ] -------------------------------------------------------------------------------------------------------------------------------- HCPCS DESCRIPTION V.A.(Used) Total¦ COM. (New) Total¦ Total ¦Days Ave ¦ Stock On-Hand¦ Days ¦Total $ Value On-Hand Issue $ Value¦ Issue $ Value¦ Issue ¦Usage Rate¦ Used New ¦ On-Hand¦ Used New -------------------------------------------------------------------------------------------------------------------------------- E1810 ADJUST KNE(Used) 0 0.00¦ ¦ 0 ¦ 0.00 ¦ 0 ¦ ¦ 0.00 E1810 ADJUST KNE(New) ¦ 0 0.00 ¦ 0 ¦ 0.00 ¦ 1 ¦ >30¦ 0.00 Enter RETURN to continue or '^' to exit: -------------------------------------------------------------------------------------------------------------------------------- GRAND TOTAL $ VALUE ISSUED (Used) = $ 483.75 GRAND TOTAL $ VALUE ON-HAND (Used) = $ 2,276.54 GRAND TOTAL $ VALUE ISSUED (New) = $ 26,150.77 GRAND TOTAL $ VALUE ON-HAND (New) = $ 97,626.06

HCPCS Summary Report – Choosing “All HCPCS for NPPD Group”

| Report description | The All HCPCS for NPPD Group option on the HCPCS Summary Report displays all the HCPCS usage for an NPPD Group. This report must be printed using an extended right margin format of 132-width size instead of the standard 80-width default size. |
| --- | --- |

| Steps | To view or print the HCPCS Summary Report for using the All HCPCS for NPPD Group option, follow these steps: |
| --- | --- |

| Step | Action |
| --- | --- |
| 1 | At the Choose HCPCS Selection prompt, type G for the All HCPCS for NPPD Group option, and press <Enter>. |
| 2 | A list of NPPD Groups displays. Type a number of the NPPD Group you want to select, and press <Enter>. Note: You can select multiple groups, by typing a list or range (e.g., 1,3,5 or 2-4,8). |
| 3 | At the Device: Home// prompt, press <Enter> |
| 4 | To display or print the report, type “;132;” at the Right Margin: 80// prompt to extend the margins for the report to display and/or print, and press <Enter>. |

| All HCPCS for NPPD Group | Select one of the following: A ALL HCPCS G ALL HCPCS for NPPD group L ALL HCPCS for NPPD line S Select individual HCPCS Choose HCPCS selection option: A// G <Enter> ALL HCPCS for NPPD group 1. WHEELCHAIRS AND ACCESSORIES 2. ARTIFICIAL LEGS 3. ARTIFICIAL ARMS AND TERMINAL DEVICES 4. BRACES AND ORTHOTICS 5. SHOES/ORTHOTICS 6. NEUROSENSORY AIDS 7. RESTORATIONS 8. OXYGEN AND RESPIRATORY 9. MEDICAL EQUIPMENT 10. ALL OTHER SUPPLIES AND EQUIPMENT 11. HOME DIALYSIS PROGRAM 12. ADAPTIVE EQUIPMENT 13. HISA 14. SURGICAL IMPLANTS 15. MISC Select NPPD Group : (1-15): 4 <Enter> DEVICE: HOME// ;132; <Enter> TELNET VIRTUAL Processing report....... |
| --- | --- |

Continued on next page

HCPCS Summary Report – Choosing “All HCPCS for NPPD Group”, Continued

| Description field | Again, notice that this HCPCS Summary Report provides a DESCRIPTION field in the second column instead of a PSAS/Item field as in the Item Detail Report. |
| --- | --- |

PROSTHETIC INVENTORY HCPCS SUMMARY REPORT         Run Date: DEC 14,2000@10:15:30                    Page: 1

STATION: Milwaukee VAMC         NOV 01, 2000 - NOV 30, 2000  [ 30 calendar days ]

400 A BRACE ANKLE [ BRACES AND ORTHOTICS ]

---------------------------------------------------------------------------------------------------------------------------------

HCPCS    DESCRIPTION   V.A.(Used)  Total| COM. (New)  Total| Total |Days Ave  |  Stock On-Hand| Days   |Total $ Value On-Hand

Issue     $ Value| Issue     $ Value| Issue |Usage Rate|  Used    New  | On-Hand|   Used        New

---------------------------------------------------------------------------------------------------------------------------------

L1902     AFO ANKLE (Used)    0     0.00|                  |    0  |    0.00  |      0        |        |       0.00

L1902     AFO ANKLE (New)               |   5        17.80 |    5  |    0.17  |            23 |     138|                 301.12

L1930     AFO PLASTI(Used)    0     0.00|                  |    0  |    0.00  |      0        |        |       0.00

L1930     AFO PLASTI(New)               |   3        59.79 |    3  |    0.10  |            34 |     340|                 675.76

L4392     REPLACE AN(Used)    0     0.00|                  |    0  |    0.00  |      0        |        |       0.00

L4392     REPLACE AN(New)               |   1         4.50 |    1  |    0.03  |            20 |     600|                 225.00

L4396     ANKLE CONT(Used)    0     0.00|                  |    0  |    0.00  |      0        |        |       0.00

L4396     ANKLE CONT(New)               |   3       135.00 |    3  |    0.10  |            50 |     500|               2,250.00

================================================================================================================================

(Used)                   0     0.00|                  |    0  |    0.00  |      0        |        |       0.00

(New)                              |  12       217.09 |   12  |    0.40  |           127 |        |               3,451.88

400 D BRACE AL/OTH [ BRACES AND ORTHOTICS ]

--------------------------------------------------------------------------------------------------------------------------------

HCPCS    DESCRIPTION   V.A.(Used)  Total| COM. (New)  Total| Total |Days Ave  |  Stock On-Hand| Days   |Total $ Value On-Hand

Issue     $ Value| Issue     $ Value| Issue |Usage Rate|  Used    New  | On-Hand|   Used        New

--------------------------------------------------------------------------------------------------------------------------------

E1810     ADJUST KNE(Used)    0     0.00|                  |    0  |    0.00  |      0        |        |       0.00

E1810     ADJUST KNE(New)               |   0         0.00 |    0  |    0.00  |             1 |     >30|                   0.00

L0120     CERV FLEXI(Used)    0     0.00|                  |    0  |    0.00  |      0        |        |       0.00

L0120     CERV FLEXI(New)               |   4        12.25 |    4  |    0.13  |            45 |     338|                 158.05

L2270     VARUS/VALG(Used)    0     0.00|                  |    0  |    0.00  |      0        |        |       0.00

L2270     VARUS/VALG(New)               |   0         0.00 |    0  |    0.00  |             3 |     >30|                  43.92

L3670     ACROMIO/CL(Used)    0     0.00|                  |    0  |    0.00  |      0        |        |       0.00

L3670     ACROMIO/CL(New)               |   0         0.00 |    0  |    0.00  |             6 |     >30|                  28.02

L3700     ELBOW ORTH(Used)    0     0.00|                  |    0  |    0.00  |      0        |        |       0.00

L3700     ELBOW ORTH(New)               |   4        39.80 |    4  |    0.13  |             8 |      60|                  79.60

L3907     WHFO WRST (Used)    0     0.00|                  |    0  |    0.00  |      0        |        |       0.00

L3907     WHFO WRST (New)               |   1        15.75 |    1  |    0.03  |            19 |     570|                 299.25

L3908     WRIST COCK(Used)    0     0.00|                  |    0  |    0.00  |      0        |        |       0.00

L3908     WRIST COCK(New)               |  31       147.06 |   31  |    1.03  |           103 |     100|                 460.53

L4350     PNEUMATIC (Used)    0     0.00|                  |    0  |    0.00  |      0        |        |       0.00

L4350     PNEUMATIC (New)               |   2        49.00 |    2  |    0.07  |             1 |      15|                  24.50

L4360     PNEUMATIC (Used)    0     0.00|                  |    0  |    0.00  |      0        |        |       0.00

L4360     PNEUMATIC (New)               |  15       955.00 |   15  |    0.50  |            56 |     112|               2,520.00

================================================================================================================================

(Used)                   0     0.00|                  |    0  |    0.00  |      0        |        |       0.00

(New)                              |  57     1,218.86 |   57  |    1.90  |           242 |        |               3,613.87

400 E ELAS HOSE, EA [ BRACES AND ORTHOTICS ]

-------------------------------------------------------------------------------------------------------------------------------

HCPCS    DESCRIPTION   V.A.(Used)  Total| COM. (New)  Total| Total |Days Ave  |  Stock On-Hand| Days   |Total $ Value On-Hand

Issue     $ Value| Issue     $ Value| Issue |Usage Rate|  Used    New  | On-Hand|   Used        New

--------------------------------------------------------------------------------------------------------------------------------

L8100     ELAS SUPRT(Used)    0     0.00|                  |    0  |    0.00  |      0        |        |       0.00

L8100     ELAS SUPRT(New)               |  70       730.39 |   70  |    2.33  |           279 |     120|               4,789.11

L8110     ELASTIC SU(Used)    0     0.00|                  |    0  |    0.00  |      0        |        |       0.00

L8110     ELASTIC SU(New)               |   2        19.38 |    2  |    0.07  |            68 |    >999|                 657.54

================================================================================================================================

(Used)                   0     0.00|                  |    0  |    0.00  |      0        |        |       0.00

(New)                              |  72       749.77 |   72  |    2.40  |           347 |        |               5,446.65

400 F BRACES, KNEE [ BRACES AND ORTHOTICS ]

--------------------------------------------------------------------------------------------------------------------------------

HCPCS    DESCRIPTION   V.A.(Used)  Total| COM. (New)  Total| Total |Days Ave  |  Stock On-Hand| Days   |Total $ Value On-Hand

Issue     $ Value| Issue     $ Value| Issue |Usage Rate|  Used    New  | On-Hand|   Used        New

--------------------------------------------------------------------------------------------------------------------------------

L1800     KNEE ORTHO(Used)    0     0.00|                  |    0  |    0.00  |      0        |        |       0.00

L1800     KNEE ORTHO(New)               |   0         0.00 |    0  |    0.00  |            27 |     >30|                 414.60

---------------------------------------------------------------------------------------

(Used)                   0     0.00|                  |    0  |    0.00  |      0        |        |       0.00

(New)                              |   1         8.25 |    1  |    0.03  |           479 |        |               8,932.79

GRAND TOTAL $ VALUE ISSUED (Used) = $      0.00                       GRAND TOTAL $ VALUE ON-HAND (Used) = $        0.00

GRAND TOTAL $ VALUE ISSUED (New)  = $  2,349.02                       GRAND TOTAL $ VALUE ON-HAND (New)  = $   23,012.04

HCPCS Summary Report – Choosing “All HCPCS for NPPD Line”

| Report description | You can select to view or print the HCPCS Summary Report using the All HCPCS for NPPD Line criteria. If you select the All HCPCS for NPPD Line criteria, you will first select an NPPD Group, and then select a Line(s) within the Group unless multiple NPPD Groups were selected. You will be able to select one NPPD Line or multiple NPPD Lines for one NPPD Group. |
| --- | --- |

| Steps | To view or print the HCPCS Summary Report for All HCPCS for an NPPD Line, follow these steps: |
| --- | --- |

| Step | Action |
| --- | --- |
| 1 | At the Choose HCPCS Selection prompt, type L for the All HCPCS for NPPD Line option, and press <Enter>. |
| 2 | A list of NPPD Groups displays. Type a number(s) of the NPPD Group you want to select, and press <Enter>. Note: For multiple NPPD Groups, you can enter a list or range of numbers (e.g., 1,3,5 or 2-4,8). |

| All HCPCS for NPPD Line | Select one of the following: A ALL HCPCS G ALL HCPCS for NPPD group L ALL HCPCS for NPPD line S Select individual HCPCS Choose HCPCS selection option: A// L <Enter> ALL HCPCS for NPPD line 1. WHEELCHAIRS AND ACCESSORIES 2. ARTIFICIAL LEGS 3. ARTIFICIAL ARMS AND TERMINAL DEVICES 4. BRACES AND ORTHOTICS 5. SHOES/ORTHOTICS 6. NEUROSENSORY AIDS 7. RESTORATIONS 8. OXYGEN AND RESPIRATORY 9. MEDICAL EQUIPMENT 10. ALL OTHER SUPPLIES AND EQUIPMENT 11. HOME DIALYSIS PROGRAM 12. ADAPTIVE EQUIPMENT 13. HISA 14. SURGICAL IMPLANTS 15. MISC Select NPPD Group: (1-15): 4 <Enter> NPPD Lines for Group: 100 - WHEELCHAIRS AND ACCESSORIES |
| --- | --- |

Continued on next page

HCPCS Summary Report – Choosing “All HCPCS for NPPD Line”, Continued

| Selecting Multiple NPPD Groups | If one NPPD Group is selected, you will be able to select multiple NPPD Lines. If you select multiple NPPD Groups, you will NOT be able to select an NPPD Line. You will be automatically taken to the Device prompt. |
| --- | --- |

| Steps (continued) | To view or print the HCPCS Summary Report using the All HCPCS for NPPD Line option, follow these steps: |
| --- | --- |

| Step | Action |
| --- | --- |
| 3 | A list of NPPD Lines displays. Type one or multiple NPPD Lines, and press <Enter>. Note: To enter multiple NPPD Lines, you must type a list or range of numbers (e.g., 1,3,5 or 2-4,8). |
| 4 | At the Device: Home// prompt, press <Enter> |
| 5 | To view or print the report, type “;132;” at the Right Margin: 80// prompt to extend the margins for the report to display and/or print, and press <Enter>. |

| NPPD Lines | 1. 400 A BRACE ANKLE 2. 400 B BRACE LEG AK 3. 400 C BRACE, SPINAL 4. 400 D BRACE AL/OTH 5. 400 E ELAS HOSE, EA 6. 400 F BRACES, KNEE 7. 400 G CORSET/BELT Select NPPD line(s) within the above group: (1-7): 5 <Enter> DEVICE: HOME// ;132; <Enter> TELNET VIRTUAL Processing report....... |
| --- | --- |

Continued on next page

HCPCS Summary Report – Choosing “All HCPCS for NPPD Line”, Continued

| Report sample | Below is a sample Prosthetic Inventory HCPCS Summary Report. |
| --- | --- |

PROSTHETIC INVENTORY HCPCS SUMMARY REPORT Run Date: DEC 14,2000@10:16:59 Page: 1 STATION: Milwaukee VAMC NOV 01, 2000 - NOV 30, 2000 [ 30 calendar days ] 400 E ELAS HOSE, EA [ BRACES AND ORTHOTICS ] -------------------------------------------------------------------------------------------------------------------------------- HCPCS DESCRIPTION V.A.(Used) Total¦ COM. (New) Total¦ Total ¦Days Ave ¦ Stock On-Hand¦ Days ¦Total $ Value On-Hand Issue $ Value¦ Issue $ Value¦ Issue ¦Usage Rate¦ Used New ¦ On-Hand¦ Used New -------------------------------------------------------------------------------------------------------------------------------- L8100 ELAS SUPRT(Used) 0 0.00¦ ¦ 0 ¦ 0.00 ¦ 0 ¦ ¦ 0.00 L8100 ELAS SUPRT(New) ¦ 70 730.39 ¦ 70 ¦ 2.33 ¦ 279 ¦ 120¦ 4,789.11 L8110 ELASTIC SU(Used) 0 0.00¦ ¦ 0 ¦ 0.00 ¦ 0 ¦ ¦ 0.00 L8110 ELASTIC SU(New) ¦ 2 19.38 ¦ 2 ¦ 0.07 ¦ 68 ¦ >999¦ 657.54 ================================================================================================================================ (Used) 0 0.00¦ ¦ 0 ¦ 0.00 ¦ 0 ¦ ¦ 0.00 (New) ¦ 72 749.77 ¦ 72 ¦ 2.40 ¦ 347 ¦ ¦ 5,446.65 GRAND TOTAL $ VALUE ISSUED (Used) = $ 0.00 GRAND TOTAL $ VALUE ON-HAND (Used) = $ 0.00 GRAND TOTAL $ VALUE ISSUED (New) = $ 749.77 GRAND TOTAL $ VALUE ON-HAND (New) = $ 5,446.65 <End of Report> -----------------------------------------------------------------------------------------

HCPCS Summary Report – Choosing “Select Individual HCPCS”

| Report description | You can choose the Select Individual HCPCS criteria option to produce the HCPCS Summary Report. You can select one or multiple HCPCS to be displayed on this report. |
| --- | --- |

| Steps | To view or print the HCPCS Summary Report by selecting an Individual HCPCS, follow these steps: |
| --- | --- |

| Step | Action |
| --- | --- |
| 1 | Type SH for the HCPCS Summary Report option from the Inventory Reports Menu, and press <Enter>. |
| 2 | At the Site prompt, press <Enter> to select the default site entry. |
| 3 | At the Beginning Date prompt, type the beginning date of the date range, and press <Enter>. |
| 4 | At the Ending Date prompt, type the end date, and press <Enter>. |
| 5 | The four criteria options to view or print the HCPCS Summary Report displays. |

| Stock On Hand HCPCS Option | SI Item Detail Report SH HCPCS Summary Report SG NPPD Group/Line Report SS NPPD Group Summary Report PI Print Current HCPCS Balance by HCPCS PL Print Current Item Balance by Location PO Print Order/Receive Item PS Print Transaction History IU Print Item Usage By Location WS Print Stock Work Sheet BC Reprint Barcode Label PC Print Items Not Issued Within 30-Day OD Print Stock On Hand Over Date Range AL Print All Barcode in a Location IP Print PIP/IFCAP Item Report Select Inventory Reports Option: SH <Enter> HCPCS Summary Report SITE: Hines Development System// <Enter> 499 Beginning Date: 9/1/00 <Enter> (SEP 01, 2000) Ending Date: 9/30/00 <Enter> (SEP 30, 2000) Select one of the following: A ALL HCPCS G ALL HCPCS for NPPD group L ALL HCPCS for NPPD line S Select individual HCPCS |
| --- | --- |

Continued on next page

HCPCS Summary Report – Choosing “Select Individual HCPCS”, Continued

| Individual HCPCS | The HCPCS Summary Report works exactly like the Item Detail Report with the only exception that the display will report usage by HCPCS instead of an Item. |
| --- | --- |

| Step | Action |
| --- | --- |
| 1 | At the Choose HCPCS Selection option prompt, type S for the Select Individual HCPCS criteria option, and press <Enter>. |
| 2 | At the Select HCPCS 1: prompt, enter two question marks to display a list of HCPCS and select one if you do not know the exact HCPCS. |
| 3 | More HCPCS prompts will display until you press <Enter> to bypass it. |
| 4 | At the Device: Home// prompt, press <Enter>. |
| 5 | To view or print the report, type “;132;” at the Right Margin: 80// prompt to extend the margins for the report to display and/or print, and press <Enter>. |

| HCPCS Selection List | Choose HCPCS selection option: A// S <Enter> Select Individual HCPCS Select HCPCS 1: ?? <Enter> Choose from: A4254 BATTERY FOR GLUCOSE MONITOR A4259 LANCETS PER BOX A4402 LUBRICANT PER OUNCE A4404 OSTOMY RING EACH A4565 SLINGS DL175 GLOVES, WHEELCHAIR E0100 CANE ADJUST/FIXED WITH TIP E0142 WALKER RIGID WHEELED WITH SE E0143 WALKER FOLDING WHEELED W/O S E1399 DURABLE MEDICAL EQUIPMENT MI K0001 STANDARD WHEELCHAIR L0120 CERV FLEXIBLE NON-ADJUSTABLE L5000 SHO INSERT W ARCH TOE FILLER L5020 TIBIAL TUBERCLE HGT W/ TOE F L5050 ANK SYMES MOLD SCKT SACH FT L5060 SYMES MET FR LEATH SOCKET AR L7499 UPPER EXTREMITY PROSTH, NOS ** inactive HCPCS ** L7499 UPPER EXTREMITY PROSTH, NOS UNKNOWN UNKNOWN HCPCS Select HCPCS 1: L0120 <Enter> CERV FLEXIBLE NON-ADJUSTABLE Select HCPCS 2: <Enter> DEVICE: HOME// ;132; <Enter> TELNET VIRTUAL Processing report....... |
| --- | --- |

Continued on next page

HCPCS Summary Report – Choosing “Select Individual HCPCS”, Continued

| Report Sample | Below is the Prosthetics Inventory HCPCS Summary Report using the Select Individual HCPCS criteria. Usage is reported by HCPCS code on this report. Note the first column: HCPCS. |
| --- | --- |

PROSTHETIC INVENTORY HCPCS SUMMARY REPORT         Run Date: DEC 14,2000@10:18:07                    Page: 1

STATION: Milwaukee VAMC         NOV 01, 2000 - NOV 30, 2000  [ 30 calendar days ]

400 D BRACE AL/OTH [ BRACES AND ORTHOTICS ]

---------------------------------------------------------------------------------------------------------------------------------

HCPCS    DESCRIPTION   V.A.(Used)  Total| COM. (New)  Total| Total |Days Ave  |  Stock On-Hand| Days   |Total $ Value On-Hand

Issue     $ Value| Issue     $ Value| Issue |Usage Rate|  Used    New  | On-Hand|   Used        New

---------------------------------------------------------------------------------------------------------------------------------

L0120     CERV FLEXI(Used)    0     0.00|                  |    0  |    0.00  |      0        |        |       0.00

L0120     CERV FLEXI(New)               |   4        12.25 |    4  |    0.13  |            45 |     338|                 158.05

================================================================================================================================

(Used)                   0     0.00|                  |    0  |    0.00  |      0        |        |       0.00

(New)                              |   4        12.25 |    4  |    0.13  |            45 |        |                 158.05

GRAND TOTAL $ VALUE ISSUED (Used) = $      0.00                       GRAND TOTAL $ VALUE ON-HAND (Used) = $        0.00

GRAND TOTAL $ VALUE ISSUED (New)  = $     12.25                       GRAND TOTAL $ VALUE ON-HAND (New)  = $      158.05

<End of Report>

NPPD Group/Line Report (SG)

Overview

| Introduction | The NPPD Group/Line Report option will display the same information as the Item Detail Report and the HCPCS Summary Report options but at the NPPD Line level. It displays the stock on hand for a date range and sorted by NPPD Group and NPPD Line. You will select a site and a date range. You will be able to select one or multiple NPPD Groups. Then an NPPD Line selection must be made ONLY if one NPPD Group is selected. A couple of conditions exist depending on which prompt you choose as follows: If you choose one NPPD Group, you will be able to select multiple NPPD Lines. If you choose more than one NPPD Group, an NPPD Line cannot be selected. |
| --- | --- |

| Steps | To select the NPPD Group/Line Report, follow these steps: |
| --- | --- |

| Step | Action |
| --- | --- |
| 1 | Type SG for the NPPD Group/Line Report, and press <Enter>. |
| 2 | At the Site prompt, press <Enter> to select the default site entry. |
| 3 | At the Beginning Date prompt, type the beginning date of the date range, and press <Enter>. |
| 4 | At the Ending Date prompt, type the end date, and press <Enter>. |
| 5 | The NPPD Groups display. |

| Inventory Reports Menu | SI Item Detail Report SH HCPCS Summary Report SG NPPD Group/Line Report SS NPPD Group Summary Report PI Print Current HCPCS Balance by HCPCS PL Print Current Item Balance by Location PO Print Order/Receive Item PS Print Transaction History IU Print Item Usage By Location WS Print Stock Work Sheet BC Reprint Barcode Label PC Print Items Not Issued Within 30-Day OD Print Stock On Hand Over Date Range AL Print All Barcode in a Location IP Print PIP/IFCAP Item Report Select Inventory Reports Option: SG NPPD Group/Line Report SITE: Hines Development System// <Enter> 499 Beginning Date: 9/1/00 (SEP 01, 2000) <Enter> Ending Date: 9/30/00 (SEP 30, 2000) <Enter> |
| --- | --- |

NPPD Group/Line Report - Select a Single NPPD Group

| Single NPPD Group | You can select a single NPPD Group. When the NPPD Lines display, you will have the option of selecting one or multiple NPPD Lines. |
| --- | --- |

| Step | Action |
| --- | --- |
| 1 | After the NPPD Groups display, a Select NPPD Group prompt displays. |
| 2 | Type the number of the NPPD Group you want to select. |
| 3 | A list of NPPD Lines displays for the Group you selected. You can select a single or multiple NPPD Lines. Note: To enter multiple NPPD Lines, you must type a single number or range of numbers (e.g., 1,3,5 or 2-4,8). |
| 4 | At the Device: Home// prompt, press <Enter>. |
| 5 | To view or print the report, type “;132;” at the Right Margin: 80// prompt to extend the margins for the report to display and/or print, and press <Enter>. |

| NPPD Groups and NPPD Lines Selection screen | 1. WHEELCHAIRS AND ACCESSORIES 2. ARTIFICIAL LEGS 3. ARTIFICIAL ARMS AND TERMINAL DEVICES 4. BRACES AND ORTHOTICS 5. SHOES/ORTHOTICS 6. NEUROSENSORY AIDS 7. RESTORATIONS 8. OXYGEN AND RESPIRATORY 9. MEDICAL EQUIPMENT 10. ALL OTHER SUPPLIES AND EQUIPMENT 11. HOME DIALYSIS PROGRAM 12. ADAPTIVE EQUIPMENT 13. HISA 14. SURGICAL IMPLANTS 15. MISC Select NPPD Group: (1-15): 4 <Enter> NPPD Lines for Group: 400 - BRACES AND ORTHOTICS <Enter> 1. 400 A BRACE ANKLE 2. 400 B BRACE LEG AK 3. 400 C BRACE, SPINAL 4. 400 D BRACE AL/OTH 5. 400 E ELAS HOSE, EA 6. 400 F BRACES, KNEE 7. 400 G CORSET/BELT Select NPPD line(s) within the above group: (1-7): 5 <Enter> DEVICE: HOME// ;132; <Enter> TELNET VIRTUAL Processing report....... |
| --- | --- |

Continued on next page

NPPD Group/Line Report - Select a Single NPPD Group, Continued

| Report Sample | Below is the NPPD Group/Line Report. This report was obtained by selecting a single NPPD Group. |
| --- | --- |

PROSTHETIC INVENTORY NPPD GROUP/LINE REPORT            Run Date: DEC 14,2000@10:19:38               Page: 1

STATION: Milwaukee VAMC         NOV 01, 2000 - NOV 30, 2000  [ 30 calendar days ]

BRACES AND ORTHOTICS

---------------------------------------------------------------------------------------------------------------------------------

NPPD LINE              V.A.(Used)  Total| COM. (New)  Total| Total |Days Ave  |  Stock On-Hand| Days   |Total $ Value On-Hand

Issue     $ Value| Issue     $ Value| Issue |Usage Rate|  Used    New  | On-Hand|   Used        New

--------------------------------------------------------------------------------------------------------------------------------

400 E ELAS HOSE, EA

(Used)                   0     0.00|                  |    0  |    0.00  |      0        |        |       0.00

(New)                              |  72       749.77 |   72  |    2.40  |           347 |     145|               5,446.65

================================================================================================================================

0     0.00|  72       749.77 |   72  |          |      0    347 |        |       0.00    5,446.65

GRAND TOTAL $ VALUE ISSUED (Used) = $      0.00                       GRAND TOTAL $ VALUE ON-HAND (Used) = $        0.00

GRAND TOTAL $ VALUE ISSUED (New)  = $    749.77                       GRAND TOTAL $ VALUE ON-HAND (New)  = $    5,446.65

<End of Report>

NPPD Group/Line Report - Select Multiple NPPD Groups

| Single NPPD Group | You can select a single NPPD Group to display on the NPPD Group/Line Report. When the NPPD Lines display, you will have the option of selecting one or multiple NPPD Lines. |
| --- | --- |

| Step | Action |
| --- | --- |
| 1 | After the NPPD Groups display, a Select NPPD Group prompt displays. |
| 2 | Type the number of the NPPD Groups you want to select. You can select multiple NPPD Groups. Note: To enter multiple NPPD Groups, you must type a list or range of numbers (e.g., 1,3,5 or 2-4,8). |
| 3 | A list of NPPD Lines displays. You can select a single NPPD Line or multiple NPPD Lines. Note: To enter multiple NPPD Lines, you must type a list or range of numbers (e.g., 1,3,5 or 2-4,8). |
| 4 | At the Device: Home// prompt, press <Enter>. |
| 5 | To view or print the report, type “;132;” at the Right Margin: 80// prompt to extend the margins for the report to display and/or print, and press <Enter>. |

| NPPD Groups and NPPD Lines selection screen | 1. WHEELCHAIRS AND ACCESSORIES 2. ARTIFICIAL LEGS 3. ARTIFICIAL ARMS AND TERMINAL DEVICES 4. BRACES AND ORTHOTICS 5. SHOES/ORTHOTICS 6. NEUROSENSORY AIDS 7. RESTORATIONS 8. OXYGEN AND RESPIRATORY 9. MEDICAL EQUIPMENT 10. ALL OTHER SUPPLIES AND EQUIPMENT 11. HOME DIALYSIS PROGRAM 12. ADAPTIVE EQUIPMENT 13. HISA 14. SURGICAL IMPLANTS 15. MISC Select NPPD Group: (1-15): 4,9 <Enter> DEVICE: HOME// ;132; <Enter> TELNET VIRTUAL Processing report....... |
| --- | --- |

Continued on next page

NPPD Group/Line Report - Select Multiple NPPD Groups, Continued

| Report sample | Below is the NPPD Group/Line Report. This report was obtained by selecting multiple NPPD Groups (as shown under the two shaded headings). |
| --- | --- |

PROSTHETIC INVENTORY NPPD GROUP/LINE REPORT Run Date: DEC 15,2000@15:21:22 Page: 1 STATION: Milwaukee VAMC NOV 01, 2000 - NOV 30, 2000 [ 30 calendar days ] BRACES AND ORTHOTICS -------------------------------------------------------------------------------------------------------------------------------- NPPD LINE V.A.(Used) Total¦ COM. (New) Total¦ Total ¦Days Ave ¦ Stock On-Hand¦ Days ¦Total $ Value On-Hand Issue $ Value¦ Issue $ Value¦ Issue ¦Usage Rate¦ Used New ¦ On-Hand¦ Used New -------------------------------------------------------------------------------------------------------------------------------- 400 A BRACE ANKLE (Used) 0 0.00¦ ¦ 0 ¦ 0.00 ¦ 0 ¦ ¦ 0.00 (New) ¦ 12 217.09 ¦ 12 ¦ 0.40 ¦ 127 ¦ 318¦ 3,451.88 400 D BRACE AL/OTH (Used) 0 0.00¦ ¦ 0 ¦ 0.00 ¦ 0 ¦ ¦ 0.00 (New) ¦ 57 1,218.86 ¦ 57 ¦ 1.90 ¦ 242 ¦ 127¦ 3,613.87 400 E ELAS HOSE, EA (Used) 0 0.00¦ ¦ 0 ¦ 0.00 ¦ 0 ¦ ¦ 0.00 (New) ¦ 72 749.77 ¦ 72 ¦ 2.40 ¦ 344 ¦ 143¦ 5,417.58 400 F BRACES, KNEE (Used) 0 0.00¦ ¦ 0 ¦ 0.00 ¦ 0 ¦ ¦ 0.00 (New) ¦ 16 155.05 ¦ 16 ¦ 0.53 ¦ 131 ¦ 246¦ 1,595.92 400 G CORSET/BELT (Used) 0 0.00¦ ¦ 0 ¦ 0.00 ¦ 0 ¦ ¦ 0.00 (New) ¦ 1 8.25 ¦ 1 ¦ 0.03 ¦ 479 ¦ >999¦ 8,932.79 ================================================================================================================================ 0 0.00¦ 158 2,349.02 ¦ 158 ¦ ¦ 0 1323 ¦ ¦ 0.00 23,012.04 MEDICAL EQUIPMENT -------------------------------------------------------------------------------------------------------------------------------- NPPD LINE V.A.(Used) Total¦ COM. (New) Total¦ Total ¦Days Ave ¦ Stock On-Hand¦ Days ¦Total $ Value On-Hand Issue $ Value¦ Issue $ Value¦ Issue ¦Usage Rate¦ Used New ¦ On-Hand¦ Used New -------------------------------------------------------------------------------------------------------------------------------- 900 A WALKING AIDS (Used) 1 0.00¦ ¦ 1 ¦ 0.03 ¦ 62 ¦ >999¦ 0.00 (New) ¦ 108 1,923.07 ¦ 108 ¦ 3.60 ¦ 349 ¦ 97¦ 2,651.81 900 D BED HOSP SPEC (Used) 0 0.00¦ ¦ 0 ¦ 0.00 ¦ 0 ¦ ¦ 0.00 (New) ¦ 6 0.00 ¦ 6 ¦ 0.20 ¦ 9 ¦ 45¦ 5,432.54 900 E MATTRESS STAN (Used) 0 0.00¦ ¦ 0 ¦ 0.00 ¦ 0 ¦ ¦ 0.00 (New) ¦ 6 -460.00 ¦ 6 ¦ 0.20 ¦ 9 ¦ 45¦ 1,035.00 900 F MATTRESS SPEC (Used) 0 0.00¦ ¦ 0 ¦ 0.00 ¦ 8 ¦ >30¦ 360.00 (New) ¦ 2 338.62 ¦ 2 ¦ 0.07 ¦ 15 ¦ 225¦ 887.86 900 G BED, ACCESSORIES (Used) 0 0.00¦ ¦ 0 ¦ 0.00 ¦ 0 ¦ ¦ 0.00 (New) ¦ 6 397.80 ¦ 6 ¦ 0.20 ¦ 35 ¦ 175¦ 2,327.55 900 I SPEC HOME EQP (SAFETY) (Used) 0 0.00¦ ¦ 0 ¦ 0.00 ¦ 20 ¦ >30¦ 0.00 (New) ¦ 89 3,143.96 ¦ 89 ¦ 2.97 ¦ 122 ¦ 41¦ 3,009.69 900 J TENS UNIT (Used) 0 0.00¦ ¦ 0 ¦ 0.00 ¦ 0 ¦ ¦ 0.00 (New) ¦ 8 1,000.00 ¦ 8 ¦ 0.27 ¦ 4 ¦ 15¦ 500.00 900 K MED EQP AL/OTH (Used) 0 0.00¦ ¦ 0 ¦ 0.00 ¦ 42 ¦ >30¦ 0.00 (New) ¦ 242 5,296.04 ¦ 242 ¦ 8.07 ¦ 382 ¦ 47¦ 5,731.05 ================================================================================================================================ 1 0.00¦ 467 11,639.49 ¦ 468 ¦ ¦ 132 925 ¦ ¦ 360.00 21,575.50 GRAND TOTAL $ VALUE ISSUED (Used) = $ 0.00 GRAND TOTAL $ VALUE ON-HAND (Used) = $ 360.00 GRAND TOTAL $ VALUE ISSUED (New) = $ 13,988.51 GRAND TOTAL $ VALUE ON-HAND (New) = $ 44,587.54 <End of Report>

NPPD Group Summary Report (SS)

Overview

| Report description | The NPPD Group Summary Report is based on the NPPD Group selected. It is the summary of the entire Prosthetics inventory for a certain date range sorted by NPPD Group. |
| --- | --- |

| Steps | To select the NPPD Group Summary Report, follow these steps: |
| --- | --- |

| Step | Action |
| --- | --- |
| 1 | Type SS for the NPPD Group Summary Report option from the Inventory Reports Menu, and press <Enter>. |
| 2 | At the Site prompt, press <Enter> to select the default site entry. |
| 3 | At the Beginning Date prompt, type the beginning date of the date range, and press <Enter>. |
| 4 | At the Ending Date prompt, type the end date, and press <Enter>. |
| 5 | At the Device: HOME// prompt, press <Enter>. |
| 6 | To view or print the report, type “;132;” at the Right Margin: 80// prompt to extend the margins for the report to display and/or print. |
| 7 | Press <Enter>. |

| NPPD Group Summary Report | SI Item Detail Report SH HCPCS Summary Report SG NPPD Group/Line Report SS NPPD Group Summary Report PI Print Current HCPCS Balance by HCPCS PL Print Current Item Balance by Location PO Print Order/Receive Item PS Print Transaction History IU Print Item Usage By Location WS Print Stock Work Sheet BC Reprint Barcode Label PC Print Items Not Issued Within 30-Day OD Print Stock On Hand Over Date Range AL Print All Barcode in a Location IP Print PIP/IFCAP Item Report Select Inventory Reports Option: SS <Enter> NPPD Group Summary Report SITE: Hines Development System// <Enter> 499 Beginning Date: 9/1 (SEP 01, 2000) <Enter> Ending Date: 9/30 (SEP 30, 2000) <Enter> DEVICE: HOME// TELNET VIRTUAL You need at least 132 columns for this report. Please use a device capable of this requirement. DEVICE: HOME// ;132; <Enter> TELNET VIRTUAL Processing report....... |
| --- | --- |

Viewing the NPPD Group Summary Report

| NPPD Group Report | Below is the Prosthetic Inventory NPPD Group Summary Report that displays an entire summary of NPPD Groups for the selected date range. |
| --- | --- |

PROSTHETIC INVENTORY NPPD GROUP SUMMARY REPORT              Run Date: NOV 2,2000@14:16:17                     Page: 1

STATION: Hines Development Sy   SEP 01, 2000 - SEP 30, 2000  [ 30 calendar days ]

ENTIRE SUMMARY

---------------------------------------------------------------------------------------------------------------------------------

NPPD GROUP             V.A.(Used)  Total| COM. (New)  Total| Total |Days Ave  |  Stock On-Hand| Days   |Total $ Value On-Hand

Issue     $ Value| Issue     $ Value| Issue |Usage Rate|  Used    New  | On-Hand|   Used        New

---------------------------------------------------------------------------------------------------------------------------------

100 WHEELCHAIRS AND ACCESSORIES

(Used)           0     0.00|                  |    0  |    0.00  |     24        |     >30|       0.00

(New)                      |  51     5,775.95 |   51  |    1.70  |           145 |      85|               9,233.12

-----------------------------------------------------------------------------------------------------------------------

400 BRACES AND ORTHOTICS

(Used)           0     0.00|                  |    0  |    0.00  |      0        |        |       0.00

(New)                      | 158     2,349.02 |  158  |    5.27  |          1327 |     252|              23,041.11

----------------------------------------------------------------------------------------------------------------------

500 SHOES/ORTHOTICS

(Used)           6     0.00|                  |    6  |    0.20  |    163        |     815|     949.04

(New)                      |  35       751.44 |   35  |    1.17  |           211 |     181|               4,429.94

600 NEUROSENSORY AIDS

(Used)           0     0.00|                  |    0  |    0.00  |      0        |        |       0.00

(New)                      |  54       473.58 |   54  |    1.80  |           180 |     100|               1,764.57

---------------------------------------------------------------------------------------------------------------------

800 OXYGEN AND RESPIRATORY

(Used)           0     0.00|                  |    0  |    0.00  |      0        |        |       0.00

(New)                      | 103     1,853.57 |  103  |    3.43  |            70 |      20|              11,173.04

----------------------------------------------------------------------------------------------------------------------

900 MEDICAL EQUIPMENT

(Used)           1     0.00|                  |    1  |    0.03  |    132        |    >999|     360.00

(New)                      | 467    11,639.49 |  467  |   15.57  |           930 |      60|              21,644.27

910 ALL OTHER SUPPLIES AND EQUIPMENT

(Used)           0     0.00|                  |    0  |    0.00  |      0        |        |       0.00

(New)                      |   8        49.52 |    8  |    0.27  |            25 |      94|                 359.56

-----------------------------------------------------------------------------------------------------------------------

999 MISC

(Used)           1   483.75|                  |    1  |    0.03  |     54        |    >999|     967.50

(New)                      | 109     3,258.20 |  109  |    3.63  |          1568 |     432|              26,714.93

======================================================================================================================

GRAND TOTAL $ VALUE ISSUED (Used) = $    483.75                     GRAND TOTAL $ VALUE ON-HAND (Used) = $    2,276.54

GRAND TOTAL $ VALUE ISSUED (New)  = $ 26,150.77                     GRAND TOTAL $ VALUE ON-HAND (New)  = $   98,360.54

<End of Report>

Other Useful Inventory Reports

Overview

| Introduction | There are other useful Inventory Reports including the following: Print Transaction History (PS) Print Current Item Balance by Location (PL) Print Current HCPCS Balance by HCPCS (PI) |
| --- | --- |

| Print Transaction History (PS) | This option is used to Print Transaction History (PS) covering a selected time period. It prints a record of stock movement or transaction history (number issued, ordered, received) for all or selected HCPCS and items that are in Prosthetics Inventory over a specified date range. The report includes patients receiving the items, notes on updates to the HCPCS Items, returns, cancellations, deactivations, etc., plus dollar amounts for HCPCS/Items issued. |
| --- | --- |

| Print Current Item Balance by Location (PL) | The Print Current Item Balance by Location (PL) option is used to print the balances for available items by location. This report is also helpful when conducting a physical count and provides the Unit Cost as well as the quantity of an Item in each Location. |
| --- | --- |

| Print Current HCPCS Balance by HCPCS (PI) | The Print Current HCPCS Balance by HCPCS (PI) option prints a report of the number of items available in each location for selected HCPCS. It includes other information about the items, including source (VA or Commercial), vendor, and unit of issue, re-order level and average cost. You may select individual HCPCS or all HCPCS. |
| --- | --- |

Print Transaction History (PS)

| Report description | This option is used to Print Transaction History (PS) covering a selected time period. It prints a record of stock movement or transaction history (number issued, ordered, received) for all or selected HCPCS and items that are in Prosthetics Inventory over a specified date range. The report includes patients receiving the items, notes on updates to the HCPCS items, returns, cancellations, deactivations, etc., plus dollar amounts for HCPCS/items issued. |
| --- | --- |

| Steps | To select the NPPD Group Summary Report, follow these steps: |
| --- | --- |

| Step | Action |
| --- | --- |
| 1 | Type PS for the Print Transaction History option from the Inventory Reports Menu, and press <Enter>. |
| 2 | At the Site prompt, press <Enter> to select the default site entry. |
| 3 | At the Beginning Date prompt, type the beginning date of the date range, and press <Enter>. |
| 4 | At the Ending Date prompt, type the end date, and press <Enter>. |
| 5 | At the Device: HOME// prompt, press <Enter>. |
| 6 | To view or print the report, type “;132;” at the Right Margin: 80// prompt to extend the margins for the report to display and/or print. |
| 7 | Press <Enter>. |

| Site | The Site prompt only appears if your Prosthetics Service covers multiple stations. This is a non-editable field (for display purposes only). Entering a question mark <?> will bring up a list of sites for which you will need to define the Locations. Select a site or enter the number(s) for your station. |
| --- | --- |

| Sample Report criteria | Select Inventory Reports Option: PS <Enter> Print Transaction History SITE: Hines Development System// <Enter> Select HCPCS 1: A4402-3 <Enter> Select HCPCS 2: <Enter> Beginning Date: T-30// <Enter> (NOV 16, 2003) Ending Date: TODAY// <Enter> (DEC 16, 2003) DEVICE: HOME// <Enter> TELNET Right Margin: 80// <Enter> Processing report...... |
| --- | --- |

Continued on next page

Print Transaction History (PS), Continued

| HCPCS | Enter each HCPCS you want covered in the report. The "Select HCPCS" prompt will continue to appear until you press the <Enter> key to bypass the prompt. |
| --- | --- |

| Beginning Date | This is the earliest date for the report. Enter a specific date for the period of interest or you may accept the default displayed. |
| --- | --- |

| Ending Date | This is the last day of the reporting period. Enter a specific date for the period of interest or you may accept the default of TODAY. |
| --- | --- |

| Device | Press the <Enter> key to bring the report to your screen or enter the name of a printer to obtain a hard copy report. |
| --- | --- |

| Sample report | *** ISSUE and STOCK CONTROL RECORD - PROSTHETICS STOCK ITEMS *** Page: 1 station: SUPPORT ISC JAN 04, 2003 to JUL 23, 2003 ------------------------------------------------------------------------------ QTY QTY QTY DOLLAR DATE PATIENT SSN USER ISSUE ORDER REC VALUE ---- ------- --- ---- ----- ----- --- ------ HCPCS: A4402-3 Item: LUBRICANT GEL 03/12/03 **Note: RECEIPT PROSdv,one 5 25.00 03/12/03 **Note: ORDER PROSdv,two 3 0.00 03/12/03 **Note: RECEIPT PROSdv,three 2 110.00 03/12/03 **Note: RECEIPT PROSdv,four 3 165.00 03/12/03 **Note: RECEIPT PROSdv,five 1 55.00 03/12/03 **Note: PATIENT ISSUE PROSdv,six 2 110.00 03/12/03 **Note: RETURN IN PROSdv,seven 2 110.00 03/12/03 **Note: RECONCILE PROSdv,eight 9 495.00 03/12/03 **Note: RECONCILE PROSdv,nine -2 -110.00 03/12/03 **Note: RECONCILE PROSdv,ten 0 0.00 03/13/03 **Note: RECONCILE PROSdv,eleven -1 -19.29 03/28/03 **Note: TRANSFER PROSdv,twelve -2 -2.86 03/28/03 **Note: TRANSFER PROSdv,thirteen 2 2.86 03/28/03 PROSpatient, one 0765 PROSdv,fourteen 1 1.43 04/21/03 **Note: ORDER PROSdv,fifteen 5 0.00 04/21/03 **Note: RECEIPT PROSdv,sixteen 5 250.00 04/25/03 PROSpatient, two 0765 PROSdv,seventeen 1 1.42 04/25/03 PROSpatient, thr 0765 PROSdv,eighteen 1 1.43 05/07/03 PROSpatient, fou 0765 PROSdv,nineteen 1 50.00 *** Dollar Value of Item Issued = 54.28 *** Dollar Value of HCPCS Issued = 54.28 <End of Report> |
| --- | --- |

Print Current Item Balance by Location (PL)

| Report description | The Print Current Item Balance by Location (PL) option is used to print the balances for available items by location. The format has been revised with Patch RMPR*3*61, and zero balances are now shown on this report. |
| --- | --- |

| Site | This prompt only appears if your Prosthetics Service covers multiple stations. Enter the site and press <Enter>. |
| --- | --- |

| Enter “ALL” | Enter 'ALL' for all Locations or 'RETURN' to select individual Locations: If you enter ALL at this prompt, every location in your Prosthetics Inventory will be covered by the report. Press the <Enter> key to select one or more specific locations. |
| --- | --- |

| Date Received column | To help the users manage there inventory, this report was modified to print the Date Received column. Users can reference this report with the information below the barcode to double check if a particular barcode has any inventory on stock. |
| --- | --- |

| Device | Press the <Enter> key to bring the report to your screen or enter the name of a printer to obtain a hard copy report. |
| --- | --- |

| Sample report | *** PROSTHETICS INVENTORY BALANCE BY LOCATION *** PAGE: 1 Run Date: DEC 04, 2002 station: SUPPORT ISC ------------------------------------------------------------------------------ Location: JLOC UNIT DATE OF UNIT TOTAL HCPCS ITEM SRC VENDOR RECVD ISSUE QTY COST VALUE ----- ---- --- ------ ----- ----- --- ---- ------ A4254-1 BATTERY FOR GLUCOSE MONI C ABBOTT 12/02/02 25 42.16 1,054.03 A4254-3 EYEGLASSES C ABBOTT 05/07/02 29 45.00 1,305.00 A4301-1 WHEELCHAIR-ADULT/HEMI/BL 0 0.00 0.00 A4373-1 WHEELCHAIR - ELECTRIC V ABBOTT 02/05/02 20 200.00 4,000.00 BA185-2 WATCH BRAILLE C HINES 09/05/01 4 32.38 129.52 BA185-3 WATCH LOW VISION BLACK C HINES 09/05/01 46 2.82 129.72 E0111-2 CRUTCH FOREARM/VA V HINES 09/05/01 3 2.00 6.00 ------------------------------------------------------------------------------ Location: JLOC3 UNIT DATE OF UNIT TOTAL HCPCS ITEM SRC VENDOR RECVD ISSUE QTY COST VALUE ----- ---- --- ------ ----- ----- --- ---- ------ A4254-1 BATTERY FOR GLUCOSE MONI C ABBOTT 02/11/02 37 23.50 869.50 K0096-1 WHEELCHAIR - ELECTRIC C ABBOTT 10/25/01 10 800.00 8,000.00 L5000-1 SHO INSERT W ARCH TOE FI C ABBOTT 09/05/01 192 5.00 960.00 L5000-2 SHO INSERT W ARCH TOE/VA V ABBOTT 09/05/01 100 3.00 300.00 |
| --- | --- |

Print Current HCPCS Balance by HCPCS (PI)

| Report description | The Print Current HCPCS Balance by HCPCS (PI) option prints a report of the number of items available in each location for selected HCPCS. It includes other information about the items, including source (VA or Commercial), vendor, unit of issue (new column with Patch RMPR*3*61), re-order level and average cost. You may select individual HCPCS or all HCPCS. Note: Items with zero dollar amounts now display on this report with Patch 61. |
| --- | --- |

| Site | This prompt only appears if your Prosthetics Service covers multiple stations. Enter the site. |
| --- | --- |

| Enter “ALL” | Enter 'ALL' for all HCPCS or 'RETURN' to select individual HCPCS: If you enter ALL at this prompt, every HCPCS Item in your PIP will be covered by the report. Press the <Enter> key to select one or more specific HCPCS items. |
| --- | --- |

| Device | Press the <Enter> key to bring the report to your screen or enter the name of a printer to obtain a hard copy report. |
| --- | --- |

| Sample report | *** PROSTHETICS INVENTORY BALANCE BY HCPCS *** PAGE: 2 Run Date: DEC 12, 2002 station: SUPPORT ISC ------------------------------------------------------------------------------ RE- UNIT ORDER OF UNIT TOTAL HCPCS ITEM SRC LOCATION VENDOR LEVEL ISSUE QTY COST VALUE ----- ---- --- -------- ------ ----- ----- --- ---- ------ A4254-1 BATTERY FOR GLUCO C HO 1 ABB 1 EA 29 45.00 1,305.00 A4254-1 BATTERY FOR GLUCO C JLOC3 20 1 155.00 155.00 A4254-1 BATTERY FOR GLUCO C JLOC3 ABBOTT 20 37 23.50 869.50 A4254-1 BATTERY FOR GLUCO C HELEN PORTION 0 PR 3 1.00 3.00 A4254-1 BATTERY FOR GLUCO C J-Room ABBOTT 0 EA 29 45.00 1,305.00 A4254-1 BATTERY FOR GLUCO C JLOC ABBOTT 0 25 42.16 1,054.03 A4254-3 EYEGLASSES C HO 1 ABB 4 17 49.83 847.10 A4254-3 EYEGLASSES C HO 1 ABB 4 25 55.00 1,375.00 A4254-3 EYEGLASSES C JLOC ABBOTT 0 29 45.00 1,305.00 ======================= Totals for A4254 = 195 8,218.63 A4259-1 LANCETS PER BOX/C C HNC ABBOTT 0 EA 2 21.50 43.00 A4259-1 LANCETS PER BOX/C C TRAN INLANDE 1 BX 2 21.20 42.40 ======================= Totals for A4259 = 27 584.50 ------------------------------------------------------------------------------ A4301-1 WHEELCHAIR-ADULT/ 0 0.00 0.00 ======================= Totals for A4301 = 0 0.00 |
| --- | --- |

Appendix A

Glossary

| Term | Description |
| --- | --- |
| HCPCS | Healthcare Financing Administration Common Procedure Coding System. A code that represents an item or service. |
| Location | A specific area that contains Prosthetic stock. |
| Patient Category | The patient's service connection and patient status: SC/OP SC/IP NSC/IP NSC/OP |
| PSAS Item | An item that can be issued to a patient. There may be multiple PSAS Items associated with one HCPCS: 1 - Sling, arm extra large 2 - Sling, arm medium 3 - Sling, arm small |
| Re-order Level | A level at which time a stock Item should be re-ordered. A mailman message will appear daily indicating the re-order level has been reached. |
| Source | The distribution for the stock, either VA or Commercial. |
| Type of Transaction | A first time issue, a repair of a previous issue, a spare, or a replacement of a stock item: Initial = I Repair = X Spare = S Replace = R |
| Unit of Issue | How the Item is issued, e.g., box, each, bottle, etc. |
| Vendor | The company from which the Item is purchased. |

Appendix B

Using Prosthetics Help

| Question Mark Help | You can view online descriptive help for menus, options, and prompts. You can enter one, two, or three question marks to get extended online help in Prosthetics. |
| --- | --- |

| ? (Single question mark) | Entering a single question mark at a prompt provides you with a single line of standard help. |
| --- | --- |

| ?? (Double question mark) | Two question marks entered at a prompt provide you with a list of choices appropriate to the prompt where you entered the question marks. SITE: Hines Development System// ?? <Enter> Choose from: ATLANTA VAMC 508 CORKWELL VAMC 500 HINESTEST 998 Hines Development System 499 SAN ANTONIO VAMC 671 ZZOJ VAMC VAMC 991 SITE: Hines Development System// |
| --- | --- |

| Menu Options | You can enter three question marks to view Menu option descriptions. |
| --- | --- |

| ??? (Triple question mark) | Entering three question marks provides you with a brief description and a synonym: 24 2421 Form 25 2520 Transaction without printing 10-55 10 10-55 PSC Form 29 2914 Eyeglass Record NF Create a No-Form Daily Record PD Pickup and Delivery Charges PC Purchase Card Form SS Purchase Card Site Parameter Select Enter New Request Option: ??? <Enter> '10-55 PSC Form' Option name: RMPR 10-55 Synonym: 10 This will create a new FL 10-55 form and post purchasing data to patient's VAF 10-2319 record and update the Service's VAF 1358 obligation. '2421 Form' Option name: RMPR 2421 Synonym: 24 This option will create a new VAF 10-2421 form, post to the patient's VAF 10-2319, and update the VAF 1358 obligation. '2520 Transaction without printing 10-55' Option name: RMPR 2520 Synonym: 25 For VAF 10-2520 PSC transactions that are under $300.00 and do not have and FL 10-55. It will then post to the VAF 1358 and patient's VAF 10-2319 record. |
| --- | --- |

# Footnotes

Introduction to Patch RMPR*3*61 with new functionality.

Option renamed from Delete Inventory Location to Deactivate Inventory Location with Patch RMPR*3*61.

New Inventory Report Menu Option with Patch RMPR*3*61.

New Inventory Report Menu Option with Patch RMPR*3*61.

New Inventory Report Menu Option with Patch RMPR*3*61.

New Inventory Report Menu Option with Patch RMPR*3*61.

New Inventory Report Menu Option with Patch RMPR*3*61.

New Inventory Report Menu Option with Patch RMPR*3*61.

New Inventory Report Menu Option with Patch RMPR*3*61.

New Inventory Report Menu Option with Patch RMPR*3*61.

Functionality change with Patch RMPR*3*61 to exit the entry process of an item before entering quantity.

New prompt with Patch RMPR*3*61.

New prompt with Patch RMPR*3*61.

New prompt with Patch RMPR*3*61.

New prompt with Patch RMPR*3*61.

New prompt with Patch RMPR*3*61.

New prompt with Patch RMPR*3*61.

New functionality with Patch RMPR*3*61.

New Inventory Reports with Patch RMPR*3*61.

New reports with Patch RMPR*3*61.

New Report Menu Option with Patch RMPR*3*61.

New Report Menu Option with Patch RMPR*3*61.

New Report Menu Option with Patch RMPR*3*61.

New Report Menu Option with Patch RMPR*3*61.

New Report Menu Option with Patch RMPR*3*61.

New Report Menu Option with Patch RMPR*3*61.

New Report Menu Option with Patch RMPR*3*61.

New Report Menu Option with Patch RMPR*3*61.

New Report Menu Option with Patch RMPR*3*61.

Report format has been revised with Patch RMPR*3*61.

Report format has been revised with Patch RMPR*3*61.