

TeleReader Configuration

**VistA Imaging**

MAG\*3.0\*127

June 2013



VistA Imaging Software Design & Development

Patch 127 TeleReader Configuration June 2013

**Property of the US Government**

This is a controlled document. No changes to this document may be made without the express written consent of the VistA Imaging development group.

While every effort has been made to assure the accuracy of the information provided, this document may include technical inaccuracies and/or typographical errors. Changes are periodically made to the information herein and incorporated into new editions of this document.

Product names mentioned in this document may be trademarks or registered trademarks of their respective companies, and are hereby acknowledged.

VistA Imaging Office of Enterprise Development Department of Veterans Affairs

Internet: REDACTED

VA intranet: REDACTED

**Revision Table**

|  |  |  |
| --- | --- | --- |
| **Rev** | **Date** | **Notes** |
| 2.1 | June 2013 | Corrected file names on pp. 4 and 6. REDACTED |
| 2.0 | May 2013 | Edited to correct Remedy ticket 375083 and notation format for field and file names. Changed title of manual from TeleOpthamology TeleReader Configuration to TeleReader Configuration. REDACTED |
| 1.1 | Apr 11 2012 | 1. Made corrections to filename/number (per Bug report #37069), pages3 and 14.
2. Corrected instances of incorrect file name/number conventions (used FILENAME file (#nnnn.nn) convention)
3. Changed font to **bold** for user entry/response dialogs throughout.
 |
| 1.0 | Mar 17 2007 | Packaged for release with Patch 46. |
| .9 | Jan 18 2007 | Initial draft. |

Contents

[Introduction 1](#_bookmark0)

[Terms of Use 1](#_bookmark1)

[VistA Imaging Configuration for TeleReader 3](#_bookmark2)

[Configuring TeleReader at Acquisition Site 3](#_bookmark3)

[Defining the Unread Lists at the Acquisition Site 3](#_bookmark4)

[Configuring the DICOM HEALTHCARE PROVIDER SERVICE file for TeleRetinal](#_bookmark5) [Imaging 5](#_bookmark5)

[Configuring TeleReader at the Reading Site 6](#_bookmark6)

[Defining the Reading Site’s List of Acquisition Sites 7](#_bookmark7)

[Defining the Diagnostic Readers 8](#_bookmark8)

[Configuring TeleReader at Acquisition Sites and Reading Sites 9](#_bookmark9)

[Configuring TeleReader Application Timeout 9](#_bookmark10)

[TeleReader Reports 11](#_bookmark11)

[Generating TeleReader Reports 11](#_bookmark12)

[Accessing the Reports Menu 12](#_bookmark13)

[TeleReader Status Report 12](#_bookmark14)

[TeleReader Reader Activity Report 13](#_bookmark15)

[TeleReader Reader Time Report 14](#_bookmark16)

[TeleReader Setup Report 14](#_bookmark17)

[Report Telereader Read/Unread List Problems Report 16](#_bookmark18)

[Repair Telereader Read/Unread List Problems Option 17](#_bookmark19)

This page is intentionally blank.

# Introduction

This document explains how to configure the TeleReader application.

This describes the configuration at both Acquisition Sites and Reading Sites and describes menu option reports that can be run to assist in the configuration.

This document is meant for site administrators to assist in configuring the TeleReader. This document does not contain information for users of the TeleReader.

Additional information about Telehealth can be found on the VHA Telehealth Services website at  [REDACTED.](http://vaww.telehealth.va.gov/index.asp)

### Terms of Use

FDA regulations require that each Imaging software distribution is documented and tracked by the VistA Imaging project.

This page is intentionally blank.

# VistA Imaging Configuration for TeleReader

At present, the TeleReader application is approved for Diabetic Retinopathy Surveillance, although its design is generic and can be configured to handle many imaging consults.

TeleReader can be used to facilitate reading of both local and remote consults (that is, Inter-facility Consults).

The TeleReader works in conjunction with the Consult Request Tracking package (GMRC) to enable a reader to obtain a list of imaging studies that are ready to be diagnosed. Configuration work is required at both the Acquisition Site and the Reading Site. First, at the Acquisition Site, the TELEREADER ACQUISITION SERVICE file (#2006.5841) is defined and the DICOM HEALTHCARE PROVIDER SERVICE file (#2006.5831) is updated for the consult. Second, at the Reading Site, lists of Acquisition Sites and Reader Privileges are established in the TELEREADER ACQUISTION SITE file (#2006.5842) and TELEREADER READER file (#2006.5843). These configuration steps enable the TeleReader application to use the Unread List to direct the reader to imaging studies that are awaiting diagnosis.

The Unread List (TELEREADER READ/UNREAD LIST file [#2006.5849]) is

maintained at the Acquisition Site and is accessed by a local or a remote reader. Selecting a study off the Unread List automatically switches patient context for the Computerized Patient Record System (CPRS) and Clinical Viewer, making it quicker for the reader to find, diagnose, and result the study. After the images are diagnosed, the entry in this file contains information about the reading session, which can be displayed with the TeleReader application.

**Note:** When you have completed your configuration for the TeleReader you can run the [TeleReader Setup Report](#_bookmark17) to review your configuration and ensure everything is configured properly.

**Configuring TeleReader at the Acquisition Site**

Two steps are required to configure the TeleReader at the Acquisition Site. The primary step is to define the Acquisition Site’s Unread List(s) by configuring the TELEREADER ACQUISITION SERVICE file (#2006.5841). It is also necessary to configure the DICOM HEALTHCARE PROVIDER SERVICE file (#2006.5831) for TeleRetinal

Imaging. These two steps must be completed before images can be acquired or studies will not appear on TeleReader at the reading site.

### Defining the Unread Lists at the Acquisition Site

Each Unread List that is defined at the Acquisition Site requires an entry in the TELEREADER ACQUISITION SERVICE file (#2006.5841). This file maps the locally

defined CPRS Consult Request Tracking “To Service” (and optionally the Procedure) to the nationally defined Specialty (such as Eye Care) and Procedure (such as Diabetic Retinopathy Surveillance) that are used by the Unread List.

Seven data elements must be specified for each Unread List:

1. TELEREADER ACQUISITION SERVICE NAME (“To Service”) —this is the locally defined Consult Request Tracking service that performs the request. This is a pointer to the REQUEST SERVICES file (#123.5). This is the consult to which the Imager attaches images. If reading for your studies is done locally, this will be a local consult. If reading for your studies is done remotely, this will be an Inter-Facility consult. The same To Service needs to be configured in the DICOM HEALTHCARE PROVIDER SERVICE file (#2006.5831), as described below.
2. Procedure—this is optional and is used only if the site wants to map a locally defined Consult Request Tracking procedure to the Unread List. This only works for local requests. It is not supported for Inter-facility Consults. This is a pointer to the GMRC PROCEDURE file (#123.3).
3. Specialty Index—this is a pointer to the nationally defined IMAGE INDEX FOR SPECIALTY/SUBSPECIALTY file (#2005.84), and is used in conjunction with the Procedure Index to provide a common lexicon for the Unread Lists. An example of a specialty index is Eye Care.
4. Procedure Index—this is a pointer to the nationally defined IMAGE INDEX FOR PROCEDURE/EVENT file (#2005.85), and is used in conjunction with the Specialty Index to provide a common lexicon for the Unread Lists. An example of a procedure index is Diabetic Retinopathy.
5. Acquisition Site—this is a pointer to the INSTITUTION file (#4). This should be your site being used for acquisition.
6. Unread List Creation Trigger— this specifies the activity that will place the study on the Unread List. There are three Unread List creation trigger events:
	1. “I” — when a DICOM image is acquired. This is the recommended setting.
	2. “O” — when the consult/procedure request is ordered.
	3. “F” — when the consult/procedure request is forwarded.

**Note:** While procedures may be forwarded at local sites, procedures may not be forwarded to a remote site. Only consults may be forwarded to remote sites to become Inter-facility Consults.

1. TIU Note File – this is used to automatically create a TIU note for a set of images when the consult request is remotely completed via an Inter-facility Consult.

To add a new TeleReader acquisition service:

Example Fileman session:

VA FileMan 22.0

Select OPTION: **ENTER OR EDIT FILE ENTRIES**

INPUT TO WHAT FILE: TELEREADER ACQUISITION SERVICE// **TELEREADER ACQUISITION SERVICE**

(0 entries) EDIT WHICH FIELD: ALL// **ALL**

Select TELEREADER ACQUISITION SERVICE NAME: **OPH**

1. OPHTHALMOLOGY
2. OPHTHALMOLOGY-PHOTOGRAPHY
3. OPH REMOTE READ Ophthalmology Remote Reading
4. OPH WASH Ophthalmology Service at Washington CHOOSE 1-4: **4 Ophthalmology Service at Washington**

Are you adding 'Ophthalmology Service at Washington' as

a new TELEREADER ACQUISITION SERVICE (the 1ST)? No// **Y** (Yes) TELEREADER ACQUISITION SERVICE PROCEDURE:

PROCEDURE:

SPECIALTY INDEX: **EYE CARE**

PROCEDURE INDEX: **DIABETIC RETINOPATHY** ACQUISITION SITE: **660**

1. 660 SALT LAKE CITY UT 660
2. 660AA SALT LAKE DOM UT VAMC 660AA CHOOSE 1-2: **1 SALT LAKE CITY UT** 660

UNREAD LIST CREATION TRIGGER: **I** CREATE/UPDATE WITH EVERY ACQUIRED IMAGE TIU NOTE FILE: **OPH**

1. OPHTHALMOLOGIST CONSULT NOTE TITLE
2. OPHTHALMOLOGY TITLE
3. OPHTHALMOLOGY DOCUMENT CLASS
4. OPHTHALMOLOGY DIAGRAM TITLE
5. OPHTHALMOLOGY IMAGE CONSULT TITLE

Press <RETURN> to see more, '^' to exit this list, OR CHOOSE 1-5: **1 OPHTHALMOLOGIST CONSULT NOTE TITLE**

Repeat this process for each service you are using the TeleReader for.

### Configuring the DICOM HEALTHCARE PROVIDER SERVICE file for TeleRetinal Imaging

**Note:** You might have already configured this file for TeleRetinal Imaging when you configured your acquisition camera. Verify below you have used the correct REQUESTED SERVICE. This service should be the same service you used as the TELEREADER ACQUISITION SERVICE NAME in the TELEREADER ACQUISITION SERVICE file.

This DICOM HEALTHCARE PROVIDER SERVICE file (#2006.5831) configures the DICOM Gateway to receive information for services to acquire images.

For the TeleRetinal process, two consults are used. The first is created by the Primary Care Physician and the second is created by the Imager. Only the second consult, created by the Imager, should be put into this file.

Three fields must be specified for each consult:

1. DICOM HEALTHCARE PROVIDER SERVICE REQUESTED SERVICE— this is the consult the imager will be creating and attaching images to. This should be the same consult you selected as the TELEREADER ACQUISITION SERVICE in the TELEREADER ACQUISITION SERVICE file.
2. SERVICE GROUP—this should be set to EYE CARE for Diabetic Retinopathy.
3. SERVICE INSTITUTION—this is the division doing the acquisition. This should be the same as the ACQUISITION SITE in the TELEREADER ACQUISITION SERVICE file.

To add a new entry in the DICOM HEALTHCARE PROVIDER SERVICE file: Example Fileman session:

VA FileMan 22.0

Select OPTION: **ENTER OR EDIT FILE ENTRIES**

INPUT TO WHAT FILE: DICOM HEALTHCARE PROVIDER SERVICE// **DICOM HEALTHCARE PROVIDER SERVICE**

(5 entries) EDIT WHICH FIELD: ALL//

Select DICOM HEALTHCARE PROVIDER SERVICE REQUESTED SERVICE: **OPH WASH**

Ophthalmology Service at Washi ngton

Are you adding 'Ophthalmology Service at Washington' as

a new DICOM HEALTHCARE PROVIDER SERVICE (the 6TH)? No// **Y (Yes)** SERVICE GROUP: **EYE CARE**

SERVICE INSTITUTION: **660**

1. 660 SALT LAKE CITY UT 660
2. 660AA SALT LAKE DOM UT VAMC 660AA CHOOSE 1-2: **1 SALT LAKE CITY UT 660**

Select CLINIC:

Repeat this process for each consult you are using to acquire images to

## Configuring TeleReader at the Reading Site

Two steps are required to configure the TeleReader at the Reading Site. The first step is to populate the TELEREADER ACQUISITION SITE file (#2006.5842) to establish the Acquisition Sites for which the Reading Site will provide diagnostic services. The second step is to enter the diagnostic readers into the TELEREADER READER file (#2006.5843) and designate their clinical specialties and where they are authorized to provide diagnostic services. Each Acquisition Site must be specified at the Reading Site and each authorized user must be configured to read. This process must be completed even if the Acquisition Site and the Reading Site are the same.

### Defining the Reading Site’s List of Acquisition Sites

The TELEREADER ACQUISITION SITE file (#2006.5842) contains the list of the Acquisition Sites for each Reading Site. This list must also include the Reading Site itself if it is to perform image acquisition as well. This file must be configured before attempting to add users to read for an acquisition site. An entry must be made in this file for each acquisition site your site is reading for.

Four data elements must be specified in this list:

1. Acquisition Site—this is a pointer to the INSTITUTION file (#4). This is the site you would like to read for.
2. Primary Site—this is where the Acquisition Site’s VistA Hospital Information System (HIS) is located. For most facilities, the Primary Site will be at the Acquisition Site. For a Community Based Outpatient Clinic (CBOC), a multidivisional, or a consolidated facility however, this may be a different site. This data element is a pointer to the INSTITUTION file (#4).
3. Status—a site may be either active or inactive. The status may be changed operationally to enable/disable reading for Acquisition Sites, for example, if a remote VistA HIS or WAN were temporarily down.
4. Lock Timeout—this value designates how long a user of the TeleReader application can lock a study for reading. If a reader locks a study, but is then called away for clinical duties, the study will be automatically unlocked when the timeout expires.

To add a new TeleReader acquisition Site at the reading site: Example Fileman session:

VA FileMan 22.0

Select OPTION: **ENTER OR EDIT FILE ENTRIES**

INPUT TO WHAT FILE: TELEREADER ACQUISITION SITE// **TELEREADER ACQUISITION SITE**

(0 entries) EDIT WHICH FIELD: **ALL**//

Select TELEREADER ACQUISITION SITE NAME: **660**

1. 660 SALT LAKE CITY UT 660
2. 660AA SALT LAKE DOM UT VAMC 660AA CHOOSE 1-2: **1 SALT LAKE CITY UT** 660

Are you adding 'SALT LAKE CITY' as

a new TELEREADER ACQUISITION SITE (the 1ST)? No// **Y** (Yes) PRIMARY SITE: **660**

1. 660 SALT LAKE CITY UT 660
2. 660AA SALT LAKE DOM UT VAMC 660AA CHOOSE 1-2: **1 SALT LAKE CITY UT** 660

STATUS: **1** ACTIVE

LOCK TIMEOUT IN MINUTES: **300**

Repeat this process for each acquisition site your site is reading for.

### Defining the Diagnostic Readers

The TELEREADER READER file (#2006.5843) file contains the diagnostic reader information. All users of the TeleReader must be configured in this file. This file must be modified each time a new Acquisition Site is added, so the readers are configured for the new site.

Eight data elements must be defined:

1. Reader—this is a pointer to the NEW PERSON file (#200). The reader must have permission to result and complete CPRS Consult Request Tracking requests at the Reading Site.
2. Acquisition Site—this is a pointer to the INSTITUTION file (#4).
3. Acquisition Site Status—indicates whether an Acquisition Site for a reader is Active or Inactive.
4. Specialty Index—this is a pointer to the nationally defined IMAGE INDEX FOR SPECIALTY/SUBSPECIALTY file (#2005.84), and is used in conjunction with the Procedure Index to provide a common lexicon for the Unread Lists.
5. Specialty Index Status—indicates whether a Specialty Index for a reader is Active or Inactive.
6. Procedure Index—this is a pointer to the nationally defined IMAGE INDEX FOR PROCEDURE/EVENT file (#2005.85), and is used in conjunction with the Specialty Index to provide a common lexicon for the Unread Lists.
7. Procedure Index Status—indicates whether a Procedure Index for a reader is Active or Inactive.
8. User Preference—determines if the reader’s Site/Specialty/Procedure is checked when the Site/Specialty/Procedure dialog is displayed. This value can be changed by the user from the TeleReader application.
9. To add a new TeleReader reader at the reading site:

Example Fileman session:

VA FileMan 22.0

Select OPTION: **ENTER OR EDIT FILE ENTRIES**

INPUT TO WHAT FILE: TELEREADER ACQUISITION SITE// **TELEREADER READER**

(0 entries) EDIT WHICH FIELD: **ALL**//

Select TELEREADER READER: **TESTER,IMAGING**

1. TESTER,IMAGING IT
2. TESTER,IMAGING II ITII 012 CHOOSE 1-2: **1** TESTER,IMAGING IT

Are you adding 'TESTER,IMAGING' as a new TELEREADER READER (the 1ST)? No// **Y** (Yes)

Select ACQUISITION SITE: **660** SALT LAKE CITY UT 660 STATUS: **1** ACTIVE

Select SPECIALTY INDEX: **EYE CARE** STATUS: **1** ACTIVE

Select PROCEDURE INDEX: **DIABETIC RETINOPATHY** STATUS: **1** ACTIVE

USER PREFERENCE: **1** ACTIVE Select PROCEDURE INDEX:

Select SPECIALTY INDEX:

Select ACQUISITION SITE:

Repeat this process for each reader authorized to read at your site.

## Configuring TeleReader at Acquisition Sites and Reading Sites

Acquisition sites may also do their own reading using the TeleReader application. In this situation, follow the above instructions for configuring the TeleReader at the Acquisition Site and the Reading site.

## Configuring TeleReader Application Timeout

**Note:** After a specified amount of idle time in minutes, the TeleReader application will automatically close. This time value is site configurable.

To modify the TeleReader application timeout value: Example Fileman session:

VA FileMan 22.0

Select OPTION: **ENTER OR EDIT FILE ENTRIES**

INPUT TO WHAT FILE: TELEREADER READER// **IMAGING SITE PARAMETERS**

(1 entry)

EDIT WHICH FIELD: ALL// **TELEREADER TIMEOUT (MINUTES)** THEN EDIT FIELD:

Select IMAGING SITE PARAMETERS NAME: **1** SALT LAKE CITY TELEREADER TIMEOUT (MINUTES): 180//

You may specify a new value for the TeleReader Timeout.

This page intentionally left blank.

# TeleReader Reports

This section describes how to generate reports on TeleReader usage. The following reports are available:

* **TeleReader Status Report**—lists the status of each study from the TeleReader read/unread lists.
* **TeleReader Reader Activity Report**—lists the number of studies read by a reader in a specified date range.
* **TeleReader Reader Time Report**—lists the reading start time and reading stop time in minutes for each reader in a specified date range.
* **TeleReader Setup Report**—lists the configuration of the TeleReader and its associated files. This report is useful to verify the configuration for TeleReader and for debugging problems with the TeleReader configuration.
* **Report TeleReader Read/Unread List Problems**—reports problems in the TeleReader read/unread list for read or locked studies which were resulted (completed) or cancelled by CPRS.

The following option is also available in the list of reports on the TeleReader menu:

* **Repair TeleReader Read/Unread List Problems**—fixes problems in the TeleReader read/unread list that were found in the Report TeleReader Read/Unread List Problems option. This ensures the TeleReader is in sync with CPRS.

**Note:** The TeleReader Setup Report is only useful if your site does only image reading. The other reports only display information which is stored at the acquisition site.

## Generating TeleReader Reports

The TeleReader reports menu is available to users who have access to the Imaging System Manager Menu (MAG SYS MENU).

### Accessing the Reports Menu

1. Log into the VistA System and access the Imaging System Manager Menu.

Select OPTION NAME: MAG SYS MENU Imaging System Manager Menu IX Image Index Conversion Menu ...

LS Edit Network Location STATUS TR Telereader Menu ...

…

1. Enter Telereader Menu at the prompt. The main menu for the TeleReader reports will be displayed.

Select Imaging System Manager Menu Option: TR Telereader Menu

ST TeleReader Status Report

RA TeleReader Reader Activity Report TI TeleReader Reader Time Report

BB TeleReader Setup Report

RP Report Telereader Read/Unread List Problems FP Repair Telereader Read/Unread List Problems

### TeleReader Status Report

The TeleReader Status Report prints the status of each study from the TeleReader read/unread lists.

**1** From the Telereader Menu select the option [Telereader Status Report].

ST TeleReader Status Report

RA TeleReader Reader Activity Report TI TeleReader Reader Time Report

BB TeleReader Setup Report

RP Report Telereader Read/Unread List Problems FP Repair Telereader Read/Unread List Problems

Select Telereader Menu Option: **ST TeleReader Status Report** GO TO STATUS: U// **Unread**

DEVICE: TELNET Right Margin: 80//

TELEREADER READ/UNREAD LIST STATISTICS NOV 3,2006 07:53 PAGE 1 STATUS

STATUS: Cancelled SUBCOUNT 1

STATUS: Deleted SUBCOUNT 3

STATUS: Locked SUBCOUNT 2

STATUS: Read SUBCOUNT 10

STATUS: Unread SUBCOUNT 9

COUNT 25

### TeleReader Reader Activity Report

The TeleReader Reader Activity Report prints the number of studies read by a reader in a specified date range.

**1** From the Telereader Menu select the option [Telereader Reader Activity Report].

ST TeleReader Status Report

RA TeleReader Reader Activity Report TI TeleReader Reader Time Report

BB TeleReader Setup Report

RP Report Telereader Read/Unread List Problems FP Repair Telereader Read/Unread List Problems

Select Telereader Menu Option: **RA** TeleReader Reader Activity Report

\* Previous selection: FULL NAME OF READER from AAA,AAAA to ZZZZ,ZZZ START WITH FULL NAME OF READER: **AAA,AAAA//**

GO TO FULL NAME OF READER: **ZZZZ,ZZZ//**

\* Previous selection: STATUS equals R (Read)S START WITH STATUS: R// **C Cancelled**

GO TO STATUS: R// **W Waiting**

\* Previous selection: CONSULT REQUEST from Jan 1,1980 to Nov 3,2006@24:00 START WITH CONSULT REQUEST: Jan 1,1980// **T-30 (OCT 04, 2006)**

GO TO CONSULT REQUEST: Nov 3,2006// T (NOV 03, 2006)

DEVICE: TELNET Right Margin: 80//

READ STUDIES NOV 3,2006 08:27 PAGE 1 NUMBER

OF IMAGES

FULL NAME OF READER: IMAGPROVIDERONETWOSIX,ONETWOSIX SUBTOTAL 8

FULL NAME OF READER: OPTOMETRY,CLINICIAN SUBTOTAL 3

TOTAL 11

### TeleReader Reader Time Report

The TeleReader Reader Time Report prints the reading start time and reading stop time in minutes for each reader in a specified date range.

**1** From the Telereader Menu select the option [Telereader Reader Time Report].

ST TeleReader Status Report

RA TeleReader Reader Activity Report TI TeleReader Reader Time Report

BB TeleReader Setup Report

RP Report Telereader Read/Unread List Problems FP Repair Telereader Read/Unread List Problems

Select Telereader Menu Option: **TI** TeleReader Reader Time Report

\* Previous selection: FULL NAME OF READER from AAA,AAAA to ZZZZ,ZZZ START WITH FULL NAME OF READER: **AAA,AAAA//**

GO TO FULL NAME OF READER: **ZZZZ,ZZZ//**

\* Previous selection: STATUS from C (Cancelled) to W (Waiting) START WITH STATUS: **C// Cancelled**

GO TO STATUS: **W// Waiting**

\* Previous selection: CONSULT REQUEST from Oct 4,2006 to Nov 3,2006@24:00 START WITH CONSULT REQUEST: Oct 4,2006// **T-30 (OCT 04, 2006)**

GO TO CONSULT REQUEST: Nov 3,2006// **T (NOV 03, 2006)**

DEVICE: TELNET Right Margin: 80//

READING TIME REPORT NOV 3,2006 08:29 PAGE 1 READING

READING START READING STOP TIME/MIN

FULL NAME OF READER: IMAGPROVIDERONETWOSIX,ONETWOSIX OCT 31,2006 13:50 OCT 31,2006 13:52 2

OCT 31,2006 13:56 OCT 31,2006 13:57 1

OCT 31,2006 15:06 OCT 31,2006 15:08 2

OCT 31,2006 15:42 942

NOV 2,2006 10:22 NOV 2,2006 10:49 27

NOV 2,2006 14:04 844

NOV 2,2006 14:34 874

NOV 2,2006 16:06 966

FULL NAME OF READER: OPTOMETRY,CLINICIAN NOV 2,2006 10:50 NOV 2,2006 10:51 1

NOV 2,2006 10:01 NOV 2,2006 10:53 52

NOV 2,2006 12:20 NOV 2,2006 12:22 2

### TeleReader Setup Report

The TeleReader Setup Report prints the configuration of the TeleReader and its associated files. This report is useful to verify the configuration for TeleReader and for debugging problems with the TeleReader configuration.

**Note:** If your site only does image acquisition, then only the entries from the DICOM HEALTHCARE PROVIDER SERVICE file (#2006.5831) and the TELEREADER

ACQUISITION SERVICE file (#2006.5841) will be populated. If your site only does image reading, then only the entries from the TELEREADER ACQUISITION SITE file (#2006.5842) and the TELEREADER READER file (#2006.5843) will be populated. If your site does reading and acquisition, then all four of these files will be populated.

**1** From the Telereader Menu select the option [Telereader Setup Report].

ST TeleReader Status Report

RA TeleReader Reader Activity Report TI TeleReader Reader Time Report

BB TeleReader Setup Report

RP Report Telereader Read/Unread List Problems FP Repair Telereader Read/Unread List Problems

Select Telereader Menu Option: **BB** TeleReader Setup Report DEVICE: HOME// **TELNET** Right Margin: 80//

\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*

\*\*\* \*\*\* DICOM HEALTHCARE PROVIDER SERVICE

(file 2006.5831) \*\*\*

\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*

To Service: CARDIOLOGY

Worklist: CARDIO (CARDIOLOGY) acquired at SALT LAKE CITY Clinics: CARDIOLOGY

To Service: GASTROENTEROLOGY

Worklist: GI (GASTROENTEROLOGY) acquired at SALT LAKE CITY Clinics: GI CLINIC

To Service: OPHTHALMOLOGY

Worklist: OPHTH (OPHTHALMOLOGY) acquired at COLUMBIA, MO Clinics: OPHTHALMOLOGY-BELKIN

To Service: DIABETIC TELERETINAL IMAGING-WASHINGTON

Worklist: EYE (EYE CARE) acquired at SALT LAKE CITY Remote IFC: WASHINGTON, DC

\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*

\*\*\*

\*\*\* TELEREADER ACQUISITION SERVICE (file 2006.5841) \*\*\*

\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*

To Service: DIABETIC TELERETINAL IMAGING-WASHINGTON \*\*\* DICOM MWL Remote IFC: WASHINGTON, DC

Unread List: EYE CARE -- DIABETIC RETINOPATHY SURVEILLANCE

Trigger: Create/update with every acquired image Note for IFC: OPHTHALMOLOGIST CONSULT NOTE

To Service: OPHTHALMOLOGY \*\*\* DICOM MWL Unread List: EYE CARE -- DIABETIC RETINOPATHY SURVEILLANCE

Trigger: Create/update with every acquired image Note for IFC: OPHTHALMOLOGIST CONSULT NOTE

\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*

\*\*\*

\*\*\* TELEREADER ACQUISITION SITE (file 2006.5842) \*\*\*

\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*

Acquisition: SALT LAKE CITY Active Lock Time: 300 min. Primary Site: SALT LAKE CITY

\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*

\*\*\*

\*\*\* TELEREADER READER (file 2006.5843) \*\*\*

\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\* TeleReader: OPTOMETRY,CLINICIAN

Acquisition: SALT LAKE CITY Active Unread List: EYE CARE Active

DIABETIC RETINOPATHY SURVEILLANCE Active User: Active

TeleReader: IMAGPROVIDERONETWOSIX,ONETWOSIX

Acquisition: SALT LAKE CITY Active Unread List: EYE CARE Active

DIABETIC RETINOPATHY SURVEILLANCE Active

User: Active

TeleReader: TESTER,IMAGING II

Acquisition: SALT LAKE CITY Unread List: EYE CARE

Active Active

DIABETIC RETINOPATHY SURVEILLANCE Active User: Active

TeleReader: TESTER,USER PREFERENCE

Acquisition: SALT LAKE CITY Active Unread List: EYE CARE Active

DIABETIC RETINOPATHY SURVEILLANCE Active

User: Active

\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*

### Report Telereader Read/Unread List Problems Report

The Report Telereader Read/Unread List Problems Report lists problems in the TeleReader read/unread list for read or locked studies which were resulted (completed) or cancelled by CPRS.

**1** From the Telereader Menu select the option [Report Telereader Read/Unread List Problems].

ST TeleReader Status Report

RA TeleReader Reader Activity Report TI TeleReader Reader Time Report

BB TeleReader Setup Report

RP Report Telereader Read/Unread List Problems FP Repair Telereader Read/Unread List Problems

Select Telereader Menu Option: **RP Report Telereader Read/Unread List Problems**

\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*

\*\*\*

\*\*\* Check for completed studies that have LOCKED status \*\*\*

\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*

Acquisition Site: SALT LAKE CITY Specialty: EYE CARE

Procedure: DIABETIC RETINOPATHY SURVEILLANCE

Consult # 171 has the status of COMPLETE in CPRS

Problem: Number of consults that have COMPLETE status in CPRS: 1

\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*

\*\*\*

\*\*\* Now check for completed studies that have UNREAD status \*\*\*

\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*

Acquisition Site: SALT LAKE CITY Specialty: EYE CARE

Procedure: DIABETIC RETINOPATHY SURVEILLANCE

Consult # 169 has the status of COMPLETE in CPRS Consult # 170 has the status of COMPLETE in CPRS

Problem: Number of consults that have COMPLETE status in CPRS: 2

### Repair Telereader Read/Unread List Problems Option

The Repair Telereader Read/Unread List Problems option fixes problems in the TeleReader read/unread list that were found in the Report Telereader Read/Unread List Problems Report. This function ensures the TeleReader is in sync with CPRS.

**1** From the Telereader Menu select the option [Repair Telereader Read/Unread List Problems].

ST TeleReader Status Report

RA TeleReader Reader Activity Report TI TeleReader Reader Time Report

BB TeleReader Setup Report

RP Report Telereader Read/Unread List Problems FP Repair Telereader Read/Unread List Problems

Select Telereader Menu Option: **FP Repair Telereader Read/Unread List Problems**

\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*

\*\*\*

\*\*\* Check for completed studies that have LOCKED status and correct them \*\*\*

\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*

Acquisition Site: SALT LAKE CITY Specialty: EYE CARE

Procedure: DIABETIC RETINOPATHY SURVEILLANCE

Fix: Consult # 171 which has the status of COMPLETE in CPRS Repaired: Number of consults that have COMPLETE status in CPRS: 1

\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*

\*\*\*

\*\*\* Now check for completed studies that have UNREAD status and correct them

\*\*\*

\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*\*

Acquisition Site: SALT LAKE CITY Specialty: EYE CARE

Procedure: DIABETIC RETINOPATHY SURVEILLANCE

Fix: Consult # 169 which has the status of COMPLETE in CPRS Fix: Consult # 170 which has the status of COMPLETE in CPRS

Repaired: Number of consults that have COMPLETE status in CPRS: 2